Western Balkans Investment Framework Infrastructure Project Facility Technical Assistance 7 (IPF 7)

TA2017050 R0 IPA

WB21-MKD-ENE-03

North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1

Sub-project 1 - New 400/110 kV Substation Miletkovo with Connection to the existing 400 kV and 110 kV Transmission Network

Environmental and Social

Assessment Report

September 2022

The Western Balkans Investment Framework (WBIF) is a financing facility launched in December 2009 by the European Commission, together with the Council of Europe Development Bank (CEB), the European Bank for Reconstruction and Development (EBRD), the European Investment Bank (EIB), Bilateral Donors, and Western Balkans countries with the purpose to deliver funding for strategic investment projects in beneficiary countries. Eligible sectors include infrastructure development in the environment, energy, transport, social and digital sectors as well as private sector development. KfW and the World Bank subsequently joined the Framework. In July 2017, the KfW became a partner organisation.

Disclaimer

This publication has been produced with the assistance of the European Union. The contents of this publication are the sole responsibility of Hill International led IPF7 Consortium and can in no way be taken to reflect the views of the European Union or the European Investment Bank.

Report Issue Record

Subproject Title:	North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1

Protocol Number:	WB21-MKD-ENE-03

Report Title:	Sub-project 1 - New 400/110 kV Substation Miletkovo with Connection to the existing 400 kV and 110 kV Transmission Network

Environmental and Social Assessment Report

Issue Number:		03

| Revision | 1 | 2 | 3 | 4 |
| --- | --- | --- | --- | --- |
| Date | 01 March 2022 | 17 June 2022 | 01 September 2022 |  |
| Detail | First draft | Second draft with EBRD comments addressed | Third draft with EBRD comments addressed |  |
| Prepared By | ESIA Team: Konstantin Siderovski Boris Stipcarov Slavco Hristovski Mitko Dimov Vasko Avukatov | E&S Team: Konstantin Siderovski Boris Stipcarov Slavco Hristovski Mitko Dimov Vasko Avukatov | E&S Team: Konstantin Siderovski Boris Stipcarov Slavco Hristovski Mitko Dimov Vasko Avukatov |  |
| Checked By | Sinisha Stanchevski / Božidar Radović | Sinisha Stanchevski / Božidar Radović | Sinisha Stanchevski / Božidar Radović |  |
| Approved By |  |  |  |  |

Table of Contents

1.	Executive Summary	14

1.1	Objective of the Proposed Project	14

1.2	Project Developer	14

1.3	Need for the Proposed Project	14

1.4	Purpose and Structure of the Report	15

1.5	Project Design Status and Level of Details	16

1.6	The Proposed Project	17

1.6.1	Project Location	17

1.6.2	Project Elements	19

1.7	Right of Way	24

1.8	Alternatives Considered and Selection of Preferred Option	25

1.8.1	No Project Option	25

1.8.2	Project Options	26

1.8.3	Description of the Options	28

1.8.4	Evaluation of Options - Multi-Criteria Analysis	31

1.8.5	Selection of Preferred Option	33

1.9	Project Category	34

1.10	Environmental and Social Assessment Summary	35

2.	Project Description	43

2.1	Background and Project Objective	43

2.2	The Project Developer	44

2.3	Purpose of the Report	44

2.4	The Proposed Project	45

2.4.1	Project Location	45

2.4.2	Project Description	46

2.4.3	Project Construction	60

2.4.4	Commencement of Operation	68

2.4.5	Operation and Maintenance of the Project	68

2.4.6	Decommissioning of the Project	70

3.	Project Options	71

3.1	Identification and Assessment of Options	71

3.1.1	Methodological Approach	71

3.1.2	No Project Option	72

3.1.3	Identified Options	73

3.1.4	Description of Options	75

3.1.5	Assessment of Options	79

3.2	Selection of Preferred Option	85

3.2.1	Evaluation of Options - Multi-Criteria Analysis	85

3.2.2	Selection of Preferred Option	86

4.	Legal Requirements	88

4.1	Macedonian Requirements	88

4.1.1	Environmental Appraisal of Projects	88

4.1.2	Key Environmental Legislation	91

4.1.3	Key Social Legislation	92

4.2	International Requirements	94

4.2.1	European Bank for Reconstruction and Development	94

4.2.2	Key EU Directives	95

5.	Approach to Assessment	97

5.1	Source of Information	97

5.2	Project Design Status and Level of Details of the Assessment	97

5.3	Managing Changes to Design	98

5.4	Approach to the Assessment	98

5.5	Interaction with the Technical Design	99

5.6	Study Area	99

5.7	Existing Baseline	99

5.7.1	Introduction	99

5.7.2	Summary of Baseline Surveys	99

5.8	Potential Significant Effects and Mitigation	101

5.8.1	Significance of Impacts – Generic Approach	101

5.8.2	Impact Mitigation Measures, Enhancement and Residual Effects	105

5.9	Assumptions and Limitations	106

6.	Consultation and Participation Arrangements	107

6.1	Context	107

6.2	Consultations to Date	108

7.	Baseline Conditions	109

7.1	Physical and Natural Environment	109

7.1.1	Climate	109

7.1.2	Geological Environment	119

7.1.3	Water Environment	120

7.1.4	Noise	122

7.1.5	Land Cover	123

7.2	Natural Environment	125

7.2.1	Biodiversity and Natural Heritage	125

7.3	Key Social Aspects	147

7.3.1	Study Area	147

7.3.2	Baseline Conditions	148

7.4	Cultural Heritage	149

7.4.1	Study Area	149

7.4.2	Baseline Conditions	150

8.	Environmental Impacts and Mitigation	152

8.1	Climate Resilience	152

8.1.1	Study Area	152

8.1.2	Assessment Methodology	152

8.1.3	Potential Impacts	154

8.1.4	Mitigation	156

8.2	Construction Noise	161

8.2.1	Noise Limit Standards	161

8.2.2	Construction Noise Emissions	163

8.2.3	Construction Vibration	164

8.2.4	Summary of Impacts	165

8.2.5	Mitigation	165

8.2.6	Residual Impact	166

8.3	Operational Noise	166

8.3.1	Transmission Line Audible Noise	166

8.3.2	Substation Audible Nosie	168

8.3.3	Summary of Impacts	168

8.3.4	Mitigation	169

8.3.5	Residual Impact	170

8.4	Geology and Soils	170

8.4.1	Assessment Methodology	170

8.4.2	Potential Impacts	172

8.4.3	Assessment of Impacts	172

8.4.4	Mitigation	173

8.4.5	Residual Impacts	175

8.5	Water Environment	175

8.5.1	Assessment Methodology	175

8.5.2	Potential Impacts	177

8.5.3	Assessment of Impacts	177

8.5.4	Mitigation	178

8.5.5	Residual Impacts	179

8.6	Biodiversity	180

8.6.1	Impact Methodology	180

8.6.2	Potential Impacts	182

8.6.3	Mitigation	189

8.6.4	Residual Impacts	193

8.7	Waste	193

8.7.1	Construction and Dismantling Waste	193

8.7.2	Operational Waste	194

8.7.3	Mitigation	195

8.7.4	Residual Impact	196

9.	Social Impacts and Mitigation	197

9.1	Information Disclosure and Stakeholder Engagement	197

9.2	Beneficial Social Impacts	197

9.3	Labour and Working Conditions	198

9.4	Community Health and Safety	199

9.4.1	Construction Traffic	199

9.4.2	Public Exposure to Electro-Magnetic Radiation	201

9.4.3	Community Risks	204

9.5	Land Use Change	205

9.6	Land Acquisition	206

9.7	Cultural Heritage	207

10.	Cumulative Effects	208

11.	Emergency Response Planning	209

11.1	Potential Emergency Situations	209

11.2	Emergency Management	209

11.2.1	Construction	209

11.2.2	Operation	210

12.	Environmental and Social Management	211

12.1	Introduction	211

12.2	Objectives of Environmental and Social Management	211

12.3	Principles of Environmental and Social Management	211

12.3.1	Pre-construction Phase	212

12.3.2	Construction Phase	212

12.3.3	Operational Phase	212

12.4	Organisation of Environmental and Social Management	212

12.5	Contractor Construction Environmental and Social Management Plan	213

12.6	Project Developer / Operator Environmental and Social Management System	213

13.	Conclusion	215

14.	References and Literature	216

15.	Annexes	218

Annex 1: Project Map	219

Annex 2: Project Options and Alternatives with High-level Environmental Constraints	219

Annex 3: Key Social Sensitivities associated with the Project	219

Annex 4: Geological Map	219

Annex 5: Summary of Stakeholder Engagement Activities to date	219

Annex 6: Names of those Responsible for Preparing the Environmental and Social Assessment	220

List of Tables

Table 1.1: Criteria categories for Multi-Criteria Analysis, with their weighting factors	32

Table 1.2: Summary of the Project categorisation against the applicable standards	34

Table 1.3: Summary of assessment of likely significant environmental and social impacts and key mitigation	36

Table 3.1: Overview of Project costs per identified option	84

Table 3.2: Project economic indicators	85

Table 4.1: Performance Requirements of the European Bank for Reconstruction and Development	95

Table 5.1: Baseline surveys overtaken in the course of the environmental and social assessment	101

Table 5.2: Generic criteria and typical descriptors for assigning receptor sensitivity / value	102

Table 5.3: Typical impact appraisal matrix	102

Table 5.4: Generic criteria and typical descriptors for determining impact magnitude / scale	103

Table 5.5: Typical impact significance matrix	104

Table 5.6: Typical impact significance categories and their decision-making aspects	104

Table 7.1: GHG emissions and removals (net emission) by sector (in Gg CO2-eq)	110

Table 7.2: Climate-related hazards in Project region (Gevgelija)	118

Table 7.3: Climate-related hazards in Project region (Valandovo)	119

Table 7.4: Features of water environment within the study area of the proposed new 400/110 kV SS Miletkovo and 110 kV connectors	120

Table 7.5: Preliminary assessment of ecological status of River Vardar Basin	122

Table 7.6: Land cover according to CORINE Land Cover types within the study area of the proposed reconstruction of the existing 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo	124

Table 7.7: Land cover according to CORINE Land Cover types within the study area of the proposed construction of a new 110 kV OHL connectors of the new 400/110 kV SS Miletkovo with the existing SS ‘EVP’ Miletkovo	125

Table 7.8: Habitats within study area, their valorization and distribution per Project element	130

Table 7.9: Flora within study area, valorization and distribution per Project element	131

Table 7.10: Bird fauna within study area, valorization and distribution per project element	132

Table 7.11: Fauna species (birds excluded) within study area, valorization and distribution per project element	134

Table 7.12: Criteria and conditions for identifying priority biodiversity features and critical habitats	136

Table 7.13: Threatened species that qualify for Critical Habitat and Priority Biodiversity Features	138

Table 7.14: Species that trigger Critical Habitat	140

Table 7.15: Habitats and species that trigger Priority Biodiversity Features	141

Figure 7.16: Distribution and EAAA for Testudo graeca	142

Figure 7.17: Distribution and EAAA for Lacerta trilineata	142

Figure 7.18: Distribution and EAAA for Podarcis muralis	143

Figure 7.19: Distribution and EAAA for Rana graeca	143

Figure 7.20: Distribution and EAAA for Bufo viridis	144

Figure 7.21: Distribution and EAAA for 92A0 Salix alba and Populus alba galleries	144

Figure 7.22: Distribution and EAAA for Streptopelia turtur	145

Figure 7.23: Distribution and EAAA for Alcedo atthis	145

Table 7.24: Settlements close to the elements of the Project	148

Table 7.25: Legally protected cultural heritage sites in proximity to the Project	151

Table 8.1: Vulnerability matrix	152

Table 8.2: Likelihood categories	153

Table 8.3: Measure of consequence	153

Table 8.4: Impact significance matrix	153

Table 8.5: Sensitivity of the Project to climate change, during operation	155

Table 8.6: Exposure of the Project to climate change, during operation	156

Table 8.7: Vulnerability of the Project to climate change, during operation	156

Table 8.8: Significance of the impact from climate change, during operation	156

Table 8.9: Proposed design climate parameters for the new 400/110 kV substation Miletkovo	158

Table 8.10: Proposed design climate parameters for transmission lines	159

Table 8.11: Limit values of noise for various zones as per Macedonian legislation	161

Table 8.12: Limit values of noise emissions from equipment for use outdoors	163

Table 8.13: Noise prediction for each construction process	164

Table 8.14: Distances at which vibration may be perceptible	164

Table 8.15: Significance of impacts from construction noise, without mitigation	165

Table 8.16: Significance of impacts from operational noise	169

Table 8.17: Sensitivity classification of geology and soils	170

Table 8.18: Criteria for assessment of magnitude of impact on geology and soils	171

Table 8.19: Impact significance matrix	171

Table 8.20: Matrix of significance categories for potential impacts on geology and soils	171

Table 8.21: Summary of potential construction impacts on geology and soils	172

Table 8.22: Summary of potential operational impacts on soils	172

Table 8.23: Significance of impacts on the areas with high sensitive soils along the transmission line	173

Table 8.24: Sensitivity criteria of catchment areas	175

Table 8.25: Criteria for assessment of magnitude of impact on hydrological resources	176

Table 8.26: Impact significance matrix	176

Table 8.27: Matrix of significance categories for potential impacts on hydrological resources	176

Table 8.28: Summary of potential construction impacts on hydrological resources	177

Table 8.29: Summary of potential operational impacts on hydrological resources	177

Table 8.30: Sensitivity of the catchment areas	177

Table 8.31: Significance of impacts on the catchment areas	178

Table 8.32: Sensitivity criteria of biodiversity receptors and natural heritage	181

Table 8.33: Criteria for assessment of magnitude of impact on biodiversity receptors and natural heritage	181

Table 8.34: Impact significance matrix	181

Table 8.35: Matrix of significance categories for potential impacts on biodiversity receptors and natural heritage	181

Table 8.36: Summary of impacts to sensitive sites (crossing over Vardar River)	182

Table 8.37: Severity of impacts on bird populations of mortality due to electrocution and collision with power lines for different bird families in Eurasia	185

Table 8.38: Typical evidence of bird injuries or mortalities from power line collisions	186

Table 8.39: Summary of impacts to Key Biodiversity Features	188

Table 8.40: Project activities and construction waste generation	193

Table 8.41: Estimated waste quantities from demolition and dismantling works	194

Table 8.42: Expected waste types during construction classified according to the European Waste Catalogue	194

Table 8.43: Expected waste types during operation classified according to the European Waste Catalogue	195

Table 9.1: Assumed construction traffic inventory	199

Table 9.2: Limit values for exposure to electric and magnetic fields (ICNIPR, 1998)	201

Table 9.3: Limit values for exposure to electric and magnetic fields (ICNIPR, 2010)	201

Table 9.4: An overview of land use effects from the Project	206

List of Figures

Figure 1.1: Macedonian grid and project area mid-term topology	15

Figure 1.2: Location of the new 400/110 kV substation Miletkovo	18

Figure 1.3: In-out connection of 400/110 kV substation Miletkovo with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)	20

Figure 1.4: Reconstruction of existing double phase 2x110 kV transmission line from Valandovo substation to ‘EVP’ Miletkovo substation to three-phase 110 kV transmission line and extension to 400/110 kV SS Miletkovo	21

Figure 1.5: New 110 kV transmission line from tower no.19 to 400/110 kV substation Miletkovo (extension of existing 110 kV transmission line, subject to reconstruction)	22

Figure 1.6: New 2x110 kV transmission line from 400/110 kV substation Miletkovo to ‘EVP’ Miletkovo substation	23

Figure 1.7: Project options and alternatives within Project options	27

Figure 1.8: Project Option 1 – Double circuit 110 kV OHL Dubrovo – Valandovo, alternative corridors	28

Figure 1.9: Project Option 2 – New 400/110 kV SS Valandovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 1	29

Figure 1.10: Project Option 2 – New 400/110 kV SS Miletkovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 2	30

Figure 1.11: Project Option 3 – New 400/110 kV SS Valandovo with 400 kV interconnection (Dubrovo – Valandovo – Thessalonica (GR)), alternative corridors	31

Figure 2.1: Macedonian grid and project area mid-term topology	43

Figure 2.2: Location of the new 400/110 kV substation Miletkovo	45

Figure 2.3: Layout of the new 400/110 kV substation Valandovo	49

Figure 2.4: In-out connection of 400/110 kV substation Miletkovo with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)	50

Figure 2.5: Typical tower for the in-out connection of the new 400/110 kV substation Miletkovo with the existing 400 kV transmission line from Dubrovo to Thessalonica (GR)	51

Figure 2.5: Typical Aluminium Conductor Steel-Reinforced conductor for 400 kV transmission line	52

Figure 2.7: Reconstruction of existing double phase 2x110 kV transmission line from Valandovo substation to ‘EVP’ Miletkovo substation to three-phase 110 kV transmission line and extension to 400/110 kV SS Miletkovo	53

Figure 2.8: New 110 kV transmission line from tower no.19 to 400/110 kV substation Miletkovo (extension of existing 110 kV transmission line, subject to reconstruction)	55

Figure 2.9: Typical tower for the extension of the existing 110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo, which will be reconstructed, to the new 400/110 kV SS Miletkovo	56

Figure 2.5: Typical all aluminium alloy conductor for 110 kV transmission line	57

Figure 2.10: New 2x110 kV transmission line from 400/110 kV substation Miletkovo to ‘EVP’ Miletkovo substation	58

Figure 2.10: Typical tower for the new double-circuit transmission line from the new 400/110 kV substation Valandovo to substation ‘EVP’ Miletkovo	59

Figure 2.11: Typical construction of a 400/110 kV substation infrastructure	65

Figure 3.1: Project options and alternatives within Project options	74

Figure 3.2: Project Option 1 – Double circuit 110 kV OHL Dubrovo – Valandovo, alternative corridors	76

Figure 3.3: Project Option 2 – New 400/110 kV SS Valandovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 1	77

Figure 3.4: Project Option 2 – New 400/110 kV SS Miletkovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 2	78

Figure 3.5: Project Option 3 – New 400/110 kV SS Valandovo with 400 kV interconnection (Dubrovo – Valandovo – Thessalonica (GR)), alternative corridors	79

Figure 3.6: Key benefit categories investigated in the network and market based assessment	80

Figure 3.7: Costs categories investigated in the economic assessment	80

Figure 4.1: Brief summary of the Macedonian regulatory context for environmental appraisal of projects	90

Figure 5.1: Impact mitigation hierarchy	105

Figure 7.1: Climate diagrams of Gevgelija and Valandovo	110

Figure 7.2: GHG emissions and removals (net emission) by sector (in Gg CO2-eq)	111

Figure 7.3: Gross inland energy consumption (in ktoe), with share of renewable energy sources	112

Figure 7.4: GHG emissions in Energy sector, by category (in Gg CO2-eq)	113

Figure 7.5: Projected mean-temperature anomaly in Macedonia, at a country level	114

Figure 7.6: Projected mean-temperature anomaly in the Project region	114

Figure 7.7: Projected change in warmest daily maximum temperature for Macedonia in 2080-2099, compared to 1995-2014 baseline, at a country level	115

Figure 7.8: Trend of the projected change in warmest daily maximum temperature in the Project region from 2000 to 2099, compared to 1995-2014 baseline	115

Figure 7.9: Projected change in precipitation for Macedonia in 2080-2099, compared to 1995-2014 baseline, at a country level	116

Figure 7.10: Projected change in precipitation in the Project region from 2000 to 2099, compared to 1995-2014 baseline	116

Figure 7.11: Hydrological catchment area in the Project region	121

Figure 7.12: Wider area of the new 400/110 kV substation Valandovo and ‘in-out’ connection with the existing 400 kV line	124

Figure 7.13: Study area, buffer area (2x500m) and the routes of the transmission lines	126

Figure 7.14: Study area and routes of the field work	127

Figure 7.15: Bird miigratory routes in Europe (European Environment Agency - European Union	133

Figure 7.16: EU conservation status of 92A0 Salix alba and Populus alba galleries	137

Figure 7.17: Cummulative score of all ecosystem services on national level.	146

Figure 7.18: Capacity for supply of ecosystem services of natural and seminatural ecosystems in the study area.	147

Figure 7.19: Location of the new 400/110 kV substation Miletkovo, land-use context	148

Figure 7.20: Location of the new 400/110 kV substation Miletkovo, in relation to closest settlements	149

Figure 7.21: Location of the protected cultural heritage site Gradishor-Mramor, relative to the Project	150

Figure 8.1: Relative distance from to closest residential properties to the new 400/110 kV substation Miletkovo	168

Figure 8.2: Typical reasons of electrocution of birds on operational transmission line	187

Figure 8.3: Design with measures of “flapper flight” diverter installed on overhead wire	190

Figure 8.4: No-go areas in the Project area (rivers and riparian habitats), at the crossing of the Vardar River and Anska Reka (largely channelled)	191

Figure 8.5: Riparian Willow and Poplar belts along the Vardar River, at the river crossing section with the Project	192

Figure 9.1: Typical diagrams of calculated values of electric and magnetic fields for an operational 110 kV transmission line at middle of the span	202

Figure 12.1: Core structure and organization of the Project’s Environmental and Social Management	214

Abbreviations

| Abbreviation | Meaning |
| --- | --- |
| AAAC | All aluminium alloy conductor |
| ACSR | Aluminium Conductor Steel-Reinforced (conductor) |
| AR5 | IPPC’s Fifth Assessment Report |
| AR6 | IPPC’s Sixth Assessment Report |
| CESMP | Construction Environmental and Social Management Plan |
| CH | Critical Habitat |
| CMIP(s) | Coupled Model Inter-comparison Project(s) |
| CORINE LC or CLC | COoRdinate INformation on the Environment (land data base), provided by European Environmental Agency |
| DLR | Dynamic Line Rate |
| EAAA | Ecologically Appropriate Area of Analysis |
| E&S | Environmental and Social |
| EBRD | European Bank for Reconstruction and Development |
| EIB | European Investment Bank |
| EIA | Environmental Impact Assessment |
| EMF | Electric and Magnetic Fields |
| EN | European Standard(s) (European Norm(s)) |
| ESP | Environmental and Social Policy (of the European Bank for Reconstruction and Development) |
| ENTSO – E | European Network Transmission System Operators – Electricity |
| ESIA | Environmental and Social Impact Assessment |
| ESMP | Environmental and Social Management Plan |
| ESMS | Environmental and Social Management System |
| EU | European Union |
| EVP | Electric Traction Plant (in Macedonian ‘Електровлечно построение’) |
| FS | Feasibility Study |
| GBVH | Gender Based Violence and Harassment |
| GIP | Good International Practice |
| HDV | Heavy Duty Vehicles |
| IBA | Important Bird Area |
| IEC | International Electrotechnical Commission |
| ICNIRP | International Commission on Non-Ionizing Radiation Protection |
| IFC | International Finance Corporation |
| IFI | International Financing Institution |
| ILO | International Labour Organisation |
| IMS | Integrated Management System |
| IPA | Important Plant Area |
| IPCC | Intergovernmental Panel on Climate Change |
| IPF7 | Infrastructure Project Facility, Technical Assistance 7 |
| LARF | Land Acquisition and Resettlement Framework |
| LARP | Land Acquisition and Resettlement Plan |
| LSG | Local Self-Government Units |
| MCP | Management of Change Procedure |
| MEPP | (Macedonian) Ministry for Environment and Physical Planning |
| MEPSO | Transmission System Operator of North Macedonia |
| MKS | Macedonian Standard(s) |
| NPV | Net Present Value |
| OG | Official Gazette |
| OHL | Overhead Line |
| OHS | Occupational Health and Safety |
| PBF | Priority Biodiversity Features |
| PM10 / PM2.5 | Particulate Matter (Suspended Particles) |
| Ref. | Reference |
| RES | Renewable Energy Sources |
| RoW | Right of Way |
| SCADA | Supervisory Control and Data Acquisition (control system) |
| SEP | Stakeholder Engagement Plan |
| SEW | Social Economic Welfare |
| SS | Substation |
| TSO | Transmission System Operator |
| WB | Western Balkans |
| WBIF | Western Balkans Investment framework |
| WCRP | World Climate Research Program |
| WHO | World Health Organization |

# Executive Summary

## Objective of the Proposed Project

The main objective of this project is to design, construct and operate a new 400/110 kV substation (SS) Miletkovo in the area of the village Miletkovo, in Gevgelija municipality, and connection of this new substation with the existing 110 kV transmission network in the region and with the existing 400 kV transmission line Dubrovo – Thessalonica (GR), by in-out connection (‘Project’).

The Project is a component of a wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia, which also includes a project for reconstruction of the existing 110 kV transmission line SS Valandovo – SS Strumica 2 – SS Strumica 1 by upgrading its transmission capacity and partial cabling in the urban zones of Strumica.

## Project Developer

The project developer is the Macedonian Transmission System Operator (MEPSO). MEPSO is a Joint Stock company fully state-owned, established in 2005 after the transformation of the Electric Power Company of Macedonia (‘Elektro-stopanstvo na Makedonija’). The core activity of MEPSO is a reliable electricity transmission via the national high voltage network, electric power system control and regular and duly electricity flow to its clients such as the large industrial consumers, and to the low voltage grid of the Macedonian electricity distribution system operator (EVN Macedonia). To perform its activity MEPSO has been granted the following relevant licenses from the national Energy Regulatory Commission:

A license of doing the energy business and activity in terms of electricity transmission and activity transmission system control.

A license of doing power business and activity, organization and electricity market control.

## Need for the Proposed Project

In order to meet the goals of the European Union for the integration of energy from Renewable Energy Sources (RES), North Macedonia makes efforts to maximize the integration of these energy sources into the national power system. Due to the favourable climate conditions, the investments in the RES (wind power, solar power and hydropower) are most cost-effective in the south-eastern region of North Macedonia. Therefore, it is expected that the most significant investments in utilization of RES are/will be located mostly in this region (Figure below).

MEPSO already faces several requests for new connections of RES in the local transmission grid in the wider Project region. Newly installed capacities of RES – wind power plants (WPP), big and small hydro power plants (HPP) as well as solar power plants (SPP) - up to 350 MW, are expected in a mid-term horizon in this region. In addition, new WPP - 536 MW, HPP - 185 MW SPP - 250 MW are foreseen until year 2040, in a long-term horizon.

Transmission grid in the southeast region of Macedonia (110 kV transmission line Dubrovo – Valandovo – Strumica 2 – Strumica 1, approx. 57.5 km long line) is approaching the end of the lifecycle and lacks capacity for connection of new renewable electricity sources to the network. As such, it is a candidate for reconstruction due to ageing process. In addition, in the midterm forecasted regimes, there are contingency cases with a higher risk to the security of supply.

Figure 1.1: Macedonian grid and project area mid-term topology

Source: MEPSO

The main objective of the Project is to design, construct and operate a new 400/110 kV substation (SS) Miletkovo in the area of the village Miletkovo, in Gevgelija municipality. This new substation will be connected with the existing 110 kV transmission network in the Project region and with the existing 400 kV transmission line Dubrovo – Thessalonica (GR), by in-out connection.

As noted, this Project is a component of a wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia, which also includes a project for reconstruction of the existing 110 kV transmission line SS Valandovo – SS Strumica 2 – SS Strumica 1 by upgrading its transmission capacity and partial cabling in the urban zones of Strumica.

This wider development scheme is also expected to provide:

Increased security of supply.

Secure and reliable integration of planned RES in the southeast region of the country, which consequently contribute towards reduction in CO2 emissions.

Increased efficiency and capacity of the transmission grid with smart grid solutions (Dynamic Line Rate (DLR) & asset management).

## Purpose and Structure of the Report

This document represents an Environmental and Social Assessment Report for the Project - New 400/110 kV Substation Miletkovo with Connection to the existing 400 kV and 110 kV Transmission Network, which is a component (sub-project) of a wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia.

The Report has been prepared as part of the environmental and social (E&S) assessment process in accordance with the international requirements as required by the potential Project Lender – the European Bank for Reconstruction and Development (EBRD) and based on the respective outcomes of the E&S scoping process.

This Report is based on the Technical Assessment (Conceptual Solution) for the proposed transmission development. The Project is to be developed further through reference design stages (i.e. Preliminary Design and Detailed Design) which will form the basis for the detailed environmental and social appraisal and application to the Macedonian competent authority for consenting purposes.

The main text of this E&S Assessment Report divides in several parts:

- Chapter 2 describes the Project and its components. It outlines the Project history and the design process to date and summarises the Project structures and elements which will be further designed and subsequently constructed.

- Chapter 3 presents the Project options and alternatives considered, including the ‘do-nothing’ option, and the selection process of the preferred Project option.

- Chapter 4 presents the key legal and planning policy framework relevant for the Project

- Chapter 5 presents the approach taken to the E&S assessment.

- Chapter 6 presents the stakeholder engagement process – consultation and participation arrangement taken to date.

- Chapter 7 describes the main components of the physical and natural baseline environment and the social context in the area likely to be affected by the implementation of the Project.

- Chapters 8 -10 present the assessment of the likely significant effects of the Project and the proposed mitigation in relation to the relevant specialist topics covering particular aspects of the physical and natural environment as well as the societal environment.

- Chapter 11 outlines the Project’s emergency response planning.

- Chapter 12 outlines the Project’s environmental and social management.

## Project Design Status and Level of Details

In this stage, the Project is developed to a feasibility level - to a detail considered sufficient to establish that the proposed developments are technically feasible and to allow initial assessment of their environmental and social integrity and effects, i.e. to a level of Technical Assessment (Conceptual Solution) that corresponds to a Feasibility Study. Therefore, the level of detail of the present E&S assessment is compliant with that of the Project’s Conceptual Solution whose content and scope are not specifically regulated by the relevant Macedonian legislation. As such, the Conceptual Solution is not considered as formalised design document and no administrative consenting process for its adoption by the competent authorities is required. According to the general practice, this Conceptual Solution (in Macedonian: ‘Konceptualno reshenie’) contains in particular data on: macro-location and general disposition of the facility / infrastructure; technical-technological conception of the facility / infrastructure; the manner of providing the supporting infrastructure; possible variants of spatial and technical solutions from the point of view of fitting into space; natural conditions; functionality and rationality of the project solution.’ The Feasibility Study and the Technical Assessment (Conceptual Solution) comply with the respective EBRD requirements.

Further design, including precise location of towers (for new transmission lines) and new access roads (where necessary) will be undertaken once the more detailed technical design (Preliminary Design and Detailed Design) as required by the Macedonian relevant legislation are developed and prior to construction commencing. This change or refinement of the feasibility design (Conceptual Solution) will be within the limits of deviation defined as a 500 m wide planning corridor along the new transmission lines where individual towers can be moved laterally or longitudinally and a 100 m buffer around proposed substation location. It is anticipated that the majority of the refinement of the current feasibility design will be within this corridor/buffer and, taken into the consideration the nature and the scale of Project, further design development or refinement in this regard is not likely to be undertaken. However, if changes to design beyond these limits occur, they will require further E&S consideration and may be subject to supplementary assessment. If these changes are material, they may require approval by Project parties. This process is described in the Management of Change Procedure (MCP) as described in this report. Where technical details of the Project have still to be finalized, such as detailed construction methods, etc., standard practice assumptions are made in the E&S assessment to allow potential impacts to be identified and appropriate mitigation formulated (see Section 5.9).

## The Proposed Project

### Project Location

The Project area is situated in Southeast Region of North Macedonia, in two Macedonian local self-government (LSG) units - the municipalities of Gevgelija and Valandovo.

The location of the proposed 400/110 kV SS Miletkovo (is situated in the wider area of the settlement Miletkovo (at relative distance of approximately 1 km), in the municipality of Gevgelija, in immediate proximity to the A1 highway Skopje – Gevgelija (further to Thessalonica, Greece), at approx. 7.5 km from the existing 110/35/10 kV substation in Valandovo (Figure below). There are no other existing structures or transmission or other infrastructure in proximity to the location of the new substation. According to the publicaly available information and information from the relevant spatial and urban planning authorities obtained throughout the stakeholder engagement process to date, there are no future development plans associated to the proposed location for the new substation. This new substation would be connected with the existing 400 kV transmission network via ‘in-out’ approx. 500 metres long connection with the existing 400 kV OHL from Dubrovo to Thessalonica (GR) which passes in the immediate proximity to the proposed substation location.

to Gevgelija / Thessaloniki

to Skopje

Miletkovo

A1 Highway

Figure 1.2: Location of the new 400/110 kV substation Miletkovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Note: The archaeological site depicted in the Figure is at approximate distance of 700 metres from the proposed location of the new substation

The new substation would be connected to the existing 110 kV transmission network by the following interventions:

Reconstruction of the existing 110 kV OHL from Valandovo to the existing 110/20 kV SS ‘EVP’ Miletkovo utilizing the same route of the existing line (approx. 6 km) and its approx. 1.9 km long extension to the new 400/110 kV SS Miletkovo

- The alignment of this transmission line passes through the territory of two Macedonian LSGs: the municipalities of Valandovo and Gevgelija. The line has dominant west and west – southwest directions, passing through mainly agricultural land, as well as some shrubland and pastures. The alignment crosses the canalised river Anska Reka at two crossing points as well as the Vardar River. The nearest settlements along the line are the village Miletkovo, located at a relative distance of approx. 700 metres from the line as well as the villages Brajkovci, Balinci and Marvinci located at a relative distance of more than 1000 metres from the line. The line crosses several features of transport infrastructure in the Project region: two regional roads (R1105 and R1102), as well as the railway Skopje – Thessalonica (GR).

Construction of a new approx. 1.8 km  long 2x110 kV OHL from the new 400/110 kV SS Miletkovo to the existing 110/20 kV SS ‘EVP’ Miletkovo

- The alignment of this transmission line is located within the territory of one Macedonian LSG: the municipality of Gevgelija. The alignment goes in general south-southwest towards the location of the new 400/110 kV substation Valandovo, in parallel with the extension of the 110 kV OHL SS Valandovo – SS ‘EVP’ Miletkovo, as described above.

### Project Elements

A brief overview of the key elements of the Project is provided below.

In wider context, the main elements of the Project and their inclusion in the environmental and social appraisal comprise the following:

To construct and operate a new 400/110 kV substation Miletkovo, located in the area of village Miletkovo (Gevgelija municipality):

400 kV Switchyard with a total of seven bays of which five fully equipped and two as spare bays;

Two power transformers 400/110/x kV, 300/300/x MVA and third power transformer of same type if required, according to 3system needs

110 kV Switchyard with a total of seventeen bays, of which seven fully equipped and ten as spare bays;

Control building, with approximate dimensions of 20 m x 40 m, and

Relay kiosks in the 400 kV and 110 kV switchyards.

- The area required for construction of the substation is approximately 6 ha (300 m x 200 m). The entire substation will be constructed on an open space with equipment and safety distances for outdoor installation in accordance with the applicable technical standards.

The new 400/110 kV substation will be connected to the existing 400 kV and 110 kV transmission network via the following interventions:

In-out, approx. 0.5 km long, connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR) (Figure below)

A typical 400 kV transmission line includes the following main technical elements:

- Towers, designed as galvanised steel-lattice single circuit self-supporting towers with a horizontal configuration of conductors and two earth wires. The proposed in-out connection is designed with two steel-lattice angle (tension) towers with two conductors per phase, with a height range between 17 and 33 metres. The maximal footprint area for a tower is approximately up to 250 m2. Each tower will have four legs and single reinforced concrete foundation per leg, i.e. four foundations for each tower.

- Phase conductors, attached to the cross-arms at the towers by insulator strings. Characteristics of the conductors will be in compliance with national standards (MKS) and European standards (European Norms – EN).The insulators in the case of angle towers are attached in line with the conductors (tension strings).

- Protective wires, strung in horizontal configuration above the top most conductors between the tower peaks for protection against lightning strikes.

Figure 1.3: In-out connection of 400/110 kV substation Miletkovo with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Reconstruction of the existing 2x110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo and its extension to the new 400/110 kV SS Miletkovo

- The reconstruction can be divided into two separate processes:

    - Reconstruction of the existing line from tower no.1 to tower no.19 (yellow line in the Figure below), in approximate length of 6 km. In accordance with the System Studies performed for the purposes of the Project and the limited space for reconstruction/extension in existing SS 110/35 kV Valandovo, the existing double system (2x110 kV) OHL SS Valandovo – SS ‘EVP’ Miletkovo will be reconstructed to three phase single circuit (1x110 kV) line, with the use of the same towers and positions and by replacing the conductor, to increase its transfer capacity. Therefore, for the purposes of this reconstruction, the existing towers will remain in use during the operational life of the reconstructed line. The dismantling works will consist of dismantling of the existing conductor (four conductor wires), the insulator strings and earth wire.

Figure 1.4: Reconstruction of existing double phase 2x110 kV transmission line from Valandovo substation to ‘EVP’ Miletkovo substation to three-phase 110 kV transmission line and extension to 400/110 kV SS Miletkovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

    - Construction of an extension - a new three phase 1x110 kV line from tower no. 19 to the new SS 400/110 kV Miletkovo (dark blue line in the Figure below), in approximate length of 1.9 km.

The proposed extension of the existing 110 kV line from SS Valandovo to SS ‘EVP’ Miletkovo, which will be reconstructed, to the new 400/110 kV SS Miletkovo includes the following technical elements:

- Towers, designed as galvanised steel-lattice towers with three arms configuration of conductors with one conductor per phase, with a height range between 12 and 30 metres. The maximal footprint area for a tower is approximately up to 100 m2. Each tower will have four legs and single reinforced concrete foundation per leg, i.e. four foundations for each tower.

- Phase conductors and insulator strings. One conductor per phase is foreseen. Characteristics of the conductors will be in compliance with national standards (MKS) and European standards (European Norms - EN). The insulator strings will be tension strings.

- A ground wire strung above the towers arms at the tower peak for protection against lightning strikes.

Figure 1.5: New 110 kV transmission line from tower no.19 to 400/110 kV substation Miletkovo (extension of existing 110 kV transmission line, subject to reconstruction)

Note: the extension is depicted in dark blue line

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Construction of a new approx. 1.8 km long 2x110 kV OHL from the new 400/110 kV SS Miletkovo to the existing SS ‘EVP’ Miletkovo (light blue line in the Figure below), as a double-system line (2x110 kV) to provide reliable supply to the SS ‘EVP’ Miletkovo which is the main power supply of the railway transport system in the southeastern part of the country, comprising of the following main technical elements:

    - Towers, designed as galvanised steel-lattice single circuit self-supporting towers with four arms configuration of conductors and one earth wire at the top of the towers. The number of towers and their type as well as the proposed position of each individual tower within the proposed OHL corridor will be identified and confirmed during the upcoming Project reference development stages (Preliminary Design and Detailed Design) in line with the relevant Macedonian legislation.The typical tower height range is between 12 and 27 metres for the tension towers, and 12 to 30 metres for the suspension tower types. The maximal footprint area for a tower is approximately up to 150 m2. Each tower will have four legs and single reinforced concrete foundation per leg, i.e. four foundations for each tower.

    - Phase conductors, attached to the cross-arms at the towers by insulator strings, which, in the case of suspension towers, hang vertically below the cross-arms. Characteristics of the conductors will be in compliance with national standards (MKS) and European standards (European Norms – EN). At angle towers the conductors are again attached to the cross arms by insulators but in this case the insulators are in line with the conductors.

    - Protective wires, strung in horizontal configuration above the top most conductors between the tower peaks for protection against lightning strikes.

Figure 1.6: New 2x110 kV transmission line from 400/110 kV substation Miletkovo to ‘EVP’ Miletkovo substation

Note: the extension is depicted in light blue line

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

## Right of Way

The relevant Macedonian legislation requires establishment of a protection zone (safety zone) or Right of Way (RoW) along the path of a transmission line and in proximity to a substation. This zone is prescribed by MEPSO’s Grid Code, according to which – ‘the safety zone is the area and the space, below, above and along the existing electric power transmission facilities, necessary for their spatial planning, protection and maintenance, in which the right of ownership is restricted or the possibility for performing construction actions and other activities without consent granted by MEPSO is limited’.

For an operational transmission line, the protection zone is prescribed by MEPSO’s Grid Code and is determined by the voltage of the line:

15 m from the axis of an operational overhead line with nominal voltage of 400 kV (or 30 metres wide safety corridor (zone) along the path of the line).

10 m from the axis of an operational overhead line with nominal voltage of 110 kV (or 20 metres wide safety corridor (zone) along the path of the line).

1.5 m from the axis of an operational cable transmission line with nominal voltage of 110 kV (or 3 metres wide safety corridor (zone) along the path of the line).

- For an operational substation with a nominal voltage of 400 kV and 110 kV, the required safety distance is 5 metres from the outer edge of the substation’s fence or wall.

- For each element of the Project, the study area for the assessment considers the respective RoW and beyond.

- The regulation’s objective is to facilitate the uninterrupted functioning of the power grid, to ensure safe operations, to meet the requirements of the sanitary and safety norms, and to prevent accidents. Within this protection zone buildings and facilities must not be constructed and certain activities are restricted to ensure the safe operation of the lines and for the safety of people. These mainly include agriculture activities within the RoW which include cultivated plants or trees which reach height that may pose safety operational risk for the line, or agricultural practices that use spraying equipment as well as fixed or mobile irrigation equipment.

It is also necessary to remove trees and vegetation from within the right of way for the safe operation of the transmission line. Therefore, in areas of forestry and woodland, clearance on either side of the transmission line within the safety zone is required according to the rules defined by the relevant Macedonian legislation.

## Alternatives Considered and Selection of Preferred Option

### No Project Option

The ‘No Project’ option (‘Do Nothing’) is an alternative involving no development of the proposed Project.

One of the main strategic pillars identified in the Macedonian Strategy for Energy Development until 2040 [Ref.14] (the Strategy) is achieving high level of integration of the national energy system with the international energy markets. In addition, the Strategy foresees a goal for decarbonisation of the Macedonian energy system, which is to be achieved by a number of strategic goals, including reduction of the greenhouse gas emissions associated with the energy production and increasing the penetration of the renewable energy sources in the overall energy consumption, in a sustainable manner.

The integration with the international markets is foreseen to be achieved by continuous investments in the transmission and distribution network in order to [Ref.14]:

greater integration of renewable energy sources or electricity production, especially from wind and solar sources,

enabling the producer-consumer mechanism ("prosumer"),

greater penetration of electric vehicles, and

satisfying the increased demand for electricity in the region.

Аccording to the Strategy, the biggest challenge for achieving these goals, including the foreseen increased penetration of the of renewable energy sources, from the perspective of the national transmission system, will be the strengthening of the existing 110 kV voltage level grid by reconstruction/replacement of 110 kV transmission lines in particular regions. Given the long-term investment plan of MEPSO until 2040, ‘the system needs an investment of 163 million. EUR, of which 87 mil. EUR for a new network and 76 mil. EUR for network revitalization. The largest investments in revitalization of ~ 70% are expected to be in the period 2025-2040, while ~ 98% of investments in a new transmission network should be made by 2030, based on the lowest costs.’ [Ref.14].

Therefore, this Project for strengthening the transmission network in Southeast Region of Macedonia is seen as an important step towards fulfilment of the Strategy goals for integration of energy from renewable sources into the national power system, since the most significant investments in this regard are (will be) located mostly in this region of the country. Beside the key benefit from the Project – to secure reliable integration of the planned renewable sources in the southeast region of the country, which consequently contributes towards reduction in CO2 emissions, the Project will increase the security of supply and will contribute towards increase of the efficiency and capacity of the transmission grid with smart grid solutions.

In terms of fulfillment of the above Macedonian strategic goals, the ‘No Project’ option has no positive argument in its favour, because if the proposed Project is not build, then it would cause a serious problem in the planned national energy sector development and the regional integration of the Macedonian electricity system. Such scenario would also result in serious obstacle in regard to the country’s efforts to meet the goals of the European Union for the integration of energy from renewable sources into the national power system.

‘No Project’ option does not involve capital investment costs. However, maintenance costs are higher than for lines within the expected life span because the equipment would become obsolete with an expired useful life. Consequently, the ‘No Project’ option will directly contribute to higher operational costs of the existing out-of-date transmission infrastructure in the Project region, as well as to higher technical losses. It will also decrease security and reliability of the power supply in the Project region.

In a wider context, the ‘No Project’ option would limit overall economic development and possibilities for the improvement in the social welfare of the citizens in the Project region and wider context – at country level.

### Project Options

Based on the transmission network topologies defined in the Project-related studies, three options have been identified (including alternative corridors for each option) (Figure below), in order to make a clearer distinction between different network configurations. They are all built based on the network topology, representing the basic development of the local transmission networks for three referenced years - 2025, 2030 and 2040.

The key technical elements of the identified options are as follows:

- Project Option 1 - Double Circuit 110 kV OHL Dubrovo – Valandovo, which includes the following main components:

  - Construction of a new double circuit 110 kV OHL between Valandovo and Dubrovo

  - New 400/110 kV power transformer in the 400/110 kV SS Dubrovo, with respective 110 kV and 400 kV bays

  - Reconstruction of the existing 110 kV OHL Valandovo – Strumica 2 – Strumica 1

- Project Option 2 - New 400/110 kV substation and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), which includes the following main components:

  - Construction of a new 400/110 kV substation

  - Connection of the existing 400 kV OHL Dubrovo – Thessalonica (GR) into the new substation

  - Reconstruction of the existing 110 kV OHL Valandovo – Strumica 2 – Strumica 1

- Project Option 3 – New 400/110 kV substation with interconnection (new 400 kV OHL Dubrovo – Valandovo – Thessalonica (GR)), which includes the following main components:

  - Construction of a new 400/110 kV substation

  - Construction of a new 400 kV OHL Dubrovo – Valandovo – Thessalonica (GR)

  - Reconstruction of existing 110 kV OHLs Valandovo – Strumica 2 – Strumica 1

As an element of the wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia, the Sub-project 2 - Reconstruction of the existing 110 kV OHL Valandovo – Strumica (Component 2) was included in each of the identified options. As such, this element was not a comparative factor for the decision-making process for selection of the preferred option and was not taken into the comparative analysis of the identified options.

At the present development stage of the Project, no technical alternatives in terms to the OHL towers and equipment as well as substation elements have been considered. Technical specifications and details of the elements to be used for the Project are widely defined by MEPSO’s Grid Code and across the identified options they would not make substantial change. However these will be assessed in the course of the upcoming more advanced design for the preferred option in order to ensure that the best engineering option is foreseen and further specified (e.g. in the technical specs and bill of quantity).

Figure 1.7: Project options and alternatives within Project options

### Description of the Options

- Project Option 1 – Double-circuit 110 kV OHL Dubrovo – Valandovo (Figure below)

Due to the high-level environmental constraints identified in the Project region (see Annex 2), two routing alternative corridors of the 2x110 kV OHL alignment were identified and assessed for this Project option (Figure below):

Alternative 1 – Southern Corridor. This corridor is generally routed in parallel with the existing 110 kV OHL Dubrovo- Valandovo, at relative distance of approx. 500 m from its centreline, with one particular deviation aiming to minimise the crossing section with the proposed protected area Demir Kapija Gorge. The corridor is with an approximate length 41 km.

Alternative 2 – Northern Corridor. From its starting point – SS Dubrovo – for approx. 9 km, this alternative corridor is routed in parallel with the 400 kV OHL SS Dubrovo – SS Stip at relative distance of approx. 500 m. From this point, the alignment turns to the east to hilly and mountainous terrain until it reaches the highest point of around 1,000 m a.s.l and then it descends towards the ending point – existing SS Valandovo. The corridor is with an approximate length of 55 km, 14 km longer than the Southern Corridor.

Figure 1.8: Project Option 1 – Double circuit 110 kV OHL Dubrovo – Valandovo, alternative corridors

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

This option also includes extension of the SS Dubrovo and SS Valandovo to accommodate the proposed new 2x110 kV line. In SS Dubrovo a new power transformer with respective new bays would be required. An extension of the existing SS Valandovo with new bays would be required to accommodate the connection with new renewable energy sources planned in the Project region.

- Project Option 2 - New 400/110 kV substation and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR) (Figure below)

This option includes two alternatives of the location of the proposed new 400/110 kV substation, resulting in different layout of the OHL connectors:

Alternative 1 – Location 1 (Valandovo) - adjacent to existing 110/35/10 kV SS Valandovo

The alternative location 1 for the proposed 400/110 kV substation, located on the territory of the municipality of Valandovo, is adjacent to the existing SS Valandovo. The new substation would include construction of 400 kV and 110 kV switchyards with necessary bays and equipment to support the foreseen operation of the facility. This alternative also includes a new approx. 7.8 km long 400 kV line - in-out connection of the proposed substation with the existing 400 kV OHL Dubrovo – Thessalonica (GR). From its starting point - the new SS 400/110 kV Valandovo – the corridor of these lines is routed in the south – southwest direction, avoiding the settlements in the area (villages Brajkovci, Balinci and Marvinci) and connecting to the existing 400 kV OHL in proximity to the village Grchiste.

Figure 1.9: Project Option 2 – New 400/110 kV SS Valandovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 1

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

Alternative 2 – Location 2 (Miletkovo) - in vicinity to existing 110/25 kV SS ‘EVP’ Miletkovo in proximity of the A1 highway

The alternative location 2 of the proposed 400/110 kV substation, located in the area of village Miletkovo, on the territory of the municipality of Gevgelija, is in the vicinity of the 110/25 kV SS ‘EVP’ Miletkovo, right next to the A1 highway Demir Kapija Smokvica, at around 7.5 km from the existing SS Valandovo. The existing 400 kV OHL Dubrovo – Thessalonica (GR), would be connected to the new substation via approx. 0.5 km long in-out connector.

New 400kV SS Miletkovo

Figure 1.10: Project Option 2 – New 400/110 kV SS Miletkovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 2

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

The following interventions to provide connection of the new substation with the existing 110 kV transmission network in the Project region are constituent elements of this alternative:

Reconstruction of existing approx. 6.4 km long double-circuit 110 kV OHL from Valandovo to Miletkovo and extension to the new 400/110 kV SS Miletkovo. In 6 km long section, this line will be reconstructed to three phase single circuit (1x110 kV) line, with the use of the same towers and positions and by replacing the conductor, to increase its transfer capacity. The extension of the line is approx. 1.9 km long.

Construction of new double-circuit 110 kV from the new SS Miletkovo to existing ‘EVP’ SS Miletkovo, from a point in proximity to the SS ‘EVP’ Miletkovo to the new 400/110 kV substation with an approximate length of 1.8 km, in order to complete the connection of new substation with the existing SS Valandovo.

- Project Option 3 – New 400/110 kV SS Valandovo with interconnection (new 400 kV OHL Dubrovo – Valandovo – Thessalonica (GR)) (Figure below)

This option includes construction of a new 400/110 kV SS Valandovo adjacent to the existing SS Valandovo, same as the respective element of the Project Option 2, Alternative 1 as previously described. In addition, it foresees construction of a new single-circuit 400 kV OHL Dubrovo – Valandovo – MK/GR border (further to Thessalonica (GR), composed of two separate sections:

- Section SS Dubrovo - SS Valandovo

Two alternative corridors were identified in this section. These are identical in geographic context to the OHL routing alternatives identified and assessed in the scope of the Project Option 1 Alternative 1 – Southern Corridor (approx. 41 km long corridor) and Alternative 2 – Northern Corridor (approx. 55 km long corridor).

- Section SS Valandovo - MK/GR border

This section would be approx. 24 km long, with the first segment of approx. 8 km to be built along the same alignment as described in Project Option 2, Alternative 1. The remaining 16 km would be built in parallel with the existing 400 kV OHL SS Dubrovo - MK/GR border.

Figure 1.11: Project Option 3 – New 400/110 kV SS Valandovo with 400 kV interconnection (Dubrovo – Valandovo – Thessalonica (GR)), alternative corridors

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

### Evaluation of Options - Multi-Criteria Analysis

The Multi-Criteria Analysis procedure requires (i) the establishment of the set of criteria that should measure each option’s / alternative’s performance against the objectives, and (ii) the assessment of the options / alternatives. The assessment has included the following steps:

- Definition of the criteria “weights”, in order to reflect and illustrate their relative importance;

- Scoring of each option against the criteria;

- Combination of weights and scores to calculate each option’s overall score;

- Ranking the options according to their scores.

Three main criteria categories have been defined for the Project (Table below): (i) network and market based criteria, with two sub-categories – non monetised benefits and monetised benefits and costs; (ii) engineering or technical criteria, and (iii) environmental and social criteria, with two sub-categories - environmental elements and social elements. Comparative assessment of these three categories and associated sub-categories has resulted in the category weights as presented in the Table below.

Each criteria category consists of different selected criteria, as documented in the respective report.

| No. | Criteria category (group of indicators) | Weight (%) |
| --- | --- | --- |
|  | Network and market based |  |
| 1 | Non-monetised benefit elements, based the following sub-criteria: - Variation of CO2 emission - RES integration - Evacuation capacity - Spilled energy from RES | 20 |
| 2 | Monetised benefit and cost elements, based the following sub-criteria: - Benefit / cost ratio - Socio-economic Welfare - Variation of grid losses | 25 |
|  | Sub-total: | 45 |
|  | Engineering / Technical |  |
| 3 | Technical elements and location assessment, based the following sub-criteria: - Terrain conditions and topography for the new substation and the corridors for the new overhead lines - Climate parameters for the new transmission infrastructure - Land availability for the new 400/110 kV substation - Availability of free OHL corridors for new conections of renewable energy sources - Required upgrade of existing transmission assets (line and substations) | 25 |
|  | Sub-total: | 25 |
|  | Environmental and social |  |
| 4 | Environmental elements, based the following sub-criteria: - Climate resilience (climate adaptation) - Biodiversity and sensitive zones (forests, wetlands, flood plains, riparian areas, geological and water environment) - Designated areas - legally protected areas / internationally recognised areas - Sensitive or valued landscapes | 15 |
| 5 | Social elements, based the following sub-criteria: - Proximity to people and settlements - Community health and safety (e.g. public exposure to electromagnetic fields, audible noise caused by corona effect during operation) - Valued land uses – agricultural land, woodland (land acquisition and involuntary resettlement needs) - Impacts on cultural and archaeological heritage | 15 |
|  | Sub-total: | 30 |
|  | Total (1 to 5): | 100 |

Table 1.1: Criteria categories for Multi-Criteria Analysis, with their weighting factors

### Selection of Preferred Option

The selection process of the preferred Project option via the above MCA approach and methodology and based on the evaluation of each identified option and alternatives within the options against the selected criteria has indicated that preferred option would be the Option 2, Alternative 2 - New 400/110 kV SS Miletkovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR).

The rationale behind this recommendation is as follows [Ref.4]:

- System studies and economic assessment

- According to the results of system studies, Option 2 is indicated as the best one from the reduction of energy curtailed from RES in the Project region, from the biggest losses reduction, and increase of additional capacity reserve.

- From economic assessment point of view, the Project brings sufficient monetised benefits to Macedonia and it is economically viable for the society and the national economy as a whole. The assessment has indicated the preferred option (Option 2, Alternative 2) is the most viable option / alternative from economic point of view.

- Technical assessment and E&S aspects

From the technical as well as from the environmental and social perspective, the Option 2, Alternative 2 is superior in comparison to other identified Project options and respective alternatives, since:

It does not require construction of new long 110 kV or 400 kV overhead line and, therefore, it implies the least land-take needs and land cover / land use changes;

It implies the least interventions (reconfiguration and extensions) in the existing transmission assets in the Project region and, therefore, the least impact on the existing operation of the power system;

There are no settlements in proximity to the Project locations and no operational community safety risks (e.g. public exposure to electro-magnetic radiation or nuisance due to corona noise) are likely to occur;

It implies the least potential impact magnitude to sensitive habitats in the Project region;

It does not interact with any legally protected area or internationally recognised area in the Project region;

It implies the least potential impact magnitude on agricultural land and, therefore, will likely result in the least compensation arrangements;

There are no cultural heritages sites and resources in proximity to the Project locations.

The preferred Project option consists of the following components:

Construction of a new 400/110 kV SS Miletkovo, located in Miletkovo area (Gevgelija municipality), with its connection to the existing 400 kV and 110 kV transmission network (Sub-project 1) via the following interventions:

In-out, approx. 0.5 km long, connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

Reconstruction of the existing approx. 6.4 km long 2x110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo and its extension to the new 400/110 kV SS Miletkovo.

Construction of a new approx. 1.8 km long 110 kV OHL connector with the existing SS ‘EVP’ Miletkovo

Based on the subsequent review and consultative process with key relevant stakeholders, this proposal was accepted by MEPSO in their capacity as Project Beneficiary and EBRD in their capacity as lead IFI in October 2021 and it was selected as preferred Project option for further development and E&S assessment (this Report).

The preferred Project option is shown in Annex 1.

## Project Category

During the impact assessment scoping phase, with an aim to determine the nature and level of environmental and social investigations, information disclosure and stakeholder engagement required, the Project has been categorized against the key applicable legal requirements and international standards:

- The EBRD Environmental and Social Policy (2019) (Appendix 2: A list of Category A projects);

- Macedonian legal EIA screening requirements (Decree on determining of projects and criteria upon which the need for an environmental impact assessment (EIA) is established (Official Gazette of RM no.74/05, 109/09 & 164/12)); and

- The EU EIA requirements (EIA Directive, i.e. Annexes of the Directive which list the projects that fall under its scope)

The following Table summarizes the results of the screening exercise against the relevant regulative requirements.

| EBRD ESP | Macedonian EIA regulations | EU EIA Directive |
| --- | --- | --- |
| Category B development, (E&S Assessment report is required) | Annex II development Formalised EIA not mandatory / Formalised EIA may be required (case-by-case examination) | Annex II development EIA is not compulsory / EIA may be required (case-by-case examination) |

Table 1.2: Summary of the Project categorisation against the applicable standards

Based on the findings of the Project’s categorisation process and in consultation with EBRD, this Project is assessed as B Category according to the EBRD Environmental and Social Policy, requiring an Environmental and Social Assessment Report (this Report).

## Environmental and Social Assessment Summary

Different project aspects have been considered throughout the process of assessing the impact of the Project on the biophysical and societal environment.

The assessment for individual relevant E&S topics is provided in technical sections 7 - 12 of this Report. Each assessment provides an assessment of the likely significant effects and the Table below provides a high level summary of these effects.

Table 1.3: Summary of assessment of likely significant environmental and social impacts and key mitigation

| Topic | Phase | Key Potential Impacts | Significance (without mitigation) | Key Mitigation | Residual Impact |
| --- | --- | --- | --- | --- | --- |
| Climate – Greenhouse Gases | Construction | Construction GHG emissions Note: Since the Project is in its initial development stage and the relevant information for GHG calculation during construction stage of the Project is currently not available (e.g. number of OHL towers, construction transport and methods, etc.), the calculation of GHG emissions associated with the construction of the Project has been scoped out from the present assessment. If required, it is to be considered as part of supplementary climate impact assessment during next development stages of the Project (e.g. Preliminary Design or Detailed Design). | NA | - Calculation of GHG emissions associated with the construction of the Project, based on proven methodology - Construction Environmental and Social Management Plan (CESMP) - Traffic Management Plan - Waste Management Plan Other principle mitigation: - Optimisation of the construction methods to reflect the carbon reduction hierarchy - Select and engage with material suppliers and Contractor(s) taking into account their policies and commitments to reduction of GHG emissions, including embodied emission in materials. - Request from Contractor(s) to: minimise energy consumption, including fuel usage; maximise the local sourcing of materials and the use of local waste management facilities. | NA |
|  | Operation | Operational GHG emissions Note: GHG emissions are expected to be very small over time during operational life of the Project. Therefore, calculation of GHG emissions during operation and maintenance of the Project have been scoped out from the assessment. | None to minor adverse | - Low carbon design specifications such as energy-efficient lighting (at the substation) and durable construction materials to reduce energy consumption and maintenance and decrease replacement cycles. | Minor adverse |
| Climate - Resilience | Operation | Vulnerability to a range of climate change risks, including an increased frequency and severity of prolonged and/or heavy precipitation events and lightning, cold and heat waves, and an increased risk of storms with high wind speed. These extreme weather events associated with the expected climate changes may result in the following principle impacts: Material deterioration due to high or low temperatures and also from periods of heavy rainfall. Flood risk at the substation location, and damage to drainage systems and equipment. Storm damage to OHL tower structures and substation equipment and other project’s assets. Asset deterioration from exposure to heat, freezing, snow and ice. | Significant | Design-based measures would need to be identified and incorporated into the further project design stages (e.g. Preliminary Design and Detailed Design, based on the climate design parameters applicable for the Project region), so to achieve that the Project is designed to be resilient to impacts arising from current and future weather events and climatic conditions, and designed in accordance with current planning, design and engineering practice and codes. | Not significant |
| Air Quality | Construction | Construction emissions (dust and particulate matter, construction traffic) | Minor to moderate adverse | - CESMP with associated management procedure and plans - Traffic Management Plan | Not significant |
|  | Operation | During the operation phase of the Project it is not anticipated that there would be any significant emissions to air and no significant air quality impacts would occur. The assessment of air quality impacts during the operational phase is, therefore, scoped out of the assessment. | Minor adverse | Good operational practice | None |
| Geology and Soils | Construction | Disturbance effects to geological deposits and soils due to construction works and transport activities. The project area is characterised with very low potential erosion risk and landslide hazard. | Minor adverse (for the Project as a whole) | CESMP with associated management procedure and plans | Neutral |
|  |  | Key risks to soils: - Degradation of shallow geology and topsoil due to contamination - Loss of fertile soil through excavation and removal | Minor to moderate adverse |  | Neutral to minor |
|  | Operation | Degradation of topsoil due to contamination during maintenance works | #### Minor adverse | Prevent and control pollution | #### Neutral to minor |
| Water Environment | Construction | - Risks to the water environment due to: excavation, and the subsequent deposition of soils, sediment, or other construction materials causing pollution; spillage of fuels or other contaminating liquids causing pollution; temporary physical modifications interrupting the natural passage of surface and sub-surface flow; mobilisation of contaminants following disturbance of ground or through uncontrolled site runoff. - Potential increase in flood risk, mainly due to undertaking construction works within floodplains. | Minor to moderate adverse | - Good design practice based on avoidance strategy (e.g. setting Project locations away from watercourses and wetlands) - CESMP with associated management procedure and plans | Neutral |
|  | Operation | Accidental spillage of oils and fuels from vehicles; Compaction of land around OHL towers foundations, leading to local effects on hydrology from compaction; Accidental spillage of transformer oils at the substation, which is a potential risk of groundwater pollution from hazardous substances. | - Minor adverse under usual operational phase - Moderate adverse (in a case of spilage) | - Good design practice based on avoidance strategy (e.g. prevent accidental spillages of transformer oils at the substation by installation of protection measures against spills in line with design standards). These include oil / storm water tank, placed bellow energy transformers with suitable capacity designed to accept accident oil spillage. - Good operational and maintenance practice | Neutral to minor |
| Noise and Vibration | Construction | Noise emissions from construction vehicles and machinery | #### Moderate adverse | - CESMP - Traffic Management Plan | #### Minor |
|  | Operation | Noise due to the phenomenon known as "corona discharge" | #### Major adverse | Design-based measures: - Avoidance of potential effects due to operational noose from the Project have been achieved by avoiding the populated areas in the Project region as well as residential zones and other properties have been achieved - Incorporation of respective design parameters into the Project design (e.g. set out minimum required conductor vertical clearance (6 metres) and application of noise reducing coatings for conductors, if deemed necessary). Pre-construction and construction: - Ensure that correct manufacturing and installation methods and procedures are provided as an essential prerequisite measure that would allow reduction of eventual audible nuisance due to operations of the transmission line. | #### Neutral |
| Biodiversity | Construction | - Loss and disturbance of terrestrial habitats (destruction and alteration of habitats as a result of land take requirements – due to site clearance for construction of the substation and the towers and habitat conversion at the substation site and beneath OHL conductors (creation of a clearance corridor) | #### Minor adverse (for the Project as a whole) #### Moderate adverse (sensitive habitats at crossing of Vardar River) | CESMP with associated management procedure and plans | #### Minor |
|  |  | - Adverse changes in aquatic habitats | #### Minor to moderate adverse |  | #### Neutral |
|  |  | - Loss of terrestrial flora | #### Negligible |  | #### Neutral |
|  |  | - Disturbance of species due to construction (breeding, foraging, roosting) | #### Minor adverse |  | #### Neutral |
|  |  | - Introduction of alien species | #### Negligible |  | #### Neutral |
|  |  | - Key Biodiversity Features (Critical Habitat and Priority Biodiversity Features) | #### Negligible to minor |  | #### Minor |
|  |  | - Designated Areas (legally protected areas and/or internationally recognised areas) - Note: There is no interaction between the Project and any designated area. | #### None | Not applicable | #### Neutral |
|  | Operation | Conversion of habitats (maintenance of the clearance corridor) | #### Negligible | Good operational and maintenance practice | Neutral |
|  |  | Fauna: potential impact to avian fauna (collision risk and electrocution of birds) | #### Collision risk: Minor - Electrocution: Negligible | - Design-based measures would need to be incorporated into the further project design stages (e.g. installation of bird (flight) diverters to the earth wire of the transmission line at the crossing over the Vardar River, use of insulator chains to ensure that the bird electrocution hazard is prevented, which comply with the international energy standards). - A post construction monitoring programme to assess eventual bird mortality due to collision is to be designed and implemented at the Vardar River crossing section during first three years of the Project implementation. | #### Neutral to minor |
| Landscape and Visual | Construction | Visual impacts - direct temporary physical and visual change to the landscape of negligible significance and, therefore, scoped out from the assessment. | #### None to minor adverse | CESMP with associated management procedure and plans | #### Neutral |
|  | Operation | Visual impacts – exposure of the particular Project elements (i.e. the new substation and connectors) as new structures to the landscape - not anticipated as significant and, therefore, scoped out from the assessment. | #### None to minor adverse | Good operational and maintenance practice (e.g. allow the maximum vegetation height within the Right of Way corridor while still maintaining the required clearance; width of all access roads and tracks to be kept to the minimum necessary for their use). | #### Neutral |
| Waste Generation | Construction | Waste generation and disposal, including hazardous waste | #### Moderate adverse | Waste Management Plan, based on the following key principles: - Waste would be minimized wherever practicable by reusing and recycling any materials, including the spoil and surplus excavated material. - All wastes would be identified, classified, quantified and, where practicable, appropriately segregated. - All waste materials removed from construction sites would be in accordance with relevant national waste and environmental regulations. | #### Minor |
|  | Operation | Waste generation and disposal Note: Waste generation is expected to be very small during operation of the Project. | #### Minor adverse | These wastes to be managed by MEPSO using the procedures established in their Integrated Management System which, inter alia, includes a certified environmental management system. | #### Neutral |
| Beneficial social aspects | Construction | Opportunities: Employment opportunities Local economy and supply chain opportunities | #### Moderate beneficial | Various instruments (e.g. Supply Chain Management based on preferable supply from local suppliers) | #### NA |
|  | Operation | Improvement of the national power system | #### Major beneficial | / | #### NA |
| Labour and Working Conditions | Construction | Workers employment, rights and working conditions | Minor to Moderate adverse | - Package of management procedures and plans, e.g.: - Code of Conduct for Workers - Occupational Health and Safety Plan - Grievance Mechanism for Workers - Emergency Preparedness and Response Plan | #### Neutral to minor |
|  |  | Occupational health and safety (e.g. working on height, electrocution, etc.) | #### Moderate adverse |  | #### Neutral to minor |
|  |  | Workers’ accommodation | #### Minor adverse |  | #### Neutral |
|  | Operation | - Labour and Working Conditions - Occupational Health and Safety (e.g. electrocution from the energised conductors) | #### Moderate adverse | Environmental and Social Management System | #### Neutral to minor |
| Community | Construction | Community health and safety - Construction traffic risks - Safety risks - Workers influx | #### Minor to moderate adverse | - Package of management procedures and plans, e.g.: - Code of Conduct for Workers - Community Health, Safety and Security Plan - Traffic Management Plan - Emergency Preparedness and Response Plan - Stakeholder Engagement Plan (prepared in the scope of this assessment) | #### Minor |
|  | Operation | Community health and safety - Public Exposure to Electro-Magnetic Radiation - Operational risks | #### Minor to moderate adverse | Electric and magnetic fields - design-based measures through the further design of the Project: - Incorporation of respective design parameters for the minimum conductor vertical clearance (6 metres) into the Project design. - Establish safety / clearance corridor along the path of the transmission lines and safety distance from the substation according with the requirements of the relevant Macedonian legislation. - Appropriate selection of the towers micro locations within the selected corridor in relation to residential and other properties. - Risks to communities during Project operation: - Provide hazard notices / signs / barriers to prevent access to energized components of the Project. | #### Minor |
| Property | Construction | Land acquisition and land use | #### Minor adverse | - Compliance with relevant EBRD Performance Requirement 5, Macedonian legislation and international requirements - Land Acquisition and Resettlement Framework (prepared in the scope of this assessment) - Land Acquisition and Resettlement Plan | #### Minor |
| Cultural Heritage | Construction | Potential loss or damage of unknown heritage assets (undiscovered archaeological sites) | #### Minor to moderate adverse | Chance-find procedure | #### Neutral |
| Cumulative effects | Construction | Interaction with other similar projects (air pollution, nuisance due to construction noise, traffic disturbance, waste generation, etc.) – low probability | #### Negligible | If necessary, coordinated E&S management and cooperation between contractors of the developments throughout the construction period will be needed in order to optimize the mitigation strategy (e.g. Waste Management Plan, Traffic Management Plan, etc.). | #### Neutral |
|  | Operation | Interaction with other similar projects – other transmission project(s) or wind farm developments (visual impact) – not likely in the Project region | #### Minor | / | #### / |

# Project Description

## Background and Project Objective

In order to meet the goals of the European Union for the integration of energy from Renewable Energy Sources (RES), Macedonia makes efforts to maximize the integration of these energy sources into the national power system. Due to the favourable climate conditions, the investments in the RES (wind power, solar power and hydropower) are most cost-effective in the south-eastern region of Macedonia. Therefore, it is expected that the most significant investments in utilization of RES are/will be located mostly in this region (Figure below).

Figure 2.1: Macedonian grid and project area mid-term topology

Source: Macedonian Transmission System Operator

Note: The Project region is depicted in green pattern

The Macedonian Transmission System Operator (MEPSO) already faces several requests for new connections of RES in the local transmission grid in the wider Project region. Newly installed capacities of RES – wind power plants (WPP), big and small hydro power plants (HPP) as well as solar power plants (SPP) - up to 350 MW, are expected in a mid-term horizon in this region. In addition, new WPP - 536 MW, HPP - 185 MW SPP - 250 MW are foreseen until year 2040, in a long-term horizon.

Transmission grid in the southeast region of Macedonia (110 kV transmission line Dubrovo – Valandovo – Strumica 2 – Strumica 1, approx. 57.5 km long line) is approaching the end of the lifecycle and lacks capacity for connection of new renewable electricity sources to the network. As such, it is a candidate for reconstruction due to ageing process. In addition, in the midterm forecasted regimes, there are contingency cases with a higher risk to the security of supply.

The main objective of the Project is to design, construct and operate a new 400/110 kV substation (SS) Miletkovo in the area of the village Miletkovo, in Strumica municipality. This new substation will be connected with the existing 110 kV transmission network in the Project region and with the existing 400 kV transmission line Dubrovo – Thessalonica (GR), by in-out connection.

The Project is a component of a wider development scheme for strengthening the transmission network in the Southeast Region of Macedonia, which also includes a project for reconstruction of the existing 110 kV transmission line SS Valandovo – SS Strumica 2 – SS Strumica 1 by upgrading its transmission capacity and partial cabling in the urban zones of Strumica

This wider development scheme is also expected to provide:

Increased security of supply, and

Secure and reliable integration of planned RES in the southeast region of the country, which consequently contribute towards reduction in CO2 emissions.

Increased efficiency and capacity of the transmission grid with smart grid solutions (Dynamic Line Rate (DLR) & asset management).

## The Project Developer

The project developer is the Macedonian Transmission System Operator. MEPSO is a Joint Stock company fully state-owned, established in 2005 after the transformation of the Electric Power Company of Macedonia (‘Elektro-stopanstvo na Makedonija’). The core activity of MEPSO is a reliable electricity transmission via the national high voltage network, electric power system control and regular and duly electricity flow to its clients such as the large industrial consumers, and to the low voltage grid of the Macedonian electricity distribution system operator (EVN Macedonia). To perform its activity MEPSO has been granted the following relevant licenses from the national Energy Regulatory Commission:

A license of doing the energy business and activity in terms of electricity transmission and activity transmission system control.

A license of doing power business and activity, organization and electricity market control.

## Purpose of the Report

This document represents an Environmental and Social Assessment Report for the Project.

The Report has been prepared as part of the environmental and social (E&S) assessment process in accordance with the EBRD’s Environmental and Social Policy and Performance requirements, as required by the potential Project Lender – the European Bank for Reconstruction and Development (EBRD) and based on the respective outcomes of the assessment’s scoping process.

This Report is based on the Technical Assessment (Conceptual Solution) for the proposed transmission development. The Project is to be developed further through reference design stages (i.e. Preliminary Design and Detailed Design) which will form the basis for the detailed environmental and social appraisal and application to the Macedonian competent authority for consenting purposes.

## The Proposed Project

### Project Location

The Project area is situated in Southeast Region of Macedonia, in two Macedonian local self-government (LSG) units - the municipalities of Gevgelija and Valandovo.

The location of the proposed 400/110 kV SS Miletkovo (Figure below) is situated in the wider area of the settlement Miletkovo (at relative distance of approximately 1 km), in the municipality of Gevgelija, in immediate proximity to the A1 highway Skopje – Gevgelija (further to Thessalonica, Greece), at approx. 7.5 km from the existing 110/35/10 kV substation in Valandovo. There are no other existing structures or transmission or other infrastructure in proximity to the location of the new substation.

to Gevgelija / Thessaloniki

to Skopje

Miletkovo

A1 Highway

Figure 2.2: Location of the new 400/110 kV substation Miletkovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

This new substation will be connected with the existing 400 kV transmission network via ‘in-out’ connection with the existing 400 kV OHL from Dubrovo to Thessalonica (GR) which passes in the immediate proximity to the proposed substation location (Figure above).

The new substation would be connected to the existing 110 kV transmission network by the following interventions (Annex 1):

Reconstruction of the existing 110 kV OHL from Valandovo to the existing 110/20 kV SS ‘EVP’ Miletkovo and its extension to the new 400/110 kV SS Miletkovo

- The alignment of this transmission line passes through the territory of two Macedonian LSGs: the municipalities of Valandovo and Gevgelija.

- From its starting point - the existing SS Valandovo - the line goes to west through hilly forest and shrubland landscape. It crosses the regional road R1105 in vicinity to Valandovo and then it crosses the channelled river Anska Reka, approx. 600 metres from the substation. From this crossing point with the river Anska Reka, the route continues in general direction west – southwest, in parallel with Anska Reka (at relative distance from 50 to 200 metres), mainly through agricultural land. The nearest settlements along the OHL corridor are the villages Brajkovci, Balinci and Marvinci, at relative distance from 1 km to 1.5 km, situated to the south from the line. At approx. 1400 m north from the village Marvinci and 1800 m to the north-east from SS ‘EVP’ Miletkovo, the line crosses the regional road R1102. Approximately 1 km from this crossing point, the line again crosses river Anska Reka and further to west it crosses the Vardar River, approx. 300 m east from the SS ‘EVP’ Miletkovo. At immediate proximity to this substation, the line crosses the railway Skopje – Thessalonica (GR). The extension of the line towards the new 400/110 kV SS Miletkovo has a general south-southwest direction. It crosses the regional road R29177 at approx. 1 km from SS ‘EVP’ Miletkovo, approx. 650 m on east from the village Miletkovo, which is the nearest settlement along this section of the alignment. The section of the line between SS ‘EVP’ Miletkovo and the new SS Valandovo mainly goes through agricultural area, with an exception of the last 500 metres where it passes through shrubland and grassland. It will cross the stream Dukavec and other three intermittent streams before its connection to the new 400/110 kV SS Miletkovo.

Construction of a new 2x110 kV OHL from the new 400/110 kV SS Miletkovo to the existing 110/20 kV SS ‘EVP’ Miletkovo

- The alignment of this transmission line is located within the territory of one Macedonian LSG: the municipality of Gevgelija.

- The alignment starts from SS ‘EVP’ Miletkovo and goes in general south-southwest towards the location of the new 400/110 kV substation Valandovo, in parallel with the extension of the 110 kV OHL SS Valandovo – SS ‘EVP’ Miletkovo, as described above.

### Project Description

#### Outline of the Project’s Elements

In wider context, the main elements of the Project and their inclusion in the environmental and social appraisal comprise the following:

To construct and operate a new 400/110 kV substation Miletkovo, located in the area of village Miletkovo (Gevgelija municipality), with its connection to the existing 400 kV and 110 kV transmission network via the following interventions:

In-out, approx. 0.5 km long, connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

Reconstruction of the existing approx. 6 km long 2x110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo and its extension, approx. 1.9 km long line to the new 400/110 kV SS Miletkovo

Construction of a new approx. 1.8 km long 110 kV OHL connector with the existing SS ‘EVP’ Miletkovo.

#### Approach to Design

The technical requirements for design of the transmission elements proposed in the scope of the Project are defined in accordance with MEPSO’s standard practice and design, and based on the operational consideration, which include reliability, construction and maintenance of the transmission infrastructure.

According to these requirements, the proposed infrastructure will be designed in compliance with the current relevant Macedonian regulation and MKS/EN standards.

A typical transmission project is made up of a number of elements, the design of which is approached in a logical sequence as follows:

Location and design of a substation (civil construction and electro-mechanical elements).

Selection of tower type for the new line(s) (lattice or other and approximate height and span which relates to voltage and conductor type).

Selection of an OHL alignment / corridor.

Design of new OHL towers and transmission equipment (conductors, ground wire, insulators).

Dismantle the existing (obsolete) OHL elements.

Location and design of new access tracks.

Location and design of ancillary structures, and

Design and management of a safety zone at the substation and a clearance corridor (through forest and woodland) along the transmission line(s).

#### Right of Way

The aforementioned Macedonian legislation requires establishment of a protection zone (safety zone) or Right of Way (RoW) along the path of a transmission line and in proximity to a substation. This zone is prescribed by MEPSO’s Grid Code, according to which – ‘the safety zone is the area and the space, below, above and along the existing electric power transmission facilities, necessary for their spatial planning, protection and maintenance, in which the right of ownership is restricted or the possibility for performing construction actions and other activities without consent granted by MEPSO is limited’.

For an operational transmission line, the protection zone is prescribed by MEPSO’s Grid Code and is determined by the voltage of the line:

15 m from the axis of an operational overhead line with nominal voltage of 400 kV (or 30 metres wide safety corridor (zone) along the path of the line).

10 m from the axis of an operational overhead line with nominal voltage of 110 kV (or 20 metres wide safety corridor (zone) along the path of the line).

1.5 m from the axis of an operational cable transmission line with nominal voltage of 110 kV (or 3 metres wide safety corridor (zone) along the path of the line).

- For an operational substation with a nominal voltage of 400 kV and 110 kV, the required safety distance is 5 metres from the outer edge of the substation’s fence or wall.

- The regulation’s objective is to facilitate the uninterrupted functioning of the power grid, to ensure safe operations, to meet the requirements of the sanitary and safety norms, and to prevent accidents. Within this protection zone buildings and facilities must not be constructed and certain activities are restricted to ensure the safe operation of the lines and for the safety of people. These mainly include agriculture activities within the RoW which include cultivated plants or trees which reach height that may pose safety operational risk for the line, or agricultural practices that use spraying equipment as well as fixed or mobile irrigation equipment.

It is also necessary to remove trees and vegetation from within the right of way for the safe operation of the transmission line. Therefore, in areas of forestry and woodland, clearance on either side of the transmission line within the safety zone is required according to the rules defined by the relevant Macedonian legislation.

The respective RoW for the existing lines which will be subject to reconstruction along the same route (see Section 2.4.2.4) is secured in compliance with the aforementioned regulation. For the newly proposed transmission lines and the substation (see Section 2.4.2.4), new RoW is to be established and maintained during the operational phase of the Project.

#### Project Description

#### New 400/110 kV SS Miletkovo with In-out Connection with the existing 400 kV Line from Dubrovo to Thessalonica (GR)

400/110 kV Substation Miletkovo

The proposed 400/110 kV substation will comprise:

400 kV Switchyard with a total of seven bays of which five fully equipped and two as spare bays;

Two power transformers 400/110/x kV, 300/300/x MVA and third power transformer of same type if required, according to 3system needs

110 kV Switchyard with a total of seventeen bays, of which seven fully equipped and ten as spare bays;

Control building, with approximate dimensions of 20 m x 40 m, and

Relay kiosks in the 400 kV and 110 kV switchyards.

The area required for construction of the substation is approximately 6 ha (300 m x 200 m). The entire substation will be constructed on an open space with equipment and safety distances for outdoor installation in accordance with the applicable technical standards.

The 400 kV and 110 kV switchyards will be designed with the following basic configuration:

400 kV Switchyard

The proposed 400 kV switchyard would be air insulated, with double tubular busbar systems. It shall consist of seven 400 kV bays - five fully equipped bays and two spare bays. Two equipped bays would be for connection to the 400 kV OHL from Dubrovo to MK/GR border (further to Thessalonica (GR)), two would be 400 kV transformer bays and one would be coupling/metering bay.

Three relay kiosks are foreseen in this switchyard. Each relay kiosk should house the secondary equipment for two 400 kV bays (control, protection, metering, auxiliary supply).

110 kV Switchyard

The proposed 110 kV switchyard would be air insulated, with double tubular busbar systems. It shall consist of seventeen bays: seven fully equipped bays and ten spare bays. Four equipped bays would be for connection to the existing 110 kV substations ‘EVP’ Miletkovo (two bays) and Valandovo (one bay), two would be 110 kV transformer bays, one would be substation self-consumption supply bay and one would be coupling/metering bay.

Eight relay kiosks are foreseen in this switchyard. Each relay kiosk should house the secondary equipment for two 110 kV bays (control, protection, metering, auxiliary supply).

In accordance with the System Studies performed for the purposes of the Project, two power transformers will be installed in the new 400/110 kV substation in the initial phase of construction. Third power transformer shall be installed according to system needs. The rated power of the transformers will be 300/300/x MVA, in accordance with MEPSO standard values. The transformers will be oil immersed three phase outdoor autotransformers, equipped with stabilizing winding and with onload voltage regulation and associated equipment.

A typical layout of the substation is provided below.

Figure 2.3: Layout of the new 400/110 kV substation Valandovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

The new substation Miletkovo shall have the latest technology integral system of control, protection and metering. The control system (SCADA) shall be capable of remote and local control, data acquisition and local automation.

In-out Connection with the existing 400 kV Line from Dubrovo to Thessalonica (GR)

The new substation will be connected with the existing 400 kV transmission network via ‘in-out’ connection with the existing 400 kV OHL from Dubrovo to Thessalonica (GR) which passes in the immediate proximity to the proposed substation location. This connection will be done between towers no.100 and no.102, at around 36 km from the starting point of the line, at the SS Dubrovo (Figure below). Practically there will be no line corridor/route, since the connection will be done by adding new 400 kV towers and entry in the new SS 400/110 kV Miletkovo.

Figure 2.4: In-out connection of 400/110 kV substation Miletkovo with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Technical Elements

The proposed 400 kV in-out connection in the new 400/110 kV SS Miletkovo includes the following technical elements:

- Towers. The proposed in-out connection will be designed and will be constructed with galvanised steel-lattice single circuit self-supporting towers with a horizontal configuration of conductors and two earth wires.

- Foundations. The tower foundations will be designed and will be constructed of four separate reinforced concrete footings suitable for the specific bearing capacity of the terrain.

- Phase conductors and insulator strings. Two conductors per phase are foreseen. Characteristics of the conductors are in compliance with national standards (MKS) and European standards (European Norms - EN). The insulator strings will be tension strings.

Towers and foundations

The design of the towers will ensure safe operation in all working climate conditions, paying particular regard to the phase conductors, earth wires and insulator sets and for the designed wind and weight spans.

In general, depending on their position in a transmission line, the types of towers could be:

Suspension towers,

Angle (tension) towers, used where the line changes direction or for special loading cases along the line,

Terminal towers, used when the line is connected to a substation.

The proposed in-out connection is designed with two steel-lattice angle (tension) towers with two conductors per phase and two earth wires (Figure below). The tower series selected for the connection are of Type “AZ-4” for changing the direction of the line in a range from 50° to 60°.

Figure 2.5: Typical tower for the in-out connection of the new 400/110 kV substation Miletkovo with the existing 400 kV transmission line from Dubrovo to Thessalonica (GR)

The typical tower height range is between 17 and 33 metres.

The number of conductors and their disposition on the tower is three circuits with two conductors per phase and two protective wires in a horizontal direction.

The maximal footprint area for a tower is approximately up to 250 m2. This land area will need to be permanently acquired in order ensure safe operations and maintenance of the in-out line.

Each tower will have four legs and single foundation per leg, i.e. four foundations for each tower. The foundations will be designed with reinforced concrete blocks with a type of concrete suitable to the specific bearing capacity of the soil, obtained from the respective site-specific geo-technical investigation.

Phase conductors

For the phase conductors for this 400 kV in-out connection, pursuant to the current concept in Macedonia Aluminium Conductor Steel-Reinforced (ACSR) conductors will be used with a normal cross section of 490/65 mm2 (Figure below). Two conductors per phase (a bundle) are designed at a mutual distance of 400 mm. The designed distance between the conductors (in horizontal plane) is 8 metres.

Insulators

The in-out line will be connected to the grid with a directly grounded neutral point and and nominal lightning impulse withstand voltage of 1425 kV. The insulator that is to be used will be of a type approved for such lines and appropriate assembling procedures will be carried out for the various types of insulator chains. Insulators are typically made of toughened glass. For 400 kV lines, MEPSO design practice uses an insulator chain with a length in a range from 3400 mm to 3700 mm.

Figure 2.5: Typical Aluminium Conductor Steel-Reinforced conductor for 400 kV transmission line

Earthing

Earthing of the towers will be completed with one ring made of hot dip galvanized Fe bar conductor Ø10mm around each tower foundation and additional ring is laid around the entire tower structure, roughly 1 metre away from existing rings and at depth of 0.8 to 1.0 metre. These rings are connected between them and to the tower steel structure. In cases where earthing needs to be reinforced (e.g. for types of soil with lower conductivity), reinforcement is done by adding two extensions from FeZn wires or FeZn tapes to existing rings on each tower foundation.

Protective wires

Two ground wires will be strung above the top most conductors between the tower peaks for protection against lightning strikes.

#### Reconstruction of the existing Double System 110 kV OHL SS Valandovo – SS ‘EVP’ Miletkovo to Single Circuit 110 kV OHL and its Extension to the new 400/110 kV SS Miletkovo

The existing double system (2x110 kV) OHL from SS Valandovo to SS ‘EVP’ Miletkovo will be reconstructed to connect the new 400/110 kV SS Miletkovo with the existing 110/35 kV SS Valandovo.

In accordance with the System Studies performed for the purposes of the Project and the limited space for reconstruction/extension in existing SS 110/35 kV Valandovo, the existing double system (2x110 kV) OHL SS Valandovo – SS ‘EVP’ Miletkovo will be reconstructed to three phase single circuit (1x110 kV) line, with the use of the same towers and positions and by replacing the conductor, to increase its transfer capacity.

The reconstruction can be divided into two separate processes (Figure below):

Reconstruction of the existing line from double phase 2x110 kV OHL into three phase 1x110 kV OHL from tower no.1 to tower no.19 (yellow line in the Figure below), in approximate length of 6 km, and

Construction of a new three phase 1x110 kV line from tower no. 19 to the new SS 400/110 kV Miletkovo (dark blue line in the Figure below), in approximate length of 1.9 km.

Figure 2.7: Reconstruction of existing double phase 2x110 kV transmission line from Valandovo substation to ‘EVP’ Miletkovo substation to three-phase 110 kV transmission line and extension to 400/110 kV SS Miletkovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Existing Line

This transmission line is approx. 6.4 km long, with 21 towers (14 angle-tension towers and 7 suspension towers). It was constructed and is in operation since 1986.

The towers are typical three phase double system 110 kV steel lattice towers (Figure below), from which only the top two arms and middle tower arms are used for the line, i.e. for the purposes of the power supply for the railway SS 110/25 kV Miletkovo. The tower types are AD120, AD150 and SD. The height of the suspension towers ranges from 12.8 m to 21.8 m, while for the tension towers from 12 m to 25 m. The phase conductor is ACSR 150/25 mm2.

The foundations are separate reinforced concrete footings for various bearing capacity of the ground. The earthing is performed with a copper wire (50 mm2) around each foundation footing and one outer ring placed at a depth of 0.7 m.

Reconstruction

The reconstruction of the existing 2x110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo will include modification of the current double system line into three phase line single circuit line with a new conductor (type AAAC 324 mm2) on the existing route alignment, using the existing OHL towers. Therefore, for the purposes of this reconstruction, the existing towers will remain in use during the operational life of the reconstructed line.

The proposed reconstruction of the line will be done from its starting point (existing SS Valandovo), i.e. tower no.1 to tower no.19, with estimated length of 6 km and will consist of the following steps:

Dismantling the existing conductors ACSR150/25 mm2, insulator strings and earth wire

Installing new 110 kV conductors AAAC 324 mm2 (with capacity of 150 MVA)

Installing new insulator strings

Installing new earth wire (OPGW)

As noted, the dismantling works will consist of dismantling of the existing conductor (four conductor wires), the insulator strings and earth wire. Also, two existing towers (no.19 and no.20) at the proximity of the ‘EVP’ SS Miletkovo will be dismantled and removed, followed by removal of the respective foundations. These towers are not required for operation of the Project.

Since the line will be reconstructed from double phase (2x110 kV) line into three phase (1x110 kV) line, after the dismantling of the conductor and the insulator strings, one arm of the tower will remain empty (without insulators and conductor).

- Extension of Single Circuit (1x110 kV) OHL to the new 400/110 kV SS Miletkovo

In order to connect the section of the reconstructed line from tower no.19 to the new SS 400/110 kV Miletkovo, a new 110 kV OHL will be constructed with an estimated length of 1.9 km (Figure below).

Figure 2.8: New 110 kV transmission line from tower no.19 to 400/110 kV substation Miletkovo (extension of existing 110 kV transmission line, subject to reconstruction)

Note: the extension is depicted in dark blue line

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

The proposed extension of the existing 110 kV line from SS Valandovo to SS ‘EVP’ Miletkovo, which will be reconstructed, to the new 400/110 kV SS Miletkovo includes the following technical elements:

- Towers. The proposed transmission line will be designed and constructed with galvanised steel-lattice towers with three arms configuration of conductors with one conductor per phase and one earth wire at the top of the towers.

- Foundations. The tower foundations will be designed and will be constructed of four separate reinforced concrete footings suitable for the specific bearing capacity of the terrain.

- Phase conductors and insulator strings. One conductor per phase is foreseen. Characteristics of the conductors will be in compliance with national standards (MKS) and European standards (European Norms - EN). The insulator strings will be tension strings.

Towers and foundations

The design of the towers will ensure safe operation in all working climate conditions, paying particular regard to the phase conductors, earth wires and insulator sets and for the designed wind and weight spans.

Depending on their position in the transmission line, the types of towers could be:

Suspension towers,

Angle (tension) towers, used where the line changes direction or for special loading cases along the line,

Terminal towers, used when the line is connected to a substation.

The transmission line is designed with steel-lattice towers with three arms with one conductor per phase and one earth wire (Figure below).

Figure 2.9: Typical tower for the extension of the existing 110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo, which will be reconstructed, to the new 400/110 kV SS Miletkovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

The typical tower height range is between 12 and 27 metres for the tension towers, and 12 to 30 metres for the suspension tower types. Towers are manufactured from galvanised steel and are therefore grey in colour - this finish is considered appropriate in order to minimise visual impact. Tower steelwork is painted at intervals throughout the life of the towers, to afford continued protection against corrosion.

The tower series selected for the transmission line are the following:

Angle (tension) towers:

  - Type “A1-120” for changing the direction of the transmission line in a range from 30° to 60°

  - Type “A1-150” for changing the direction of the transmission line in a range from 1° to 30°

Suspension towers

  - Type “S1”, “S2” and “S3” for towers used for different wind and weight spans depending on the terrain conditions.

The number of towers and their type as well as the proposed position of each individual tower within the proposed corridor will be identified and confirmed during the upcoming Project reference development stages (Preliminary Design and Detailed Design) in line with the relevant Macedonian legislation.

The number of conductors and their disposition on each tower type is one circuit with one conductor per phase and one protective wire at the top of the tower.

The maximal footprint area for a tower is approximately up to 100 m2. This land area will need to be permanently acquired in order ensure safe operations and maintenance of the transmission line.

Each tower will have four legs and single foundation per leg, i.e. four foundations for each tower. The foundations will be designed with reinforced concrete blocks with a type of concrete suitable to the specific bearing capacity of the soil, obtained from the respective site-specific geo-technical investigation.

Phase Conductors

The conductors are attached to the cross-arms at OHL towers by insulator strings, which, in the case of suspension towers, hang vertically below the cross-arms. At angle towers the conductors are again attached to the cross arms by insulators but in this case the insulators are in line with the conductors. The designed distance between the closest conductors (set in triagle formation) is between 4.0 meters and 4.6 metres). Conductors for transmission lines are typically manufactured from aluminium with steel core. For the phase conductors for this 110 kV transmission line, pursuant to the current concept in Macedonia, AAAC conductors will be used with a normal cross section of 324 mm2 (Figure below).

Figure 2.5: Typical all aluminium alloy conductor for 110 kV transmission line

Insulators

The transmission line will be connected to the grid with a directly grounded neutral point and nominal lightning impulse withstands voltage of 550 kV. The insulator that is to be used will be of a type approved for such transmission lines and appropriate assembling procedures will be carried out for the various types of insulator chains. Insulators are typically made of toughened glass. For 110 kV lines, MEPSO design practice uses an insulator chain with a length of 1800 mm.

Earthing

Earthing of the towers will be completed with one ring around each tower foundation and additional ring made of hot dip galvanized Fe bar conductor Ø10mm is laid around the entire tower structure, roughly 1 metre away from existing rings and at depth of 0.8 to 1.0 metre. These rings are connected between them and to the tower steel structure. In cases where earthing needs to be reinforced (e.g. for types of soil with lower conductivity), reinforcement is done by adding two extensions from FeZn wires or FeZn tapes to existing rings on each tower foundation.

Protective Wires

One ground wire will be strung above the towers arms at the tower peak for protection against lightning strikes.

#### New 2x110 kV OHL 400/110 kV SS Miletkovo - SS ‘EVP’ Miletkovo

A new two-phase 2x110 kV line will be built to connect the existing SS ‘EVP Miletkovo’ to the new 400/110 kV SS Miletkovo since the existing 2x110 kV OHL SS Valandovo – SS EVP Miletkovo will be reconstructed, extended and connected to the new SS 400/110 kV Valandovo thus enabling a connection between new 400/110 kV SS Miletkovo and existing 110/35/10 kV SS Valandovo (Figure below). This new line will be constructed as a double-system line (2x110 kV) to provide reliable supply to the SS ‘EVP’ Miletkovo which is the main power supply of the railway transport system in the southeastern part of the country.

Figure 2.10: New 2x110 kV transmission line from 400/110 kV substation Miletkovo to ‘EVP’ Miletkovo substation

Note: the extension is depicted in light blue line

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

- Technical Elements

The proposed new 2x110 kV line includes the following technical elements:

- Towers. The proposed transmission line will be designed and constructed with galvanised steel-lattice towers with four arms configuration of conductors and one earth wire at the top of the towers.

- Foundations. The tower foundations will be designed and will be constructed of four separate reinforced concrete footings suitable for the specific bearing capacity of the terrain.

- Phase conductors and insulator strings. One conductor per phase is foreseen. Characteristics of the conductors will be in compliance with national standards (MKS) and European standards (European Norms - EN). The insulator strings will be tension strings.

Towers and foundations

The design of the towers will ensure safe operation in all working climate conditions, paying particular regard to the phase conductors, earth wires and insulator sets and for the designed wind and weight spans.

Depending on their position in the transmission line, the types of towers could be:

Suspension towers,

Angle (tension) towers, used where the line changes direction or for special loading cases along the line,

Terminal towers, used when the line is connected to a substation.

The transmission line is designed with steel-lattice towers with four arms with one conductor per phase and one earth wire (Figure below).

Figure 2.10: Typical tower for the new double-circuit transmission line from the new 400/110 kV substation Valandovo to substation ‘EVP’ Miletkovo

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

The typical tower height range is between 12 and 27 metres for the tension towers, and 12 to 30 metres for the suspension tower types. Towers are manufactured from galvanised steel and are therefore grey in colour - this finish is considered appropriate in order to minimise visual impact. Tower steelwork is painted grey at intervals throughout the life of the towers, to afford continued protection against corrosion.

The tower series selected for the transmission line are the following:

Angle (tension) towers:

  - Type “AD-120” for changing the direction of the transmission line in a range from 30° to 60°

  - Type “AD-150” for changing the direction of the transmission line in a range from 1° to 30°

Suspension towers

  - Type “SD” for towers used for different wind and weight spans depending on the terrain conditions.

The number of towers and their type as well as the proposed position of each individual tower within the proposed corridor will be identified and confirmed during the upcoming Project reference development stages (Preliminary Design and Detailed Design) in line with the relevant Macedonian legislation.

The number of conductors and their disposition on each tower type is two circuits with one conductor per phase and one protective wire at the top of the tower.

The maximal footprint area for a tower is approximately up to 150 m2. This land area will need to be permanently acquired in order ensure safe operations and maintenance of the transmission line.

Each tower will have four legs and single foundation per leg, i.e. four foundations for each tower. The foundations will be designed with reinforced concrete blocks with a type of concrete suitable to the specific bearing capacity of the soil, obtained from the respective site-specific geo-technical investigation.

Phase Conductors

The conductors are attached to the cross-arms at OHL towers by insulator strings, which, in the case of suspension towers, hang vertically below the cross-arms. At angle towers the conductors are again attached to the cross arms by insulators but in this case the insulators are in line with the conductors. The designed distance between the closest conductors (in vertical plane) is 3.65 metres). Conductors for transmission lines are typically manufactured from aluminium with steel core. For the phase conductors for this 110 kV transmission line, pursuant to the current concept in Macedonia, ACSR conductors will be used with a normal cross section of 240/40 mm2.

Insulators

The transmission line will be connected to the grid with a directly grounded neutral point and nominal lightning impulse withstands voltage of 550 kV. The insulator that is to be used will be of a type approved for such transmission lines and appropriate assembling procedures will be carried out for the various types of insulator chains. Insulators are typically made of toughened glass. As noted, for 110 kV lines, MEPSO design practice uses an insulator chain with a length of 1800 mm.

Earthing

Earthing of the towers will be completed with one ring around each tower foundation and additional ring made of hot dip galvanized Fe bar conductor Ø10mm is laid around the entire tower structure, roughly 1 metre away from existing rings and at depth of 0.8 to 1.0 metre. These rings are connected between them and to the tower steel structure. In cases where earthing needs to be reinforced (e.g. for types of soil with lower conductivity), reinforcement is done by adding two extensions from FeZn wires or FeZn tapes to existing rings on each tower foundation.

Protective Wires

One ground wire will be strung above the towers arms at the tower peak for protection against lightning strikes.

### Project Construction

#### Further Planning and Construction Period

According to the present Project’s implementation indicative schedule, the following further development stages are foreseen:

Year 2022 - 2024 - completion of the next Project’s technical design (Preliminary Design) as well as accompanied technical documents and land acquisition documentation, including preparation of tender dossier / procurement documents for selection of Contractor(s) and selection of Contractor(s)

Year 2025 – 2027 – completion of the final Project’s technical design (Detailed Design) by the Contractor(s), obtaining of construction permit and construction of the Project, including testing and commissioning, as follows:

Supply of equipment (Q4/2024 – Q4/2025, in total 15 months)

Civil works, installation works, etc. (Q/2024 – Q3/2027, in total 36 months)

Tests and commissioning (Q1/2027 – Q4/2027, in total 12 months).

Hence, the actual construction period for the Project is anticipated to be up to two years from the start of the works, including the necessary dismantling works at the existing 110 kV overhead line. The construction period in any particular location along the transmission lines would be in the order of several days to weeks, while the construction of the new 400/110 kV substation will be continuous process at the substation’s construction site.

#### Access for Construction

Road Access and Construction Traffic

Access to the works will be gained wherever feasible from the existing main road network. The use of certain unclassified roads will also be required. Roads which may be used for construction purposes will be identified prior to the construction by the Contractor, once appointed.

Where new access roads are needed, their type would depend on a variety of factors - sensitivity of the location, the type of land use and the ground conditions. The choice of road type and design would be guided by the principles set out below. Each individual road would be designed by the Contractor and approved by MEPSO and competent authorities. Therefore, no particular information is available at the moment for the new access roads and would emerge in the course of the future development stages of the Project (Preliminary Design and Detailed Design)

Need for Access Roads

The Project represents a combination of:

Construction of newly introduced structures in the Project area - new 400/110 kV SS Miletkovo and new 110 kV connectors with the existing 110 kV transmission grid in the region.

Reconstruction of existing structure in the Project area - replacement of conductors of the existing 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo

The need for access roads for the Project is described below.

- New structures - 400/110 kV substation and associated 110 kV connectors

Temporary or permanent roads capable of taking a heavy crane (e.g. 100 tonne crane) and other heavy machinery and vehicles are required for the construction of the substation and each tower of the new transmission lines. Gravel roads to all angle towers sites are preferred, i.e. where winching equipment will be used.

There are no ecologically sensitive sites (e.g. watercourses, wetlands, etc.) or otherwise sensitive land uses (e.g. agricultural land, forest / woodland) at wider surrounding around the substation site. Therefore no environmental or social sensitivities or constraints have been identified in regard to these access needs for this element of the Project.

The alignments of the 110 kV connectors associated with the new 400/110 kV substation cross an area with dominant agricultural land use forms. Therefore, particular access principles will be applied in this area as described below.

Access would also be required for maintenance. On average, according to the internal procedures of MEPSO, a routine maintenance visit and inspection to each tower is undertaken approximately every six months. Other visits might be required if there are line faults.

- Existing structure - 110 kV OHL from Valandovo to ‘EVP’ SS Miletkovo

The reconstruction of the line includes its modification by dismantling of the existing obsolete conductors and the associated insulator strings and the earth wire, followed with installation of new conductors with higher capacity, by using the existing OHL towers. Therefore, for the purposes of this reconstruction, the existing towers will remain in use during the operational life of the reconstructed line and no new towers will be constructed.

There are existing access roads to each of the existing OHL towers and, based on the RoW rules, these are regularly used by MEPSO for the on-going maintenance of the existing line. In general, due to the flat topography in the Project area, the main access road providing access to the line follows its alignment at close proximity, with short branching tracks to particular tower sites. This main road is also regularly used by the local population for access to the agricultural land in the wider area.

No significant environmental or social sensitivities have been identified in regard to these existing access roads during the E&S assessment.

Road Design and Construction

In principle, there are several types of roads that can be used to facilitate access to tower locations in order to construct and maintain the transmission line. The type of road that will be used will depend on a variety of factors including the topography, sensitivity of the location, the type of land use and the ground conditions. The details of road design and construction will be defined by the Contractor, once appointed.

The choice of which type of road is used will be guided by the principles set out below in this Section.

General Access Roads Routing Strategy and Design Principles

This access strategy has been developed to guide further decisions relating to access to construction sites of the Project. The aim of the strategy is to ensure a consistent approach to defining safe access to the substation site and along the new transmission lines. Overall objectives of this approach are:

- To define access routes which minimise intrusion upon and disturbance of local communities.

- To cause least disturbance to current land use and land management practices (e.g. agricultural areas).

- To cause least disturbance to and minimise impacts upon sensitive areas (e.g. natural or cultural heritage (if relevant), watercourses, forests, etc.).

A combination of access options will need to be considered by the appointed Contractor including making best use of existing roads as well as new temporary and permanent tracks to allow access to construction sites with the least environmental and social impact. In general terms, the following principles will be used to define the new temporary and permanent access tracks:

A temporary or permanent access will be installed to each new tower position.

Best use will be made of existing road network - bridges, roads and tracks.

Access for excavators would be required to every new tower.

Use of private accesses to residential properties will be avoided wherever possible for safety and intrusion reasons. Where this is unavoidable access arrangements will be agreed with the landowner.

Permanent roads to angle towers are preferred because these will assist future operational and maintenance activities.

Permanent road will be avoided in all areas where there is existing road (e.g. within 1.0 km of the Project) which allows access to the Project via branching connection track. Similarly, roads would not be permanent where there are existing public roads in close proximity to the Project (within 1.0 km).

Longer length of temporary routes will be used where use of public roads could cause major nuisance to the public and local population within settlements or various properties along the transport routes.

General future maintenance activities would make the best use of existing roads as far as possible and reduce the need for temporary road to the minimum necessary for safe access to the Project. If temporary road is required, it will be built where there are no environmental sensitivities (e.g. ecological, hydrological or forestry sensitivities) and will be permitted by competent authorities or responsible management authorities.

The following principles will be used to define access routes in agricultural areas which are dominating land cover form in the Project area (see Section 7.1.5):

In agricultural areas it will usually be possible to make the best use of the existing road network and access the construction areas with temporary tracks that branches from an existing road.

In agricultural land temporary tracks will be used and the ground restored at the end of construction, unless it has been agreed with the landowner that a permanent road is required for general land access.

Time restrictions will be imposed during specific agricultural seasons (e.g. planting season, harvesting season).

Headlands of fields (field margins) will be used wherever possible to limit intrusion into agricultural land.

Any field drains affected by construction of roads would be reinstated.

The following principles will be used to define access routes in proximity to watercourses:

Crossing of watercourses with vehicles will be forbidden.

Smaller watercourse crossing may use small pre-cast concrete culverts.

There will be no unnecessary tracking by construction vehicles near rivers and watercourses.

- The forests and woodlands occupy insignificant portion of the Project area (see Section 7.1.5) and therefore it is very unlikely these sensitive areas would be significantly affected for providing access to the Project sites. Still. The following key principles will be used in forests / woodlands, if necessary:

All access roads within forest areas will be designed to minimise the loss of trees.

Existing roads will be used in forest areas where possible.

Roads can be permanent in forest areas, if required, where there are no ecological, hydrological or forestry sensitivities. This will be agreed with a competent authority.

#### Typical Methods for Construction

Construction of 400/110 kV Substation Miletkovo

Construction of a typical 400/110 kV substation is an intensive and complex operation. Normally, the construction works for a substation of the size of the proposed one last around two years. It requires the coordination of numerous different supplies, works and activities, and accordingly the coordination of numerous different suppliers and various contractor teams. The first several months period is usually dedicated to making preparations for the construction, necessary administrative procedures and setting up site offices, etc. The following site construction works could be split into two main groups: civil works and electro-mechanical works.

Civil construction works will comprise:

construction work on the access road

earth works (excavation, grading, levelling and drainage), and

construction works for foundations, buildings (including all building services such as electrical installations, plumbing, heating, air-conditioning, ventilation), fire protection systems and fencing.

Electro-mechanical works will comprise:

earthing arrangements

mounting, installation, testing and commissioning of the main/primary equipment (busbars, transformers and switchgear)

mounting, installation, testing and commissioning of the secondary equipment (protection, signalling, telecommunication systems), and

mounting, installation, testing and commissioning of the auxiliary equipment (LV AC supply, DC supply, mobile generators, monitoring equipment, etc.).

The sequence of works for the new 400/110 kV substation is briefly described below.

The necessary excavation and removal of surplus soil at the substation location will ensure that the ground is appropriately levelled and that surface soil layer is removed, in order to install the earthing system for the entire substation and to install the drainage system. The next phase is the fencing and concrete works for the foundations of buildings, equipment portal foundations and transformer gantries. At this point, the supply of the equipment (primary equipment, secondary equipment, busbars, etc.) and outdoor electro-mechanical works would commence, while the civil works continue with the construction of buildings and the associated installation works inside those buildings. The indoor electrical equipment is supplied in the final stage, followed by installation, testing and final commissioning of all electro-mechanical equipment (including control and protection systems, telecommunication facilities, auxiliary supplies, etc.).

Typically, the construction workforce is approximately distributed as 55% for civil workers and 45% for electro-mechanical workers. The average total number of workers on site (for all profiles of the work force, i.e. engineers, craftsmen and workers) is 45, out of which 25 workers are for civil works and 20 workers are for electro-mechanical works. The maximum number of workers present on site simultaneously occurs during the first half of the second construction year, when a total of 70 workers will be present. The minimum number of workers present on site simultaneously occurs during the second half of the second construction year, when 15 workers will be present.

The heavy machinery which will be used for construction on site will consist of bulldozers, excavators, graders, cranes, road rollers, etc. This machinery will remain on the construction site during the whole construction period.

For transportation purposes, mainly normal (standard) trucks will be used, and only in exceptional case trailer trucks will be employed – truck loads for the 400/110 kV transformers.

Figure 2.11: Typical construction of a 400/110 kV substation infrastructure

Dismantling and Removal Works of the Existing 110 kV Transmission Line

The Project includes partial dismantling of the existing 110 kV line from SS Valandovo to ‘EVP’ SS Miletkovo, which is considered as a part of the construction phase of the Project, with an aim to increase its transfer capacity by replacing the conductors and associate elements (i.e. insulator strings). In addition, the existing earth wire will be removed and replaced with a new one.

Therefore, demolition works will include dismantling works for the obsolete phase conductors, insulator strings and earth wire, and their transport out of the Project area. Potential re-use of these elements will be considered by MEPSO. Another option includes the possibility that these components are offered as recyclable waste to authorized waste management companies.

The existing OHL towers will remain operational and no dismantling works in this respect are foreseen. An exception are two existing towers (no.19 and no.20) at the proximity of the ‘EVP’ SS Miletkovo, which will be dismantled and removed, followed by removal of the respective foundations.

Before starting to dismantle the conductors, protection measures consisting of scaffolding and nets will be erected over obstacles such as major roads and other transmission or distribution lines. Dismantling of the conductors will take place only when the protection measures have been put in place. Access will be required to allow the scaffolding equipment to be delivered to the locations where it is to be erected.

Construction of New Transmission Lines

During the construction activities, earth works and concreting works will be carried out for construction of the foundation for the new transmission line towers. Other construction works, construction of steel-lattice towers and installation of electric and protective equipment, including the conductors, insulators, earth wires, earthing, etc., will mainly be of prefabricated type.

The upcoming detailed design of elements of the steel-lattice towers will be in compliance with the requirements incorporated in the Macedonian technical standards, i.e. the regulations setting the technical principles for construction of overhead power lines with nominal voltages of 1 kV to 400 kV, as well as other Macedonian and international standards, for the issues the basic regulations does not cover. The design will also include undertaking engineering and design measures for corrosion protection.

The first stage in the construction of the new transmission lines, after construction of access tracks, is to construct the foundation for each tower. Respective geological surveys are to be carried out in the course of the future development stages of the Project (Preliminary Design and Detailed Design) to gain information on the baseline conditions along the OHL alignments, as well as the detailed geo-technical investigation is to be carried out to further support the Project’s technical design to indicate if special foundation types will be required. The standard foundations of pyramid type will be used. Typically, excavations will be undertaken for each leg on the tower. The dimensions of the excavation will vary depending on the tower type to be constructed. A typical leg excavation would be 16 m2 for the suspension towers, increasing up to and over 25 m2 for the angle towers. Once the excavations are formed, the tower leg will then be fixed in accordance with the foundation design using suitable formwork and it will then be concreted. If access allows, concrete would be delivered direct to the tower position by a ready-mix concrete truck. Alternatively, the truck would have to stop at a predetermined point where the concrete would be loaded into a tracked dumper, which could then track to the tower position. After the required time to allow the concrete to partially cure, the formwork would be removed, and the excavation backfilled using the original materials and compacted. Any surplus material would be removed from site and disposed of in accordance with the site waste management plan.

Tower sub-structures (segments of the steel lattice) will be pre-assembled in suitable project bases and transported in pieces to the lay-down areas. These segments will be then assembled on site to construct final tower structure. Erection of the tower segments will be completed by a mobile construction crane. For locations with difficult or restrictions on access, pre-assembled pieces will be smaller and accordingly an increase in number. Area for each OHL lay-down area is around 100 x 50 m. The assembly process is such that materials for a number of towers are brought on site (compound area), tower sub-structure are assembled and transported to construction site (proposed tower location). Average use of a single lay-down area is around two weeks.

The typical footprint for each of the towers is given in the Section 2.4.2. For construction purposes, the working area at each tower will be around 1,000 m2, up to 2,500 m2 for angle towers and approximately 6,000 m2 for winch sites which will be used for pulling the conductors into place between towers. After completion of the construction works, the remainder of the working area will be restored and put back to its original condition. Any previous forms of agricultural activities or other land use type can continue after construction of the transmission lines and during its operational stage, subject to height restrictions for passing under overhead lines.

Conductors will be strung using specialist pulling and breaking/tensioning machines. When a sufficient number of sequential sections are complete with all towers erected, stringing of conductor can commence. Initially, the insulators and other equipment necessary for stringing the conductors will be taken to site along the identified access route. The puller will be positioned and set up at one end of the section, with the tensioner set up similarly at the other end of the section. A pilot wire will be then strung through the section between the puller and tensioner. It will be placed on the suspension and tension towers and connected around the puller and tensioner at either end. Using the winch to pull the pilot wires, the conductor will be drawn through the section, under constant tension using the tensioner, allowing the conductor to be controlled without touching the ground. This would avoid damage to the conductor and underlying ground. Where the conductor needs to be strung over obstacles such as roads or lower voltage lines, protection in the form of scaffolding will have to be erected prior to the commencement of stringing. For road crossing, temporary road closures or the use of workers (flagmen) to direct traffic may also be used.

The average duration of a tower construction, consists of:

- Time for preparation of foundations (excavation and concrete works). Average time for construction of foundations for a single tower is two days, i.e. for four foundations, is one tower per day for excavation and one tower per day for concrete works. The time for concrete works includes half a day for preparation of reinforcement and half a day for concrete works.

- Time for construction of tower (assembly and erection). Average time for construction of a single tower is 2 towers per day.

- Time for mounting electrical equipment. Average time for mounting electrical equipment is approximately 2 towers per day.

As a result of all above, the average total construction time per tower including the preparatory works could be estimated on 8 days, and consists of: 2 days for preparatory works; 2 days for construction of foundations; 2 days for erection of a tower; and 2 days for electromechanical works. However, this time can vary depending on the contractor’s capabilities – the type and amount of the construction equipment and allocated staff / crews as well as on the topography and geological conditions.

Based on information available from other transmission line developments of similar size, average number of truckloads per tower is 12, i.e.:

3 truckloads for ready mix concrete (mixers);

5 truckloads for tower structure

2 truckloads for equipment, tools, materials, etc.

2 truckloads for electrical equipment (except for the conductor which is transported in large drums with special heavy vehicles).

#### Construction Workforce and Accommodation

During the construction phase, the Project will generate temporary employment opportunities, comprising skilled, semi-skilled and unskilled jobs. The construction workers will be organised in several crews working in parallel, moving along the transmission lineс.

Part of the workforce is expected to come from outside the Project area, both from within Macedonia and from other countries. The Contractor will need to develop an accommodation strategy which would be based on the following approach for housing the construction workforce:

Using available accommodation in larger settlements where temporary accommodation is good in a form of hotels, guesthouses, or houses/apartments for rent.

If may also be possible to use local accommodation in smaller villages but the Contractor would need to undertake an assessment of the available accommodation and the impact of the workforce using this local accommodation. This may be possible for small number of workers.

In all cases the accommodation used must meet the IFI requirements on workforce accommodation.

#### Phasing of the Construction

The construction programme will be developed following detailed site investigations and engineering surveys. It is likely that the Contractor will construct the Project in several areas at any time. Works would be programmed to be cost effective and safe whilst taking account required environmental and social mitigation measures as committed in this assessment. The detailed work programme will need to be included in the construction documents and discussed with all relevant stakeholders prior to work commencement.

### Commencement of Operation

The commencement of operations will include assessment of parameters and performance of equipment installed and the degree of its conformity with technical specifications. Testing, typically in a period of 2 months from the day of energising the substation and transmission lines, will be performed of the operability of the different components with the aim of ensuring safe and secure operation of the new transmission lines and substation equipment, including its conformity with requirements for environmental protection.

### Operation and Maintenance of the Project

The Project is designed for continued operability (24 hours per day, 7 days per week) depending on the regime and parameters of the national and regional power transmission grid.

Maintenance of the Project – the substation and transmission lines - will be carried out by MEPSO and will be implemented in compliance with the national legislative requirements on technical standards for operation and maintenance of electro-energy systems. Detailed maintenance activities will be set out in the MEPSO’s maintenance plans. These activities may include substation and lines inspection, tower painting, future upgrading, etc. In addition, operation and maintenance of the Project need to compliant with the requirements of the International Finance Corporation relevant guidelines.

400/110 kV Substation Miletkovo

Guarantee of the entire built-in substation equipment in duration of 61 months and 67 months from the day of its installation, examination and commissioning is to be provided to MEPSO by the Contractor(s), for the 110 kV and 400 kV substation bays, respectively.

The substation technical equipment will be subject to technical inspection and periodic inspections in compliance with MEPSO’s operational and maintenance rules. These rules prescribe the activities and timing of technical inspections and periodic examinations, the manner and procedure of performing technical inspection and periodic examinations, closer conditions to be met during these inspections. They also prescribe the type of documentation that accompanies the technical equipment during commissioning and use.

The supplied equipment during the entire use should satisfy all safety requirements defined by standards and technical specifications according to which it is produced, the technical regulations adopted by the competent authorities or determined by the national and international safety standards.

Transmission Lines

From the beginning of operations, the transmission lines will be operated remotely by MEPSO, without the continuous presence of personnel.

In general, maintenance works include regular maintenance (visual inspections and routine annual maintenance works) and overhauls (detailed examination and elimination of possible faults).

Visual inspection will be conducted twice a year, including the access roads. Four wheel drive vehicles and small trucks will be used for that purpose. The inspection would identify if there are any visible faults or signs of wear and would also indicate if changes in plant or tree growth, or development, had occurred which might risk infringing safety clearances.

The scope of these regular visual inspections includes the following key issues:

Inspection of each OHL tower and its elements – the consoles and the tower top as well as its verticality and stability

Inspection of the fundament of each OHL tower

Inspection of the earthing of each OHL tower

Inspection of the towers’ anti-corrosion protection

Inspection of the signage at each OHL tower

Inspection of the conductors, earth wires and insulator chains

Inspection of the clearance corridors and the status of the clearances vs vegetation. The clearance corridors will require monitoring to ensure the necessary safety clearances are maintained. Maintenance of the corridors would be undertaking using manual cutting to minimise the intrusion into the vegetated corridor.

These inspections would also confirm when refurbishment is required and may be followed by certain actions in individual sections, such as:

Replacement of conductors and earth wire;

Replacement of insulators and steelwork that holds the conductors and insulators in place;

Painting or replacing the tower steelwork; and

Replacement of tower furniture (anti-climbing devices, colour identification plates, danger of death notices, number plates).

Overhauls are completed once in two to five years. These may require use of tracks and heavy tractors. Overhauls include physical inspection of each tower and removal of all registered faults on the towers and electrical equipment (short circuits, ground faults, earth wire damages, etc.), including:

Check of the whole anti-corrosion protection system, each two years. If necessary, samples are to be taken for further investigation.

Check of the earthing of the OHL towers, each five years. This also includes a measurement of the ground resistance.

Cleaning around the foundations of the towers, each five years. This also includes repairing works, if necessary, such as cracks, concrete deterioration problems, etc.

Check of the screw connections, each five years.

Check of the power bridges, each five years.

Sampling of the built-in equipment (e.g. samples of the steel construction, insulators, conductors and wires) in order to examine their operational quality and characteristics so that appropriate corrective measures can be planned and taken, if necessary.

### Decommissioning of the Project

The substation and transmission lines will be made up of a variety of materials, from concrete and steel for the foundations, steelwork for the tower and aluminium/steel for the conductors. All these materials have an expected lifespan, which varies depending on how the Project is used and where it is located.

In general, the transmission infrastructure and facilities have a typical design life expectancy of approximately 80 years. After construction, the components of the Project would become an integral part of the Macedonian transmission network. As such the lifespan of the Project’s elements may be longer than the anticipated 80 years, depending on their condition, refurbishment and the future transmission network requirements. If the Project is no longer required as part of the Macedonian network of electricity transmission, it may be dismantled and removed. If at this point, or any other point in the future a decision is made to decommission the Project, work would be undertaken in accordance with the regulations and guidelines as well as the relevant statutory process applicable at that time

Upon removal, much of the equipment and material would be suitable for recycling. Substation equipment would be dismantled and removed. Fittings, such as dampers and spacers, would be removed from the conductors. The conductors would be cut into manageable lengths or would be winched onto drums in a reverse process to that described for construction. The fittings would be removed from the towers and lowered to the ground. The towers may be dismantled by crane, with sections cut and lowered to the ground for further dismantling and removal from site. Depending on the space available, it may be possible to cut the tower legs and then pull the tower to the ground using a tractor. The tower can then be cut into sections on the ground. Unless there is a compelling need for removal of all the foundations, to avoid ground disturbance steel work may be removed to ground level with subsurface elements left in situ.

# Project Options

## Identification and Assessment of Options

### Methodological Approach

The process of Project options identification/assessment and selection of preferred Project option was carried out for the wider development scheme as a whole.

The general approach for the identification of the development options and alternatives for this Project - New 400/110 kV Substation Miletkovo with Connection to the existing 400 kV and 110 kV Transmission Network, was to identify and optimise the location of the new 400/110 kV substation and to identify and elaborate the feasible alignments for the 400 kV OHL corridor from the new substation to the connection point in the SS Dubrovo in the municipality of Negotino, in order to proceed to a more detailed and updated comparison and scoring of the variants. In addition, options and alternatives for connection of the new substation with the 110 kV transmission network in the region were identified and assessed.

For the identification and development of the Project options and alternatives, the following key design aspects were considered:

- Broader country-specific integration and development policies, strategies and plans within the European, regional and national context;

- Spatial development and urban plans;

- Sectoral master plans and strategies in the electricity transmission sector;

- Previous studies and/or designs relevant for the Project history;

- Current technical standards and other legislative requirements.

- In parallel, the identification and development exercise of the Project options and alternatives was supported by an environmental and social (E&S) assessment. The E&S process identified potential E&S effects of each of the identified alternatives which steered the selection of the preferred Project option from an E&S perspective.

In that respect, the approach was based on the following actions:

- Review of available planning and project related documentation (e.g. strategies and development plans and programmes, studies and reports, E&S monitoring data);

- Review of relevant national and EU environmental regulations as well as the Environmental and Social Policy (ESP) document (2019) of the European Bank for Reconstruction and Development (EBRD);

- Identification and mapping of existing high-level E&S constraints – sensitive and/or “no go” zones in the area where the Project is to be implemented (see Annex 2);

- Focused site visits and field surveys carried out in May and August 2021 to obtain the key baseline environmental data for relevant topics and sensitivities (e.g. biodiversity and nature conservation, landscape character and visual context) as well as the key baseline social data and sensitivities (e.g. settlements pattern, material assets, land use, cultural heritage);

- Description of the identified SS locations and OHL alignment variants and their E&S constraints and opportunities.

The ultimate objective of this exercise was to identify alternative SS locations and OHL variants and, through a process of holistic appraisal via a multi-criteria assessment (MCA) from various aspects – network/market, technical, environmental and social, and economic - to recommend and select the preferred Project option to be taken forward for further development (i.e. Conceptual Solution and environmental and social appraisal).

### No Project Option

The ‘No Project’ option (‘Do Nothing’) is an alternative involving no development of the proposed Project.

One of the main strategic pillars identified in the Macedonian Strategy for Energy Development until 2040 [Ref.14] (the Strategy) is achieving high level of integration of the national energy system with the international energy markets. In addition, the Strategy foresees a goal for decarbonisation of the Macedonian energy system, which is to be achieved by a number of strategic goals, including reduction of the greenhouse gas emissions associated with the energy production and increasing the penetration of the renewable energy sources in the overall energy consumption, in a sustainable manner.

The integration with the international markets is foreseen to be achieved by continuous investments in the transmission and distribution network in order to [Ref.14]:

- greater integration of renewable energy sources or electricity production, especially from wind and solar sources,

- enabling the producer-consumer mechanism ("prosumer"),

- greater penetration of electric vehicles, and

- satisfying the increased demand for electricity in the region.

Аccording to the Strategy, the biggest challenge for achieving these goals, including the foreseen increased penetration of the of renewable energy sources, from the perspective of the national transmission system, will be the strengthening of the existing 110 kV voltage level grid by reconstruction/replacement of 110 kV transmission lines in particular regions. Given the long-term investment plan of MEPSO until 2040, ‘the system needs an investment of 163 million. EUR, of which 87 mil. EUR for a new network and 76 mil. EUR for network revitalization. The largest investments in revitalization of ~ 70% are expected to be in the period 2025-2040, while ~ 98% of investments in a new transmission network should be made by 2030, based on the lowest costs.’ [Ref.14].

Therefore, this Project for strengthening the transmission network in Southeast Region of Macedonia is seen as an important step towards fulfilment of the Strategy goals for integration of energy from renewable sources into the national power system, since the most significant investments in this regard are (will be) located mostly in this region of the country (see Figure 1.1). Beside the key benefit from the Project – to secure reliable integration of the planned renewable sources in the southeast region of the country, which consequently contributes towards reduction in CO2 emissions, the Project will increase the security of supply and will contribute towards increase of the efficiency and capacity of the transmission grid with smart grid solutions.

In terms of fulfillment of the above Macedonian strategic goals, the ‘No Project’ option has no positive argument in its favour, because if the proposed Project is not build, then it would cause a serious problem in the planned national energy sector development and the regional integration of the Macedonian electricity system. Such scenario would also result in serious obstacle in regard to the country’s efforts to meet the goals of the European Union for the integration of energy from renewable sources into the national power system.

‘No Project’ option does not involve capital investment costs. However, maintenance costs are higher than for lines within the expected life span because the equipment would become obsolete with an expired useful life. Consequently, the ‘No Project’ option will directly contribute to higher operational costs of the existing out-of-date transmission infrastructure in the Project region, as well as to higher technical losses. It will also decrease security and reliability of the power supply in the Project region.

In a wider context, the ‘No Project’ option would limit overall economic development and possibilities for the improvement in the social welfare of the citizens in the Project region and wider context – at country level.

### Identified Options

Based on the transmission network topologies defined in the Project-related studies, three options have been identified (including alternative corridors for each option) (Figure below), in order to make a clearer distinction between different network configurations. They are all built based on the network topology, representing the basic development of the local transmission networks for three referenced years - 2025, 2030 and 2040.

The key technical elements of the identified options are as follows:

- Project Option 1 - Double Circuit 110 kV OHL Dubrovo – Valandovo, which includes the following main components:

  - Construction of a new double circuit 110 kV OHL between Valandovo and Dubrovo

  - New 400/110 kV power transformer in the 400/110 kV SS Dubrovo, with respective 110 kV and 400 kV bays

  - Reconstruction of the existing 110 kV OHL Valandovo – Strumica 2 – Strumica 1

- Project Option 2 - New 400/110 kV substation and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), which includes the following main components:

  - Construction of a new 400/110 kV substation

  - Connection of the existing 400 kV OHL Dubrovo – Thessalonica (GR) into the new substation

  - Reconstruction of the existing 110 kV OHL Valandovo – Strumica 2 – Strumica 1

- Project Option 3 – New 400/110 kV substation with interconnection (new 400 kV OHL Dubrovo – Valandovo – Thessalonica (GR)), which includes the following main components:

  - Construction of a new 400/110 kV substation

  - Construction of a new 400 kV OHL Dubrovo – Valandovo – Thessalonica (GR)

  - Reconstruction of existing 110 kV OHLs Valandovo – Strumica 2 – Strumica 1

As an element of the wider development scheme for strengthening the transmission network in the Southeast Region of Macedonia, the Sub-project 2 - Reconstruction of the existing 110 kV OHL Valandovo – Strumica (Component 2) was included in each of the identified options. As such, this element was not a comparative factor for the decision-making process for selection of the preferred option and was not taken into the comparative analysis of the identified options.

Figure 3.1: Project options and alternatives within Project options

### Description of Options

- Project Option 1 – Double-circuit 110 kV OHL Dubrovo – Valandovo

Due to the high-level environmental constraints identified in the Project region (see Annex 2), two routing alternative corridors of the 2x110 kV OHL alignment were identified and assessed for this Project option (Figure below):

- Alternative 1 – Southern Corridor

This corridor is generally routed in parallel with the existing 110 kV OHL Dubrovo- Valandovo, at relative distance of approx. 500 m from its centreline, with one particular deviation aiming to minimise the crossing section with the proposed protected area Demir Kapija Gorge. From its starting point – SS Dubrovo – this alternative goes in parallel with the newly foreseen line for the proposed wind park Dren (Demir Kapija area) and after approx. 4 km it crosses the Vardar River, continuing to the west through a hilly and mountainous terrain, bypassing the settlements in the area. In this section, this alternative corridor runs in parallel with the existing 110 kV line to its ending point - the existing SS 110/35/10 kV Valandovo. The corridor is with an approximate length 41 km.

- Alternative 2 – Northern Corridor

From its starting point – SS Dubrovo – for approx. 9 km, this alternative corridor is routed in parallel with the 400 kV OHL SS Dubrovo – SS Stip at relative distance of approx. 500 m. From this point, the alignment turns to the east to hilly and mountainous terrain until it reaches the highest point of around 1,000 m a.s.l and then it descends towards the ending point – existing SS Valandovo. At around 38 km from the SS Dubrovo, the corridor turns south reaching the SS Valandovo. The corridor is with an approximate length of 55 km, 14 km longer than the Southern Corridor.

This option also includes extension of the SS Dubrovo to accommodate the proposed new 2x110 kV line, including a new 400/110 kV power transformer with respective new 400 kV and 110 kV transformer bays, as well as extension of the existing SS Valandovo with new 110 kV bays to accommodate the connection with the new 2x110 kV line and new renewable energy sources planned in the Project region.

Figure 3.2: Project Option 1 – Double circuit 110 kV OHL Dubrovo – Valandovo, alternative corridors

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

- Project Option 2 - New 400/110 kV substation and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR)

This option includes two alternatives of the location of the proposed new 400/110 kV substation, resulting in different layout of the OHL connectors:

- Alternative 1 – Location 1 (Valandovo) - adjacent to existing 110/35/10 kV SS Valandovo

The alternative location 1 for the proposed 400/110 kV substation, located on the territory of the municipality of Valandovo (cadastral area (K.O.) “Valandovo – von grad”), is adjacent to the existing substation Valandovo. There are medium and low voltage lines in the immediate vicinity of the existing substation. The new substation would include construction of 400 kV and 110 kV switchyards with necessary bays and equipment to support the foreseen operation of the facility (see Section 2.4.2). Considering the spatial layout of the location there is space for further extension of both the 400 kV and the 110 kV switchyards in the future.

This alternative also includes a new approx. 7.8 km long 400 kV line - in-out connection of the proposed substation with the existing 400 kV OHL Dubrovo – Thessalonica (GR), which would be realized with two single circuit 400 kV lines (Figure below). From its starting point - the new SS 400/110 kV Valandovo – the corridor of these lines is routed in the south – southwest direction, avoiding the settlements in the area (villages Brajkovci, Balinci and Marvinci) and connecting to the existing 400 kV OHL in proximity to the village Grchiste.

Figure 3.3: Project Option 2 – New 400/110 kV SS Valandovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 1

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

- Alternative 2 – Location 2 (Miletkovo) - in vicinity to existing 110/25 kV SS ‘EVP’ Miletkovo in proximity of the A1 highway

The alternative location 2 of the proposed 400/110 kV substation, located in the area of village Miletkovo, on the territory of the municipality of Gevgelija (cadastral area “Smokvica”), is in the vicinity of the 110/25 kV SS ‘EVP’ Miletkovo, right next to the A1 highway Demir Kapija Smokvica, at around 7.5 km from the existing substation Valandovo. There are no existing surrounding structures or other transmission lines, with an exception of the existing 400 kV OHL Dubrovo – Thessalonica (GR), which is to be connected to the new substation via approx. 0.5 km long in-out connector. This connection would include only minor intervention for dislocation of several existing 400 kV towers to ensure the connection to the new substation (SS Miletkovo).

The conceptual technical solution of the substation is equivalent to the previously described solution with respective differences related to the 110 kV bays which would serve to connect the new 400/110 kV substation with the existing 110 kV network in the Project region.

The general overview of this alternative is given in the Figure below.

New 400kV SS Miletkovo

`

Figure 3.4: Project Option 2 – New 400/110 kV SS Miletkovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR), Alternative 2

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

The following interventions to provide connection of the new substation with the existing 110 kV transmission network in the Project region are constituent elements of this alternative:

  - Reconstruction of existing double-circuit 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo and extension to the new 400/110 kV SS Miletkovo

This approx. 6.4 km long existing 110 kV line would be reconstructed and extended to connect the new 400/110 kV SS Miletkovo with the existing 110/35 kV SS Valandovo. According to the existing technical data (engineering design, longitudinal profiles and the safety clearances of the line), the intervention would include new phase conductors with larger cross-section as well as possible rearrangements of the towers, upgrading the towers with appropriate elements to increase their height and use of a several new towers, where necessary.

  - Construction of new double-circuit 110 kV from the new 400/110 kV SS Miletkovo to existing SS ‘EVP’ Miletkovo

In addition, a new 2x110 kV line would need to be built from a point in proximity to the SS ‘EVP’ Miletkovo to the new 400/110 kV substation with an approximate length of 1.8 km, in order to complete the connection of new substation with the existing SS Valandovo.

- Project Option 3 – New 400/110 kV SS Valandovo with interconnection (new 400 kV OHL Dubrovo – Valandovo – Thessalonica (GR))

This option (Figure below) includes construction of a new 400/110 kV SS Valandovo adjacent to the existing SS Valandovo, same as the respective element of the Project Option 2, Alternative 1 as described in the previous sub-section.

In addition, it foresees construction of a new single-circuit 400 kV OHL Dubrovo – Valandovo – MK/GR border (further to Thessalonica (GR)), designed with ‘Y’ towers, standardised in the Macedonian transmission system, and composed of two separate sections:

- Section SS Dubrovo - SS Valandovo

Two alternative corridors were identified in this section. These are identical in geographic context to the OHL routing alternatives identified and assessed in the scope of the Project Option 1 Alternative 1 – Southern Corridor (approx. 41 km long corridor) and Alternative 2 – Northern Corridor (approx. 55 km long corridor).

- Section SS Valandovo - MK/GR border

This section would be approx. 24 km long, with the first segment of approx. 8 km to be built along the same alignment as described in Project Option 2, Alternative 1. The remaining 16 km would be built in parallel with the existing 400 kV OHL SS Dubrovo - MK/GR border.

Figure 3.5: Project Option 3 – New 400/110 kV SS Valandovo with 400 kV interconnection (Dubrovo – Valandovo – Thessalonica (GR)), alternative corridors

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

### Assessment of Options

Each of the identified Project options and alternatives within the options has been preliminary evaluated from multi-criteria perspective, including strategic development aspects (network and marked based appraisal), technical and engineering criteria, environment and social aspects, as well as economics. The key conclusions of this exercise are given below.

Network and Market Based Assessment

Methodology

Network and market benefit study has included two set of elements and comprises the calculation of benefits according to ENTSO-E methodology (Figure below). The target years to calculate these benefits were 2025, 2030 and 2040.

Figure 3.6: Key benefit categories investigated in the network and market based assessment

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

In addition, based on the preliminary technical assessment of the Project’s options and alternatives within the options, relevant project costs (Figure below) have been provided and the respective economic benefit and cost element, i.e. the benefit/cost ratio (Net Present Value - NPV) for each identified Project option has been calculated.

Figure 3.7: Costs categories investigated in the economic assessment

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

This economic assessment includes a comparison of costs and benefits that the Project would cause to the society, in order to assess its economic viability and the final effect on the economy of the country and the region as a whole.

Key Findings and Conclusions

The Project’s network and market based assessment has indicated the following key conclusions [Ref.4]:

- The results of the analyses have shown that in 2025 there are no particular benefits from any of the identified options. Social Economic Welfare (SEW) is negative for all three options, while the losses are even decreased in Option 1.

- All identified options increase Change of Evacuation Capacity (GTC) and provide sufficient reserve for installation of additional production capacities in South-East region of Macedonian transmission system. Option 2 and Option 3 are in a favour to Option 1 related to GTC increase, which means those two options facilitate additional penetration of renewable energy sources in the Project region.

- The main benefits from realisation of the Project would start from 2030, so any of these three options is advised to be realised.

- Regarding the CO2 emission reduction, Option 2 provides the best results, decreasing the emission up to 5,200 t in 2030 and 31,000 t in 2025, while in 2030 the Option 3 brings the maximum of CO2 emissions reduction, by 4,700 t. This calculation is based on RES integration (unlock of generation with lower carbon content), defined as the ability of the system to allow the connection of new RES plants and unlock existing and future “green” generation, while minimizing curtailments [Ref.4].

- Based on these considerations, the assessment recommends the Option 2 as preferable one from the reduction of energy curtailed from renewable energy sources in the Project region, from the biggest losses reduction, and increase of additional capacity reserve in the region.

- This assessment concludes that the upgrade of the existing network in the Project region is necessary to support integration of the renewable energy sources and increase of Macedonian social-economic welfare.

Technical Appraisal

Methodology

The identified Project options and alternatives within the options have been preliminary assessed against set of technical criteria, comprising a number of design and engineering factors relevant for comparison of the options:

- Terrain conditions and topography for the new 400/110 kV substation and the corridors for the new overhead lines;

- Availability of free OHL corridors for new connections of renewable energy sources

- Land availability for the new 400/110 kV substation;

- Required reconstruction / upgrade of existing transmission assets (line and substations)

- Climate parameters for the new transmission infrastructure;

Key Findings and Conclusions

The Project’s technical assessment has indicated the following key conclusions [Ref.4]:

- Project Option 1 requires construction of a new 2x110 kV line (either 41 km or 55 km), which from the previous experience with the construction of this type of facilities would require significant efforts. In addition, a larger reconstruction/expansion of the existing SS Valandovo is needed (due to the connection of new RES) which will cause continuous operational challenges at the substation.

- Project Option 2:

  - Alternative location 1 for the new 400/110 kV substation is near agricultural, industrial and small business facilities that reduces the possibility of access to new OHL corridors for connections of renewable energy sources. Also, the spatial constraints of the location reduce the possibility for future extensions.

  - Alternative location 2 for the new 400/110 kV substation is a completely new location without urban and land-use challenges. The short connection (approx. 500 m) of the substation at 400 kV voltage level is simple and cost effective.

- Project Option 3 requires construction of long 400 kV OHL which is certainly an extensive and demanding process.

- Based on these considerations, the assessment recommends the Option 2, Alternative 2 as preferable one from the technical / construction point of view due to the following main benefits:

- Construction of long new transmission line(s) - 110 kV or 400 kV - is not required;

- The least interventions (reconfiguration and extensions) in the existing transmission assets in the Project region;

- The least impact on the existing operation of the power system;

- Available local and national roads and railway infrastructure near the proposed location of the substation;

- Possibility to connect sufficient number of new 110 kV lines for future renewable energy sources and expansion of the proposed 400/110 kV substation.

Environmental and Social Appraisal

Methodology

From E&S perspective, the methodology of the selection process for the preferred Project option / alternative has been based on a preventive approach giving preference to avoidance and prevention of likely impacts and by consideration of feasible locations of the proposed substation and feasible routeing variants of the transmission lines. The methodology includes a combination of environmental and social criteria which would allow for an optimized and sound selection process. The following key environmental and social criteria have been employed:

- Social aspects / settlements (community safety, proximity to people and communities): Avoid interaction with residential zones and properties, as much as practicable, in order to ensure compliance with public exposure limits to electro-magnetic radiation and operational noise and to avoid public health and safety risks, as well to minimize likelihood of any physical resettlement due to SS and OHL infrastructure and safety zones (right of way);

- Social aspects / land cover and land use forms: Avoid as much as practicable valued land cover forms as well as agricultural lands, woodlands and lands of high social and economic values, etc. to minimize land acquisition and involuntary resettlement needs and any loss of livelihood and/or economic displacement;

- Biodiversity sensitive zones (nationally protected areas and/or internationally recognised areas; wetlands, flood plains, riparian areas, water resources): Avoid, as much as practicable, those areas rich in biodiversity and sensitive zones;

- Landscape / aesthetics: Avoid scenically important areas where the proposed transmission line may negatively affect the landscape values;

- Cultural / archaeological heritage: Avoid the sites or objects classified as historic or having an archaeological heritage;

- Water environment: Minimise adverse effects due to watercourse crossings.

Key Findings and Conclusions

Project Option 1 (also applicable to Project Option 3)

- The Southern Corridor crosses three Macedonian municipalities: Negotino, Demir Kapija and Valandovo, passing through the administrative territory of twelve rural settlements and outskirts of Valandovo, with a total of 9,571 inhabitants (including Valandovo as a whole).

- The Northern Corridor crosses three Macedonian municipalities: Negotino, Konche and Valandovo, passing through the administrative territory of eight rural settlements (four of them abandoned) and outskirts of Valandovo, with a total of 4,402 inhabitants (including Valandovo as a whole).

- The Southern Corridor crosses one legally protected area and one area proposed for legal protection which is considered as significant environmental constraint. These are:

  - Nature Park Iberliska Reka, crossed in very short section of approximate length of 100 metres.

  - Demir Kapija Gorge (Demirkapiska Klisura), proposed for protection, crossed in approx. 3.9 km long section.

- In addition, the Southern Corridor crosses three internationally recognized areas:

  - Important Bird Area (IBA) Tikvesh Region and IBA Demir Kapija Gorge crossed in 11 km and 9.6 km long sections, respectively, as well as IPA Demir Kapija, crossed in 0.5 km long section.

The crossings of both IBAs are considered as significant environmental constraint, although IBA Tikvesh Region cannot be avoided since the SS Dubrovo is situated within this site. If this Option/Alternative is selected as a preferred one and put forward for further development, special attention would need to be paid on the mitigation strategy for minimizing the risks to birds populations (vultures and birds of prey) in Important Plant Area (IPA) Demir Kapija Gorge, including further routing modifications as an primary avoidance strategy.

- The Northern Corridor does not cross legally protected areas or areas proposed for legal protection. It crosses one internationally recognized area - IBA Tikvesh Region, crossed in 5.6 km long section.

- Both alternatives have very similar coverage within the study area (1,000 m wide OHL corridor) of forest and shrublands which are dominant sensitive land cover type - approx. 65% (Southern Corridor) and 60% (Northern Corridor), as well as very similar coverage of agricultural land with mutual difference of less than 10%.

- Both identified OHL corridors have six crossings over permanent natural watercourses. The length of all these crossings would not require special technical design solutions.

- No major constraints were identified from the social aspect – proximity to properties - that would constitute significant project compliance risk. Several particular locations with social sensitivities within the study area (1,000 metres wide corridor) which require further avoidance actions are identified along both OHL corridors.

- Several cultural resources - eight and five archaeological sites are identified within study area (1,000 m wide corridor) along the identified corridors, respectively along the Southern Corridor and the Northern Corridor. None of these is directly crossed by the centreline of the OHL corridors.

Project Option 2

- Project Option 2, Alternative 1 is located in two Macedonian municipalities: Gevgelija and Valandovo, passing through the administrative territory of four rural settlements with a total of 1,386 inhabitants.

- No settlements are located in proximity to the proposed 400/110 kV substation - Alternative 2 of the Project Option 2.

- Both alternatives of the Project Option 2 are located in environmental area of low sensitivity and no legally protected areas or internationally recognized areas are to be affected by the Project implementation.

- No major constraints were identified from the social aspect – proximity to properties - that would constitute significant project compliance risk. Several particular locations with social sensitivities within the study area (1,000 metres wide corridor) along the Project Option 2, Alternative 1 which require further avoidance actions are identified.

- The Alternative 1 – the corridor In-Out 400 kV OHL Dubrovo – Valandovo – crosses the protected cultural heritage site Gradishor-Mramor, posing a constraint of particular concern. If this alternative is selected as preferred one and put forward for further development, eventual corridor routing constraints or restrictions in respect to this designated site (including eventual need for its full avoidance, if possible) need to be verified by the competent authorities for protection of the cultural heritage throughout the upcoming stakeholder engagement process.

Project Capital Costs

The capital costs (CAPEX) for each of the identified options and alternatives have been estimated by inclusion of the following elements:

- Costs of construction of new 2x110 kV line or 400 kV line

- Costs of construction of new 400/110 kV substation;

- Costs of construction of 400 kV and 110 kV lines to be lead-in into the new substation;

- Land acquisition, right of way and compensations costs, based on recent implemented projects

- Project procedure costs (construction and other permits, design, project supervision and monitoring, etc.).

The overview of the calculated Project capital cost of each identified option and alternatives within the options is shown in the Table below.

| Project Options / Alternatives within Options | Project Costs (000 €) |
| --- | --- |
| Option 0 (No Project) |  |
| No Project | 0 |
| Option 1 |  |
| Option 1 - Alternative 1 | 16,890 |
| Option 1 - Alternative 2 | 20,390 |
| Option 2 |  |
| Option 2 – Alternative 1 | 21,530 |
| Option 2 – Alternative 2 | 18,960 |
| Option 3 |  |
| Option 3 - Alternative 1 | 36,000 |
| Option 3 - Alternative 2 | 39,920 |

Table 3.1: Overview of Project costs per identified option

Note: The above costs include the costs related to the reconstruction of 110 kV OHLs Valandovo – Strumica 2 and Strumica 2 – Strumica 1 (Sub-project 2), although it does not affect the results of the selection process and the Multi-Criteria Assessment, due to the fact that this reconstruction will be done for each of the options.

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

In this stage of the Project development, the capital costs are considered as indicative.

The assessment results summarised in the Table above clearly demonstrate that all options are competitive in sense of project costs.

However, there is a significant difference of approximately 90% between Option 2 and Option 3, Alternative 2 (the most expensive option) and 236 % between Option 1 (the cheapest option) and Option 3, Alternative 2, related to the overall price.

Preliminary Economic Analysis

The following is a comparative overview of the results of the economic analysis for the Project options and alternatives within the options. The results of this economic NPV calculation and economic indicators for Macedonia are summarised in the following Table.

| Economic indicators | Option 1 |  | Option 2 |  | Option 3 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Alternative 1 | Alternative 2 | Alternative 1 | Alternative 2 | Alternative 1 | Alternative 2 |
| Investment cost (000 €) | 16,890 | 20,390 | 21,530 | 18,960 | 36,000 | 39,920 |
| NPV (000 €) | 52,407 | 48,676 | 158,023 | 160,763 | 85,408 | 81,229 |

Table 3.2: Project economic indicators

Source: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

Observing the values of positive NPV, the total benefit that the construction brings to the Macedonia amounts from 48.68 million EURO in Option 1, Alternative 2 to 160.76 million EURO in Option 2, Alternative 2 (expressed in the present value of money).

On the basis of the presented economic indicators, it can be concluded that the Project brings significant benefits for Macedonia.

## Selection of Preferred Option

### Evaluation of Options - Multi-Criteria Analysis

The Multi-Criteria Analysis procedure requires (i) the establishment of the set of criteria that should measure each option’s / alternative’s performance against the objectives, and (ii) the assessment of the options / alternatives. The assessment has included the following steps:

- Definition of the criteria “weights”, in order to reflect and illustrate their relative importance;

- Scoring of each option against the criteria;

- Combination of weights and scores to calculate each option’s overall score;

- Ranking the options according to their scores.

Three main criteria categories have been defined for the Project (Table below): (i) network and market based criteria, with two sub-categories – non monetised benefits and monetised benefits and costs; (ii) engineering or technical criteria, and (iii) environmental and social criteria, with two sub-categories - environmental elements and social elements. Comparative assessment of these three categories and associated sub-categories has resulted in the category weights as presented in the Table below.

Each criteria category consists of different selected criteria, as documented in the respective report.

| No. | Criteria category (group of indicators) | Weight (%) |
| --- | --- | --- |
|  | Network and market based |  |
| 1 | Non-monetised benefit elements | 20 |
| 2 | Monetised benefit and cost elements | 25 |
|  | Sub-total: | 45 |
|  | Engineering / Technical |  |

### Selection of Preferred Option

The selection process of the preferred Project option via the above MCA approach and methodology and based on the evaluation of each identified option against the selected criteria has indicated that preferred option would be the Option 2, Alternative 2 - New 400/110 kV SS Miletkovo and lead in-out of existing 400 kV OHL Dubrovo – Thessalonica (GR).

The rationale behind this recommendation is as follows [Ref.4]:

- System studies and economic assessment

- According to the results of system studies, Option 2 is indicated as the best one from the reduction of energy curtailed from RES in the Project region, from the biggest losses reduction, and increase of additional capacity reserve.

- From economic assessment point of view, the Project brings sufficient monetised benefits to Macedonia and it is economically viable for the society and the national economy as a whole. The assessment has indicated the preferred option (Option 2, Alternative 2) is the most viable option / alternative from economic point of view.

- Technical assessment and E&S aspects

From the technical as well as from the environmental and social perspective, the Option 2, Alternative 2 is superior in comparison to other identified Project options and respective alternatives, since:

  - It does not require construction of new long 110 kV or 400 kV overhead line and, therefore, it implies the least land-take needs and land cover / land use changes;

  - It implies the least interventions (reconfiguration and extensions) in the existing transmission assets in the Project region and, therefore, the least impact on the existing operation of the power system;

  - There are no settlements in proximity to the Project locations and no operational community safety risks (e.g. public exposure to electro-magnetic radiation or nuisance due to corona noise) are likely to occur;

  - It implies the least potential impact magnitude to sensitive habitats in the Project region;

  - It does not interact with any legally protected area or internationally recognised area in the Project region;

  - It implies the least potential impact magnitude on agricultural land and, therefore, will likely result in the least compensation arrangements;

  - There are no cultural heritages sites and resources in proximity to the Project locations.

The preferred Project option consists of the following components:

- Construction of a new 400/110 kV SS Miletkovo, located in Miletkovo area (Gevgelija municipality), with its connection to the existing 400 kV and 110 kV transmission network (this Project - Sub-project 1) via the following interventions:

  - In-out, approx. 0.5 km long, connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

  - Reconstruction of the existing approx. 6.4 km long 110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo and its extension to the new 400/110 kV SS Miletkovo.

  - Construction of a new approx. 1.8 km long 110 kV OHL connector with the existing SS ‘EVP’ Miletkovo

Based on the subsequent review and consultative process with key relevant stakeholders, this proposal was accepted by MEPSO in their capacity as Project Beneficiary and EBRD in their capacity as lead IFI in October 2021 and it was selected as preferred Project option for further development and E&S assessment (this Report).

The preferred Project option is shown in Annex 1.

# Legal Requirements

This section sets out the regulatory framework providing a summary of the relevant Macedonian legal framework and also the international standards and guidelines. The potential gaps or differences between these are further noted in each respective impact assessment topic under description of relevant topic’s legislation and standards. When Macedonian national regulations differ from international requirements, the Project will meet whichever of the standards is the stringent.

## Macedonian Requirements

### Environmental Appraisal of Projects

#### Environmental Impact Assessment

An Environmental Impact Assessment (EIA) of certain projects is required to be carried out in Macedonia in accordance with the Law on the Environment and associated secondary legislation. This law regulates the administrative procedure for environmental impact assessment for projects that are likely to cause significant effects on the environment. It also defines the scope the EIA study (EIA Report), the requirements for stakeholder engagement and the public involvement process.

According to this law, the EIA is to be completed before development consent is granted by the respective Macedonian competent authority in the form of approval for project implementation. For a project such is this transmission development, development consent is granted via a construction permit, issued in compliance with the Macedonian Law on Construction.

The projects that may require EIA process are determined by the “Decree on determining of projects and criteria upon which the need for an environmental impact assessment is established” (OG of RM no.74/05, 109/09 & 164/12 – EIA Decree. This legal instrument transposes the requirements of the EU EIA Directive.

The general EIA procedure includes three main steps:

- Screening process - a process during which the competent authority determines whether an EIA is required for a certain project when a notification of intention to implement a project is submitted.

- Scoping process - a process during which the competent authority determines the content and extent of the matters which should be covered by the EIA Report.

- Review process - a process of checking the adequacy of the EIA Report as one of the main ‘safeguards’ built into the EIA process.

The Macedonian Ministry responsible for environmental matters (i.e. the Ministry of Environment and Physical Planning) is the competent administrative authority for the EIA process.

The key EIA framework in Macedonia is further defined by a set of secondary legal acts, including:

- Decree determining projects for which and criteria on the basis of which the screening for an environmental impact assessment shall be carried out

- Rulebook on the information contained in the notification of intent for the project implementation and procedure for determining the need for assessment of the environmental impact of the project

- Rulebook on the content of the requirements which should be met by study for environmental impact assessment from the project

- Rulebook on the content of the publication of the notice of intention to implement the project, the decision by the need to assess the environmental impact, the study to assess the impact of the project on the environment, the report on the adequacy of the study for environmental impact assessment from the project and the decision to approve or reject the project implementation as well as the manner of public consultation

- Rulebook on the form, content, procedure and manner of preparation of the report on the adequacy of the study to assess the impact of the project on the environment and the procedure for authorization of persons from the list of experts to assess the impact on the environment that will prepare report (OG.

OHL developments fall within the scope of the Macedonian EIA Decree in the:

- Annex I – Projects which are subject to compulsory EIA, Section 17 – “Overhead transmission lines of 110 kV voltage or higher, and longer than 15 km”.

- Annex II – Projects which may be subject to EIA (formalised screening is required), Section 3 - Energy, item ‘b’ – “Industrial installations for transmission and distribution of gas, steam and hot water and for transmission and distribution of electricity with overhead lines (projects not included in Annex I).”

In wider context, the EIA Decree foresees a possibility for existing projects listed in this regulation which are subject to change to be subject to EIA. These are listed in Annex II:

- Annex II – Projects which may be subject to EIA (formalised screening is required), item 16 – “Any modification or extension of the projects listed in Annex I or Annex II, existing, approved, executed projects or projects in the process of implementation, which could have significant adverse effects on the environment.”

Note: In wider context, the Macedonian Law on the Environment represents the key environmental framework and, inter alia, regulates: the principles for environment protection and sustainable development, planning aspects and documents for environment protection, subjects and instruments for environment protection, environment monitoring and information system, public involvement in environment matters, financing issues and supervision aspects.

#### Non Environmental Impact Assessment Projects

For projects which are not listed in the EIA Decree or are listed in Annex II of the Macedonian EIA Decree and for which the competent authority determines that an EIA is not required, the project proponent may be requested to prepare a Report (‘Elaborate’) for Environment Protection in compliance with the requirements stipulated in the Macedonian Law on the Environment. The projects for which such ‘Elaborate’ is required are determined by a respective decree – Decree on projects and activities for which preparation of an Elaborate for Environment Protection is compulsory (OG of RM no.80/09 & 36/12).

According to this decree, section V – Energy, item 7, an ‘Elaborate’ is to be prepared for:

- “Industrial installations for transmission and distribution of gas, steam and hot water and for transmission and distribution of electricity with overhead lines”.

#### Summary

An overview of the Macedonian regulatory context for an environmental appraisal of projects is provided in the Figure below.

Figure 4.1: Brief summary of the Macedonian regulatory context for environmental appraisal of projects

#### Project Category

The Project includes construction of a new high-voltage substation and approx. 0.5 km long 400 kV transmission line and 1.8 km and 1.9 km long 110 kV transmission lines as well as modification of an existing approx. 6.4 km long transmission line. As such, according to the national EIA Decree, it is not a subject to compulsory EIA, since it does not meet the cumulative thresholds set under Annex I (Section 17) of the EIA Decree.

The need for an EIA would be determined by the Macedonian EIA authority (MEPP) on case-by-case approach through a formalized administrative screening procedure based on an official application) (request) for establishing the need for EIA (Figure above). This application is to be submitted to MEPP by MEPSO, in a format prescribed by the relevant national legislation.

According to the publically available information for the recent projects of similar type, scale and nature, EIA has not been required by the national competent authority. In addition, due to the existing baseline conditions described in this Report and based on the screening exercise presented in the respective project’s ESIA Scoping Report, it is assumed that no national EIA will be required for the Project.

### Key Environmental Legislation

- Law on Nature Protection (Official Gazette of RM no. 67/04 and its amendments). This law regulates the nature conservation and promotion via protection of the biological and landscape diversity as well as the natural heritage. It identifies principles for nature protection, inter alia: principle for sustainability, precautionary principle, prevention principle and user-pays principle and sets the legal bases for protection of habitats, ecosystems and species. In addition, the law regulates the legal bases for establishment of a coherent ecological network, including the European Natura 2000 Network. The law also determines the planning documents for nature protection and the legal bases for protected areas (proclamation, categorization, management) - natural reserves, national parks, natural monuments, etc. as well as the legal basis for protected species.

- Law on Noise Protection in the Environment (Official Gazette of RM no. 79/07 and its amendments). This law regulates protection against noise in the environment and determines measures for mitigation of harmful effects of the noise on human health, including normative, urban planning and technical measures as well as preparation of strategic noise maps and action plans. It also regulates the aspects related to measurement of noise levels in the environment. This law excludes noise in a working environment.

- Law on Ambient Air Quality (Official Gazette of RM no. 67/04 and its amendments). This law sets the air quality standards and regulates air quality monitoring, air protection measures, air quality assessment, planning documents for air quality management, inspection and supervision, etc.

- Law on Waters (Official Gazette of RM no. 87/08 and its amendments). This law introduces watershed management approach and regulates the legal status and manner for integrated water management, types of water infrastructure, planning aspects and water management strategies and plans, water use, water protection against pollution, monitoring of water quality, water information system, protection against floods, etc.

- Law on Waste Management (Official Gazette of RM no. 68/04 and its amendments). This law regulates the types and classification of waste, waste management planning, rights, obligations and responsibilities of legal bodies and physical persons, conditions for issuing waste licenses, inspection and supervision, etc.

- Package of legislation for managing different groups / types of waste:

  - Law on Management of Packaging and Packaging Waste (Official Gazette of RM no. 161/09 and its amendments)

  - Law on Batteries and Accumulators and Waste Batteries and Accumulators (Official Gazette of RM no. 140/10 and its amendments)

  - Law on Management of Electrical and Electronic Equipment and Waste Electrical and Electronic Equipment (Official Gazette of RM no. 6/12 and its amendments)

### Key Social Legislation

- Social Issues

- Law on Social Protection (Official Gazette of RM no.79/09 and its amendments). Social welfare and protection in Macedonia comprises of services and benefits from the tax-financed social welfare system (social prevention – which according to the Law on Social Protection includes - educational and advisory work, development of self-assistance forms, volunteering work etc., institutional care, non-institutional care and monetary assistance) and contributory- based social insurance system (pensions and disability, health and unemployment insurance).

- Law on Housing (Official Gazette of RM no. 99/09 and its amendments). This law envisages the possibility for renting state-owned apartments to socially endangered and homeless persons in accordance with the Law on Social Protection. This Law deals, among other things, with the issue of social housing and the housing of the vulnerable groups (children without parents or without parental care, users of social and permanent financial assistance, persons affected by natural disasters, disabled persons and persons who need assistance and care by other persons, the socially endangered persons belonging to the Roma community, lone parents with minor children).

- Law on Pensions and Disability Insurance (Official Gazette of RM no. 53/13 and its amendments). This law defines the obligatory pension insurance of workers under working contract and the natural persons performing activity, the bases of the capital funded pension insurance, as well as the special conditions how certain categories of insured persons receive the right to pension and enjoy disability insurance. The rights deriving from the pension and disability insurance are the following: right to age-related pension, right to disability pension, right to re-allocation to other adequate, working post, right to adequate employment, right to re-qualification or higher qualification and right to adequate financial compensations, right to family pension, right to monthly compensation for physical damage, and right to minimal pension.

- Law on Equal Opportunities of Women and Man (Official Gazette of RM no. 06/12 and its amendments). This law defines basic and special measures for establishing equal opportunities for women and men, competences, tasks and duties of the responsible actors for ensuring equal opportunities, the procedure for determining a non-equal treatment of women and men, and the related issues. It aims to promote the principle for establishing equal opportunities for women and men in political, economic, social and education fields, as well as in all other aspects of social life.

- Labour and Working Conditions

- Law on Labour Relations (Official Gazette of RM no. 92/07 and its amendments). This, as a pillar for legislation related to labour, defines labour relations between employees and employers established on the basis of an employment (work) contract. In details, this law regulates all of the specific duties and rights of both, the employers and the employees when concluding and are under employment contract and in particular the ones in relation to the performance of the work.

- Law on Occupational Health and Safety (Official Gazette of RM no. 92/07 and its amendments). This law requires employers to take all the necessary measures and maintain acceptable working conditions. Employees are under the obligation to ensure acceptable level of occupational health and safety. Employers:

  - must inform the employees of the occupational risks and preventative measures that must be taken to address these risks

  - must inform employees of their legal rights and obligations and must provide the employees with the necessary training on occupational health and safety

  - are responsible for the provision of a safe working environment and must provide workers all the required personal protective equipment

  - must regularly check this and all other health and safety equipment and ensure that it is in good working order

  - must take necessary measures to prevent occupational illnesses

  - must prepare a health and safety plan prior to the commencement of construction works.

Relevant subsidiary legislation to support implementation of this law includes, inter alia:

  - Rulebook for personal protective equipment that uses employees at work

  - Rulebook on the minimal requirements for workers’ health and safety at workplace

  - Rulebook on the minimal requirements for safety and health at work for temporary and mobile construction sites

  - Rulebook for occupational health and safety at work for workers exposed on risk of noise

  - Other extensive list of subordinated Rulebooks covering working conditions in various environments

- Law on Employment and Insurance in a case of Unemployment (Official Gazette of RM no. 112/14 and its amendments). This law regulates the issues of labor exchange, rights and obligations of employers, the unemployed, other job seekers and the obligation of the country, in relation with the employment and insurance related to unemployment and other issues important for employment. Pursuant to the principle of equal treatment, it is prohibited employment discrimination on the basis of marital status, family status, color of skin, sex, language, political or other persuasion, trade union activity, nationality, social status, disability, age, ownership, social or other status.

- Law on Protection from Harassment at Work (Official Gazette of RM no. 79/13 and its amendments). This law regulates the rights, obligations and responsibilities of employers and employees related to the prevention of psychological and sexual harassment at work place and place of work, measures and procedures for protection against harassment in the workplace, as well as other issues related to the prevention and protection from harassment at work place.

- Land Acquisition / Resettlement

- Law on Expropriation (Official Gazette of RM no. 95/12 and its amendments). This law regulates the procedure for expropriation of property for projects that are of public interest and the connected rights for real estates (immovable properties).

- Cultural Heritage

- Law on Protection of Cultural Heritage (Official Gazette of RM no. 20/04 and its amendments). This law specifies the types, categories, identification, manners of settling under protection and other instruments of the cultural heritage protection, the regime of protection and use of cultural heritage, rights and obligations of holders and limitations of the property right on the cultural heritage of public interest, the organisation, coordination and supervision, professional titles and other issues significant for the unity and the functioning of the cultural heritage protection system in Macedonia.

- Stakeholder Engagement

- Package of legislation for public disclosure and consultation activities. Public disclosure and consultation activities are mandatory organized in connection to the preparation of project documentation and related strategic and other studies, under the following laws:

  - Law on Urban and Spatial Planning (Official Gazette of RM no. 51/05 and its amendments)

  - Law on the Environment (Official Gazette of RM no. 53/05 and its amendments)

  - Law on Construction (Official Gazette of RM no. 130/09 and its amendments)

  - Law on Expropriation (Official Gazette of RM no. 95/12 and its amendments)

  - Law on Access to Public Information (Official Gazette of RM no. 13/06 and its amendments)

  - Law on Acting upon Complaints and Proposals (Official Gazette of RM no. 82/08 and its amendments).

## International Requirements

### European Bank for Reconstruction and Development

In the current stage of Project development (feasibility study and Conceptual Design), this Project is being assessed against the requirements of the EBRD Environmental and Social Policy (2019). This policy sets out a series of Performance Requirements (PRs) (Table below) which provides clear guidance on the expectations of the EBRD in terms of project scope, assessment and environmental and social performance expectations.

Performance Requirement

PR 1: Assessment and Management of Environmental and Social Risks and Impacts – outlines the responsibilities of the client in the process of assessing the potential environmental and social impacts and issues associated with the Project, and developing and implementing procedures for managing and monitoring these impacts and issues. This PR notes the key role of engagement with the Project stakeholders.

PR 2: Labour and Working Conditions – recognises that good human resources management and a sound worker-management relationship based on respect for workers’ rights, including freedom of association and right to collective bargaining, are key to the sustainability of business activities.

PR 3: Resource Efficiency and Pollution Prevention and Control – recognises that these are essential elements of environmental and social sustainability and projects must meet good international practice (GIP) and use best available techniques. Projects must implement the mitigation hierarchy; rectify environmental damage at its source, and the “polluter pays” principle. The project-related impacts and issues associated with resource use, and the generation of waste and emissions need to be assessed in the context of project location and local environmental conditions.

PR 4: Health, Safety and Security – recognises the importance of avoiding or mitigating adverse health and safety impacts and issues associated with project activities on workers, project-affected communities and consumers.

PR 5: Land Acquisition, Restrictions on Land Use and Involuntary Resettlement– recognises the long-term hardship and impoverishment for persons and communities affected by involuntary resettlement, as well as the environmental damage, and adverse socio-economic impacts in areas to which they have been displaced. The PR requires that involuntary resettlement should be avoided. However, where it is unavoidable, resettlement should be minimised and appropriate measures to mitigate adverse impacts on displaced persons and host communities should be carefully planned and implemented.

PR 6: Biodiversity Conservation and Sustainable Management of Living Natural Resources – recognises that the conservation of biodiversity and sustainable management of living natural resources are fundamental to environmental and social sustainability. The objective of biodiversity conservation and sustainable management of living resources must be balanced with the potential for utilising the multiple economic, social and cultural values of biodiversity and living natural resources in an optimised manner.

PR 7: Indigenous Peoples – recognises that the identities, cultures, lands and resources of Indigenous Peoples are uniquely intertwined and especially vulnerable to changes caused by some types of investments so that their languages, cultures, religions, spiritual beliefs and institutions may be threatened. These characteristics expose Indigenous Peoples to different types of risks and severity of impacts, including loss of identity, culture and natural resource-based livelihoods, as well as exposure to impoverishment and disease. This PR is not applicable for the Project

PR 8: Cultural Heritage – recognises the importance of cultural heritage for present and future generations. The aim is to protect cultural heritage and to guide clients in avoiding or mitigating adverse impacts on cultural heritage in the course of their business operations. The clients are expected to be precautionary in their approach to the management and sustainable use of cultural heritage.

PR 9: Financial Intermediaries – recognises that FIs assume delegated responsibility for the environmental and social assessment, risk management and monitoring of the activities funded by them. This PR is not applicable for the Project.

PR 10: Information Disclosure and Stakeholder Engagement – recognises the importance of an open and transparent engagement between the developer, its workers, the local communities directly affected by the Project and, where appropriate, other stakeholders. Such engagement is also a way of improving the environmental and social sustainability of projects and can lead to improved financial, social and environmental outcomes, together with enhanced community benefits. Stakeholder engagement is central to building strong, constructive and responsive relationships which are essential for the successful management of a project’s environmental and social impacts and issues. To be effective, stakeholder engagement should be initiated at an early stage of the project cycle.

Table 4.1: Performance Requirements of the European Bank for Reconstruction and Development

### Key EU Directives

The EU Environmental Impact Assessment Directive

The EU Directive on Environmental Impact Assessment (EIA Directive 2014/52/EU) defines the requirements for assessment of the potential effects on the environment by defined public and private development projects that are expected to have significant impact on the environment. The public and other interested parties are to be consulted on the EIA as public consultation is a key feature of environmental assessment procedures.

The EIA procedure as regulated by the EIA Directive can be summarized as follows: the developer may request the competent authority to say what should be covered by the EIA information to be provided by the developer (scoping stage); the developer must provide information on the environmental impact (EIA Report); the environmental authorities and the public must be informed and consulted (reviewing stage); the competent authority decides, taken into consideration the results of consultations. The public is informed of the decision afterwards and can challenge the decision before the courts.

The approach to EIA set out by the EU EIA directive is closely aligned to the EBRD Environmental and Social Policy, insofar as there is a requirement to assess the potential impacts where likely significant effects are anticipated. The assessment must also provide a description of the mitigation measures to prevent, reduce and where possible offset any significant adverse effects on the environment.

Other Key EU Directives

- Directive 2009/147/EC of the European Parliament and of the Council of 30 November 2009 on the conservation of wild birds.The Birds Directive aims to protect all wild bird species naturally occurring in the European Union.

- Council Directive 92/43/EEC of 21 May 1992 on the conservation of natural habitats and of wild fauna and flora. The Habitats Directive ensures the conservation of a wide range of rare, threatened or endemic animal and plant species. The rare and characteristic habitat types are also targeted for conservation in their own right.

The EU Birds and Habitats Directives form the cornerstones of Europe’s legislation on nature conservation. The overall objective of the two directives is to ensure that the species and habitat types they protect are maintained, or restored, to a favourable conservation status throughout their natural range within the EU. Therefore, where EU law requires an environmental impact assessment of a proposed development project to be undertaken, that assessment will often consider the potential effects of the proposed development project upon protected habitats and species.

In addition the following EU Directives are considered as of key importance for the Project:

- Directive (EU) 2018/851 of the European Parliament and of the Council of 30 May 2018 amending Directive 2008/98/EC on waste. The Waste Directive lays down some basic waste management principles.

- Directive 2012/19/EU of the European Parliament and of the Council of 4 July 2012 on waste electrical and electronic equipment (WEEE). The WEEE Directive lays down the basic rules on treating waste electrical and electronic equipment, to contribute to sustainable production and consumption.

- Directive 2000/60/EC of the European Parliament and of the Council of 23 October 2000 establishing a framework for Community action in the field of water policy. The WFD Directive, aimed at implementing comprehensive water protection in the European river districts.

# Approach to Assessment

## Source of Information

The following sources of information were used in collating the E&S assessment documentation:

- Information from the Project Developer (MEPSO);

- Information from the Project engineering team;

- Information from statutory stakeholders and other interested parties;

- Published information, including relevant national / regional / local plans;

- Unpublished records made available by stakeholders;

- Relevant topographic and thematic maps; and

- Field visits and surveys carried out during the E&S assessment process.

## Project Design Status and Level of Details of the Assessment

In this stage, the Project is developed to a feasibility level - to a detail considered sufficient to establish that the proposed developments are technically feasible and to allow initial assessment of their environmental and social integrity and effects, i.e. to a level of Technical Assessment (Conceptual Solution) that corresponds to a Feasibility Study. Therefore, the level of detail of the present E&S assessment is compliant with that of the Project’s Conceptual Solution whose content and scope are not specifically regulated by the relevant Macedonian legislation. As such, the Conceptual Solution is not considered as formalised design document and no administrative consenting process for its adoption by the competent authorities is required. According to the general practice, this Conceptual Solution (in Macedonian: ‘Konceptualno reshenie’) contains in particular data on: macro-location and general disposition of the facility / infrastructure; technical-technological conception of the facility / infrastructure; the manner of providing the supporting infrastructure; possible variants of spatial and technical solutions from the point of view of fitting into space; natural conditions; functionality and rationality of the project solution.’ The Feasibility Study and the Technical Assessment (Conceptual Solution) comply with the respective EBRD requirements.

Further design, including precise location of towers and access roads will be undertaken once the more detailed technical design (Preliminary Design and Detailed Design) as required by the Macedonian relevant legislation are developed and prior to construction commencing. This change or refinement of the feasibility design (Conceptual Solution) will be within the limits of deviation defined as a 500 m wide planning corridor along the transmission lines where individual towers can be moved laterally or longitudinally and a 100 m buffer around proposed substation location. It is anticipated that the majority of the refinement of the current feasibility design will be within this corridor/buffer and, taken into the consideration the nature and the scale of Project, further design development or refinement in this regard is not likely to be undertaken. Where technical details of the Project have still to be finalized, such as detailed construction methods, etc., standard practice assumptions are made in the E&S assessment to allow potential impacts to be identified and appropriate mitigation formulated (see Section 5.9).

## Managing Changes to Design

This E&S Assessment Report has been prepared based on the Project’s Technical Assessment (Conceptual Solution) that corresponds to a Feasibility Study as described in the previous sub-section. As stated above, as usual for projects of this scale, further design development or refinement outside of the 500 metres wide planning corridor and the 100 m buffer around proposed substation location is not likely to be undertaken. Any changes to the design within these areas have been assessed by the E&S assessment process and will not require re-assessment or approval by Project parties (including the Lender) as well as the Macedonian competent authorities.

However, if changes to design beyond these limits occur, they will require further E&S consideration and may be subject to supplementary assessment. If these changes are material, they may require approval by Project parties. This process is described in the Management of Change Procedure (MCP) as described in the Project’s Environmental and Social Management Plan.

The MCP sets out how the potential environmental and social implications of design changes would be assessed. The assessment of the design change would aim to ensure that adequate mitigation is adopted to minimise and avoid effects where any deviations to the Project described in the Technical Assessment and this E&S Assessment Report are proposed.

Potential changes can be triggered at either the design stage of the Project implementation or during construction and can be initiated by various stakeholders (MEPSO, the Lender, concerned community or the Contractor). Regardless of the trigger source, any potential changes in design would be formally processed through the MCP. MEPSO has the overall responsibility for the management of the MCP. During the upcoming Project development phases (Preliminary Design and Detailed Design) and the construction period, MEPSO would play a key role in the implementation of the MCP.

## Approach to the Assessment

A common approach to the assessment of each E&S topic was followed and reporting the assessment of each relevant topic in the E&S appraisal is structured using a similar format as far as possible. This included:

- establishing the key baseline conditions of the receiving environment through a combination of desk review and site visits;

- identifying and assessing the changes on that receiving environment (potential impacts) which the Project could have - adverse and beneficial – based on a set of assessment criteria;

- determining the significance of those changes (potential impacts) as a function of their predicted magnitude and the sensitivity/ value of the resource/ receptor being affected. This was an iterative process, whereby the E&S team was informing the engineering team about the potential for adverse effects from the Project and, consequently, the engineering team was taking into account these issues in refining the Conceptual Solution in order to avoid, as much as possible, those effects; and

- prescribing key mitigation for those impacts which are likely to have, either by themselves or in combination with other impacts, a significant adverse environmental or social effect. This mitigation is designed to prevent, reduce and, where possible, offset any significant adverse effects.

## Interaction with the Technical Design

The E&S appraisal and Conceptual Solution processes interact with each other, with both being informed by two-way communication, combined with ongoing consultation and discussion with various relevant project stakeholders.

This process of synergy, based on the views / inputs from the E&S appraisal, has interacted with the design process from the earliest Project development stage. Such approach has informed the design process with relevant early E&S-related proposals in the scope of the process for selection of the preferred Project option thus achieving ‘mitigation through design’ precautionary goal for impact avoidance. This approach further continued throughout the main E&S appraisal stage in order to reduce the likelihood of the Project being designed on a basis that already has built-in negative E&S effects which could have been avoided.

The process of synergy continued until the engineering design (Conceptual Solution) was optimised and sufficiently fixed for E&S appraisal to be finalised – so that the E&S assessment is based on the likely significant effects of the final optimised Conceptual Solution.

## Study Area

Study areas were defined individually for each topic, according to the geographic scope of the potential impacts or of the information required to assess those impacts. They were based on the boundary of the SS location and the OHL corridor(s), i.e. the land anticipated to be potentially required temporarily and/or permanently for the construction, operation (including land subject to restrictions) and maintenance of the Project at the time of preparation of this E&S Assessment Report and taking into consideration the specifics of the receptor / resource being assessed.

## Existing Baseline

### Introduction

A comprehensive understanding of existing environmental and societal baseline conditions in the Project region is essential prerequisite for sound identification and assessment of potential impacts from the proposed developments. Understanding the baseline allows the measurement of changes that would be caused by the Project. The process for collecting the baseline environmental and social data was based on:

- Desk studies (i.e. legally defined quality standards for environmental media and emission limit values; existing literature, strategic / planning documents, statistics, databases and reports from various relevant organizations; as well as available internet sources and other similar projects).

- Site visits and walkover observations to identify the area of influence (study area) and to collect required supplementary data at substation location and along the OHL corridor(s) (i.e. biodiversity survey; landscape assessment; land-use observation; etc.), as well as benefiting from various field surveys carried out for the purposes of the engineering design.

### Summary of Baseline Surveys

In order to determine relevant baseline environmental and social conditions within the study areas detailed surveys were undertaken during the assessment. These are outlined in the Table below. The scope of these surveys was determined through desk study and an initial walkover survey, undertaken on 10 September 2020. The field surveys were undertaken from 25 and 28 May 2021 and from 18 and 20 August 2021. The findings obtained from these surveys for each relevant topic are reported in respective sections of this Report.

| Baseline survey | Goal and Scope |
| --- | --- |
| Air quality | Key sources of air emission within 200 m of the centreline of the alignments of the transmission lines and 200 m around the proposed location of the substation - were observed to gain indicative air quality baseline situation. There are no measurements of the ambient air quality within the study area or in wider region. Key air pollution source is the traffic network. Other sources of seasonal air pollution in the environment are the air emissions during heating season and from agricultural activities. No significant industrial facilities are present in the area. The area is not densely populated and is predominantly rural in nature. |
| Geological and water environment | The geological environment within 500 m wide corridor along the transmission lines (within 250 m of the centreline of the alignments), including the proposed location of the substation was observed, with the expected characteristics of the rock masses, and any significant engineering-geological phenomena and processes. The terrain in the study area as a whole is considered as stable, without occurrence geological hazards (slips and landslides, erosion). Site specific issues may be possible but these were not taken into consideration in this Project development stage. Groundwater levels were registered within the expected range for periods of the year when the surveys were carried out. In addition, to the already known prominent water bodies that would be affected by the Project, smaller watercourses, with their character of flow (continuous or occasional) were registered. |
| Noise | Key sources of noise within 2,000 m wide corridor along the transmission lines (within 1,000 m of the centreline of the alignments), including the proposed location of the substation - were observed to gain indicative noise baseline situation. There are no measurements of the environmental noise neither within the study area nor in wider region. Key noise source is the traffic network, as well as agricultural activities. No significant industrial facilities are present in the area. The area is not densely populated and is predominantly rural in nature. |
| Land use / land cover | Land cover was assessed within 1,000 m wide corridor along the transmission lines (within 500 m of the centreline of the alignments), including the proposed location of the substation based on the Corine Land Cover (CLC 2018). The land cover was calculated in ArcGIS. A land cover map was also elaborated and presented in this Report. The land cover in the Project area is dominated by agricultural land (40%) and Sclerophyllous vegetation (29.5%). |
| Biodiversity and natural heritage | An area of 1,000 m wide corridor along the transmission lines (within 500 m of the centreline of the alignments), including the proposed location of the substation was used to present the biodiversity baseline in wider context, which is considered as representative and sufficient to identify the current biodiversity status in the broader area and to assess indirect impacts from the Project. The baseline is based on the desk-based information, map of ecosystems of Macedonia, and biodiversity field surveys. Most of the data on habitats and species presented in this report are from the field observations. The Project was analyzed from the aspect of the vegetation, flora and habitats as well as presence of protected and designated sites (with national or international importance). Habitats were identified according to different classification systems (trivial, EUNIS, Bern Convention, EU Habitats Directive). Valorization of habitats was performed based primarily on EU Habitats Directive and Bern Convention. Valorization of flora was also performed on the basis of national and international criteria as well as expert assessment. Valorization of fauna (Bern convention, EU Habitats Directive, EU Birds Directive, Global, European and national red lists, Law on hunting, Law on Nature Protection) showed presence of a number of important species. Assessment of Critical Habitat (CH) and Priority Biodiversity Features (PBF) was performed according to the EBRD PR6 guidelines. |
| Landscape | Four landscape types were identified within the study area - 1,000 m wide corridor along the transmission lines (within 500 m of the centreline of the alignments), including the proposed location of the substation. These are classified according to the Macedonian Strategy for Nature Protection as follows: 1) Rolling submediterranean landscape (pseudo-maquis). 2) Thermophilous degraded forests landscape. 3) Flatland sub-Mediterranean agricultural landscape and 4) Rolling rural landscape. |
| Social-economic context: Settlements | All potentially affected settlements within the study area - 2,000 m wide corridor along the transmission lines (within 1,000 m of the centreline of the alignments), including the proposed location of the substation - were visited and on-site observation was performed in order to determine the general way of life of the inhabitants, their way of livelihood provision, dwelling, state of the communal infrastructure, road connections, presence of social facilities and its use, administrative facilities and other features that will successfully ease in proper understanding of the local life and needs/aspirations of these people. Each of the rural settlements that are within the study area was examined, and in all potentially affected settlements local residents (1-3 people) unstructured interview was performed. |
| Social-economic context: Residential and other properties | No residential or other properties were identified in proximity to proposed location of the new substation that would pose constraints for its further development. Field surveys along the existing transmission lines, proposed for reconstruction, indicated that there are no residential properties that will be directly affected from the Project. All nearby dwelling and other objects are at a reasonable distance of at least 150 m from the lines. |
| Social-economic context: Vulnerable groups | No vulnerable groups that would be affected by the the Project implementation were identified in the study area. |
| Cultural heritage | Both field surveys included detail inspection of the terrain against visible elements of presence of certain cultural heritage. Additionally, relevant information for the potential archeological sites, were provided from the responsible institutions for protection of cultural heritage. |

Table 5.1: Baseline surveys overtaken in the course of the environmental and social assessment

## Potential Significant Effects and Mitigation

### Significance of Impacts – Generic Approach

The significance of an environmental and social effect is typically a function of the “value” or “sensitivity” of the receptor and the “magnitude” or “scale” of the impact.

#### Receptor Sensitivity of Value

The sensitivity of a receptor refers to its importance i.e. its environmental value / attributes. The sensitivity is generally site specific and is a function of receptor’s capacity to accommodate change. It reflects its ability to recover if it is affected, and is defined by the following factors:

- Adaptability – the degree to which a receptor can avoid, adapt to or recover from an effect.

- Tolerance – the ability of a receptor to accommodate temporary or permanent change.

- Recoverability – the temporal scale over and extent to which a receptor will recover following an effect.

- Generic criteria guidelines for assigning receptor sensitivity for the purpose of the assessment for the Project are given in Table below. In principle, the assessment of receptor’s sensitivity is a matter of judgment applied by professional experts based on case by case approach within the relevant area affected by the proposed development.

| Receptor sensitivity / value | Description - typical descriptors |
| --- | --- |
| Very high | Receptor has very limited or no capacity to accommodate changes (impacts) - very high importance and rarity, international scale and very limited potential for substitution/ replacement. |
| High | Receptor has a limited capacity to accommodate changes (impacts) - high importance and rarity, national scale and limited potential for substitution/replacement. |
| Medium | Receptor has a limited capacity to accommodate changes (impacts) - high or medium importance and rarity, regional scale, limited potential for substitution/ replacement. |
| Low | Receptor has a moderate capacity to accommodate changes (impacts) - low or medium importance and rarity, local scale and potentially can be substituted / replaced. |
| Very low | Receptor is generally tolerant of and can accommodate changes or influences - very low importance and rarity, local scale and are not designated, and are easily substituted / replaced. |

Table 5.2: Generic criteria and typical descriptors for assigning receptor sensitivity / value

#### Impact Magnitude or Scale

The magnitude of an effect is typically defined by number of factors including, but not limited to:

- Spatial extent – the area over which an effect occurs.

- Duration – the time for which the effect occurs.

- Likelihood – probability of occurrence.

- Reversibility – ability to return to the original state.

- Intensity – the degree of change relative to existing environmental conditions.

A typical impact appraisal matrix for different elements of the environment was prepared to guide the impact assessment exercise for the Project and presented in Table below.

| Impact magnitude factor | Description - typical descriptors |  |
| --- | --- | --- |
| Spatial Extent (Area of influence) | Limited (on SS location or along OHL corridor) | Area on, and around the construction and operational location of the Project |
|  | Local | In the range of municipality / neighbouring municipalities |
|  | Regional | Macedonia and neighbouring countries |
|  | Global | Continent and wider |
| Duration | Very short | Few minutes to few hours |
|  | Short | Few hours to few weeks |
|  | Average duration | Few weeks to few months |
|  | Long | Few months to few years |
|  | Very long | Decades / centuries |
| Probability of occurrence (Likelihood) | No probability | Should not occur during normal operation and conditions |
|  | Low probability | Possible, but unlikely |
|  | Average probability | May happen sometimes |
|  | High probability | Likely to occur during the life cycle of the project |
|  | Reliable probability | Will certainly appear |
| Reversibility | Reversible (impact) | Reversible impact on the resource / receptor, i.e. impact upon which the environment will be able to return to the original state |
|  | Irreversible (impact) | Irreversible impact on the resource / receptor, i.e. impact upon which the environment will not be able to return to its original state |
| Intensity | А (very low / negligible) | No change or negligible weak impact without damaging the resource / receptor |
|  | B (low to medium) | Measurable impact, but with proper planning does not cause damage to the resource / receptor |
|  | C (medium to high) | Significant impact, but can be controlled by implementing the appropriate measures |
|  | D (very high) | Impact that would be harmful to the resource / receptor |
|  | E (compensation) | Impact that requires compensatory measures |

Table 5.3: Typical impact appraisal matrix

Typical criteria descriptors for defining impact magnitude for the purpose of the assessment are given in Table below. While this Table provides guidelines of a generic nature, it should be noted that specific guidelines in relation to impact magnitude may be required for the particular topics, where considered necessary.

| Impact magnitude | Description - typical descriptors |
| --- | --- |
| High | Loss of resource and/or quality and integrity of resource; severe damage to key characteristics, features or elements (Adverse) |
|  | Large scale or major improvement of resource; extensive restoration or enhancement, major improvement of attribute quality (Beneficial) |
| Medium | Loss of resource, but not affecting integrity, partial loss of/damage to key characteristics, features or elements (Adverse) |
|  | Benefit to, or addition of, key characteristics, features or elements; improvement of attribute quality (Beneficial) |
| Low | Some measurable change in attributes, quality or vulnerability, minor loss of or alteration to one (possibly more) key characteristics, features or elements (Adverse) |
|  | Minor benefit to, or addition of, one (possibly more) key characteristics, features or elements, some beneficial impact on attribute or a reduced risk of a negative impact occurring (Beneficial) |
| Very low | Very minor loss or detrimental alteration to one or more characteristics, features or elements (Adverse) |
|  | Very minor benefit to or positive addition of one or more characteristics, features or elements (Beneficial) |
| None / no change | No loss or alteration of characteristics, features or elements, no observable impact in either direction |

Table 5.4: Generic criteria and typical descriptors for determining impact magnitude / scale

#### Impact Significance

The assessment of effects on the environment arising from the Project considered their significance during both construction and operational phases. Impacts are likely to be significant if they:

- Are extensive over space or time and are intensive in relation to assimilative capacity of the environment.

- Exceed environmental or health standards or thresholds.

- Do not comply with environmental and social policies / land use plans.

- Adversely affect ecological sensitive / important areas or natural heritage resources.

- Adversely affect community lifestyle, traditional land uses and values.

The significance (or the level) of a potential effect is a function of its predicted magnitude and the sensitivity / value of the resource / receptor being affected. The greater the receptor sensitivity and the greater the impact magnitude, the impact is more significant. The impact significance has to be set in a context and could be relativistic and to a certain degree - subjective.

In general, an impact could be categorized into following significance categories (Table below):

- Negligible (or neutral): no detectable change to the environment;

- Minor: a detectable but non-material change to the environment;

- Moderate: a material but non-fundamental change to the environment;

- Major: a fundamental change to the environment.

| Receptor sensitivity | Impact magnitude |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | High | Medium | Low | Very low | None |
| Very high | Major | Major | Moderate | Moderate | Negligible |
| High | Major | Moderate | Moderate | Minor | Negligible |
| Medium | Moderate | Moderate | Minor | Minor | Negligible |
| Low | Minor | Minor | Minor | Negligible | Negligible |
| Very low | Minor | Negligible | Negligible | Negligible | Negligible |

Table 5.5: Typical impact significance matrix

The Table above demonstrates how combining the sensitivity / value of the resource or receptor with the magnitude of change produces a significance of effect category.

For some topics, such as air or water quality, noise, elector-magnetic radiation - quantifiable (measurable) thresholds or legally defined criteria could be used to determine the significance of an impact. However, for other topics, such as biodiversity or landscape, it is necessary to use combination of quantitative and qualitative criteria – professional judgment on case by case basis.

Assigning impact significance relies on reasoned argument, professional judgment and consideration of the views and guidance of competent organisations. Assigning each impact to one of four significance categories enables different topic issues to be placed within the same scale to allow a direct comparison. The four significance categories are described in Table below. In arriving at the significance of effect, the assessor has also considered whether they are direct or indirect; short, medium or long-term; permanent or temporary, positive or negative, cumulative.

| Impact significance category | Typical criteria | Description - typical descriptors |
| --- | --- | --- |
| Major | A fundamental change to the environment | Only beneficial or adverse impacts are normally assigned this level of significance, and represents key factors in decision-making process. These impacts are generally but not exclusively associated with sites or features of International, National or Regional importance that are likely to suffer a most damaging impact and loss of integrity. However, a major change in a site or feature of local importance may also enter this category. |
| Moderate | A material but non-fundamental change to the environment | These beneficial or adverse impacts may be important, but are not likely to be key decision-making factors. The cumulative effects of such factors may influence decision-making if they lead to an increase in the overall adverse impact on a particular resource or receptor. |
| Minor | A detectable but non-material change to the Environment | These beneficial or adverse impacts may be raised as local factors. They are unlikely to be critical in the decision-making process, but are important in enhancing the subsequent design of the project. |
| Negligible (or neutral) | No detectable change to the environment | No impacts or those that are beneath levels of perception, within normal bounds of variation or within the margin of forecasting error. |

Table 5.6: Typical impact significance categories and their decision-making aspects

Impacts determined to be minor or negligible (neutral) are not deemed to be significant, and as such are not reported in detail in this E&S Assessment Report and do not require specific mitigation. The exception to this is where the combination of multiple minor effects has the potential to lead to a significant (i.e. moderate or above) cumulative effect.

It should be noted that, although the above describes overall generic approach proposed for the E&S appraisal for the Project – using sensitivity and magnitude to determine the significance of impact – some particular topics may imply different approach which reflects topic’s specifics in more appropriate way or variations in terms to the sensitivity or magnitude categories.

### Impact Mitigation Measures, Enhancement and Residual Effects

Mitigation measures have been proposed, where they are available and practical, in those cases where significant adverse impacts are identified. These measures are consistent with the requirements of the relevant legislation and policies as well as with best international practice and are proportional to the level of the impact predicted.

During the past Project stage, ‘mitigation through design’ was employed as an important factor in ensuring that the environmental and social impacts of the Project are avoided as much as possible and minimized throughout alternative sound selection of the Project’s preferred development option. Therefore, through the development of the Project so far and the iterative approach used by engineering and E&S teams, mitigation has been built into the technical design (embedded mitigation measures to avoid adverse E&S effects). Where significant impacts potentially remain, further specific mitigation measures are proposed in the assessment.

The principles of mitigation, including its hierarchical manner are as follows (Figure below):

- Avoidance and prevention measures - incorporate measures to avoid the effect (e.g. alternative design options or modifying the proposed project construction programme to avoid environmentally sensitive periods).

- Reduction - incorporate measures to lessen the effect (e.g. fencing off sensitive areas during construction and implementing a Construction Environmental and Social Management Plan (CESMP) to reduce the potential impacts from construction activities).

- Compensation / remediation as last resort – where it is not possible to avoid or reduce a significant effect then offsetting measures should be considered (e.g. provision of replacement of habitat to replace that lost to the proposed project or remediation such as the clean-up of contaminated soils). It should be noted that compensation or remediation does not automatically make an impact ‘acceptable’ or excuse the need to consider other forms of mitigation as discussed in the hierarchy.

- Enhancement of eventual positive project effects.

Figure 5.1: Impact mitigation hierarchy

## Assumptions and Limitations

Throughout this environmental and social assessment the following generic assumptions have been made:

- This E&S Assessment Report has been prepared based on the current available technical (engineering) design (Conceptual Solution as reported in the Project’s Technical Assessment) that corresponds to a Feasibility Study as described in the previous sub-section. As usual for projects of this scale, further design development or refinement outside of the 500 metres wide planning corridor and the 100 m buffer around proposed substation location is not likely to be undertaken. Any changes to the design within these areas have been assessed by the E&S assessment process and will not require re-assessment or approval by Project parties (including the Lender) as well as the Macedonian competent authorities. However, if changes to design beyond these limits occur, they will require further E&S consideration and may be subject to supplementary assessment. If these changes are material, they may require approval by Project parties. This process is described in the Management of Change Procedure as described in this report.

- This E&S Assessment Report has been prepared based on the selected SS location and OHL corridor(s) (as presented in Annex 1), the environmental and social baseline information available at the time of writing and the current available technical (engineering) design (Conceptual Solution). Further information will become available as the iterative technical (engineering) design and E&S assessment process proceed through preliminary and detailed design and, subsequently, the scope of the assessment will need to be reviewed and updated as process evolves, if necessary.

- Number and locations of the towers for the new transmission lines are unknown at present stage of the Project development. These would be identified during upcoming design stages of the Project.

- Details in regard to the construction methods are unknown at present stage of the Project development.

- Locations and details of auxiliary works (e.g. new access roads for construction purposes, site compounds, workers camps and materials storage) are unknown at present stage of the Project development.

- The current situation with the outbreak of the pandemic COVID-19 disease imposed mandatory restrictions and social distancing measures thus changing the familiar and widely used methods for information disclosure and stakeholder engagement. As a result, non-statutory consultation to inform the concerned communities throughout the Project’s E&S appraisal has not taken place. The inclusion of these stakeholders in the further stakeholder engagement process as part of the upcoming Project’s development stages (e.g. Preliminary Design and/or Detailed Design) will be carried out according to the respective international and national recommendations and would need to be set out in the Project’s SEP.

# Consultation and Participation Arrangements

## Context

Effective stakeholder engagement and consultation is seen as fundamental to the success of the proposed Project.

The Project has a wide range of stakeholders (including statutory consultees, local communities, property owners and landowners, businesses and other affected groups) with differing interests that will require varied levels of information. Specific communication activities therefore need to be focused to meet the needs of particular individuals and groups, particularly vulnerable groups. This requires an understanding of the stakeholders and their interest in the proposed project.

Stakeholder engagement for the Project would be based on the following principles:

- Early and ongoing engagement with relevant stakeholders to inform and influence the Project development process;

- Seeking an appropriate level of feedback at each development stage in order to achieve iterative design process by ensuring that comments and concerns received are taken into consideration.

- Building of long term relationships with key stakeholders throughout the different stages of the Project to help better understand their views;

- Where possible and practicable ensuring concerns are addressed; and

- Ensuring appropriate statutory consultation is undertaken in compliance with national requirements and best international practice.

MEPSO intends to implement the Project as an example of good practice in the development of transmission infrastructure with the aim of involving stakeholders and maintaining good communication practices throughout the life of the Project. Therefore, stakeholder engagement process has been initiated during the analysis of Project options and continued during the assessment’s scoping stage and will be further carried on based on the technical analysis and environmental and social appraisal performed so far, and in line with the SEP requirements.

However, the situation with the outbreak of the pandemic COVID-19 disease, caused by SARS-CoV-2 virus, changed the familiar and widely used methods for information disclosure and stakeholder engagement, in particular the public engagement and consultation. In order to avoid, to the maximum extent where possible, the exposure to the risk of transmission of the infection, the stakeholder engagement process and information disclosure methods for the Project are to be tailored in accordance to the recommendations given by the most relevant international and national health organizations and relevant actors who are modelling and defining the good international practice.

This process will be guided by the Stakeholder Engagement Plan (SEP) for the wider development as a whole, that has been prepared as part of its current planning and design phase. The SEP [Ref.5] has been prepared to meet IFI and international standards as well as national stakeholder engagement requirements.

An E&S assessment disclosure package for Project will contain (in Macedonian and English):

- Non-technical Summary (NTS)

- Stakeholder Engagement Plan (SEP), including Project Grievance Form

- Land Acquisition Resettlement Framework (LARF).

## Consultations to Date

- As part of the present development stage of the Project, MEPSO, supported by the IPF7 Team, has carried out consultation process with the selected major relevant statutory stakeholders in order to gain their views with an aim to inform and further drive the current development of the wider development as a whole. These stakeholders have included concerned municipalities (Valandovo, Gevgelija and Strumica) and their administration, local public utility companies, line ministries and other relevant agencies and institutes (Annex 5). Regarding gender, the structure of these meetings was as follows:

- Valandovo meeting: total 11 participants (7 females)

- Gevgelija meeting: total 11 participants (4 females)

- Strumica meeting: total 15 participants (6 females)

- Meeting with state institutional stakeholders: total 22 participants (9 females).

Representatives of the potential present vulnerable groups in the Project area were not present at this stage.

The main purpose of these consultations was to seek feedback from the key statutory stakeholders in regard to the suitability and acceptability of the proposed preferred Project option, with emphasis to the key spatial planning, environmental and social constraints that may influence the further development process of the Project.

MEPSO agreed with the concerned municipalities to closely cooperate for obtaining necessary administrative permits and information within their domain of authority, for the needs of the further Project development and implementation.

An official written communication with two national institutions (museums) with legal jurisdiction in the wider Project region was performed by MEPSO, supported by the Project’s E&S team, in order to obtain data on locations of respective archaeological sites that might impact the Project planning. In addition, a joint site visit with the responsible archaeologists was conducted in the Project region. As a result of this exercise, and based on the obtained data and findings from the site visit, the initially proposed 110 kV OHL alignment has been optimised to avoid potentially affected cultural resources (see Figure 7.21).

- All measures in force regarding COVID-19 were implemented by the organizers and all participants at these meetings.

# Baseline Conditions

## Physical and Natural Environment

### Climate

#### Baseline Conditions

The wider Project region - area between Gevgelija, Valandovo and Demir Kapija - is well defined geographical unit that is encircled by mountains from west and east, opened to the south by the river Vardar valley at altitudes. Gevgelija-Valandovo valley is about 60 km away from the Thessalonica gulf. Thus, the Mediterranean influence is evident being one of the warmest regions in Macedonia.

The key characteristics of climate are defined on the bases of measurements of meteorological stations, located in the area - Valandovo and Gevgelija. The climate diagrams are presented below.

Mediterranean climate from the Thessalonica gulf penetrates into the Gevgelija-Valandovo valley and spreads along Vardar River to the north of Demir Kapija. The Mediterranean influence determines the basic characteristics of the climate of the whole area and some climatic elements separately. Because of the Mediterranean influence, the climate is characterized as modified Mediterranean climate.

The average annual air temperature is 14.2°C to 14.6°C – the highest in Macedonia. However, the relative annual amplitudes (variation) are low (21.1°C-21.6°C), which is somewhat higher than in the typical Mediterranean areas (below 20°C). Filipovski et al. (1996) regards this area as Modified Mediterranean. As presented in the climate diagrams (Figure below) the maximum annual temperatures in Gevgelija and Valandovo are 44.3°C and 43.5°C, respectively. Absolute minimum temperatures for these two stations are -19.5°C and -14.4°C.  The summers are warm (absolute temperatures up to 43.0°C -44.3°C) while the winters are mild (relatively warm with temperatures of 4.5°C-4.7°C). Frost periods last in average of 136 days.

The precipitation is higher during the autumn (maximum in November), then the spring and winter periods, which is a typical characteristic for Mediterranean pluviometric regime. The humid period lasts from November to March. The annual sum of precipitation varies between 611 mm and 695 mm. In general, the climate is semiarid with the exception of the period from July to September, which is considered as arid season.

The insolation in the area is very high (2379 hours per year) and loweset cloudiness (4.2 to 4.5), with the lowest number of “dark” days (74-90) and the highest number of bright days (122-130 days).

Figure 7.1: Climate diagrams of Gevgelija and Valandovo

#### Greenhouse Gases

As climate change impacts are global in nature, it is not possible to link a specific project, with a specific environmental impact. As such, significance of GHG emissions have been put into context using Macedonia regional emissions data.

Total National Emissions

Table and Figure below show the time–series of GHG emissions and removals (net emissions), (in tonnes CO2-eq) in the country for the period 1990–2016. In 2016, these are estimated at 8,020 Gg CO2-eq (including the FOLU sector). There are significant fluctuations in the net emissions in 2000, 2007 and 2012, where increased emissions can be noticed in the FOLU sector (instead of removals) as a result of intensified forest fires / wildfires over that period. GHG emissions in 2016 are reduced by 34.6% compared to 1990 levels. The reduction is mainly result of reduced electricity production from lignite, fuels switch (residual fuel oil for electricity and heat production is replaced with natural gas), and lower industrial production, which has been decreasing since 2012. [Ref.22]

| Sector | 1990 | 2000 | 2005 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- |
| Energy | 9,648.9 | 9,757.9 | 9,251.1 | 8,051.3 | 7,701.3 | 7,449.3 |
| Industrial Processes & Product Use | 932.2 | 888.4 | 861.7 | 886.2 | 790.5 | 858.0 |
| Agriculture (without FOLU) | 1,490.4 | 1,249.6 | 1,204.1 | 1,131.5 | 1,159.4 | 1,193.2 |
| FOLU | -207.02 | 10,441.4 | -1,522.1 | -3597.4 | -1,625.4 | -2,090.1 |
| Waste | 406.7 | 412.7 | 435.2 | 574.3 | 596.7 | 610.2 |
| Total (incl. FOLU) – Net emissions | 12,271.2 | 22,749.9 | 10,230.0 | 7,045.9 | 8,622.6 | 8,020.6 |
| Total (excl. FOLU) | 12,478.2 | 12,308.6 | 11,752.1 | 10,643.3 | 10,247.9 | 10,110.8 |

Table 7.1: GHG emissions and removals (net emission) by sector (in Gg CO2-eq)

Source: MACEDONIAN THIRD BIENNIAL UPDATE REPORT ON CLIMATE CHANGE, August 2021; Ministry of Environment and Physical Planning [Ref.22]

Figure 7.2: GHG emissions and removals (net emission) by sector (in Gg CO2-eq)

Source: MACEDONIAN THIRD BIENNIAL UPDATE REPORT ON CLIMATE CHANGE, August 2021; Ministry of Environment and Physical Planning [Ref.22]

Energy Sector

Compared to the other sectors, the energy sector generates by far the largest share of GHG emissions in Macedonia. This is due to the fact that the gross inland consumption of energy in the country is still dominated by fossil fuels, although their share is decreasing over the reported period, from 92% in 1990 to 79% in 2016 (Figure below). At the same time, the share of renewable energy sources has doubled (7.5% in 1990 to around 15% in 2016). The rest of the gross inland consumption is covered by the electricity import, which increased from insignificant 0.2% in 1990 to 6.5% in 2016. The gross inland consumption in total in 2016 is 7% lower compared to the consumption in 1990.

Historically, the most dominant fuel in the country is coal (predominantly lignite) which has accounted for about 45% of the gross inland consumption. The situation changed in 2016 as oil products became the predominant fuel type with a 40% share, while the share of coal has reduced to 32.5% (Figure below).

Figure 7.3: Gross inland energy consumption (in ktoe), with share of renewable energy sources

Source: MACEDONIAN THIRD BIENNIAL UPDATE REPORT ON CLIMATE CHANGE, August 2021; Ministry of Environment and Physical Planning [Ref.22]

The GHG inventory in the Energy sector accounts for the emissions released as a result of fuel combustion activities, as well as the fugitive emissions from extraction of solid and transmission and distribution of liquid and gaseous fuels. The emissions in the Energy sector, calculated based on the Sectoral approach (accounting for the fuel consumption by sectors) are separated in the following categories: Energy Industries, Manufacturing Industries and Construction, Transport, Other sectors (Commercial/Institutional, Residential and Agriculture/Forestry/Fishing) and Non-Specified. In addition, the Fugitive emissions from extraction of lignite, oil refining and transmission of natural gas are included in this calculation. As such, the overall GHG emissions in Energy sector are 7,701 Gg CO2-eq in 2015 and 7,449 Gg CO2-eq in 2016. Most of the GHG emissions in 2016 occur in the category Energy Industries (51.0%), followed by Transport (28.1%) and Manufacturing Industries and Construction (13.9%). The other two categories together account for 5% of the total emissions in 2016 and the remaining around 2% are Fugitive emissions. Almost all of the GHG emissions in 2016 are CO2 emissions (96.4%), and CH4 and N2O emissions amount to only 2.8% and 0.8%, respectively.

Figure 7.4: GHG emissions in Energy sector, by category (in Gg CO2-eq)

Source: MACEDONIAN THIRD BIENNIAL UPDATE REPORT ON CLIMATE CHANGE, August 2021; Ministry of Environment and Physical Planning [Ref.22]

#### Future Baseline – Climate Projections

Climate projections for Macedonia for the purposes of this E&S assessment have been derived from the World Bank Climate Change Knowledge Portal. Projection for a ‘high’ emissions’ scenario (Shared Socioeconomic Pathways (SSPs)) for the time period of 2080-2099 (assuming more than 60-year project design life) has been used to develop the future climate baseline.

Temperature Indicators

The projected change in monthly temperature for Macedonia 2080-2099 under the selected scenario (SSP5-8.5), compared to a baseline of 1995-2014 is presented in the Figure below. This projects an increase in temperature at a national level in the range of 4°C to 8.5°C for the 50% ‘central estimate’. The projected changes in the Project region (Gevgelija and Valandovo) are in similar range, from 4°C to 8°C) (Figure below).

Figure 7.5: Projected mean-temperature anomaly in Macedonia, at a country level

Source:https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections

Compared with the period 1995-2014, the projections for temperature rise are greatest in summer. During winter, air temperatures are also expected to increase, though with less intensity.

Figure 7.6: Projected mean-temperature anomaly in the Project region

Source:https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections

As well as an increase in average temperatures, projections indicate an increase in extreme temperatures (i.e. the temperature experienced during heat-waves). The next Figures show the change in the warmest daily maximum temperature for the period up to 2099 and in each month in the period 2080-2099, relative to the reference period (1995-2014) for Macedonia and in the Project region up to 2099. These project a continuous increase from around 37°C in 2020-2039 to a range from 42°C to 44°C in 2080-2099 for the 50% ‘central estimate’ at the country level and up to 45°C in the Project region.

Figure 7.7: Projected change in warmest daily maximum temperature for Macedonia in 2080-2099, compared to 1995-2014 baseline, at a country level

Source: https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections

Figure 7.8: Trend of the projected change in warmest daily maximum temperature in the Project region from 2000 to 2099, compared to 1995-2014 baseline

Source: https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections

Precipitation

A decrease in annual precipitation is predicted in Macedonia for the period up to 2080-2099 (Figure below). The projected reduction of precipitation percent in 2099 is around 25%. Precipitation reductions are forecasted for all four seasons for 2088-2099, with the maximum decrease in summer (June, July and August). The decrease in precipitation for 2080-2099 is projected in the range from 5% to 45% mm (50th centile value).

Figure 7.9: Projected change in precipitation for Macedonia in 2080-2099, compared to 1995-2014 baseline, at a country level

Source: https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections

The projected change in monthly precipitation for the Project region up to 2099 compared to the 1995-2014 baseline is presented in the Figure below.

Figure 7.10: Projected change in precipitation in the Project region from 2000 to 2099, compared to 1995-2014 baseline

Source: https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections

Wind

Extreme storms, such as tropical cyclones and extratropical cyclones, and severe convective storms often have substantial environmental and societal impacts. Quantifying the effect of climate change on extreme storms is challenging, partly because extreme storms are rare, short-lived, and local, and individual events are largely influenced by stochastic variability. The high degree of random variability makes detection and attribution of extreme storm trends more uncertain than detection and attribution of trends in other aspects of the environment in which the storms evolve (e.g., larger-scale temperature trends). Projecting changes in extreme storms is also challenging because of constraints in the models' ability to accurately represent the small-scale physical processes that can drive these changes. There is low confidence in past changes of maximum wind speeds and other measures of dynamical intensity (e.g., maximum wind speeds) of the cyclones. Future wind speed changes are expected to be small, although changes in the location of storm tracks could lead to substantial changes in local extreme wind speeds. There is high confidence that average and maximum precipitation-rates will increase with warming, with the magnitude of the increases associated with increases in atmospheric water vapour.

Based on current knowledge and the proximity of the project to the Aegean Sea, it is considered likely that the frequency of storms will decrease or stay the same, but that maximum wind speed and precipitation will increase.

#### Key Relevant Vulnerability Trends in Macedonia

Macedonia is exposed to several climate-related hazards, some of which are increasing in frequency and magnitude. The key identified vulnerability trends in the country are the following:

- River flooding hazard is classified as ‘high’, meaning that potentially damaging and life-threatening river floods are expected to occur at least once in the next 10 years. The hazard level is highest in the central northern regions. Flooding constitute 50% of disasters recorded in the country during the baseline period (between 1990 and 2014), and 22% of average annual monetary losses over the same period.

- Extreme temperatures and wildfires, respectively, accounted for 25% and 13% of disasters recorded nationally during the baseline period (between 1990 and 2014).

- Landslide hazard is classified as ‘low’, meaning that Macedonia as a whole has rainfall patterns, terrain slope, geology, soil, land cover and (potentially) earthquakes that make localized landslides an uncommon hazard phenomenon. The hazard level is greatest is eastern and western regions of the country.

#### Key Relevant Vulnerability Trends in the Project Region

The key identified vulnerability trends in the wider Project region (territory of Gevgelija and Valandovo municipalities as a whole) presented as climate-related hazards to which human population and various human developments are exposed have been derived from the World Bank Climate Change Knowledge Portal and summarised below, with emphases to events relevant for the Project.

- Gevgelija

| Climate-related hazard | Description of hazard | Hazard level (exposure / probability of occurrence) |
| --- | --- | --- |
| Extreme heat (heat wave) | Extreme heat hazard is classified as medium based on modeled heat information currently available. This means that there is more than a 25% chance that at least one period of prolonged exposure to extreme heat, resulting in heat stress, will occur in the next five years. Project planning decisions, project technical design, and construction methods should take into account the level of extreme hazard. | Medium |
| River flood | River flood hazard is classified as high based on modeled flood information currently available. This means that potentially damaging and life-threatening river floods are expected to occur at least once in the next 10 years. Project planning decisions, project technical design, and construction methods must take into account the level of river flood hazard. It would be prudent to design projects in this area to be robust to river flood hazard in the long-term. | High |
| Landslide | Landslide susceptibility is classified as medium according to the information that is currently available. This means that this area has rainfall patterns, terrain slope, geology, soil, land cover and (potentially) earthquakes that make localized landslides an infrequent hazard phenomenon. Project planning decisions such as project siting, project technical design, and construction methods, should take into account the potential for landslides by obtaining detailed site-specific information to better understand the level of landslide susceptibility, as this depends on local geological conditions and other non-climatic factors. | Medium |
| Wind | NA | NA |
| Lightning | NA | NA |
| Wildfire | The wildfire hazard is classified as high according to the information that is currently available. This means that there is greater than a 50% chance of encountering weather that could support a significant wildfire that is likely to result in both life and property loss in any given year. The impact of wildfire must be considered in all phases of the project, in particular during design and construction. Project planning decisions, project technical design, construction and emergency response planning methods should take into account the high level of wildfire hazard. Note that damage can not only occur due to direct flame and radiation exposure but may also include ember storm and low level surface fire. In extreme fire weather events, strong winds and wind born debris may weaken the integrity of infrastructure. It would be prudent to consider this effect in the design and construction phase of the project. Further detailed information specific to the location and planned project should be obtained to adequately understand the level of hazard. | High |

Table 7.2: Climate-related hazards in Project region (Gevgelija)

Source: World Bank Group / Climate Change Knowledge Portal - https://climateknowledgeportal.worldbank.org/country/north-macedonia/vulnerability (https://thinkhazard.org/en/report/2933-fyr-of-macedonia-gevgelija)

- Valandovo

| Climate-related hazard | Description of hazard | Hazard level (exposure / probability of occurrence) |
| --- | --- | --- |
| Extreme heat (heat wave) | Extreme heat hazard is classified as medium based on modeled heat information currently available. This means that there is more than a 25% chance that at least one period of prolonged exposure to extreme heat, resulting in heat stress, will occur in the next five years. Project planning decisions, project technical design, and construction methods should take into account the level of extreme hazard. | Medium |
| River flood | River flood hazard is classified as high based on modeled flood information currently available. This means that potentially damaging and life-threatening river floods are expected to occur at least once in the next 10 years. Project planning decisions, project technical design, and construction methods must take into account the level of river flood hazard. It would be prudent to design projects in this area to be robust to river flood hazard in the long-term. | High |
| Landslide | Landslide susceptibility is classified as medium according to the information that is currently available. This means that this area has rainfall patterns, terrain slope, geology, soil, land cover and (potentially) earthquakes that make localized landslides an infrequent hazard phenomenon. Project planning decisions such as project siting, project technical design, and construction methods, should take into account the potential for landslides by obtaining detailed site-specific information to better understand the level of landslide susceptibility, as this depends on local geological conditions and other non-climatic factors. | Medium |
| Wind | NA | NA |
| Lightning | NA | NA |
| Wildfire | The wildfire hazard is classified as high according to the information that is currently available. This means that there is greater than a 50% chance of encountering weather that could support a significant wildfire that is likely to result in both life and property loss in any given year. The impact of wildfire must be considered in all phases of the project, in particular during design and construction. Project planning decisions, project technical design, construction and emergency response planning methods should take into account the high level of wildfire hazard. Note that damage can not only occur due to direct flame and radiation exposure but may also include ember storm and low level surface fire. In extreme fire weather events, strong winds and wind born debris may weaken the integrity of infrastructure. It would be prudent to consider this effect in the design and construction phase of the project. Further detailed information specific to the location and planned project should be obtained to adequately understand the level of hazard. | High |

Table 7.3: Climate-related hazards in Project region (Valandovo)

Source: World Bank Group / Climate Change Knowledge Portal - https://climateknowledgeportal.worldbank.org/country/north-macedonia/vulnerability (https://thinkhazard.org/en/report/2933-fyr-of-macedonia-valandovo)

### Geological Environment

#### Study Area

The assessment of the effects on the geological environment and soils uses a wider study area around the proposed substation site and respective OHL corridor(s) and the adjacent areas likely to be affected by the Project activities. The study area is extended to 100 metres buffer zone around the substation site and 500 metres wide corridor along transmission lines.

#### Baseline Conditions

From a geological point of view, the location of the proposed 400/110 kV SS Miletkovo is built by Jurrasic diabase and spylite rocks, covered with Quaternary delluvial (clayey) sediments (Annex 4).

The corridors of the transmission lines pass through the alluvial sediments (clay, sand and gravel) of the Vardar River and the river Anska Reka (Annex 4). The estimated depth of these sediments varies between 15 m and 30 m. Near Miletkovo village (from the right side of Vardar River), the groundwater level follows the water level of Vardar River, but starting from the left side of Vardar River and the inflow of Anska Reka into Vardar River, due to the high degree of collimation of the Anska Reka riverbed, the groundwater level does not correspond to the water level in Anska Reka.

No mining activities or mineral extraction facilities exist within the study area or in its wider surrounding.

Geological Hazards

Typically, shallow soils and soils on topography susceptible to erosion and landslides, such as soils in steep slopes are exposed to these risks. Absence of vegetation cover and woodlands also increase soil erosion risk and occurrence of landslides. Some types of forest vegetation are more susceptible to erosion than others such as sparse Oak forests, particularly on slopes with a southern and south-western exposition. In addition, various land use practices may also cause significant erosion problems.

The terrain in the study area is of typical plain topography, flat without hilly or mountainous elements and without steep slopes. Therefore, in general context the study area is characterised with low potential erosion risk and low landslide susceptibility associated with the construction works of the Project.

### Water Environment

#### Study Area

For the purposes of the assessment, the spatial scope of the assessment includes features of the water environment in vicinity to the SS location or that are crossed by the 500 metres wide OHL corridor (250 metres on both sides from the longitudinal axis of the transmission line). These features are likely to be affected by the Project activities.

#### Baseline Conditions

In wider context, from a hydrographical point of view, the Project region as a whole belongs to the catchment areas of the Vardar River and the river Strumica, both part of the Aegean Sea Basin (Figure below).

No natural water bodies are located in proximity to the location for the new 400/110 kV SS Miletkovo. The Vardar River is at relative distance of approx. 1 km from the substation location and, therefore, no interaction with the Project is likely.

The natural water bodies crossed by the respective 110 kV OHL corridor(s) are presented in the Table below.

| Natural features of water environment |  |
| --- | --- |
| Existing 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo |  |
| Watercourse | Character |
| Anska Reka, crossed at two crossing points | Continuous, canalised watercourse |
| Vardar | Continuous |
| New 110 kV OHL connector with SS ‘EVP’ Miletkovo |  |
| Watercourse | Character |
| Dukavec | Continuous |
| Three streams | Intermittent |

Table 7.4: Features of water environment within the study area of the proposed new 400/110 kV SS Miletkovo and 110 kV connectors

Vardar River

Watershed

- Project region

river Strumica Watershed

Middle &

Lower Vardar

Figure 7.11: Hydrological catchment area in the Project region

The data on the water quality or ecological status of the Vardar River at the crossing with overhead line are unavailable. However, there are two regular water quality monitoring points on the river Vardar, in the wider Project region, which are of relevance. These are monitoring stations in Demir Kapija and Gevgelija. The following Table presents the ecological status of river Vardar, based on the results obtained from these stations. In VFSP Demir Kapija, the water quality is characterized by evident self-purification processes, although many of organic pollutants from industry and communal waste waters are still present in significant quantities in the water and sediment. In VFSP Gevgelija and further to the border with Greece (VFSP Axioupoli), the quality of the waters is very similar in chemical composition, although higher Arsenic (As) concentration was detected on VFSP Axioupoli, but it is supposed that it is from natural (geological) origin. In general, water quality was assessed as HIGH QUALITY (HM in the sediment and hydromorphology), GOOD (Ox and N), MODERATE (HM in the water, PhB), POOR (OS in the water) and BAD (only in the case of OS in sediment in Gevgelija). Overall, the ecological status was assessed as Moderate in VFSP Demir Kapija and Poor for VFSP Gevgelija. Also high concentration of industrial pollutants is detected in the water and sediments.

Some newer data from the monitoring in 2021 indicate that the water quality is Category I-II for both VFSP Demir Kapija and VFSP Gevgelija (nitrites, nitrates, iron, manganese and zink) to Category III (Biochemical Oxygen Demand).

| * According to TNMNC exceeded dissolved as limit; ** High As concentration; *** High concentrations of octylphenol and nonylphenol;**** High concentrations of DEHP; ***** High concentrations of pesticides; ****** High concentrations of PAH 1 Dutch limits for soil and sediments are used for assessment. Other EU countries limits are higher than Dutch limits. 2 High concentrations of Cu and Ni were recorded in all stations, but it is supposed as natural background concentration (geological origin). |  |
| --- | --- |

Table 7.5: Preliminary assessment of ecological status of River Vardar Basin

Note: Ox – Oxygen demand, Ni – nitrogen, HM – heavy metals, OS – organic substances, PhB - Production of Polyhydroxybutyrate, ZooB – Zoobenthos, F – Phytoplankton, M - Macrophytes

Source: Stafilov, T., & Levkov, Z. (2017). Summary of Vardar River Basin Field Survey. European Agency for Reconstruction and Ministry of Environment & Physical Planning of the Republic of Macedonia, Skopje, Macedonia

### Noise

#### Study Area

The assessment of effects from the construction noise uses a study area of 1,000 m from the SS location and 2,000 m wide OHL corridors (1,000 metres on both sides from the longitudinal axis of the transmission lines) likely to be affected by the Project activities. This is due to the effect of noise from construction reducing with distance from the point of release, and beyond 1,000 m these are likely to have reduced to a level equivalent to background levels.

#### Baseline Conditions

Environmental noise monitoring in Macedonia is organised in urban areas of four local self-governments (municipalities) at 39 measuring stations [Ref.17]. There are no measurements of the environmental noise neither within the study area nor in the rural or urban areas in the Project region.

The study area is predominantly rural in nature, passing through not densely populated zones. Key noise source is the traffic network. Other sources of seasonal noise in the environment are the agricultural activities. Therefore, it is generally assumed that the ambient noise levels at the proximity of the location of the new substation and along the OHL corridors are below the legally determined limit values for the particular types of zones set out in the relevant Macedonian legislation.

### Land Cover

#### Study Area

An area of 1,000 metres wide OHL corridor (500 metres on both sides from the longitudinal axis of the transmission line) is used for this assessment to present the baseline in wider context, which is considered as representative and sufficient to identify the current land use and structure in the broader area and to assess indirect impacts for the Project.

For the purposes of the assessment, the study area within the infrastructure corridor (defined for the purpose of this appraisal as 100 metres wide corridor) will be used for consideration of the direct effects and changes on the current key land use forms (e.g. agricultural land, woodland, urban land, etc.). This zone is based on the land anticipated to be directly affected by the Project, i.e. potentially required temporarily and/or permanently for the construction, operation and maintenance of the transmission line and where specific land use rules would be established to ensure technical safety of the OHL and protection of people and environment during its operation.

#### Baseline Conditions

Comparative land cover assessment within the study area of the Project’s components is made based on CORINE Land Cover (CLC) 2018 data and is presented below.

The baseline land cover conditions for each of the elements of this sub-project are provided below.

- The new 400/110 kV substation Valandovo and ‘in-out’ connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

Due to the relatively small affected area, there are only three land cover classes: 211: Non-irrigated arable land, 321: Natural grasslands and 323 Sclerophyllous vegetation. The Non-irrigated arable land occupies small surface while Natural grasslands and Sclerophyllous vegetation are dominant (Figure below).

Figure 7.12: Wider area of the new 400/110 kV substation Valandovo and ‘in-out’ connection with the existing 400 kV line

Note: The existing 400 KV OHL can be seen within the 323 Sclerophyllous vegetation

- Reconstruction of the existing 110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo.

The land cover within the study area along this existing line (Table below) is dominated by agricultural land (approx. 40% in total): 242 Complex cultivation patterns (37.0%) and 211 Non-irrigated arable land (3%). Significant portion is also occupied by 323 Sclerophyllous vegetation (29.51%) which in fact the vegetation of pseudomaquis.

The line crosses the valley of the Vardar River which contributes to higher percentage of CLC class 511 Water courses (29.1%).

| CORINE Land Cover class (broader study area of 1,000 metres wide corridor) | Area [hectares] | Percentage [%] |
| --- | --- | --- |
| 112 Discontinuous urban fabric | / | / |
| 121 Industrial or commercial units | / | / |
| 211 Non-irrigated arable land | 36.83 | 2.99 |
| 221 Vineyards | 0.60 | 0.05 |
| 231 Pastures | 0.00 | 0.00 |
| 242 Complex cultivation patterns | 455.74 | 37.00 |
| 243 Land principally occupied by agriculture with significant areas of natural vegetation | 3.57 | 0.29 |
| 311 Broad-leaved forest | 5.71 | 0.46 |
| 313 Mixed forest | 0.00 | 0.00 |
| 321 Natural grasslands | 2.94 | 0.24 |
| 323 Sclerophyllous vegetation | 363.52 | 29.51 |
| 324 Transitional woodland-shrub | 3.93 | 0.32 |
| 511 Water courses | 358.91 | 29.14 |
| Total: | 1,231.76 | 100.00 |

- Table 7.6: Land cover according to CORINE Land Cover types within the study area of the proposed reconstruction of the existing 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo

- Construction of a new 110 kV OHL connector with the existing SS ‘EVP’ Miletkovo

The land cover patterns within the study area along the proposed corridor of this new transmission line (Table below) is characterized by the presence of highly degraded Sclerophyllous vegetation (CLC code 323) and small patches of Natural grasslands (CLC code 321). The surrounding area also contains significant portion of Non-irrigated arable land (CLC code 211) Complex cultivation patterns (38.72%).

| CORINE Land Cover classes (broader study area of 1,000 metres wide corridor) | Area [hectares] | Percentage [%] |
| --- | --- | --- |
| 211-Non-irrigated arable land | 71.71 | 24.85 |
| 242-Complex cultivation patterns | 111.76 | 38.72 |
| 243-Land principally occupied by agriculture, with significant areas of natural vegetation | 21.51 | 7.45 |
| 323-Sclerophyllous vegetation | 51.63 | 17.89 |
| 324-Transitional woodland-shrub | 0.04 | 0.02 |
| 321-Natural grasslands | 21.06 | 7.30 |
| 511-Water courses | 10.89 | 3.77 |
| Total: | 288.60 | 100.00 |

Table 7.7: Land cover according to CORINE Land Cover types within the study area of the proposed construction of a new 110 kV OHL connectors of the new 400/110 kV SS Miletkovo with the existing SS ‘EVP’ Miletkovo

## Natural Environment

### Biodiversity and Natural Heritage

The Project has the potential to affect the biodiversity (habitats and species of flora, fauna and fungia) and natural heritage sites. Special attention will need to be paid to the designated areas, important species and habitats with global, European or national importance (according to the international documents and Macedonian legislation). The following text summarizes the study area, identified baseline as well as potential impacts and principle mitigation concerning biodiversity.

Natural heritages sites were assessed against the existence of Emerald sites (Bern Convention), Ramsar site (Ramsar Convention), Important Plant Areas – IPA, Important Bird Areas - IBA, Prime Butterfly Areas – PBA (van Swaay & Warren 2006) , Key Bioidiversity Areas – KBA (Melovski et al. 2012).

#### Study Area

The study area (Figure below) occupies the Valandovo plain, west of the town of Valandovo. The south border of the study area is represented by the hills above villages Marvinci-Balincki-Brajkovci; the west border are the foothills of Marjanska Planina; the north border are the foothills of Plavush mountain. A buffer area of 1,000 metres wide OHL corridor(s) (500 metres on both sides from the longitudinal axis of the transmission line), including the SS location, is used for this assessment to present the baseline in wider context, which is considered as representative and sufficient to identify the current biodiversity status in the broader area and to assess indirect impacts from the Project. For Priority Biodiversity Features (PBFs) and Critical Habitats (CH) an Ecologically Appropriate Area of Analysis (EAAA) were designed (see Section 7.2.1.3). It is important to note that the study area encompasses all of the EAAAs for particular species and habitats. The baseline of the area is based on the desk-based information, map of ecosystems of Macedonia, and biodiversity surveys undertaken from 25 and 28 May 2021 and from 18 and 20 August 2021. All of the data on habitats and species are from the observations during the executed surveys.

Figure 7.13: Study area, buffer area (2x500m) and the routes of the transmission lines

The description of habitats and species composition provided in this assessment was based solely on fieldwork observations. Habitats were identified during the field work based on the present plant associations, dominant (edifier) plant species, preservation status and composition of plant species in all layer of the habitat (trees, shrubs and herbs layers). All of these data were taken with OruxMaps free software for Android (https://www.oruxmaps.com/cs/en/). The records of individual species (plants, animals) were recorded with Memento Database for Android (https://mementodatabase.com/).

Figure 7.14: Study area and routes of the field work

For the purposes of this E&S Assessment Report, the study area within the infrastructure corridor (defined for the purpose of this appraisal as 100 metres wide corridor) will be used for consideration of the direct effects on the key biodiversity components affected by the Project – especially habitats. This area is generally considered as zone of influence encompassing the main likely significant ecological effects of the Project, including those which would occur by habitat loss or degradation. However, the study area may be extended to a broader context for important habitats (patches of larger size), disturbance of species, etc.

For the purposes of the assessment, each site designated for nature conservation interest or proposed for designation (legally protected area and/or internationally recognised area), likely to be affected by the Project, is considered as a study area as a whole in terms to the potential of the project to impact its conservation objective and integrity.

#### Baseline Conditions

#### Biodiversity Components

The baseline biodiversity conditions within the study area are provided below.

- The new 400/110 kV substation Miletkovo and ‘in-out’ connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

Vegetation and Habitats

Most of the study area passes through an agricultural land with low biodiversity values. The area is characterized by very degraded pseudomaquis with dominance of Christ's thorn (Paliurus spina-christi) and small patches of Kermes oak woodlands (Coccifero-Carpinetum orientalis).  None of the habitats is listed in Annex I of the EU Habitats Directive (see Table 7.8).

Flora

There are no literature data which are specific for the study area. However, the field surveys carried out to date showed presence of common species for the area of pseudomaquis. The dominant tree/shrub species are Quercus coccifera, Paliurus spina-christi, Fraxinus ornus, Phyllirea media, Platanus orientalis, Salix alba, Rubus sanguineus, etc. There are no rare, threatened or otherwise important plant species that were recorded (see Table 7.9).

Fauna

There are no literature data which are specific for the fauna of the study area, as well. During the field surveys the following species were registered: Lanius collurio, Merops apiaster, Buteo buteo, Ciconia ciconia (birds), Podarcis muralis, Lacerta trilineata, Testudo graeca (reptiles), Iphiclides podalirius, Maniola jurtina, Pararge aegeria, Lybithea celtis, Polyommatus icarus (butterflies). Attention should be paid to the fauna of birds and reptiles where particular important species are likely present (see Table 7.10 and Table 7.11).

Natural Heritage Sites

There are no nationally natural heritage sites - legally protected areas or internationally recognized areas (Emerald sites, Ramsar sites, IPA, IBA, PBA, KBA, etc.) within the study area of the proposed new 400/110 kV SS Miletkovo, including the proposed ‘in-out’ connection with the existing 400 kV OHL from SS Dubrovo to Thessalonica (GR).

- Reconstruction the existing 110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo.

Vegetation and Habitats

The existing line passes through environmental area of low sensitivity with dominance of agricultural land. The first approx. 600 m long section of the corridor, starting from the SS Valandovo passes through Kermes oak shrubland (Pseudomaquis). The rest of the route passes through agricultural land. In this part the line crosses river Anska Reka at two points (22.533219E, 41.307299N and 22.485034E, 41.292345N). Anska Reka is canalized and its riparian vegetation is degraded and represented by willow shrubs (Salix alba), Tamarix spp, Rubus spp. and some herb species. The transmission line also crosses the Vardar River (22.480452E, 41.290926N) – the vegetation in this part is represented by Willow belt (Salicetum albae-fragilis) which is very narrow and adjacent to the river as well as degraded sandy habitats. Out of the natural habitats, only Floating Duckweed covers (EUNIS code C1.221) should be mentioned, noticed on Anska Reka.

Flora

The flora in the study area is poor in species. The most diverse floristic composition was noticed at the crossings of rivers Anska Reka and Vardar: Salix alba, Tamarix spp., Lythrum salicaria, Rubus sanguineus, R. discolour, Phragmites australis, Populus alba, Sambucus ebulus, Humulus lupulus, Convolvulus arvensis, Typha latifolia, Urtica dioica, etc. None of the species is threatened or rare (see Table 7.9).

Fauna

The fauna in the study area is not documented in the literature. According to the field surveys, the most common species are Lanius collurio, Buteo buteo, Pernis apivorus, Passer domesticus, P. hispanioliensis, Ciconia ciconia, Ardea cinerea, A. alba, Egretta garzetta, Luscinia megarhynchos, etc. Amphibians (Pelophylax ridibundus, Bufo viridis, Rana graeca) are present along the Vardar River (see Table 7.10 and Table 7.11).

Natural Heritage Sites

There are no nationally natural heritage sites - legally protected areas or internationally recognized areas (Emerald sites, Ramsar sites, IPA, IBA, PBA, KBA, etc.) within the study area of the proposed recontruction of the existing 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo.

- Construction of a new 110 kV OHL connectors with the existing SS ‘EVP’ Miletkovo

Vegetation and Habitats

The corridor of the proposed transmission line passes through an agricultural area with low biodiversity values. Some remains of natural communities are scattered within the agricultural matrix, but these are of very limited extent. At the periphery of the study area there are the riparian communities along the Vardar River.

Flora

The flora in the study area is consisted mainly of widespread and ruderal species. No important or endemic species were recorded during the field surveys (see Table 7.9).

Fauna

The fauna in the study area is not documented in the literature. During the field visits the following species were registered: Lanius collurio, Merops apiaster, Buteo buteo, Ciconia ciconia (birds), Podarcis muralis, (reptiles), Iphiclides podalirius, Maniola jurtina, Pararge aegeria, Lybithea celtis, Polyommatus icarus (butterflies) (see Table 7.10 and Table 7.11).

Natural Heritage Sites

There are no nationally natural heritage sites - legally protected areas or internationally recognized areas (Emerald sites, Ramsar sites, IPA, IBA, PBA, KBA, etc.) within the study area of the proposed construction of a new 110 kV OHL connectors of the new 400/110 kV SS Miletkovo with the existing SS ‘EVP’ Miletkovo.

#### Valorization of Habitats and Species of Flora and Fauna

The following Table presents the list of identified habitats in the study area They are listed according to their trivial name which describes the community and its degradation status or other important aspects of its physiognomy. All of the habitats were also identified according to the EUNIS classification system of habitats which isa a comprehensive system of all habitats on the European continents. Important habitats were selected according to the Annex I of the Habitats Directive. Bern Convention (Resolution No. 4, updated version of Annex I, https://eunis.eea.europa.eu/references/2442) was also used to identify important habitats. One should bear in mind that both Bern Convention (Resolution 4 - Annex I) and EU Habitats Directive (Annex I) are not comprehensive classification systems and they focus only on important habitats.

According to the EU Habitats Directive there is onle one important habitats: 92A0 Salix alba and Populus alba galleries. This habitat represents the riparian belts consisted of willows and poplars along the Vardar River.

| Habitats (trivial name) | Habitats (EUNIS) | Habitats (Bern Convention) ! – selected habitats | Habitats (EU Habitats Directive) * - priority habitats | Project element |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1a | 1b | 1c |  |
| Very degraded pseudomaquis | F5.31: Helleno-Balkanic pseudomaquis | / | / | √ |  |  |  |
| Pseudomaquis |  | / | / |  | √ |  |  |
| Patches of Kermes oak woodlands |  | / | / | √ |  |  |  |
| Willow belt | G1.3 - Mediterranean riparian woodland | G1.1 Riparian and gallery woodland, with dominant [Alnus], [Betula], [Populus] or [Salix] | 92A0 Salix alba and Populus alba galleries |  | √ | √ |  |
| Willow and Poplar belt |  |  |  |  |  | √ |  |
| Floating Duckweed covers | C1.221 - Duckweed covers | / | / |  |  | √ |  |
| Canalized river | C2.3 : Permanent non-tidal, smooth-flowing watercourses | / | / |  | √ |  |  |
| Lowland rivers | C2.31 : Epipotamal streams | / | / |  |  | √ |  |
| Agricultural land | I1 : Arable land and market gardens | / | / |  | √ |  |  |

- Table 7.8: Habitats within study area, their valorization and distribution per Project element

- Note: 1a - new 400/110 kV SS and 400 kV in-out connector; 1b - new 110 kV connectors to SS ‘EVP’ Miletkovo; 1c - reconstruction of 110 kV OHL from Valandovo to Miletkovo.

- The valorization of species was based on both national and international criteria. National criteria included the List (bylaw) of strictly protected and protected species (Official Gazette of RM no. 139/2011) as well as assessment of the endemism and their rarity (expert assessment).

- Since no reliable records of plant species are known for the area it was very difficult to compile a complete list of plant species. Based on the previous field work and personal databases in the wider area a list of all plant species were elaborated and are presented in this E&S Assessment Report. This list contains more than 550 species.

- The following Table presents the list of plant species which were recorded during the field work. None of the species has certain conservation status. Some of the species have a potential to be used as medicinal plants: Malva sylvestris, Humulus lupulus, Prunus cerasifera, Rubus spp., Urtica dioica, Ficus carica.

| Species | National importance | International importance | Project element |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 1a | 1b | 1c |  |
| Carpinus orientalis | / | / | √ | √ | √ |  |
| Cistus villosus | / | / |  |  | √ |  |
| Clematis flammula | / | / | √ | √ | √ |  |
| Clematis vitalba | / | / |  |  | √ |  |
| Convolvulus arvensis | / | / | √ | √ | √ |  |
| Fraxinus ornus | / | / | √ | √ | √ |  |
| Humulus lupulus | / | / |  | √ | √ |  |
| Lonicera etrusca | / | / |  |  | √ |  |
| Lythrum salicaria | / | / |  | √ | √ |  |
| Malva sylvestris | / |  | √ | √ | √ |  |
| Paliurus spina-christi | / | / | √ | √ | √ |  |
| Phragmites australis | / | / |  | √ | √ |  |
| Phyllirea media | / | / | √ | √ | √ |  |
| Platanus orientalis | / | / | √ |  |  |  |
| Populus alba | / | / |  | √ | √ |  |
| Prunus cerasifera | / |  | √ | √ | √ |  |
| Quercus pubescens | / | / | √ | √ | √ |  |
| Quercus coccifera | / | / | √ | √ | √ |  |
| Rubus discolor | / | / |  | √ | √ |  |
| Rubus sanguineus | / | / | √ | √ | √ |  |
| Salix alba | / | / | √ | √ | √ |  |
| Salix elaeagnos | / | / |  | √ |  |  |
| Salix fragilis | / | / |  | √ |  |  |
| Sambucus ebulus | / | / |  | √ |  |  |
| Tamarix parviflora | / | / |  | √ |  |  |
| Tamarix tetrandra | / | / |  | √ |  |  |
| Typha latifolia, | / | / |  | √ | √ |  |
| Urtica dioica | / | / | √ | √ | √ |  |
| Lemna minor | / | / |  | √ |  |  |
| Ficus carica | / | / | √ | √ | √ |  |

- Table 7.9: Flora within study area, valorization and distribution per Project element

- Note: 1a - new 400/110 kV SS and 400 kV in-out connector; 1b - new 110 kV connectors to SS ‘EVP’ Miletkovo; 1c - reconstruction of 110 kV OHL from Valandovo to Miletkovo.

- The following Table presents the distribution of bird species in the study area, recorded during the field research conducted in 2021. There are 14 species which are considered as strictly protected according to the Law on Nature: Ardea alba, Buteo Buteo, Chroicocephalus ridibundus, Ciconia nigra, Circaetus gallicus, Corvus corax, Egretta garzetta, Falco subbuteo, Falco tinnunculus, Gallinula chloropus, Garrulus glandarius, Oriolus oriolus, Otus scops and Pernis apivorus. Ten species are listed in Annex I of the EU Birds Direcive: Alcedo atthis, Ardea alba, Egretta garzetta, Lanius collurio, Lanius minor, Lullula arborea and Pernis apivorus. Streptopelia turtur is considered as Vulnerable (VU) according to the IUCN globar red list of threatened species. There are three species with threat status on the European red list of species: Streptopelia turtur and Alcedo atthis as Vulnerable (VU) and Fulica atra as Near Threatened (NT). All of the other species 33are of Least Concern (LC). Demir Kapija gorge (at least 15 km away in north direction) is home to some important birds species and among them some larg birds of prey (Griffon vulture – Gyps fulvus, Golden eagle – Aquila chrysaetos) but they were not rcorded in the project area during the field surveys.

| Species | IUCN GLR | IUCN ERL | Bird Directive | Bern Convetion | Bonn Convention | CITES | Law on Nature Protection | Law on Hunting | Project element |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 1a | 1b | 1c |
| Aegithalos caudatus | LC | LC |  | III |  |  |  | tp | √ | √ | √ |
| Alcedo atthis | LC | VU | I | II |  |  |  | tp | √ | √ | √ |
| Anas platyrhynchos | LC | LC | IIA & IIIA | III | II |  | ps | hg | √ | √ | √ |
| Ardea alba | LC | LC | I | II | II |  | sps | pp |  | √ |  |
| Buteo buteo | LC | LC |  | II | II | II | sps | pp | √ | √ | √ |
| Carduelis carduelis | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Cettia cetti | LC | LC |  | II | II |  |  | tp |  | √ |  |
| Charadrius dubius | LC | LC |  | II | II |  |  | tp |  | √ |  |
| Chloris chloris | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Chroicocephalus ridibundus | LC | LC | IIB | III |  |  | sps | pp |  | √ |  |
| Coccothraustes coccothraustes | LC | LC |  | II |  |  |  | tp |  | √ |  |
| Columba livia | LC | LC | IIA | III |  |  | ps | hg | √ | √ | √ |
| Columba palumbus | LC | LC | IIA & IIIA |  |  |  | ps | hg | √ | √ | √ |
| Corvus corax | LC | LC |  | III |  |  | sps | pp | √ | √ | √ |
| Corvus corone | LC | LC | IIB |  |  |  |  | ntp | √ | √ | √ |
| Cuculus canorus | LC | LC |  | III |  |  |  | tp | √ | √ | √ |
| Curruca communis | LC | LC |  | II | II |  |  | tp |  |  |  |
| Cyanistes caeruleus | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Delichon urbicum | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Dendrocopos major | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Egretta garzetta | LC | LC | I | II |  |  | sps | pp |  | √ |  |
| Emberiza calandra | LC | LC |  | III |  |  |  | tp | √ | √ | √ |
| Emberiza cirlus | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Erithacus rubecula | LC | LC |  | II | II |  |  | tp | √ | √ | √ |
| Falco subbuteo | LC | LC |  | II | II | II | sps | pp | √ | √ | √ |
| Falco tinnunculus | LC | LC |  | II | II | II | sps | pp | √ | √ | √ |
| Fringilla coelebs | LC | LC |  | III |  |  |  | tp | √ | √ | √ |
| Fulica atra | LC | NT | IIA & IIIB | III | II |  | ps | hg |  | √ |  |
| Galerida cristata | LC | LC |  | III |  |  |  | tp | √ | √ | √ |
| Gallinula chloropus | LC | LC | IIB | III |  |  | sps | pp |  | √ |  |
| Granativora melanocephala | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Hirundo rustica | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Lanius collurio | LC | LC | I | II |  |  |  | tp | √ | √ | √ |
| Lanius minor | LC | LC | I | II |  |  |  | tp | √ | √ | √ |
| Lanius senator | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Luscinia megarhynchos | LC | LC |  | II | II |  |  | tp | √ | √ | √ |
| Merops apiaster | LC | LC |  | II | II |  |  | tp | √ | √ | √ |
| Motacilla alba | LC | LC |  | II |  |  |  | tp |  | √ |  |
| Motacilla flava | LC | LC |  | II |  |  |  | tp |  | √ | √ |
| Oenanthe hispanica | LC | LC |  | II | II |  |  | tp | √ | √ | √ |
| Oenanthe oenanthe | LC | LC |  | II | II |  |  | tp | √ | √ |  |
| Oriolus oriolus | LC | LC |  | II |  |  | sps | pp | √ | √ | √ |
| Otus scops | LC | LC |  | II |  | II | sps | pp | √ | √ | √ |
| Parus major | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Passer domesticus | LC | LC |  |  |  |  |  | tp | √ | √ | √ |
| Passer hispanioliensis | LC | LC |  | III |  |  |  | tp |  | √ |  |
| Perdix perdix | LC | LC | IIA & IIIA | III |  |  | ps | hg | √ | √ | √ |
| Pernis apivorus | LC | LC | I | II | II | II | sps | pp | √ | √ | √ |
| Phalacrocorax carbo | LC | LC |  | III |  |  |  | ntp |  | √ |  |
| Pica pica | LC | LC | IIB |  |  |  |  | ntp | √ | √ | √ |
| Picus viridis | LC | LC |  | II |  |  |  | tp | √ | √ | √ |
| Poecile lugubris | LC | LC |  | II |  |  |  | tp |  | √ | √ |
| Remiz pendulinus | LC | LC |  | III |  |  |  | tp | √ | √ | √ |
| Streptopelia decaocto | LC | LC | IIB | III |  |  | ps | hg | √ | √ | √ |
| Streptopelia turtur | VU | VU | IIB | III | II |  | ps | hg | √ | √ | √ |
| Sturnus vulgaris | LC | LC | IIB |  |  |  |  | ntp | √ | √ | √ |
| Sylvia atricapilla | LC | LC |  | II | II |  |  | tp |  | √ | √ |
| Turdus merula | LC | LC | IIB | III | II |  |  | tp | √ | √ | √ |
| Upupa epops | LC | LC |  | II |  |  |  | tp | √ | √ | √ |

- Table 7.10: Bird fauna within study area, valorization and distribution per project element

- Notes:

- 1a - new 400/110 kV SS and 400 kV in-out connector; 1b - new 110 kV connectors to SS ‘EVP’ Miletkovo; 1c - reconstruction of 110 kV OHL from Valandovo to Miletkovo.

- Law on Hunting: permanent protection (pp); temporary protection (tp); no protection (np), hunting game (h)

- Law on Nature Protection: protected species (ps); strictly protected species (sps)

- In the past, the valley of the Vardar River was considered as potential migratory route for birds. However, the monitoring conducted by Macedonian Ecological Society (Velevski, personal communication) in the last 10 years did not prove the importance of this area as a migratory route for birds, including the birds of prey. This is also reflected in the recent maps of bird migratory routes in Europe (Figure below).

- Figure 7.15: Bird miigratory routes in Europe (European Environment Agency - European Union

- The following Table presents the species of mammals, reptiles, amphibians and invertebrates, recorded during the field research conducted in 2021. There are three species (two mammals and one reptile) on the Annex II of the EU Habitats Directive: Canis lupus, Lutra lutra (the presence of Otter is probable but not confirmed) and Testudo graeca. Eight species have received certain threat status according to the national red list of species: Canis lupus (NT), Lutra lutra (VU), Testudo graeca (VU), and Rana graeca (NT). Testudo graeca is also Vulnerable according to the IUCN global list of threatened species.

| Species | Law on Nature Protection | Law on Hunting | National Red List | IUCN European Red List | IUCN Global Red List | EU Habitats Directive | Bern Bonvention | Other importance | Project element |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 1a | 1b | 1c |
| Mammals |  |  |  |  |  |  |  |  |  |  |  |
| Erinaceus roumanicus |  |  |  | LC | LC |  |  |  | √ | √ | √ |
| Talpa europaea* |  |  |  | LC | LC |  |  |  | √ | √ |  |
| Lepus europaeus |  | tp |  | LC | LC |  | III |  | √ | √ |  |
| Apodemus sylvaticus |  |  |  | LC | LC |  |  |  | √ | √ | √ |
| Rattus rattus |  |  |  | LC | LC |  |  |  | √ | √ | √ |
| Mus musculus |  |  |  | LC | LC |  |  |  | √ | √ | √ |
| Vulpes vulpes |  | np |  | LC | LC |  |  |  | √ | √ | √ |
| Mustela nivalis |  | np |  | LC | LC |  | III |  | √ | √ | √ |
| Martes foina |  | np |  | LC | LC |  | III |  | √ | √ | √ |
| Meles meles | ps | pp |  | LC | LC |  | III |  | √ | √ | √ |
| Lutra lutra | sps | pp | VU | NT | NT | II & IV | II |  |  | ? |  |
| Reptiles |  |  |  |  |  |  |  |  |  |  |  |
| Podarcis muralis | ps | / | LC | LC | LC | IV | II |  | √ | √ | √ |
| Lacerta trilineata | ps | / | LC | LC | LC | IV | II |  | √ | √ | √ |
| Testudo graeca | ps | / | VU | VU | VU | II, IV | II |  | √ | √ | √ |
| Natrix natrix |  | / | LC | LC | LC |  | III |  | √ | √ | √ |
| Amphibians |  |  |  |  |  |  |  |  |  |  |  |
| Pelophylax ridibundus |  | / | LC | LC | LC | V | III |  |  | √ | √ |
| Bufo viridis | ps | / | LC | LC | LC | IV | II |  | √ | √ | √ |
| Rana graeca | ps | / | NT | LC | LC | IV | II |  |  | √ | √ |
| Butterflies |  |  |  |  |  |  |  |  |  |  |  |
| Iphiclides podalirius |  |  |  |  |  |  |  |  | √ | √ | √ |
| Maniola jurtina |  |  |  |  |  |  |  |  | √ | √ | √ |
| Colias crocea |  |  |  |  |  |  |  |  |  |  | √ |
| Anthocharis cardamines |  |  |  |  |  |  |  |  | √ | √ |  |
| Gonepteryx rhami |  |  |  |  |  |  |  |  | √ | √ | √ |
| Pieris brassicae |  |  |  |  |  |  |  |  | √ | √ |  |
| Pieris mannii |  |  |  |  |  |  |  |  | √ | √ |  |
| Pararge aegeria |  |  |  |  |  |  |  |  | √ | √ | √ |
| Lybithea celtis |  |  |  |  |  |  |  |  | √ | √ | √ |
| Polyommatus icarus |  |  |  |  |  |  |  |  | √ | √ | √ |
| Other insects |  |  |  |  |  |  |  |  |  |  |  |
| Nemoptera sinuata |  |  |  |  |  |  |  |  |  |  | √ |
| Oecanthus pellucens |  |  |  |  |  |  |  |  | √ | √ | √ |
| Carabuc coriaceus emgei |  |  |  |  |  |  |  |  | √ | √ | √ |
| Carabus graecus morio |  |  |  |  |  |  |  | Balkan endemic |  | √ |  |
| Elaphrus aureus |  |  |  |  |  |  |  |  |  | v |  |
| Cicindela campestris |  |  |  |  |  |  |  |  | √ | √ | √ |
| Bembidion punctulatum |  |  |  |  |  |  |  |  |  | √ |  |

Table 7.11: Fauna species (birds excluded) within study area, valorization and distribution per project element

- Notes:

- 1a - new 400/110 kV SS and 400 kV in-out connector; 1b - new 110 kV connectors to SS ‘EVP’ Miletkovo; 1c - reconstruction of 110 kV OHL from Valandovo to Miletkovo.

- Law on Hunting: permanent protection (pp); temporary protection (tp); no protection (np), hunting game (h)

- Law on Nature Protection: protected species (ps); strictly protected species (sps)

Natural Heritage Sites

All Project elements are situated in an area with no legally protected or internationally recognised areas, such as Ramsar, Emerald or Natura 2000 sites or Important Bird Areas, Important Plant Areas or Prime Butterfly Areas. Therefore there will be no interaction between the Project and natural heritage resources in the Project region.

#### Alien species

The Project area is predominantly agricultural one and presence of alien species is expected (Morus alba, Amorpha fruticosa, Acer negundo, Conyza canadensis, Ailanthus glandulosa, Lycium halimifolium).

Indigo bush (Amorpha fruticosa) and Manitoba maple (Acer negundo) are present along the Vardar River and to a lesser extent along the river Anska Reka. This is invasive species that causes changes in the natural communities, especially in the case of riparian belts along the Vardar River. Similar is the case with Mullbery (Morus alba) which is present in both the riparian belts as well as in the agricultural areas in the region (it was used as a fodder plant for domestic silk moth Bombyx mori in the past). All of these species require special attention.

The tree of heaven (Ailanthus glandulosa) is scattered in the agricultural land (mostly ruderal sites). It may also be found in the riparian belt. Horseweed (Conyza canadensis) is also in the agricultural land (mostly fallow fields and ruderal sites).

#### Assessment of Key Biodiversity Features

Assessment of Key Biodiversity Features (Critical Habitat – CH and Priority Biodiversity Features – PBF) was performed according to the PR6 guidelines. The objectives of PR6 are to protect and conserve biodiversity; maintain core ecological functions of ecosystem services and biodiversity they support; adapt the mitigation hierarchy approach; and promote the sustainable management of living natural resources through the adoption of good international practices.

EBRD PR 6 defines critical habitats (CH) as:

  - Highly threatened or unique ecosystems. There is only one habitat on the Annex I of the EU Habitat Directive (92A0 Salix alba and Populus alba galleries) but this habitat is not considered as priority (*) and as such it does not qualify for CH but it qualifies for PBF.

  - Habitats of significant importance to endangered or critically endangered species. There are no endangered (EN) or critically engendered species (CR). However, there are four vulnerable species (VU) on the global/European red list: Streptopelia turtur, Alcedo atthis and Testudo graeca and one (Lutra lutra) on the national red list. Additionally, a number of species in Annexes II and IV of the Habitats Directive and Annex I of the Birds Directive are present in the area. These species will be presented in the following text.

  - Habitats of significant importance to endemic or geographically restricted species. The area has no significance from the aspect of endemic species/;

  - Habitats supporting globally significant migratory or congregatory species. There are no habitats habitats supporting globally significant migratory or congregatory species. The valley of river Vardar is not considered as significant migratory route.

  - Areas associated with key evolutionary processes. There are no areas associated with key evolutionary processes in the area of interest.

  - Ecological functions that are vital to maintaining the viability of biodiversity features described above. There are no ecological features that are vital for biodiversity which were not covered by previous criteria.

Priority biodiversity features (PBF) are below critical habitat in terms of sensitivity, however, they still require careful consideration as part of the assessment and development of mitigation. They include four criteria: Criterion i - Threatened habitat; Criterion ii - Vulnerable species; Criterion iii - Significant biodiversity features identified by a broad set of stakeholders / governments; and Criterion iv - Ecological functions vital to maintaining the viability of identified PBF.

| Criterion | Priority Biodiversity Feature | Critical Habitat |
| --- | --- | --- |
| - Priority ecosystems |  |  |
| Threatened ecosystems - Habitats listed in Annex 1 of EU Habitats Directive (EU members only) or Resolution 4 of Bern Convention (signatory nations only) - IUCN Red-List EN or CR ecosystems | (PR6 para. 12-i) - EAAA is habitat type listed in Annex 1 of EU Habitats Directive or Resolution 4 of Bern Convention - EAAA** < 5% of the global extent of an ecosystem type with IUCN status of CR or EN | (PR6 para. 14-i) - EAAA is habitat type listed in Annex 1 of EU Habitats Directive marked as “priority habitat type” - EAAA ≥5% of global extent of an ecosystem type with IUCN status of CR or EN - EAAA is ecosystem determined to be of high priority for conservation by national systematic conservation planning |
| - Priority Species and their Habitats |  |  |
| Threatened species - Species and their habitats listed in EU Habitats Directive and Birds Directive (EU members only) or Bern Convention (signatory nations only) - IUCN Red List EN or CR species - IUCN Red List VU species - Nationally or regionally (e.g., Europe) listed EN or CR species | (PR6 para. 12-ii) - EAAA for species and their habitats listed in Annex II of Habitats Directive, Annex I of Birds Directive, or Resolution 6 of Bern Convention - EAAA supports < 0.5% of global population OR < 5 reproductive units of a CR or EN species. - EAAA supports VU species - EAAA for regularly occurring nationally or regionally listed EN or CR species | (PR6 para. 14-ii) - EAAA for species and their habitats listed in Annex IV of the Habitats Directive (See EU restrictions) - EAAA supports ≥ 0.5% of the global population AND ≥ 5 reproductive units of a CR or EN species - EAAA supports globally significant population of VU species necessary to prevent a change of IUCN Red List status to EN or CR, and satisfies threshold (b) - EAAA for important concentrations of a nationally or regionally listed EN or CR species |
| Range-restricted species | (PR6 para. 12-ii) - EAAA for regularly occurring range-restricted species | (PR6 para. 14-iii) - EAAA regularly holds ≥ 10% of global population AND ≥ 10 reproductive units of the species*** |
| Migratory and congregatory species | (PR6 para. 12-ii) - EAAA identified per Birds Directive or recognized national or international process as important for migratory birds (esp. wetlands) | (PR6 para. 14-iv) - EAAA sustains, on a cyclical or otherwise regular basis, ≥ 1 percent of the global population at any point of the species’ lifecycle - EAAA predictably supports ≥10 percent of global population during periods of environmental stress |

Table 7.12: Criteria and conditions for identifying priority biodiversity features and critical habitats

Source: EBRD PR6: Biodiversity Conservation and Sustainable Management of Living Natural Resources

#### Assessment of Critical Habitats

Critical Habitat and Priority Biodiversity Feature assessment is the process aimed at identification of those areas of the highest biodiversity value considered especially sensitive to impacts and where particular attention must be paid. The CHA process comprises an initial project screening to identify potential CH/PBF trigger habitats or species present within the area affected by the project. Initial screening is conducted in order to establish trigger features concerning which analysis and verification are to be undertaken.

In the following text the six criteria for CH are elaborated. The biodiversity features that qualify for CH will be presented as well as their characteristics in the area and the need to implement appropriate assessment according to the PR6.

- highly threatened or unique ecosystems

Threatened ecosystems are the ones that are: Habitats listed in Annex 1 of EU Habitats Directive (EU members only) or Resolution 4 of Bern Convention (signatory nations only) and IUCN Red-List EN or CR ecosystems. The only habitat that fulfils these subcruteria is 92A0 Salix alba and Populus alba galleries. The same habitat (at higher level) is named as G1.11 Riverine Salix woodland in the Resolution No. 4 of the Bern Convention. The respective ecosystem in the IUCN’s red list of ecosystems (https://iucnrle.org/) is named as:  Riverine willow woodlands and assessed as data deficient (DD).

Figure 7.16: EU conservation status of 92A0 Salix alba and Populus alba galleries

Source: https://eunis.eea.europa.eu/habitats/10214)

The habitat 92A0 Salix alba and Populus alba galleries clearly qualifies as PBF since:

- It is listed in Annex 1 of EU Habitats Directive or Resolution 4 of Bern Convention and

- It is not listed with IUCN status of CR or EN

- habitats of significant importance to endangered or critically endangered species

In principle, threatened species Threatened species are the ones that fulfil the following subcriteria:

- Species and their habitats listed in EU Habitats Directive and Birds Directive (EU members only) or Bern Convention (signatory nations only)

- IUCN Red List EN or CR species

- IUCN Red List VU species

- Nationally or regionally (e.g., Europe) listed EN or CR species

The following table summarizes the important species i.e. the species that have statut that qualify (in principle) for PBF or CH.

Some of these species were excluded from further analysis on the basis of the following criteria:

- There are few records and they do not use the area regularly (according to the conducted field research).

- They were recorded far away from the OHL, all of them outside the 2x500 m and even indirect impact cannot be expected

- All of the bird species qualify for PBF and not CH. None of these bird species are resident for the area (they are wintering, migratory or migratory breeders).

- Specific comments regarding easch species are presented in the Table below.

| Species | Biodiversity feature | PBF/CH rationale | Status in the area of interest | Expected impacts | Comment | Project element |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 1a | 1b | 1c |
| Alcedo atthis Kingfisher | PBF | ERL: VU | Resident | Yes | A few pairs possibly breed along the Vardar river in Valandovo-Gevgelija region. They nest on the steep banks along the river. | √ | √ | √ |
| Ardea alba Great egrett | PBF | BD: I | Wintering | No | There are no known colonies in the area. Only one record near river Vardar, away from the OHL. |  | √ |  |
| Egretta garzetta | PBF | BD: I | Migratory | No | The species is not breeding in the area. Only one record near river Vardar, away from the OHL. |  | √ |  |
| Fulica atra Coot | PBF | ERL: NT | Wintering | No | The species is not breeding in the area. Only one accidental record near river Vardar, away from the OHL. |  | √ |  |
| Lanius collurio Red-backed shrike | PBF | BD: I | migratory breeder | No | Possibly breeds in the degraded pseudomaquis and agricultural area. However, no reproduction was observed. Few records, but far away from the OHL. | √ |  | √ |
| Lanius minor Lesser grey shrike | PBF | BD: I | migratory breeder | No | Possibly breeds in the orchards and other woodlands. However, no reproduction was observed. Only one record near village Marvinci, away from the OHL. | √ | √ | √ |
| Pernis apivorus European honey buzzard | PBF | BD: I | migratory breeder | No | The species is not breeding in the area. Only one record far away from the OHL. | √ | √ | √ |
| Streptopelia turtur Turtle dove | PBF | GRL: VU; ERL: VU | migratory breeder | Yes | The turtle dove is a common breeding bird species in the area of interest. Although the European population is in steep decline, the Macedonian breeding population is stable | √ | √ | √ |
| Lutra lutra Otter | CH | NR: VU; ERL & GRL: NT; HD: II/IV | Resident | No | Possible Otter footprints were recorded along river Vardar, cca 2km downstream of the OHL crossing. Away from the OHL. |  | ? |  |
| Podarcis muralis Wall lizard | CH | HD: IV | Resident | Yes | The species was recorded in the area, especially in the villages. | √ | √ | √ |
| Lacerta trilineata Balkna Green lizard | CH | HD: IV | Resident | Yes | Common in the agricultural area and degraded woodlands. | √ | √ | √ |
| Testudo graeca Greek tortoise | CH | ERL, GRL & NRL: VU; HD: II/IV | Resident | Yes | Probably common in the area. | √ | √ | √ |
| Bufo viridis Green toad | CH | HD: IV | Resident | Yes | Only recorded along river Vardar and Anska Reka. | √ | √ | √ |
| Rana graeca Greek stream frog | CH | HD: IV; NRL: Nt | Resident | Yes | Observed along river Vardar and Anska Reka. |  | √ | √ |

Table 7.13: Threatened species that qualify for Critical Habitat and Priority Biodiversity Features

#### Appropriate Assessment

There is only one important habitat according to the EU Habitats Directive: 92A0 Salix alba and Populus alba galleries. Out of the species that may be affected by the project implementation there are five that qualify for CH and two for PBF. Both Streptopelia turtus and Alcedo atthis are PBH since they are VU species in the IUCN’s list of threatened species (both of them do not qualify for CH because EAAA does not support ≥ 0.5% of the global population of a globally significant population of VU species).

| Distribution and estimates | Threats and measures | Distribution maps |
| --- | --- | --- |
| Greek tortoise (Testudo graeca) |  |  |
| It has area of occupancy (AOO) of 1.140km2 in Macedonia. It is threatened by continuing declines in quality of habitat due to intense agriculture and infrastructural development and existing trade. | No measurable direct impact (mortality) is expected during the construction works in the whole area. Negligible indirect impact (habitats loss) may occur. In order to secure net-gain the following measure is proposed: Fire protection measures on system level as legally required and therefore incorporated in the MEPSO’s management system / grid rules. |  |
| Common wall lizard (Podarcis muralis) |  |  |
| An ubiquitous species in Macedonia, present in many habitats and localities, and is one of the most successful species in man-made habitats, therefore assessed as Least Concern. | Same impacts and measures as in the case of Greek toroise. |  |
| Balkan green lizard (Lacerta trilineata) |  |  |
| Ubiquitous species in Macedonia also present in all neighbouring countries, occurring in many habitats and localities, even around man-made ones and is therefore Least Concern. | Same impacts and measures as in the case of Greek toroise. |  |
| European green toad (Bufo viridis) |  |  |
| This species is listed as Least Concern in the national red list. It has wide distribution, tolerance of a broad range of habitats, presumed large population, and because it is unlikely to be declining fast enough to qualify for listing in a more threatened category. | No measurable direct impact (mortality) is expected during the construction works in the vicinity of rivers Vardar and Anska Reka. Negligible indirect impact (habitats loss) may occur. In order to secure net-gain for this species the following measure is proposed: control and eradication of invasive plant species and planting on native plant species in the riparian belt. |  |
| Greek frog (Rana graeca) |  |  |
| The Greek Stream Frog is widespread in Macedonia, but limited to suitable habitats (forest and high-mountain streams and rivers). Its populations are threatened by fragmentation and the construction and operation of small hydro-electric power plants. | Same impacts and measures as in the case of Green toad. |  |

Table 7.14: Species that trigger Critical Habitat

| Distribution and estimates | Threats and measures | Distribution maps |
| --- | --- | --- |
| 92A0 Salix alba and Populus alba galleries |  |  |
| This habitat is very common along the lowland rivers in the Republic of Macedonia. It is also widespread riparian habitat on the European continent, especially in the Mediterranean and Submedirranean area. In the area of interest it was recorded along the Vardar River. | This habitat will not be damaged physically. Only wires will overarch this riparian community. Nevertheless, a possible fragmentation impact is expected in regards to the movement of bird species. In order to avoid collisions with the wires, a flight diverters are proposed. At the moment, the composition of this riparian community is altered due to the presence of alien species. In order to secure net gain for the community as well as for the CH/PBF species a control and eradication of invasive plant species and planting on native plant species in the riparian belt is also proposed. |  |
| Common kingfisher (Alcedo atthis) |  |  |
| The species is widespread along all rivers and lakes in Macedonia. It is used as a trigger species for designation of the following Important Bird Areas: River Bregalnica, Babuna gorge, Topolka gorge, and Crn Kamen River Radika catchment. National population is estimated at 20-100 pairs which is less than 0.1% of the European population. | The main impact for the Kingfisher from the project implementation is disturbance, especially during the construction phase. In order to avoid disturbance a specific mitigation measure is introduced: Prohibition of fishing in a stretch of 250 m on both side of river Vardar. The control of invasive species in the riparian community will also be beneficial for this species. |  |
| European turtle dove (Streptopelia turtur) |  |  |
| European turtle dove is widespread in Macedonia in all of the valleys, plains and open forests and woodlands. National population is estimated at 25000-60000 pairs which is 0.8% of the European population. | Negligible direct impact (disturbance) may be expected during the construction works in the whole area. Avoidance of construction during the breeding period (April-May) will secure no-net loss. The control of invasive species in the riparian community will also be beneficial for this species. |  |

Table 7.15: Habitats and species that trigger Priority Biodiversity Features

The study area is defined on the basis of the distribution of landscapes and relief in the area and in most part it overlaps with Valandovo plain with foothills of the surrounding mountains. EAAAs were designed for all of the species and habitats that qualify for CH and PBF. EAAAs were spatially defined on the basis of the distribution of species/habitats (field work results) as well as the distribution of suitable habitats within the landscapes. For species with patchy distribution in the landscape (e.g. Lacerta trilineata, Testudo graeca, etc.), the EAAA encompasses these multiple disjunct areas. EAAAs take into account the distribution and connectivity of biodiversity features in the landscape and the ecological processes that support them. The distribution of species and their respective EAAAs are presented in the Figures below.

- Testudo graeca (4 records) was found at three localities (Mramorot, Bobovo and Rakovec). This species is associated with the degraded pseudomaquis i.e. habitats with dominance of Paliurus spina-christi. However, having in mind that this species is frequent in such habitats in Vardar valley we can assume that it is distributed throughout the Study area (with the exception of agricultural land). Its EAAA covers surface of 5960 ha.

- Lacerta trilineata has similar distribution as Testudo graeca. This is very common species in the area with about 15 records. Its EAAA (5960 ha) overlaps with the Study area.

- Podarcis muralis was found mostly in the vicinity of human settlements (Miletkovo and area of Brajkovci). This is also a frequent species with affinity towards higher altitudes. Its EAAA (5960 ha) also overlaps with the Stuy area having in mind the distribution of suitable habitats for this species as well as the landscape properties in the area.

- Rana graeca is as species that is distributed along rivers and streams. It was found in rivers Vardar and Anska Reka. Its EAAA (929 ha) is defined along the major rivers in the area (including Petrushka Reka).

- Bufo viridis has also preference for aquatic ecosystems, however its ecological prevalence is mush broader compared to Rana graeca. Most of the records for Bufo viridis are from the proximity of rivers Vardar and Anska Reka, although it was found in the other types oh habitats (including agricultural land), sometimes away from waters (EAAA=4096 ha).

Figure 7.16: Distribution and EAAA for Testudo graeca

Figure 7.17: Distribution and EAAA for Lacerta trilineata

Figure 7.18: Distribution and EAAA for Podarcis muralis

Figure 7.19: Distribution and EAAA for Rana graeca

Figure 7.20: Distribution and EAAA for Bufo viridis

The habitat of 92A0 Salix alba and Populus alba galleries is exclusively distributed along river Vardar. The total coverage of this habitat is 221.01 ha. Its EAAA is defined around all of the mapped patches and includes some of the area with a natural potential for spread of this community (land converted to agriculture). This community is generally fragmented and represented by 50 patches. The structure of the community represents the dominance of the edifier species (Salix alba and Salix fragilis) as well as other natural elements (Salix amplexicaulis, Cornus sanguinea, Evonymus europaea, etc.). As already discussed, many invasive species are also present in the community (especially Amorpha fruticosa, Acer negundo).

Streptopelia turtur is a species with broad distribution in Macedonia. A strong decline is noticed on the European continent, although the population in Macedonia is rather stable. Two nesting territories were recorded along river Vardar as well as few other records (foraging) in the agricultural area.

Alcedo atthis has a strong preference for aquatic ecosystems. It was recorded along the Vardar River (crossing section of the transmission line) and on Anska Reka. Both of these records refer to foraging activities of the species. Possible nesting sites (sand cliffs) were notices downstream on river Vardar.

Figure 7.21: Distribution and EAAA for 92A0 Salix alba and Populus alba galleries

Figure 7.22: Distribution and EAAA for Streptopelia turtur

Figure 7.23: Distribution and EAAA for Alcedo atthis

#### Ecosystem Services

Ecosystem services – the benefits that flow from nature to people, including provisioning (e.g. the supply of food, clean air and water and materials), regulating (e.g. hydrologic and local climate regulation, nutrient cycling), or cultural and recreation use. Services with potential to have both high importance to relevant stakeholders and limited substitutes should be identified. Scoping for ecosystem services should take place in coordination with the social assessment team in order to ascertain which stakeholders may rely on ecosystem services and their degree of dependence. Direct consultation with stakeholders is often required.

Ecosystem services were not assessed during the field work carried out for the purposes of the present assessment. Thus, they can be only assessed on the basis of the results from the Mapping and assessment the condition of ecosystems in North Macedonia as part of Output 1.1. Mechanism for Payment of Ecosystem Services (PES) as a priority measure of National Strategy for Nature Protection is elaborated and tested. During the present assessment, all the natural ecosystems were identified, mapped and had their condition assessed. Their condition was assessed based on a broad set of indicators (Ecosystem structure: Biotic diversity, Abiotic heterogeneity; Ecosystem processes: Energy flow/Matter storage, biogeochemical cycle, Water balance). The assessment of the capacity for supply of selected ecosystem services (15) was based on expert judgement combined with scoring by stakeholders.

Figure 7.17: Cummulative score of all ecosystem services on national level.

The following map presents the capacity for supply of natural and seminatural ecosystems in the study area (note that the anthropogenic ecosystems are not included in the assessment). It is obvious that only natural ecosystems of the Vardar River (riverflow and riparian ecosystems) have certain capacity for supply of ecosystem services. Having in mind the Project characteristics and its ‘brown-field’ nature (reconstruction of existing transmission infrastructure, construction of new short lines (approx. 2 km long alignments) and construction of a new substation) it can be concluded that the ecosystem services in the study area will not be altered, and therefore the respective impact is of negligible significance and scoped-out from further assessment. All of the possible impacts on the ecosystem services in the area are covered by the assessment of the living environment and social aspects. This especially concerns the OHL crossing over the Vardar River which is thoroughly discussed in the respective section on impact assessment and mitigation (see Section 8.6).

Figure 7.18: Capacity for supply of ecosystem services of natural and seminatural ecosystems in the study area.

## Key Social Aspects

### Study Area

For the purposes of the assessment, the study area is extended to a distance of 1,000 metres from the Project elements (the substation location and OHL corridors) to include communities where private assets (e.g. residential properties, facilities and businesses) or community facilities (e.g. schools, religious temples, cemeteries) may potentially be affected during the Project implementation.

### Baseline Conditions

The Project is located in municipalities of Gevgelija and Valandovo. There are no settlements in proximity to the selected substation site. Settlements close to the identified OHL corridor, within the study area, are given in the Table below.

| Settlements – by LSG – close to the Project - New 400/110 kV SS and 110 kV OHL connectors - |  |  |  |
| --- | --- | --- | --- |
| LSG Unit | Settlement | Population 2002*) | Relative distance to settlement**) [m] |
| Gevgelija | Miletkovo | 117 | 700 |
| Valandovo | Valandovo | 4,402 | 1000 |
|  | Pirava | 1,844 | 1000 |
| Total: |  | 6,363 |  |

Table 7.24: Settlements close to the elements of the Project

*) Source: Census of Population, Households and Dwellings in Republic of Macedonia, 2002

**) Note: Approximate distance from the OHL corridor centreline to the nearest properties has been taken into consideration

The baseline social conditions for each of the elements of this sub-project are provided below.

- The new 400/110 kV substation Miletkovo and ‘in-out’ connection with the existing 400 kV line from SS Dubrovo to Thessalonica (GR)

The location of the new 400/110 kV SS Miletkovo is set on long-term unused pasture surrounded by shrub and low-stemmed forest, all state-owned (Figure below).

Figure 7.19: Location of the new 400/110 kV substation Miletkovo, land-use context

The closest settlements to the location of the proposed substation are the village Miletkovo located at a distance of approximately 1.0 km from the SS location and the village Smokvica, approximately 1.5 km far from the SS location (Figure below).

Figure 7.20: Location of the new 400/110 kV substation Miletkovo, in relation to closest settlements

- Reconstruction the existing 110 kV transmission line from SS Valandovo to SS ‘EVP’ Miletkovo and its extension to the new 400/110 kV SS Miletkovo

- The alignment of the existing 110 OHL from SS Valandovo to SS ‘EVP’ Miletkovo and the planned extension passes over active arable crop fields, vineyards and orchards (Annex 3). Its starting point – existing SS Valandovo - is located approximately 1.1 km from sub-urban areas of Valandovo and 0.8 km from village Pirava. Its ending point – SS ‘EVP’ Miletkovo is approximately 1 km from the village Miletkovo.

- Construction of a new 110 kV OHL connector with the existing SS ‘EVP’ Miletkovo

- The new 1.8 km transmission line, from SS ‘EVP’ Miletkovo to the new 400/110 kV SS Miletkovo passes over active arable crop fields, vineyards and orchards (Annex 3).

## Cultural Heritage

### Study Area

For the purposes of the assessment, the study area includes protected cultural heritage assets in an area of 200 metres around the Project. This distance is considered as an area in which there may be an impact due to physical and historical connectivity and relationships as well as due to changes to noise levels, air quality and traffic during the construction.

### Baseline Conditions

No cultural heritage resources - known cultural heritage site or location of cultural importance - are located within the study area.

According to the competent authorities consulted during the E&S assessment, one legally protected cultural heritage site of high significance – Gradishor – Mramor (‘Gradishor-Marble’), located on territory of Gevgelija municipality, nearby the Vardar River, between Marvinci and Miletkovo settlements - is situated in the proximity to the Project. Based on this consultation process, the routing exercise of the new 110 kV OHL connector between the new substation and the existing SS ‘EVP’ Miletkovo achieved to optimise the OHL alignment and fully avoid this heritage site at a distance of more than 200 metres (Figure below). Hence, no direct interaction between the Project and this site is expected. The Gradishor – Mramor site represents a wider archaeological complex composed of several elements. The key values of this complex are provided in the Table below.

Figure 7.21: Location of the protected cultural heritage site Gradishor-Mramor, relative to the Project

Note: The boundaries of the protected cultural heritage site were obtained from relevant competent authority (National Museum of Gevgelija), during stakeholder consultations process initiated during the assessment’s scoping stage.

Legally Protected Cultural Heritage Sites (Archaeological Sites) in proximity to the Project - New 400/110 kV SS and OHL connectors -

Municipality of Gevgelija

Miletkovo: Gradishor-Mramor. The site (with different parts listed below) has been declared a cultural heritage site of Macedonia.

Gradishor-Mramor site, at relative distance of more than 200 m from the alignment of the new 110 kV OHL. Archaeological site in the Gevgelija village Miletkovo. A settlement and necropolis from early antiquity and Roman times. Some 1.5 km south of the village, on the right bank of the Vardar, opposite the Isar site in Marvinci, located on a large flattened fluvial plateau with an area of ​​about 2.5 hectares, show the foundations of buildings, and on the surface, there are many fragments of ceramic vessels, pithos, imbrexes and building material. The profile intersected by the construction of the railway Skopje-Gevgelija shows grave structures built of stone slabs of the cyst type.

Cemetery – Monastery, at distance of approx. 500 m from the proposed location of the new 400/110 kV substation, to east. Sacred object from Roman times. Located 1.5 km southeast of the village, in the immediate vicinity of the former village cemetery, heaps of building stone and fragments of architectural beams. Fragments of ceramic vessels are also found sporadically

The vineyards – Dukovec, at distance of approx. 900 m from the proposed location of the new 400/110 kV substation, to east. Water supply system from Roman time, built from tubules was discovered. This system includes two water supply routes that are located at a distance of 1.50 m and a height difference of 0.20 m. According to the direction, it can be concluded that they supplied water to the population from the Gradishor-Mramor deposit.

Monastery, at distance of approx. 600 m from the proposed location of the new 400/110 kV substation, to east. Settlement from Roman time. The site is located between the villages of Smokvica and Miletkovo, opposite the Isar, not far from the Vardar bridge. Fragments of ceramic vessels and building material can be found in a large area on the surface. Foundations made of stone and lime mortar can also be seen. At this place, according to the data received from the locals, were found: torso of a female statue, profiled marble block and tortured column, which are now placed in the yard of the church of St. Dimitrija in the village of Smokvica.

Municipality of Valandovo

Marvinci

Isar, Marvinci, at distance of more than 2,000 m from the proposed location of the new 400/110 kV substation, to east. Settlement and a necropolis with continuity from the VII century BC, to the VI century AD. It is located next to the village, on its southwestern side, on a very accessible hill with a magnificent view of the Valandovo Valley and the Vardar valley. The complexity of the site can be seen in the following archaeological units: Acropolis (IV-V century BC); Roman city (I-III century BC); Castrum - fortification (III-IV century BC); Necropolis with findings from all periods. This site has been declared a cultural heritage site of Macedonia.

Table 7.25: Legally protected cultural heritage sites in proximity to the Project

Main Source: Koco Dimce (1996). ‘Archaeological Map of the Republic of Macedonia’ II. Skopje: Macedonian Academy of Sciences and Arts (Коцо, Димче (1996). „Археолошка карта на Република Македонија“. II. Скопје: Македонска академиjа на науките и уметностите.) ISBN 9989649286 [Ref.21]

# Environmental Impacts and Mitigation

## Climate Resilience

### Study Area

The study area for the climate resilience assessment covers all elements (assets and infrastructure) which constitute the operational phase of the Project.

### Assessment Methodology

The assessment of the climate resilience of the Project has been carried out by taking into consideration the risk and vulnerability associated with the climate variables identified as part of the future climate baseline. It included the following:

- Identification of climate variables to which the Project is vulnerable, based on sensitivity and exposure of its structural elements.

- Assessment of impacts associated with climate variables to which the Project is vulnerable, and identification of their significance.

- Identification of mitigation measures already incorporated into the present level of the Project design (design-based measures).

- Identification of additional mitigation measures to address any residual climate effects.

Vulnerability of the Project to Climate Change

Vulnerability of the Project to climate change is considered as a function on the sensitivity of the Project to a climate variable (how sensitive the Project is to the climate hazard) and exposure of the Project to change in the variable (the probability of the climate hazard occurring at the project location now and in the future) (see Section 7.1.1).

The sensitivity and exposure of the Project to climate variables have been qualitatively evaluated based on information for similar types of projects as this transmission infrastructure development project and available in literature by using the following rating scale and matrix (Table below):

- High: high climate sensitivity or exposure.

- Moderate: medium climate sensitivity or exposure.

- Low: no significant climate sensitivity or exposure.

| Sensitivity | Exposure |  |  |
| --- | --- | --- | --- |
|  | Low | Medium | High |
| Low | Low | Low | Low |
| Medium | Low | Moderate | Moderate |
| High | Low | Moderate | High |

Table 8.1: Vulnerability matrix

The outcome of this stage of the assessment is a list of climate variables for each Project element to take forward for further assessment. ‘Low’ vulnerabilities will not be considered further. ‘High’ and ‘Moderate’ vulnerabilities will be assessed further.

Impact Significance

For the Project, the significance of impact associated with the climate variables to which it is considered vulnerable has been assessed. This has been done by considering the likelihood and consequence of the potential impacts.

Likelihood and consequence have been qualitatively evaluated by using specific descriptors (Table below) which are based on information for similar types of projects as this transmission development project and good international practice and relevant guidances.

| Likelihood category | Description (probability and frequency of occurrence) |
| --- | --- |
| Very high | The event occurs multiple times during the lifetime of the Project, e.g., usually annually. |
| High | The event occurs several times during the lifetime of the Project, e.g., approximately once every five years. |
| Medium | The event occurs limited times during the lifetime of the Project, e.g., approximately once every 15 years. |
| Low | The event occurs occasionally during the lifetime of the Project. |
| Very low | The event may occur once during the lifetime of the Project. |

Table 8.2: Likelihood categories

| Measure of consequence | Description |
| --- | --- |
| Negligible | No infrastructure damage, minimal adverse effects on health, safety and the environment. No road closure. No financial loss. |
| Minor adverse | Localised infrastructure disruption or loss of service. No permanent damage, minor restoration work required: road closure lasting less than one day. Slight adverse health or environmental effects. |
| Moderate adverse | Limited infrastructure damage and loss of service with damage recoverable by maintenance or minor repair. Disruption lasting more than one but less than three days. Adverse effects on health and/or the environment. |
| Large adverse | Extensive infrastructure damage and severe loss of service. Disruption lasting more than three but less than ten days. Early renewal of 50-90% of infrastructure. Permanent physical injuries and/or fatalities. Significant effect on the environment, requiring remediation. |
| Very large adverse | Permanent damage and complete loss of service. Disruption lasting more than ten days but less than 20 days. Severe health effects and/or fatalities. Very significant loss to the environment requiring remediation and restoration. |

Table 8.3: Measure of consequence

The likelihood and consequence for each impact have been combined in a form of matrix to qualitatively assess the significance (Table below), based on information for similar types of projects as this transmission development project and good international practice and relevant guidances.

| Measure of consequence | Likelihood |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Very high | High | Medium | Low | Very low |
| Very large | Significant | Significant | Significant | Significant | Significant |
| Large | Significant | Significant | Significant | Significant | Significant |
| Moderate | Significant | Significant | Significant | Not significant | Not significant |
| Minor | Significant | Significant | Not significant | Not significant | Not significant |
| Negligible | Not significant | Not significant | Not significant | Not significant | Not significant |

Table 8.4: Impact significance matrix

Assumptions and Limitations of the Method

There are inherent uncertainties associated with using climate projections and they are not predictions of the future. It is possible that future climate will differ from the future baseline climate against which the resilience of the Project has been assessed, depending on the extent of global emissions released into the atmosphere over the next century. A worst-case scenario has been used to assess the resilience of the Project over its lifetime.

Climate projection data is modeled data from the global climate model compilations of the Coupled Model Inter-comparison Projects (CMIPs), overseen by the World Climate Research Program (WCRP). Data on projected climate has been taken from the WCRP Knowledge Portal which summarises output of the Coupled Model Inter-comparison Project Phase 6 (CMIP6) models included in the IPPC’s Sixth Assessment Report (AR6). There are some climate variables which are not available from the Knowledge Portal, including wind, and as such, the assessment does not include detailed information on projections in this variable.

The assessment of impacts and their likely significance takes into account design measures which mitigate impacts. These measures have been identified through engagement with the wider Project Team and a review of Project documentation. The assessment assumes that the measures which have been identified at this stage are incorporated into the final design and that the road is designed in accordance with the following documents:

### Potential Impacts

In order to achieve an appropriate level of sustainability and climate resilience, new transmission networks, as well as distribution networks, need to be located in areas which minimise their vulnerability in respect to physical damage and operational performance.

Extreme weather events are the greatest concern for electricity supply systems. In many countries, weather-related disturbances to the power sector are responsible for a great number of customer interruption hours with a significant cost to the economy. Extreme weather events can result in significant economic and safety hazards. Continued increases in the magnitude and frequency of extreme weather can intensify the stress on energy transmission systems in several ways, mainly [Ref.27]:

- Transmission networks are vulnerable to extreme weather events. In general, climate-related threats to transmission systems include high winds, falling trees, snow and ice accumulation, temperature-related equipment failures, lightning strikes, floods, supply losses and sagging of lines.

- High ambient temperatures may reduce transmission network efficiency.

- Increased flooding, extreme precipitation and storms threaten energy transmission infrastructure located in flood-prone areas.

- Flooding, wildfires and icy conditions physically affect transmission infrastructure which often cause power outages during extreme weather.

Vulnerability Assessment

- Sensitivity of the Project

During operation, the key elements of the Project are considered as sensitive to change of various climate variables. In general, increasingly variable weather may affect the integrity of the transmission infrastructure and equipment in various ways [Ref.25]:

- Strong winds (over 100 km/hour) can damage electric wires and other distribution components (Contreras, Lisperguer and de Cuba 2008), mostly to the distribution systems through tree damage, with transmission much less affected (Ward 2010).

- Provided they remain below damage levels, stronger winds cool overhead lines by increasing heat convection. Lines can then carry a larger electric load while staying within temperature limits, which is usually 80°C at conductor surface (European Commission 2011).

- The networks, including transformer and switching stations, can be affected by heavy snow, ice, and moisture (Rothstein and Halbig 2010). Line integrity can be reduced (World Bank 2008) due to line sag.

- Transmission lines with capacity constraints can suffer from load management issues, particularly during summers and winters when the demand for cooling and heating are at their peak, decreasing the amount of power that can be delivered through the network (ESMAP 2009, Aguiar et al. 2002).

- The infrastructure can suffer from increased risks of flooding, landslides, and other natural hazards, with equipment mounted at ground level in substations especially susceptible.

- High temperature limits the power rating of overhead lines, underground cables, and transformers but does not cause immediate faults (Ward 2010). Network losses can increase by 1% if temperature increases 3°C in a network with initial losses of 8% (European Commission 2011).

- During extended periods of heat and drought, dust can build up on conductors.

- Lighting can also affect the reliability (EPRI 2008).

The table below summarizes the Project sensitivity to a range of relevant climate-related hazards.

| Climate variable | Projected climate change | Description of sensitivity | Sensitivity |
| --- | --- | --- | --- |
| Temperature increase | - Extreme temperature (more frequent heat waves) - More frequent wildfires | - De-rating of transformers (loses within substations) - Decreased conductivity (electricity carrying capacity of lines) - Sagging – increased sag of conductors - Thawing permafrost – loss of supply - Weaken the integrity | Medium |
| Temperature decrease | More frequent cold waves | Damage to conductors and insulators, including faults | Medium |
| Precipitation | Change in extreme rainfall | Damage to towers through erosion or landslide | Low |
|  | More frequent extreme flooding events | Inundation of substation – loss of supply | High |
| Wind | Increased wind speed and storms (over 100 km/hour) | - Wind and storm damage to towers and conductors - Increasing heat convection | High |
| Lightning | More frequent lightning strikes | - Short-circuit faults – disconnection for very limited time - Damage to substations | Low |

Table 8.5: Sensitivity of the Project to climate change, during operation

- Exposure to Climate Variables

The level of exposure of the Project to change of various climate variables during operation is shown in the Table below. This assessment considers the Project as a whole based on the future climate baseline (see Section 7.1.1), projected for Macedonia on country-wide level as well as for the Project region.

| Climate variable | Projected climate change | Exposure |
| --- | --- | --- |
| Temperature increase | - Extreme temperature (more frequent heat waves) - More frequent wildfires | High |
| Temperature decrease | More frequent cold waves | Low |
| Precipitation | Change in extreme rainfall | Medium |
|  | More frequent extreme flooding events | High |
| Wind | Increased wind speed and storms (over 100 km/hour) | Low |
| Lightning | More frequent lightning strikes | Medium |

Table 8.6: Exposure of the Project to climate change, during operation

- Vulnerability Assessment

The vulnerability of the Project to climate variables as a function of the sensitivity and exposure during operation is provided in the Table below.

| Climate variable | Projected climate change | Sensitivity | Exposure | Vulnerability |
| --- | --- | --- | --- | --- |
| Temperature increase | - Extreme temperature (more frequent heat waves) - More frequent wildfires | Medium | High | Moderate |
| Temperature decrease | More frequent cold waves | Medium | Low | Low |
| Precipitation | Change in extreme rainfall | Low | Medium | Low |
|  | More frequent extreme flooding events | High (substation) | High | High |
| Wind | Increased wind speed and storms (over 100 km/hour) | High | Low | Low |
| Lightning | More frequent lightning strikes | Low | Medium | Low |

Table 8.7: Vulnerability of the Project to climate change, during operation

Based on this vulnerability assessment, the following climate variables are taken to further consideration:

- Temperature increase, associated with extreme temperature (more frequent heat waves), and

- Precipitation, associated with more frequent extreme flooding events

Potential Impacts and their Significance

The potential likely impacts to the Project from the selected climate variables as well as the significance of these impacts, without design-based mitigation, as a function of the likelihood of occurrence and expected consequence are presented in the Table below.

| Climate variable | Potential impact | Likelihood | Consequence | Significance |
| --- | --- | --- | --- | --- |
| Temperature increase | - De-rating of transformers (loses within substations) - Decreased conductivity (electricity carrying capacity of lines) - Sagging – increased sag of conductors - Thawing permafrost – loss of supply | Medium | Moderate | Significant |
| Precipitation | Inundation of substations – loss of supply | Medium | Large | Significant |

Table 8.8: Significance of the impact from climate change, during operation

### Mitigation

#### Resilience of the Electricity Transmission Sector

Adaptation refers to the measures taken to reduce the vulnerability and build resilience and it can be defined as “the process of adjustment to actual or expected climate and its effects, in order to moderate harm or exploit beneficial opportunities” [Ref.24].

For the transmission lines, which are amongst the critical infrastructures of modern societies, it is crucially important to boost their resilience to severe weather and to any future challenges that may arise due to the climate change.

If the rate of this change is lower than the rate of the development of power systems, then the power system should be able to adapt to the change in the weather pattern. However, if the rate of climate change is higher, then it may impose a threat to the resilience of power systems because they have been traditionally designed to be robust for relatively normal and stable weather and loading patterns [Ref.31].

In this context, ‘resilience’ is defined as the ability of a transmission line and, in wider context a power system, to withstand extraordinary and high impact - low probability weather events, responding in ways that maintain its essential function and to rapidly recover from such disruptive events. It also includes the ability to absorb lessons for transforming and adapting its operation and structure to prevent or mitigate the impact of similar events in the future [Ref.31].

Therefore, the resilience ‘value chain’ integrates robustness, resourcefulness and recovery:

- ‘Robustness’: the ability of an energy system to withstand extreme weather events as well as gradual changes and continue operating.

- ‘Resourcefulness’: the ability to effectively manage operations during extreme weather events.

- ‘Recovery’: the ability to restore operations to desired performance levels following a disruption.

#### Sector-wide Adaptation Measures and Practices

Adaptive actions by transmission sector to respond to various threats posed by the changing climate could be categorised as management and technical measures to prevent risks; technological and structural measures to prevent risks; training; and recovery actions. It is important to document experiences from around the world and to share best practices. Below are examples of emerging adaptive practices on sector level [Ref.27]:

- Management and technical measures

Examples include actions for sound transmission line routing to avoid areas prone to extreme weather and modelling climate impacts on existing and planned infrastructure in collaboration with meteorological services; undertaking load forecasting using climate information; pruning and managing trees near transmission lines; placing the infrastructure underground (where practical and cost-effective); manufacturing reinforced towers (where required).

- Technological and structural measures

Examples include fortifying flood-prone infrastructure against flooding and use of materials to withstand extreme weather events and temperature fluctuations.

- Training and education

Training emergency response teams is imperative for a fast and proper response in the case of a disaster, and also for quick repair and restoration actions. Training for data management, modelling and forecasting is necessary to start integrating climate forecasts into transmission system planning. These activities can be organised in co-operation with government-led capacity-building programmes.

- Recovery and resourcefulness in addition to robustness

While robustness (the ability to withstand the event) is an important element of resilience, supply-side disruptions may be unavoidable in certain cases. Thus, resourcefulness (the ability to manage operations during an extreme weather event) and efficient recovery actions are important and need to be thought through in advance. An important strategy for the transmission sector is to develop logistical and back-up plans to provide for a rapid recovery from supply interruptions. These include pre-deploying emergency response vehicles, training teams for specific recovery actions and developing recovery strategies. Activities in this area focus on shortening the period needed to recover from an extreme weather event. New management practices using smart meters and automated switching devices that allow for much quicker recovery times from disruptions have also been used.

#### Design-based Mitigation

The climate resilience strategy of the Project takes into account measures incorporated into the present feasibility design of the Project (Conceptual Solution) as well as assumptions and principles to be incorporated during the next Project’s development stages (e.g. Preliminary Design and Detailed Design). These design measures for mitigation of the likely significant impacts have been adopted based on the national design requirements and international standards as a precautionary approach to ensure that future-proofing design is achieved, so that the key Project assets will perform satisfactorily throughout their design life in the event of extreme climatic events. The climate-related Project approach, i.e. the key climate resilience measures related to the Project’s technical design is presented below.

- Present Technical Design (Feasibility Design / Conceptual Solution)

There are several existing transmission lines, within the area of the Project, including:

  - 400 kV OHL from SS Dubrovo to Thessalonica (Greece)

  - 110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo (subject to reconstruction and part of the Project)

  - 110 kV OHL from SS Valandovo to SS Strumica (subject to reconstruction and part of the wider development scheme for strengthening the transmission network in the Southeast Region of Macedonia)

  - 110 kV OHL from SS Valandovo to SS Miravci

  - 110 kV OHL from SS Valandovo to SS Gevgelija

In addition, the following operational substations are situated in the Project area:

  - 400/110 kV SS Dubrovo, Negotino municipality

  - 110/20 kV SS ‘EVP’ Miletkovo, Gevgelija municipality

  - 110/35 kV Valandovo, Valandovo municipality

These transmission lines and substations have been in service from between 20 and over 50 years. Climate data and design parameters used for design of these lines and substations, as well as collected statistic data and experience, gained by MEPSO during the operation and maintenance of these facilities were valuable information used for definition of the climate and other design parameters for the proposed Project. According to this information, and based on the national technical standards, the following climate parameters were proposed for each of the Project elements, as defined below.

- 400/110 kV SS Dubrovo, Negotino municipality

| Project element | Temperature |  | Relative ambient humidity | Wind velocity |
| --- | --- | --- | --- | --- |
|  | Maximum | Minimum |  |  |
| New 400/110 kV SS Miletkovo | +45ºC | -40ºC | ≥90% | - /h |

Table 8.9: Proposed design climate parameters for the new 400/110 kV substation Miletkovo

- Transmission lines

| Project element | Wind |  | Ice |
| --- | --- | --- | --- |
|  | Wind [daN/m2] (design wind pressure)*) | Maximum wind speed [km/h] (corresponding to the design wind pressure) | Additional ice loading [daN/m] |
| New 400 kV in-out connection with the existing 400 kV OHL from SS Dubrovo to Thessalonica (GR) | 75 | 125 km/h | 1.6 x 0.18 √d |
| Reconstruction of the existing 2x110 kV OHL from SS Valandovo to SS ‘EVP’ Miletkovo and 1x110 kV extension the new 400/110 kV SS Miletkovo | 75 | 125 km/h | 1.6 x 0.18 √d |
| New 2x110 kV OHL from SS 400/110 kV Miletkovo to SS 110/25 kV EVP Miletkovo | 75 | 125 km/h | 1.6 x 0.18 √d |

Table 8.10: Proposed design climate parameters for transmission lines

*) The design wind pressure on towers, conductors and insulators is obtained by the following relationship: p = v2/16, where ‘v’ is the wind speed in [m/s], which is the ‘maximum wind speed that occurs along the respective transmission lune on average every five years, and for 400 kV lines in longer term’.

- Further Technical Design (Preliminary Design and Detailed Design)

In order to ensure adequate robustness of the Project, these climate parameters are to be reconsidered and confirmed in the subsequent project’s development stages. The detailed technical design will need to ensure that the Project incorporates the risks related to the forecasted climate change for the whole operational lifespan of the line and, as such, it is adapted to them and provides appropriate level of climate resilience.

The specific measures which are to be included into the upcoming more advanced design stages should take into consideration the latest national / local projections of future relevant climate variables in time of preparation of the design. In that regard, the emphasis should be given to the key potential impacts as a result of more extreme temperature fluctuations, the risk of more flash flooding and an increase in the frequency of storms, which were identified as most relevant for the design of the Project.

It is expected that such ‘mitigation through design’ approach will reduce the vulnerability of the Project to extreme weather conditions:

- Temperature increase. In regard to the heat waves – temperature increase - the technical design method incorporates a design parameter related to the maximum expected temperature (+45°C) on which the maximum working temperature of the OHL conductors will not exceed +80°C (also used to determine the required ground clearances). According to the climate scenarios (see Section 7.1.1), an increase of up to 45°C during the summer months, in the Project region, is forecasted. This increase does not imply pronounced increase of temperature in the Project region significantly above the design maximum temperature (+45°C) that would ensure the maximum working temperature of the OHL conductors (+80°C).

- Temperature decrease. With regard to the cold waves and accumulation of ice, the technical design method involves a requirement of setting an additional ice loading to ensure stability of the transmission infrastructure during cold waves. In that respect, in accordance with the OHL design technical requirements) and based on existing statistical weather data for the Project region, this additional loading is calculated as added loading to the gravitational load of the respective OHL elements (conductors and protective wires) via appropriate safety coefficient which depends on the local weather particularities (geographical position, altitude (lowland or mountainous area), etc.). The proposed design additional ice loading for the Project, as presented above, corresponds to additional loading of 60% in lowlands (coefficient of 1.6), which in turn implies that ice loading has been incorporated in the present technical design of the Project based on the altitude (lowland), weather zone and respective meteorological data.

- Precipitation:

    - The intensive precipitation and the associated flooding hazard pose an operational risk to substation equipment, such as switchgear and control cubicles. In fact, flooding is considered as a major resilience and climate change adaptation risk for the electricity substations that could lead to short-circuiting and eventually to shutting down for a period of time required for adequate response and recovery. Therefore, flood mitigation solutions and protection systems to reduce consequence of potential floods to the substation will need to be included in the further Project technical design and enforced on site. Such specific ‘mitigation through design’ measures would ensure that they are safe from flooding events. It is important to prevent the flooding of plant and equipment for the purposes of avoiding asset damage and to reduce the time customers are off supply following a flood event. Possible mitigation solutions in this respect include drainage systems, raising the substation equipment above the predicted flood level and protecting / bunding critical equipment, based on appropriate flooding risk assessment.

- Extreme winds. In regard to the extreme winds, the technical design method of the Project elements includes a significant level of conservatism in terms to determining the design wind pressure based on the expected maximum wind speed. The proposed design wind pressures for different Project elements, as presented above, correspond to maximum wind speeds of 140 km/h and 125 km/h, respectively for the new substation and new and reconstructed transmission lines, which in turn implies that extreme violent gusts have been incorporated in the present technical design of the Project based on weather zone and regional meteorological data in the Project region. The aforementioned maximum wind speeds correspond to the highest wind category according to the Beaufort wind force scale (Beaufort level 12, for which the wind speed is higher than 118 km/h) which are very rarely experienced in the Project region.

- Lightning. Lightning hazard is considered as an important factor affecting the transmission networks and, consequently, the reliability of the power supply. Numerous technical publications have stated that lightning is responsible for dominant number of the non-scheduled outages occurring on transmission lines. The main potential impact due to direct strokes to a transmission line is tripping which generally arises from insulator flashovers, since in such event - the OHL tower is no longer at earth potential but, due to the lightning stroke, is at a higher voltage than the conductor. Although, it is a fact that most of such outages are transient in nature, with a fault time in a scale of several seconds and shorter than one minute, in many cases this is still deemed to be critical, e.g. for many modern industries or processes sensitive to momentary disturbances on the system or entities reliant on sophisticated electronic equipment. Therefore, appropriate and proven design solution is envisaged for protection of proposed transmission line in order to minimize interrupted power supply events. According to the Macedonian technical requirements the lightning protection for the Project will be provided by installation of two earth wires that would improve its performance due to lightning at satisfactory level. In general terms, the main potential effects of direct strokes to a substation include: possible insulation damage; damage and possible failure to major substation equipment; and substation outage. Depending on the stroke magnitude, these effects may impose significant operational problems for the affected substation, assuming that no shielding and no surge protective devices are put in place. Therefore, the further Project technical design for the new substation would need to incorporate and apply shielding methods and proper grounding system in order to minimize direct lightning strokes to equipment within the substation and, in that way, to reduce its vulnerability to this weather event. This should also include use of surge arresters added to strategic locations in the substation to minimize the possibility of damage of the substation major equipment and outage. Provided that appropriate lightning protection, based on proven and widely used engineering methods of shielding, is designed and enforced on site as well as maintained in sound manner, no significant system-wide effects are likely.

#### Residual Effects

Assuming that the design-based mitigation measures described in this E&S assessment are incorporated into the design of the Project, the residual significance of all impacts is considered as not significant.

## Construction Noise

### Noise Limit Standards

Noise limit values in the environment in Macedonia determined in the Rulebook on environmental noise level limit values (Official Gazette of RM no. 147/08). The noise limit values according to this regulation are given in the following Table.

| Area - defined in relation to the degree of protection from noise | Noise level [dBA] |  |  |
| --- | --- | --- | --- |
|  | LD | LE | LN |
| - Area with first degree | 50 | 50 | 40 |
| - Area with second degree | 55 | 55 | 45 |
| - Area with third degree | 60 | 60 | 55 |
| - Area with fourth degree | 70 | 70 | 60 |

Table 8.11: Limit values of noise for various zones as per Macedonian legislation

Source: Rulebook on environmental noise level limit values (Official Gazette of RM no. 147/2008)

- Ld – day (period from 07,00 to 19,00 h)

- Le – evening (period from 19,00 to 23,00 h)

- Ln – night (period from 23,00 to 07.00 h)

The areas in regard to their degree of protection against noise are determined in the Rulebook for locations of the measuring stations and measuring spots (Official Gazette of RM no. 120/08):

- Area with first degree of protection from noise is touristic and recreational area, an area in immediate vicinity to health-care institutions and core areas in natural protected areas.

- Area with second degree of protection from noise is an area which primary purpose is accommodation - residential area, area around educational buildings and buildings for social care and health care, area around playgrounds and public parks and public green areas.

- Area with third degree of protection from noise is business - trade area, area with public buildings for administrative, trade, service and similar purposes and an agricultural area.

- Area with fourth degree of protection from noise is an area without residential buildings, an area for industrial and other production activities, transport activities, storage and other service activities and communal activities which produce significant noise.

Based on the land use forms in the study area, it can be categorised as an area with third degree of protection from noise.

Cases as well as the conditions when it is considered that the peace of the citizens is disturbed by noise are defined in the Governmental decision no. 19-6920/1 (Official Gazette of RM no. 01/09).

The requirements relating to noise emission standards as well as conformity assessment procedures and technical documentation of equipment for use outdoors in Macedonia are regulated by the Rulebook on the types of specific noise sources as well as the requirements to be met by installations, equipment, installations and devices used outdoors for noise emission and noise protection standards (Official Gazette of RM no. 142/13). It names the types of equipment referring mainly to outdoor machinery, such as those used on construction sites: compacting machines, compressors, concrete-breakers, dozers, dumpers, excavators, excavator-loaders, loaders, cranes, mixers, saws, etc. This regulation transposes the EU’s Outdoor Equipment Directive into the Macedonian national legislation.

The guaranteed sound power level of the typical construction equipment as determined by this national regulation may not exceed the limit values presented in the next Table.

| Type of Equipment | Parameter | Permissible sound power level [in dB / 1 pW] |
| --- | --- | --- |
| Compaction machines (vibrating rollers, vibratory plates, vibratory rammers) | P ≤ 8 | 108 |
|  | 8 < P ≤ 70 | 109 |
|  | P > 70 | 89 + 11 lg P |
| Tracked dozers, tracked loaders, tracked excavator-loaders | P ≤ 55 | 106 |
|  | P > 55 | 87 + 11 lg P |
| Wheeled dozers, wheeled loaders, wheeled excavator-loaders, dumpers, graders, loader-type landfill compactors, combustion engine driven counterbalanced lift trucks, mobile cranes, compaction machines (non-vibrating rollers), paver-finishers, hydraulic power packs | P ≤ 55 | 104 |
|  | P > 55 | 85 + 11 lg P |
| Excavators, builders’ hoists for the transport of goods, construction winches, motor hoes | P ≤ 15 | 93 |
|  | P > 15 | 80 + 11 lg P |
| Hand-held concrete-breakers and picks | m ≤ 15 | 105 |
|  | 15 < m < 30 | 94 + 11 lg m |
|  | m ≥ 30 | 94 + 11 lg m |
| Tower cranes |  | 96 + lg P |
| Welding and power generators | Pel ≤ 2 | 95 + lg Pel |
|  | 2 < Pel ≤ 10 | 96 + lg Pel |
|  | Pel > 10 | 95 + lg Pel |
| Compressors | P ≤ 15 | 97 |
|  | P > 15 | 95 2 lg P |

Table 8.12: Limit values of noise emissions from equipment for use outdoors

Note: Net installed power ‘P’ (in kW); Electric power ‘Pel’ (in kW); Mass of appliance ‘m’ (in kg).

Source: Rulebook on the types of specific noise sources as well as the requirements to be met by installations, equipment, installations and devices used outdoors for noise emission and noise protection standards (Official Gazette of RM no. 142/13)

### Construction Noise Emissions

In a general context, construction of the Project can be divided into a number of distinct processes. They may be described as follows:

- construction of the new substation,

- construction of tower foundations (new transmission lines),

- tower assembly and erection (new transmission lines),

- stringing of conductors and earth wires and

- new access roads for the new substation and new transmission lines, and other off-site construction works.

There are no blasting requirements during the construction and noise and vibration effects associated with blasting are, therefore, not going to occur during construction activities. Similarly, use of helicopters during construction is not needed and, therefore no noise implications associated with helicopters are expected.

The Table below presents noise predictions in the study area for the different construction processes previously identified based on information available in relevant literature as well as in studies of transmission developments of similar size. These predictions represent a worst-case scenario as they do not consider eventual noise barriers or air absorption. It is likely that natural or man-made barriers will exist between the source and the noise-sensitive receptor particularly as distance from the source increases. Such barriers may consist of natural features in the landscape or buildings or structures between the source and the receptor.

| Distance from the source [m] | Construction of new substation [dB] | Construction of access tracks [dB] | Construction of tower foundations [dB] | Tower assembly and erection [dB] | Stringing of conductors [dB] |
| --- | --- | --- | --- | --- | --- |
| 0-50 | ≤75 | ≤76 | ≤77 | ≤68 | ≤70 |
| 50-100 | ≤68 | ≤69 | ≤70 | ≤62 | ≤63 |
| 100-200 | ≤61 | ≤62 | ≤63 | ≤56 | ≤56 |
| 200-400 | ≤54 | ≤55 | ≤56 | ≤50 | ≤48 |
| 400-600 | ≤49 | ≤51 | ≤52 | ≤46 | ≤44 |
| 600-800 | ≤46 | ≤48 | ≤49 | ≤43 | ≤41 |
| 800-1,000 | ≤44 | ≤46 | ≤46 | ≤41 | ≤39 |
| Duration | 3 years | 2 days/tower | 2 days/tower (excavation+ concreting ) | 2 days/tower (assembly+ erection) | 2 days/tower |

Legend:

|  | Significant semi-urban or urban effects (≥75 dB) |
| --- | --- |
|  | Significant rural effects (≥65 dB) |

Table 8.13: Noise prediction for each construction process

Significant effects could be expected when the noise level is higher than 75 dB in semi-urban or urban areas and higher than 65 dB in rural areas.

The wider Project area is dominated by rural areas, where the population is sparse. These will have low background noise levels and therefore the noise from construction or transport sources will be audible over a greater distance although this in itself will not necessarily constitute a significant effect.

The white cells of the Table illustrate the distances from activities at which they would have an insignificant effect on noise sensitive receptors. The assessment identifies that significant effects in both rural and urban areas are predicted to be few although the potential for disturbance in quiet areas is fairly high, particularly for properties located within 100 m to 200 m of the most noisy activities. Most activities at distances greater than 300 m – 400 m from the nearest noise sensitive receptors are unlikely to have the potential for disturbance, even in the quietest areas. However, it should be noted that there are no residential properties in proximity to the Project where significant potential of nuisance due to construction noise is likely.

In addition, the noise effects predicted at any location will not to be present at a consistent level throughout the entire construction period (with an exception at the substation site) due to the discontinues nature of construction activities in terms of locations (such as foundation and tower locations). This is also particularly true of ‘linear’ activities such as access road upgrading, and the attachment of the conductor where relatively high noise levels could potentially occur in the immediate vicinity of any works, but with noise levels soon returning to normal as the work moves on.

### Construction Vibration

Planned construction activities and use of equipment and machinery will be a source of vibration.

The response of people to vibrations in the ground is influenced by many factors. Some of those factors are physical, like amplitude, duration and frequency content of vibrations, while other factors like the type of population, age, gender and expectations are physiological. This means that people's reaction to vibrations is subjective and differs for different people. It is generally accepted that for the majority of people, vibration levels in excess of between 0.15 and 0.3 mm/s peak particle velocity are just perceptible.

The Table below presents distances at which vibration may be perceptible for certain type of construction activity. These figures are based on historical field measurements and information available in literature.

| Construction activity | Distances at which vibration may be perceptible [m] |
| --- | --- |
| Heavy vehicles | 5-10 |
| Vibratory compaction | 10-15 |
| Excavation | 10-15 |
| Hydraulic breaker | 15-20 |

Table 8.14: Distances at which vibration may be perceptible

This assessment shows that the construction of the transmission line will achieve compliance within the Right of Way, as determined in accordance with the respective Macedonian legislation and MEPSO’s technical standards (see Section 2.4.2). As there would be no properties (houses or facilities) in the Right of Way, there can be no vibrations perceptible to sensitive receptors during the construction works along the route of the transmission lines. The further assessment of impacts from construction vibrations is, therefore, scoped out of this E&S Assessment Report.

### Summary of Impacts

The Table below summarizes the assessment of the significance of the potential impacts from the noise due to construction activities.

| Project phase | Potential impact due to noise from construction | Sensitivity of receptor | Magnitude of impact | Significance of impact |
| --- | --- | --- | --- | --- |
| Construction | Construction of substation | High | High: within 100 m Medium: 100 - 200 m | Major: within 100 m Moderate: 100 - 200 m |
|  | Construction of access tracks | High | High: within 50 m Medium: 50 - 100 m | Major: within 50 m Moderate: 50 - 100 m |
|  | Construction of tower foundations | High | High: within 50 m Medium: 50 - 100 m | Major: within 50 m Moderate: 50 - 100 m |
|  | Tower assembly & erection | High | Medium: within 50 m | Moderate: within 50 m |
|  | Stringing of conductors | High | Medium: within 50 m | Moderate: within 50 m |

Table 8.15: Significance of impacts from construction noise, without mitigation

This assessment shows that, in rural areas, significant noise effects are predicted at properties within 200 m of the construction working areas, without mitigation. Along the transmission lines, these effects will be of discontinuous nature and limited to periods of short duration (usually less than a few weeks). At the substation site, construction noise will be generated throughout the whole construction period, but it would also be of discontinuous nature depending on the construction progress. However, as there are no properties (houses or facilities) within 200 metres from the Project, there can be no exceedance of the noise limits and no significant direct environmental impact to sensitive receptors during the construction works of the Project.

### Mitigation

The impacts of construction noise from the Project would be controlled by a number of mitigation actions and measures of good construction practice and would be set in the Project’s Construction Environmental and Social Management Plan (CESMP). These include key measures of good international practice that are typically adopted on construction projects, which are designed to prevent the occurrence of significant impacts.

Relevant national regulations concerning the management of construction activities would be fully respected. Construction works as well as transport activities, including materials and equipment near the settlements, which imply increased noise levels, will not be conducted during the holidays, during the night (period from 23,00 to 07.00 h) or at the weekend.

All construction procedures would be properly planned to reduce the time of utilization of equipment that generates the highest noise levels. Working hours and rules will be established based on the needs to reduce the noise causing nuisance and disturbance, especially by avoiding the cumulative effect of increased noise due to simultaneous operation of different kinds of construction machinery and equipment.

Other measures of good construction practice would be overtaken to mitigate noise from construction works, in minimum:

- Where receptors are located close to working site, and access roads, all reasonable and practicable measures to minimise noise resulting from the construction / transport activity and to minimise the acoustic nuisances to adjacent properties during day and night would be proposed and implemented.

- Use outdoor machinery that complies with the noise emissions standards as required by the relevant Macedonian legislation and the EU’s Outdoor Equipment Directive.

- Locate stationary equipment (such as power generators and compressors) as far as possible from nearby receptors.

- Any compressors brought on to construction sites would be sound reduced models fitted with acoustic enclosures.

- All pneumatic tools would be fitted with silencers.

- Care would be taken when erecting towers or during other steelwork to avoid impact noise from banging steel.

- Care would be taken when unloading vehicles to minimize noise.

- All machinery items would be properly maintained and operated in order to avoid causing excessive noise.

- Restrictions on periods of operation and locations of specific construction activities would be agreed by the Contractor with the relevant local authority.

- No holiday, night-time construction, or weekend operations will be allowed unless necessary to meet important schedules and work is agreed by the local authorities and discussed with the nearby residents.

In addition to the measures listed above, regular liaison with the local authorities to discuss activities and the progress of the Project will be undertaken in order to minimize the potential for negative effects of the construction works due to noise nuisance.

### Residual Impact

The measures recommended for the mitigation of construction noise would provide respective degree of attenuation of noise when applied correctly. It is expected that this degree of attenuation would reduce noise levels to the recommended noise limits at urban and rural areas. Therefore, in principle, there would not be any residual effects provided that the mitigation set out in the CESMP Plan is implemented in affected areas.

## Operational Noise

### Transmission Line Audible Noise

#### Introduction

An operational transmission line can be a source of a phenomenon known as "corona discharge" (a limited electrical insulation breakdown of the air) which can also occur naturally during storms when highly charged clouds induce high electric fields around tall objects.

Whilst the conductor systems of overhead transmission lines are designed and constructed to minimise corona and hence acoustic noise, surface irregularities on the conductors, caused by physical damage such as burrs, or debris such as insects, pollen, industrial pollution, raindrops or other forms of contamination, may locally enhance the electric field strength sufficiently for discharges to occur. Any corona discharge will act as a source of audible noise i.e. a crackling sound occasionally accompanied by a low frequency hum in certain wet conditions.

Corona noise is generated only when the conductor surface electric stress exceeds the inception level for corona discharge activity. The transmission line conductors are designed to operate below this threshold. Surface contamination of a conductor, resulting in a modification to its otherwise smooth profile, will cause a very local enhancement of electric stress that may initiate discharge activity. At each discharge site, a limited electrical breakdown of the air occurs. A proportion of the energy associated with the corona process is released as acoustic energy, which is launched into the air as sound pressure waves.

Highest noise levels generated by a transmission line generally occur during rain. Water droplets collect on the surface of the conductor and may initiate additional corona discharges. Fog may also give rise to increased noise levels. Fog noise is caused by droplets of water condensing onto the line and hence causing discharge activity in a similar way to rain.

#### Potential Impacts

Operational noise generated by a transmission line increases noise levels in the surrounding environment and may cause nuisance to affected populations. The high variability in the response of individuals to identical noise sources makes the prediction of annoyance very difficult. Each individual's response to increased noise levels is subjective and highly personal.

Transmission line audible noise is generally categorised as "crackle" or "hum", according to its tonal content. Crackle may occur alone, but hum will usually occur only in conjunction with crackle. Hum is only likely to occur during rain when rates of rainfall exceed 1mm/hr. Crackle is a “broad band” noise containing a random mixture of frequencies, typically ranging from 1 kHz to 10 kHz. No individual pure tone can be identified for any significant duration. Crackle has a generally similar spectral content to the sound of rainfall. Hum is a sound consisting of one or more pure tones. Generally 100 Hz is most dominant, but other harmonics of 50 Hz may also occur, to a lesser magnitude, as the harmonic increases in frequency, and only for the first few harmonics.

The noise level changes along a transmission line and depends on the vertical conductor clearance as well as on surface irregularities or physical damages on the conductors. The corona noise attenuates with the distance from the transmission line and for lines of 110 kV voltage level at approx. 10 metres from the line the noise is almost imperceptible and significantly below the noise limit value for night (45 dB), while compliance with the noise limit value for day and evening (55 dB) is achieved even within the footprint of the transmission line.

This assessment shows that the transmission lines under all operational and weather conditions will achieve compliance within the Right of Way, as determined in accordance with the respective Macedonian legislation and MEPSO’s technical standards (see Section 2.4.2). As there would be no development of any kind, including construction of residential or other properties (houses and facilities) within the Right of Way and due to the fact that the lines do not pass through or near residential zones, exceedance of the noise limits and significant direct long-term environmental impact to sensitive receptors during the operational phase of the transmission line is unlikely.

### Substation Audible Nosie

#### Introduction

In general, there are three basic sources of audible noise from substations. Each of these has its own characteristic spectrum and pattern of occurrence due to the nature of the noise-generating mechanisms involved:

- The transformer noise is approximately constant with a low frequency hum occurring at harmonics of the supply frequency (100 and 200 Hz are usually dominant).

- The transformer coolers generate more broadband noise, although they are not in continual operation.

- Switchgear noise is generated by the operation of circuit breakers and has short duration.

#### Potential Impacts

Miletkovo

400 kV OHL Dubrovo -Thessalonica

NewSS Miletkovo

New 110 kV lines

The relative distance of the closest residential or other properties, located in north-west direction, from the substation site is approx. 1,000 metres (Figure below). Therefore, any increase in noise due to the new 400/110 kV substation Miletkovo will be imperceptible at closest properties to the substation. Therefore, no acoustic nuisance to residents in the area is going to occur.

Figure 8.1: Relative distance from to closest residential properties to the new 400/110 kV substation Miletkovo

### Summary of Impacts

The Table below summarizes the assessment of the significance of the potential impacts from the operational noise generated by the Project.

| Project phase | Potential impact due to noise during operation | Sensitivity of receptor | Magnitude of impact | Significance of impact |
| --- | --- | --- | --- | --- |
| Operation | Long-term public exposure to corona effect from OHL and substation | High (closest residential properties) | Very low - limited spatial extent - long duration - low probability of exposure (no sensitive receptors in proximity to the Project and establishment of safety zone (RoW)) - reversible | Negligible |
|  | Long-term public exposure to operational noise from substation |  |  | Negligible |

Table 8.16: Significance of impacts from operational noise

### Mitigation

The Project to date has been inherently designed to mitigate the public exposure to operational noise from its future use, by avoiding sensitive receptors thus achieving the required level of compliance with noise limit values as determined in the respective regulations. The likely impact of operational noise on human health was one of the key issues considered during the process for selection of the preferred Project option. In this context, the major issues of consideration were the residential and commercial zones in the Project region.

The Project would be further designed to mitigate the public exposure to operational noise, mainly through:

- Incorporation of respective design parameters into the Project design (e.g. set out minimum required conductor vertical clearance, application of noise reducing coatings for conductors, etc.).

- Establish safety corridor along the path of the transmission lines and safety distance from the new substation according with the requirements of the relevant Macedonian legislation and MEPSO’s technical standards (see Section 2.4.2). Within this zone, no development of any kind, including construction of residential or other properties (houses and facilities) is allowed, to ensure, inter alia, protection of human health against long-term exposure to noise. Therefore, exceedance of the noise limits and significant direct long-term environmental impact to sensitive receptors during the operational phase of the Project is unlikely.

During the pre-construction and construction phases, correct manufacturing and installation methods and procedures are considered as an essential prerequisite measure that would allow reduction of eventual audible nuisance due to operations of the Project. Particular attention should be paid to:

- Appropriate corona testing of conductor fittings in the line configuration.

- Manufacture of conductor consistent with technical specifications.

- Appropriate requirements for storage, transport and handling of the conductors to minimise surface damage and contamination.

- Appropriate substation design that would provide suitable specification that will ensure that noise level generated at source (e.g. substation equipment) is below 60 dB(A).

- Installation of rubber foundation elements that will achieve appropriate reduction of noise emission at the substation (if necessary).

In the event of a complaint by an owner or occupant of a property in vicinity to the Project, MEPSO should measure operational noise levels at the relevant receptor to establish if the complaint is valid and take appropriate correction action if needed to reduce or mitigate excess levels.

### Residual Impact

Provided that the mitigation measures are incorporated in the further Project design and implemented throughout the construction and operational phases of the Project, no likely significant residual effects around the exposure to operational noise from the Project are anticipated.

## Geology and Soils

### Assessment Methodology

A typical methodology was used to assess the impacts on the land from the Project and is presented below. This methodology has been commonly used in similar types of projects as this transmission line development project and has been applied with a degree of flexibility since the evaluation of effects would always be subject to particular site-specific characteristics which need to be taken into account. Therefore, in a case where this assessment predicts a potential for significant impact (presented as of moderate or higher significance), further impact assessment during next development phases of the Project and further prior to construction commencement would be required to take into consideration site-specific aspects.

#### Sensitivity Classification of Geology and Soils

In general terms, the criteria for measuring the sensitivity of the geological environment in the study area are based on a number of factors including international and national designations, existing literature and geology maps, site visits and professional judgment. These criteria have been used to guide the analysis of the sensitivity of the geological environment in the study area, along the route of the transmission line. The criteria are listed in the Table below.

| Sensitivity | Criteria |
| --- | --- |
| Very high sensitivity | - International designated area or proposed for designation - Area recognized as geological site of international interest - Very steep sloping ground susceptible to excessive erosion |
| High sensitivity | - National designated area or proposed for designation - Area recognized as geological site of national interest - Unstable sloping ground susceptible to erosion |
| Medium sensitivity | - Lesser sloping grounds - Soils that may support arable agriculture - Thin upland soils - Peat deposits |
| Low sensitivity | - Soils that may support pastures - Thick lowland soils |
| Not sensitive | - Soils in developed areas - Flat and well consolidated soils |

Table 8.17: Sensitivity classification of geology and soils

#### Magnitude of Impact

Criteria for assessing the magnitude of impact are given in the Table below.

| Level | Typical criteria |
| --- | --- |
| High | Total loss or adverse change of key characteristics, integrity and quality (irreversible damage of geological exposures of international conservation interest, very large scale removal of soil or total loss of agricultural land, very large fuel and oil spillage, excessive erosion, etc.) |
| Medium | Loss or change of key characteristics and quality (irreversible damage of geological exposures of national conservation interest, large scale removal of soil or loss of agricultural land, large fuel and oil spillage, intensive erosion, etc.) |
| Low | Partial loss or some measurable changes or alteration of key characteristics and quality (partially loss of agricultural land, long term ground compaction – alteration of soil structure, localized erosion, etc.) |
| Very low | Small detectable changes, but the characteristics and quality will be similar to pre-project conditions (temporary removal of surface cover, erosion of localized character, etc.) |
| None / no change | No or very small changes, which are not easily distinguished (short term ground compaction due to vehicles movements, etc.) |

Table 8.18: Criteria for assessment of magnitude of impact on geology and soils

#### Impact Significance

The significance of effects is assessed as a combination of sensitivity and magnitude as presented in the following Tables.

| Receptor sensitivity | Impact magnitude |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | High | Medium | Low | Very low | None |
| Very high | Major | Major | Moderate | Moderate | Negligible |
| High | Major | Moderate | Moderate | Minor | Negligible |
| Medium | Moderate | Moderate | Minor | Minor | Negligible |
| Low | Minor | Minor | Minor | Negligible | Negligible |
| Very low | Minor | Negligible | Negligible | Negligible | Negligible |

Table 8.19: Impact significance matrix

| Significance | Typical criteria | Description |
| --- | --- | --- |
| Major | A fundamental change to the environment | Changes on geology formations and/or soil quality affecting widespread area, or changes resulting in substantial loss of conservation value to geological sites and designated areas of international or national importance. |
| Moderate | A material but non-fundamental change to the environment | Changes on geology formations and/or soil quality affecting part of the project area or changes resulting in loss of conservation value to geological sites or designated areas of local importance. |
| Minor | A detectable but non-material change to the environment | Local changes on geology formations and/or soil quality or changes resulting in minor and reversible effects on quality. |
| Negligible | No detectable change to the environment | No effects on geology formations and/or soil quality. |

Table 8.20: Matrix of significance categories for potential impacts on geology and soils

### Potential Impacts

#### Construction

The potential impacts of the Project on the geological structures and soils during construction will be mainly in the form of soil degradation due to:

- Construction of access roads, excavation for construction of foundations and towers

- Spillage of oils and fuels from vehicles

- Inadequate waste management

The risks of soil erosion and landslides during construction of the Project are very limited and site-specific since the study area as a whole is not susceptible to these geological hazards (see Section 7.1.2).

The Table below represents an overview of the generic potential impacts on the soils associated with construction activities of the Project. The impacts have been identified using the available information for typical OHL construction methods.

| Project component | Potential impact |
| --- | --- |
| Construction of access roads, earthworks and construction of towers and substation | - Damage to geological exposures. - Erosion of deposits / soils through removal of surface cover (at specific sites).Loss of deposits / soils through excavation / removal for construction purposes. - Compaction of soft ground leading to an alteration in the structure of the deposits / soils. This includes loss of agricultural land through compaction. - Pollution risk to soils from fuel and oil spillage, and from inadequate waste management. |

Table 8.21: Summary of potential construction impacts on geology and soils

#### Operation

During its operational phase, the Project will not directly discharge pollutants to the land.

The operational Project could result in minor potential impacts on the land, especially due to maintenance activities and the control of the infrastructure and equipment (Table below).

| Project component | Potential impact |
| --- | --- |
| Maintenance traffic to access transmission line route | - Risk of pollution from fuel / oils - Local effects on soils from compaction |
| Substation operation | - Wastewater generated from the daily activities of the employed personnel - Risk of pollution due to spillage of transformer oil, in a case of accident |

Table 8.22: Summary of potential operational impacts on soils

### Assessment of Impacts

#### Corridor – Wide Impacts

The significance of predicted impacts to the soils in the study area assessed based on the above approach for their evaluation taking account of the sensitivity of the baseline environment affected and the magnitude of effects is presented in the following Table.

| Sensitivity | Typical effects and magnitudes | Significance |
| --- | --- | --- |
| Low to medium (land / soils that support arable agriculture) | Magnitude of the effects is generically assessed as low. Key effects are: - Limited loss of agricultural land - Disturbance of soil deposits through extraction and removal - Temporary compaction of ground through construction works, construction of access tracks and vehicle movements - Pollution of land due to construction works and transport | Minor |

Table 8.23: Significance of impacts on the areas with high sensitive soils along the transmission line

#### Location Specific Impacts

The above assessment has been applied taking into account the potential effects at a corridor-level. Due to this, the evaluation of the impact significance implies certain degree of flexibility since the actual impact would be subject to particular site-specific characteristic. Therefore, further site-specific assessment would need to be undertaken during next development phases of the Project and prior to construction commencement. This may result in a slightly different interpretation of the impact concerned, in which case site-specific mitigation measures along the corridor of the transmission line should be proposed and undertaken to minimize the effect.

### Mitigation

#### Construction

Project construction impacts on geology and soils would be managed by a number of mitigation actions and measures of good construction practice and would be set in Project’s CESMP. These include key measures of good international practice that are typically adopted on construction projects, which are designed to prevent the occurrence of significant impacts, in minimum:

- Plan the works to minimise excavation and removal of soils. Soil shall be removed from working sites only when absolutely necessary and in accordance with technical guidelines.

- Plan the works to maximise re-use of excavated soils from construction for restoration, by soil reinstatement in the shortest timeframe, as the construction works progress.

- All soil from temporary or permanent working sites will be removed, segregated and safely stored separately from other excavation material (e.g. spoil).

- Temporarily store and preserve all excavated soil at secure locations with run-off and erosion prevented. Preserving soil is a key component of re-vegetating the construction sites and restoring the ability of soils to protect itself against erosion. All soil stockpiles required for more than 3 months will be covered or seeded. Any soil stockpiles left at end of construction will be removed or spread out.

- Wherever possible, limit vehicle movements in off-road areas to reduce soil compaction, and in particular in areas with softer deposits / soils and on steeper slopes, like valley sides. Avoid off-road driving in wet weather; repair all vehicle damage to soils immediately.

- Earth cutting and access roads along steeper slopes will be avoided where possible to reduce the impact on slope stability and erosion. Where required, suitable engineering will be undertaken to ensure the stability of the slope is maintained, including in areas prone to slides.

- Design drainage ditches to avoid affecting nearby lands.

- Leave no ground with no vegetative cover unless the surrounding area does not support vegetation. As soon as construction is complete in any area, re-grade the land surface as needed to restore natural drainages and contours, and establish vegetation cover with native species - seeds or young plants - and monitor growth.

- Cleared areas and slopes modified during construction should be replanted with suitable native species to reduce erosion and reduce stability problems; it should be undertaken as early as possible in the construction process, before erosion becomes too advanced.

- Plan the works and optimise the management of space to ensure that all cleared surfaces and areas exposed to soil erosion are minimised.

- Where necessary (e.g. on steep slopes and in erosion prone areas), install and maintain control measures (e.g. erosion matting, run-off and sedimentation control) to provide an immediate / temporary protection for exposed soil against erosion, until sufficient natural vegetation cover has been established.

- Where necessary, install sediment control measures to slow the flow of water and control sediment transport during works on access roads, construction compounds and tower foundation and any other construction works where required.

- Prepare and implement Site Reinstatement Plan for the reinstatement of temporary construction working sites. The plan shall describe the restoration works to ensure sustainable rehabilitation of the temporary disturbed area, providing the methods and activity schedule as the construction works progress.

- In addition, measures to control the risk of accidental spills and leaks of hazardous substances thus preventing the pollution of land by construction activities will be designed and implemented. These will incorporate inter alia the following measures:

- Provision of facilities and equipment for the storage and handling of hazardous substances based on GIP standards.

- Hazardous substance storage and handling areas are to be impervious and protected from rain and equipped with bunding.

- Spill clean-up equipment is to be available on construction sites.

- Spill response and clean-up plans are to be prepared.

- Contaminated soils are to be managed as hazardous waste in an authorised waste management facility.

- Rehabilitation of the area affected by accidental spill

- It is considered that the use of GIP will ensure that no significant impacts to land would occur due to the construction of the Project.

#### Operation

To eliminate or mitigate the potential operational risks to geological resources, good operational and maintenance practice measures would be employed including preparation and implementation of spill response and clean-up plans.

In addition, primary mitigation would need to be incorporated into the Project design for the substation to prevent accidental spillages of transformer oils by installation of protection measures against spills in line with design standards. These include oil / storm water tank, placed bellow energy transformers with suitable capacity designed to accept accident oil spillage. Regular inspection throughout substation operation period would be performed to ensure the containment is secure.

### Residual Impacts

Provided that the mitigation measures are incorporated in the further Project design and implemented throughout the construction and operational phases of the Project, no likely significant residual effects to geology and soils from the Project are anticipated.

## Water Environment

### Assessment Methodology

A typical methodology was used to assess the impacts on the hydrological recourses from the Project at catchment-wide level and is presented below. This methodology has been commonly used in similar types of projects as this transmission line development project and has been applied with a degree of flexibility since the evaluation of effects would always be subject to particular site-specific characteristics which need to be taken into account. Therefore, in a case where the catchment-wide assessment predicts a potential for significant impact (presented as of moderate or higher significance), further impact assessment prior to construction commencement would be required to take into consideration site-specific aspects.

#### Sensitivity of Catchment Areas

In general terms, the criteria for measuring the sensitivity of a catchment area are based approximately on a number of factors including international and national designations, water quality information, site visits and professional judgment. These criteria have been used to guide the analysis of the sensitivity of the water features within the study area, along the route of the transmission line. These criteria are listed in the Table below.

| Sensitivity | Criteria |
| --- | --- |
| Very high sensitivity | - International designated area or proposed for designation (UNESCO site) - Wetland / watercourse habitat of international importance (Ramsar site) - Very highly vulnerable groundwater or geology capable for supporting groundwater (very high permeability geological formations) |
| High sensitivity | - National designated area or proposed for designation - Identified Emerald site - Wetland / watercourse habitat of national importance - Highly vulnerable groundwater or high permeability formations |
| Medium sensitivity | - Wetland / watercourse of ecological importance - Moderate vulnerable aquatic habitats present - Moderate vulnerable groundwater or moderate permeability formations |
| Low sensitivity | - Low vulnerable aquatic habitats present - Low vulnerable groundwater or low permeability formations |
| Not sensitive | - No aquatic habitats or watercourses present - No significant groundwater present |

Table 8.24: Sensitivity criteria of catchment areas

#### Magnitude of Impact

Criteria for assessing the magnitude of impact are given in the Table below.

| Level | Typical criteria |
| --- | --- |
| High | Total loss or adverse change of key characteristics, integrity and quality (wide spatial extent, irreversible change of watercourse direction or groundwater regime or level, fragmentation effect due to intake of water, fencing / dam, waste water discharge, etc.) |
| Medium | Loss or change of key characteristics and quality, but not affecting integrity (irreversible change, permanent structures – bridges, aqueducts, siphons, surface or underground pipelines, etc.) |
| Low | Partial loss or some measurable changes or alteration of quality (temporary reversible changes, small incidents, etc.) |
| Very low | Small detectable changes, but the characteristics and quality will be similar to pre-project conditions (short-term and not likely events, culverts, embankments, etc.) |
| None / no change | No or very small changes, which are not easily distinguished (short term compaction due to vehicles movements, temporary crossing structures, etc.) |

Table 8.25: Criteria for assessment of magnitude of impact on hydrological resources

#### Impact Significance

The significance of effects is assessed as a combination of sensitivity and magnitude as presented in the following Tables.

| Receptor sensitivity | Impact magnitude |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | High | Medium | Low | Very low | None |
| Very high | Major | Major | Moderate | Moderate | Negligible |
| High | Major | Moderate | Moderate | Minor | Negligible |
| Medium | Moderate | Moderate | Minor | Minor | Negligible |
| Low | Minor | Minor | Minor | Negligible | Negligible |
| Very low | Minor | Negligible | Negligible | Negligible | Negligible |

Table 8.26: Impact significance matrix

| Significance | Typical criteria | Description |
| --- | --- | --- |
| Major | A fundamental change to the environment | Changes on water quality or quantity affecting widespread catchment area, or changes resulting in substantial loss of conservation value to aquatic habitats and designated areas of international or national importance. |
| Moderate | A material but non-fundamental change to the environment | Changes on water quality or quantity affecting part of a catchment area or changes resulting in loss of conservation value to aquatic habitats or designated areas of local importance. |
| Minor | A detectable but non-material change to the environment | Local changes on drainage patterns or changes resulting in minor and reversible effects on quality or aquatic habitats. |
| Negligible / neutral | No detectable change to the environment | No effects on drainage patterns and water quality or aquatic habitat. |

Table 8.27: Matrix of significance categories for potential impacts on hydrological resources

### Potential Impacts

#### Construction

The Table below represents an overview of potential impacts on the hydrology and aquatic environment associated with construction activities of the Project. The impacts have been identified using the available information for typical construction methods for a transmission infrastructure.

| Project component | Activity | Potential impact |
| --- | --- | --- |
| Construction of access roads, earthworks and drainage | Changes in surface waters drainage patterns and run-off, removal of vegetative cover | - Changes in hydrological regimes |
| Construction vehicle movements and operations | Compaction of soils and soft ground, spillage of fuels and oils | - Changes to sub-surface water levels - Pollution risk from fuel and oil spillage - Temporary habitat disturbance |
| Construction of foundations | Disruption to surface and near surface drainage from excavations and eventual dewatering, concrete pouring, removal of vegetative cover | - Change in surface run-off of locality - Risk of alkaline concrete spillage |

Table 8.28: Summary of potential construction impacts on hydrological resources

#### Operation

During its operational phase, the Project will not directly discharge pollutants to the aquatic environment.

The operational Project could result in minor potential impacts on water quality, especially due to maintenance activities and the control of the infrastructure and equipment (Table below).

| Project component | Activity | Potential impact |
| --- | --- | --- |
| Maintenance traffic to access transmission lines | Spillage of oils and fuels from vehicles, compaction of land around tower foundations | - Risk of pollution from fuel / oils - Local effects on hydrology from compaction |
| Substation operation | - Wastewater generated from the daily activities of the employed personnel - Spillage of transformer oil, in a case of accident | - Risk of pollution of groundwater |

Table 8.29: Summary of potential operational impacts on hydrological resources

### Assessment of Impacts

#### Catchment Areas – Wide Impacts

The Table below summarizes the sensitivity of the catchment areas of the main watercourses in the Project region – Vardar River and Anska Reka.

| Catchment / main river | Key sensitivity issues | Sensitivity |
| --- | --- | --- |
| Vardar River | - Degraded riparian vegetation - Used for agricultural purposes (irrigation) - No designation status | Low |
| Anska Reka | - Canalised watercourse - Degraded riparian vegetation - Used for agricultural purposes (irrigation) - No designation status | Low |

Table 8.30: Sensitivity of the catchment areas

The significance of predicted impacts on the catchment areas in the Project region, assessed based on the above approach for their evaluation, taking account of the sensitivity of the baseline environment affected and the magnitude of effects, is presented in the following Table.

| Catchment /main river | Typical effects and magnitude | Significance |
| --- | --- | --- |
| Vardar River (low sensitivity) | Magnitude assessed as very low. Key effects: - temporary disruption during construction in proximity to watercourses - poor spoil or waste management, spillage hazards Use of modern construction methods and good construction practice would avoid / minimise adverse effects. | Negligible |
| Anska Reka (low sensitivity) |  | Negligible |

Table 8.31: Significance of impacts on the catchment areas

#### Location Specific Impacts

The above assessment has been applied taking into account the potential effects at a catchment-wide level. Due to this, the evaluation of the impact significance implies certain degree of flexibility since the actual impact would be subject to particular site-specific characteristic. Therefore, further site-specific assessment would need to be undertaken during the next development phases of the Project and prior to construction commencement. This may result in a slightly different interpretation of the impact concerned, in which case site-specific mitigation measures along the corridor of the transmission line should be proposed and undertaken to minimize the effect.

### Mitigation

#### Construction

Project construction impacts on hydrological resources would be managed by a number of mitigation actions and measures of good construction practice and would be set in Project’s CESMP. These include key measures of good international practice that are typically adopted on construction projects, which are designed to prevent the occurrence of significant impacts, in minimum:

- Construction sites and activities will be planned / located away from watercourses and wetland areas, and in dry locations with well consolidated geology.

- Minimize work on soft ground in wet weather, wherever possible.

- Prohibit any discharge of effluent (water or other liquid) or other materials to surface waters.

- Prevent erosion and run-off of sediment from construction works, including roads.

- Do not store soil or other materials close to surface waters.

- Provide spill clean-up equipment at all sites where fuel or other material is stored.

- Fuel tanker vehicles for servicing the construction plant and equipment will carry a suitable sized spill kit and drivers will be trained in spill clean-up.

- Keep all engines in good working condition and repair any leaking equipment immediately.

- Rainwater from vehicle parking areas and machinery areas shall be subject to treatment with oil separators (in complaince with the respective European Standards, i.e. EN 858).

- Provide, install and maintain welfare facilities for sewage collection (e.g. portable toilets) and have authorized service company remove and properly dispose wastewater from the toilets. Facilities will be sufficient for the number of personnel.

- In areas where significant tree felling is necessary, establish buffer zones and drainage ditches during felling, particularly on sloping ground.

- In the event of an incident or non-compliance, monitoring will take place on a daily basis until the results indicate that the pre-incident condition has been achieved.

- It is considered that the use of GIP will ensure that no significant water quality impacts would occur due to the construction of the Project.

In addition, close communications with the competent authorities in relation to water environment and flood risk would be established during the construction phase of the Project in order to minimise the potential for negative effects of the construction works to water resources in the study area.

#### Operation

To eliminate or mitigate these potential operational risks to hydrological resources, good operational and maintenance practice measures would be employed including preparation and implementation of spill response and clean-up plans.

In addition, primary mitigation would need to be incorporated into the Project design for the substation:

- to prevent pollution due to wastewater by installation of a wastewater treatment plant to ensure a level of effluent quality that meets the legally prescribed limit values ​​for release into a natural recipient.

- to prevent accidental spillages of transformer oils by installation of protection measures against spills in line with the technical design standards. These include oil / storm water tank, placed bellow energy transformers with suitable capacity designed to accept accident oil spillage. Regular inspection throughout substation operation period would be performed to ensure the containment is secure.

### Residual Impacts

Provided that the mitigation measures are incorporated in the further Project design and implemented throughout the construction and operational phases of the Project, no likely significant residual effects to hydrological resources from the Project are anticipated.

## Biodiversity, natural heritage and ecosystem services

### Impact Methodology

The biodiversity impact assessment is based on quantification (where applicable) of the envisaged changes (e.g. clearance of vegetation and habitats for the construction and operation of the substation and the transmission lines) or qualitative criteria (e.g. analysis of the threat status of species and habitats) as well as by expert judgement.

The effects are considered in relation to the bases of several criteria: type of impact (direct or indirect), reversibility, scope of impact (spatial extent), duration, probability of occurrence and intensity. The assessment is carried out based on the key project development phases in which the impact is predicted to occur: construction and operation phase.

For each potential impact of the Project, an assessment of impact significance is provided based on

- the assessment of the sensitivity of the receptor (i.e. its level of values) – evaluated based on the following criteria:

- EU Habitats Directive. The list of important habitats is given in Annex I of the EU Habitats Directive - Natural habitat types of community interest whose conservation requires the designation of special areas of conservation.

- Presence of important plant and species (IUCN Global and national red lists and EU Habitats Directive: Annex II - Animal and plant species of community interest whose conservation requires designation of special areas of conservation and Annex IV - Animal and plant species of community interest in need of strict protection).

- Presence of threatened bird species. This criterion is based on several international agreements. The following international documents and conventions were taken into account: IUCN Red list (2020-1), EU Birds Directive (Annex I - Species of special conservation measures concerning their habitat in order to ensure their survival and reproduction in their area of distribution; Annex II), Bern Convention and national red list. Some of the important bird species were used as a trigger for establishment of the important bird areas.

- Presence of nationally important areas. Both protected and proposed areas for protection according to the national legislation are taken into account. This criterion also includes the national ecological network.

- Presence of internationally important areas (Emerald sites or areas important for plants, birds or butterflies).

The sensitivity categories are provided in the Table below.

| Receptor sensitivity / value | Description - typical descriptors (often dependent on professional judgment) |
| --- | --- |
| Very high | Very high importance and rarity, international scale and very limited potential for substitution |
| High | High importance and rarity, national scale and limited potential for substitution |
| Medium | High or medium importance and rarity, regional scale, limited potential for substitution |
| Low | Low or medium importance and rarity, local scale |
| Very low | Very low importance and rarity, local scale |

Table 8.32: Sensitivity criteria of biodiversity receptors and natural heritage

- The impact magnitude, ranked to a scale from “none/no change” to “high” as presented in the Table below.

| Impact magnitude | Description - typical descriptors |
| --- | --- |
| High | Long-term / permanent reduction in nature conservation value, including large habitat loss, permanent reduction in population and/or species richness. |
| Medium | Medium-term reduction in nature conservation value, including small habitat loss, temporary reduction in population and/or species-richness likely. |
| Low | Short-term disturbance to habitats / species. No permanent reduction in population size, habitat diversity and/or species richness. |
| Very low | Limited disturbance of habitats / species of a temporary nature. |
| None / no change | No loss or no detectable adverse impact(s) on biodiversity receptors. |
| Positive | Impact(s) would result in positive effect on individual biodiversity receptors or groups. |

Table 8.33: Criteria for assessment of magnitude of impact on biodiversity receptors and natural heritage

The significance of effects is assessed as a combination of sensitivity and magnitude as presented in the following Tables.

| Receptor sensitivity | Impact magnitude |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | High | Medium | Low | Very low | None |
| Very high | Major | Major | Moderate | Moderate | Negligible |
| High | Major | Moderate | Moderate | Minor | Negligible |
| Medium | Moderate | Moderate | Minor | Minor | Negligible |
| Low | Minor | Minor | Minor | Negligible | Negligible |
| Very low | Minor | Negligible | Negligible | Negligible | Negligible |

Table 8.34: Impact significance matrix

| Significance | Typical criteria | Description |
| --- | --- | --- |
| Major | A fundamental change to the environment | Major effects on biodiversity receptor / natural heritage value usually of high to medium magnitude (e.g. substantial loss of value on a national or international scale). |
| Moderate | A material but non-fundamental change to the environment | Moderate effects on biodiversity receptor / natural heritage value usually of medium magnitude (e.g. substantial loss of value on a high local or regional scale). |
| Minor | A detectable but non-material change to the environment | Low effects on biodiversity receptor value / natural heritage usually of low or lesser magnitude (e.g. loss of value on a very local scale (i.e. immediate vicinity of the study area). |
| Negligible / neutral | No detectable change to the environment | No impacts or neutral effects. |
| Positive | Improvement of the baseline | Increase in biodiversity receptor / natural heritage value. |

Table 8.35: Matrix of significance categories for potential impacts on biodiversity receptors and natural heritage

- For the purpose of this assessment, a significant effect on the biodiversity values is any impact of moderate or major significance.

### Potential Impacts

#### Construction

The principle potential impacts on the biodiversity receptors during the construction phase of the Project include:

Loss of terrestrial habitats - direct destruction and alteration of habitats as a result of land take requirements (including access roads and other auxiliary elements) – due to site clearance for construction of the substation and the towers (footprint of towers) and habitat conversion at the substation site and beneath OHL conductors (creation of a clearance corridor). In total, the clearance will be made on a surface of at most 6.2 ha. Due to its irreversibility, this is considered as the key impact on the biodiversity. The significance of this impact for the Projects as a whole is assessed as minor due the low sensitivity of the habitats (dominantly rural and agricultural areas) and low impact magnitude - small affected area for the Project footprint (6.2 ha) over a limited area in vicinity of the Project. That would not imply material change to the wider region.

- However, special attention should be paid to natural habitats and to habitats of international importance in the area of Vardar River (Table below), considered as most sensitive habitats affected by the Project: Riparian belts and woodlands with Willow and Ash (92A0 Salix alba and Populus alba galleries).

- Due to their medium to high sensitivity, the significance of the impact on these habitats (riparian vegetation, sandstone cliffs, aquatic habitats) is assessed as moderate - material but non-fundamental change to the environment. The summary of these impacts is presented in the Table below.

| Site | Habitat | Length of river crossing | Specific impacts |
| --- | --- | --- | --- |
| Crossing over Vardar | 92A0 Salix alba and Populus alba galleries | cca 35 m | No habitat loss is expected. Possible vegetation clearance beneath OHL conductors. |

Table 8.36: Summary of impacts to sensitive sites (crossing over Vardar River)

Habitat disturbance due to construction transport and operation of machinery

- The disturbance of surrounding habitats (pseudomaquis, riparian belts, etc.) by construction machinery and transport is considered as potential impact. Provided that a good construction practice is implemented, the impact magnitude is expected to be very low and the impact is considered as of negligible significance.

Loss of terrestrial flora - plants collection

- The collection of plants (e.g. medicinal plants) by the workers is possible, but provided that good construction practice and management actions to mitigate this impact during construction of the Project are provided and implemented, the magnitude of the impact may be assessed as low. Therefore, the impact is assessed as negligible.

Disturbance of animal species (breeding, foraging, roosting) due to construction works

- Animals will be disturbed due to the presence of workers and machinery during the whole construction phase. The construction noise generated during the vegetation clearance to create the transmission line corridor and the construction of access roads and towers as well as vehicular access would likely disturb and displace some species – birds in general. Most species would use a number of different resting sites throughout the year.

- During the breeding season, disturbance effects would be greater in open areas where workers and machinery would be visible from a wider area.  This may be more important for the (potentially) nesting birds in the open areas such as Granativora melanocephala, Oenanthe oenanthe and Perdix perdix.

- The disturbance effect is of temporary and short-term nature as well as reversible. The animals will leave their natural habitats and places where they live, but upon construction activities completion, it is expected that they would return back. Therefore, this impact is assessed as of low magnitude and minor significance.

Animal mortality from construction machinery and other vehicles

- Road kills may occur, which is associated especially with mammals, reptiles and amphibians as well as invertebrate fauna. However, provided that good construction practice and management actions for road safety (e.g. speed limit) during construction of the Project are provided and implemented, the probability and magnitude of the impact may be assessed as low and its significance is assessed as negligible. Animals found at the construction sites should be removed (tortoises, frogs, toads, mammals).

Dust deposition during construction has the potential to lead to changes to plant communities

- Provided that good construction practice is implemented, this impact is assessed as of minor significance.

Adverse changes in aquatic habitats due to pollution / construction works (e.g. material storage, spoil and waste disposal)

In general, pollution impacts on aquatic habitats from routine construction are unlikely since the OHL towers will be constructed away of the watercourses in the study area, even in the case of river Vardar (the width of river Vardar at the crossing is 65 m).

- Provided that sound waste management system (see Section 8.7) during construction is provided and implemented, this impact is assessed as of minor significance.

Risk of bush fires leading to depletion of biodiversity resources

The presence of workers and machinery along the study area presents a threat for causing unintentional (accidental) bush fires. This threat is considered as of minor significance due to the presence of different degradation stages of Kerms oak pseudomaquis (pyrophyte community). Provided that preventive measures for fire protection are set in place during the construction period, it is considered that there is low probability for occurrence of this hazard in major scale. Thus, the magnitude of this impact is considered as low and the significance is assessed as minor.

Introduction of alien species, as a result of spread of seeds of alien species by workers and machinery

- During the construction phase introduction of alien species may be a result of spread of seeds of alien species by workers and machinery. This is a very low magnitude impact over a limited area in vicinity of the Project (localised within the clearance corridor) that would not imply material change to the wider region. Therefore, this impact is considered as of negligible significance.

Impacts on ecosystem services

- The impact on ecosystem services during construction phase will be of negligible significance. In regard to the potential impacts on provisioning ecosystem services, these are elaborated above (loss of habitats, loss of flora and fauna, introduction of alien species) with the conclusion that they are insignificant. No impact is expected on regulating ecosystem services. No modification or alteration or measurable pollution is expected on natural ecosystems that will impact regulating ecosystem services (negligible impacts on air quality and waters, and very limited impact on soils).

#### Operation

The principle potential impacts on the biodiversity receptors during the operation phase of the Project include:

Habitat conversion beneath OHL conductors and habitat fragmentation, due to maintenance of the clearance corridor. The vegetation in the area is consisted of tree species with low height and cut of trees in not expected. Even at the crossing of the Vardar River clearance of trees is not expected. Therefore, the significance of this impact is assessed as negligible, i.e. there will be no fragmentation impact.

Potential impacts on avian fauna (collision risk and electrocution of birds).

Collision risk

Mortality due to collision is considered potentially to represent the most important operational impact of transmission lines on birds. Collision mortality occurs when a bird flies into an overhead line and is killed either from the impact with the line, from hitting the ground, or from injuries sustained in the process. This impact is considered to be a possibility for some of the bird species, specifically large raptors, other large migratory species as well as collision of smaller birds during wanderings in larger clusters and migration (this especially applies to starlings and great larks, and most species of buntings which have a habit of moving into larger clusters). It is unlikely to affect other small passerine species. Bird collisions are often concentrated along relatively short sections of a transmission line where several factors interact to create a collision problem or ‘hotspot’, although what these factors are may not always be apparent.

Problems of collisions into power lines can be generally based on factors of origin divided into four categories, including biological, topographical, meteorological and technical perspective. The biological factors include the physiology of the bird’s vision, style and speed of flight behaviour during hunting season, mating, and nesting. Topographic factors include the amount of lead above the ground and the nature of the relief. Significant contributions to the collisions are meteorological factors such as wind power surges and bad weather reducing visibility lines. Technical factors include the height of towers and power lines, horizontal and vertical segmentation lines and the presence of an earth (ground) wires on the top of the transmission voltage pylons, which is almost "invisible" for the birds. Data from many studies indicate that up to 80% of collisions occur with the earthwire. For high voltage power lines (voltage level of 110 kV, 220 kV and 400 kV) the most risk is associated with optical cables and earthwires (the highest ones), which are also the thinnest ones.

Different bird species have different collision risks based on their biology, behaviour, habitat use, and inherent abilities to avoid risk. A number of biological characteristics influence the susceptibility of species to collisions with transmission lines: body size, weight, and manoeuvrability; flight behaviour; vision; age and sex; health; time of day and season; habitat and habitat use. Earth wires are thought to be responsible for a much higher rate of collisions than the thicker, often bundled conductor wires. Earth wires are more dangerous because they are harder for birds to see, being thinner in diameter and typically positioned at the top of the wire array. The usual response of birds flying at the height of the conductors is to gain height when they see the conductor wires, which often puts them in the path of the less visible earthwire. It is also possible that some fast low flying species could also collide with the towers especially at times of low visibility in thick cloud or fog at altitude. Following orders of birds present in wider area of the project and in North Macedonia are reported to be most susceptible to collisions (APLIC, 2012) and Guidance on Energy Transmission Infrastructure and EU nature legislation, European Union, 2018):

Cicioniformes (e.g. storks, ibis, herons)

Falconiformes (e.g. hawks, eagles)

Columbiformes (e.g. pigeons, doves)

Strigiformes (e.g. owls)

In general, birds with high wing loading (the ratio of body weight to wing area) are more susceptible to collisions than birds with low wing loading. Also, birds with low aspect ratio (ratio of the square of the wing span to the wing area) are more susceptible than birds with high aspect ratios. Birds with high wing loading and low aspect ratios represent poor fliers. High wing loading birds are frequently reported as collision casualties, including large, heavy-bodied birds with large wing spans. Such species generally lack the manoeuvrability to quickly avoid obstacles. Low wing loading and smaller body size are considered agile fliers and have a keen ability to avoid lines despite their high potential exposure. Body size and manoeuvrability do not explain all collision risk. Other factors can also contribute. For example, gulls and terns have low wing loading, yet they can be subject to collisions because of behavioural characteristics, such as flocking, spending large amounts of time in the air, and flying at night. Large raptors (Accipitriformes) - vultures & eagles as well as waterfowls – birds of wetland habitats are bird groups that most commonly collide with OHL conductors.

| Bird families in Eurasia identified as vulnerable to electrocution and collision internationally | Casualties due to collision |
| --- | --- |
| Cormorants (Phalacrocoracidae) | I |
| Herons, Bitterns (Ardeidae) | II |
| Storks (Ciconidae) | II |
| Ducks, Geese, Swans, Mergansers (Anatidae) | II |
| Raptors (Accipitriformes and Falconiformes) | I-II |
| Partridges, Quails, Grouse (Galliformes) | II-III |
| Rails, Gallinules, Coots (Rallidae) | II |
| Pigeons, Doves (Columbidae) | II |
| Cuckoos (Cuculidae) | I-II |
| Owls (Strigiformes) | II |
| Nightjars (Caprimulgidae) and Swifts (Apodidae) | I-II |
| Hoopoes (Upudidae) and Kingfishers (Alcedinidae) | I-II |
| Bee-eaters (Meropidae) | I-II |
| Rollers (Coraciidae) | I-II |
| Woodpeckers (Picidae) | I-II |
| Ravens, Crows, Jays (Corvidae) | I-II |
| Medium-sized and small songbirds (Passeriformes) | I-II |

Table 8.37: Severity of impacts on bird populations of mortality due to electrocution and collision with power lines for different bird families in Eurasia

Note: I = casualties reported, but no apparent threat to the bird population; II = regionally or locally high casualties, but with no significant impact on the overall species population; III = casualties are a major mortality factor, threatening a species with extinction, regionally or at a larger scale.

Source: Guidance on Energy Transmission Infrastructure and EU nature legislation, European Union, 2018

Guidance on Energy Transmission Infrastructure and EU nature legislation (European Commission, 2018) states that empirical data and theoretical considerations indicate that species with high wing loading and low aspect run a high risk of colliding with power lines. These birds are characterised by rapid flight, and the combination of heavy body and small wings restricts swift reactions to unexpected obstacles. When the number of reported collision victims is considered relative to the abundance and population size of the species concerned, some Galliformes, Gruiformes, Pelecaniformes and Ciconiiformes species seem to be affected in disproportionately high numbers. Typical damage evident on bird carcasses due to bird collision with transmission lines is presented in the following Table.

| Evidence | Description |
| --- | --- |
| Predominant bone fractures | Fractured wings, legs, shoulder bones, vertebra, or skull; torn off limbs |
| Damage to plumage | Mechanical damage, such as torn off or broken feathers |
| Skin injuries | Skin torn open or off, and open muscle, sinew, and bone tissue visible; power line may leave imprint in skin where the bird struck the line; necropsy may reveal internal bleeding and bruising |
| Secondary damage to extremities | Limited areas of infection at open wounds, bones, sinews, and muscles |
| General condition of injured birds | State of shock; handicapped by injuries and secondary damage |

Table 8.38: Typical evidence of bird injuries or mortalities from power line collisions

Note: Adapted from BirdLife International (2003)

Source: Reducing Avian Collisions with Power Lines: The State of the Art in 2012; Avian Power Line Interaction Committee (APLIC), 2012

The risk of collisions is more evident in the case of Galliformes: Bonasa bonasia and Coturnix coturnix. All of the other birds (including falcons, buzzards and other small to medium sized raptors) present in the area are considered to be of severity I or II i.e. casualties reported, but no apparent threat to the bird population or regionally or locally high casualties, but with no significant impact on the overall species population. The collision risk is assessed as minor for the large bird species (the study area is not part of migration route and birds of prey are not common in the study area; as already noted - Griffon vulture and Golden eagle are not present in the study area).

There are two PBF bird species in the area that might be affected by the operation of an operational transmission line: Kingfisher Alcedo atthis and Turtle dove Streptopelia turtur. Kingfishers (Alcedinidae) have reported collision casualties as I-II - no apparent threat to the bird population to regionally or locally high casualties, but with no significant impact on the overall species population. Reported casualties for doves (Columbidae) is II - regionally or locally high casualties, but with no significant impact on the overall species population. Without any reliable data from long-term field monitoring in the Project area, it can be only assumed that the open space (no forests and woodlands) as well as the flat terrain will result in much lower risk of casualties. Additional positive factor is the very high number of ‘bright days’ (the highest in Macedonia) i.e. very low number of fog days in the Project area which certainly decreaes the risk of collisions due to the good visibility (one of the crucial factors for collisions).

Electrocution

- Birds that perch or nest on towers of an energised transmission line can be electrocuted by causing a short circuit, either by touching two live wires, or a live and an earthed component. This usually happens to the large bird species (specifically large raptors and other large migratory species) (Figure below).

Figure 8.2: Typical reasons of electrocution of birds on operational transmission line

Source: Protecting birds from power lines focusing on countries of Danube/Carpathian region

- The bird mortality due to power line electrocution is directly related to the spacing between OHL elements that can comprise a phase-to-phase or phase-to-ground contact (e.g. via earthwires or towers). Therefore, it is essentially a design issue and can be solved by making either of these situations unlikely on bird-friendly towers. There are several reasons for electrocution, mainly: inappropriate locations of the transmission line conductors and isolators, contact of the bird faeces in semi-solid state with the phase conductor, which is the cause for electrocution and death of birds (typical for rainy days) and contact of two phases or two conductors with different voltage, with larger birds. Given the distance between towers and the size of the gap between conductors and the length of the insulators, electrocutions are only frequent on lines with voltages below 45 kV.

- It is not expected that electrocution will happen during operation of the 110 kV and 400 kV transmission lines (high-voltage lines) since the distance between the conductors in horizontal and vertical plane (see Section 2.4) is large enough even for the largest known birds of prey in Macedonia, e.g. Griffon vulture (2.3-2.8 m) and Golden eagle (1.8-2.3 m), which are not present in the study area. Therefore, the significance of this potential impact is considered as negligible. Having in mind the design and scale of the transmission lines it is highly unlikely that electrocution will be a significant issue for any of the birds that are likely to perch on the infrastructure as the conductors are too far apart. The magnitude of the impact is very low and the respective significance in negligible. Nevertheless, mitigation through design is proposed to prevent any potential risk in this regard.

Impacts on ecosystem services

- The impact on ecosystem services during operational phase will be of negligible significance. Some of the provisioning ecosystem services are elaborated above (vegetation maintenance, loss of fauna). No impact is expected on other types of ecosystem services (regulating, cultural). No modification or alteration is expected on natural ecosystems that will impact regulating ecosystem services (no impacts on air, water and soils). For social and cultural impact, see the respective section (Section 9).

#### Impacts on critical habitats

- All of the previously identified impacts on biodiversity are also valid in the case of Key Biodiversity Features (Critical Habitat – CH and Priority Biodiversity Features - PBF). The following table summarizes the specific impacts on Key Biodiversity Features.

| Biodiversity feature | Construction | Operation |
| --- | --- | --- |
| 92A0 Salix alba and Populus alba galleries PBF (Criterion I) - This habitat is listed in Annex I of the EU Habitats Directive | No habitat loss is expected. | No habitat loss or habitat modification is expected. |
| Greek tortoise (Testudo graeca) CH - Annex IV of the EU Habitats Directive | No measurable direct impact (mortality) is expected during the construction works in the whole area. Negligible indirect impact (habitats loss) may occur. | No impact is expected. . The species is ground dweller. There are no data on the impact of vibrations on this species. |
| Common wall lizard (Podarcis muralis) CH - Annex IV of the EU Habitats Directive | No measurable direct impact (mortality) is expected during the construction works in the whole area. Negligible indirect impact (habitats loss) may occur. | No impact is expected. The species is ground dweller. There are no data on the impact of vibrations on this species. |
| Balkan green lizard (Lacerta trilineata) CH - Annex IV of the EU Habitats Directive | No measurable direct impact (mortality) is expected during the construction works in the whole area.. Negligible indirect impact (habitats loss) may occur. | No impact is expected. The species is ground dweller. There are no data on the impact of vibrations on this species. |
| European green toad (Bufo viridis) CH - Annex IV of the EU Habitats Directive | No measurable direct impact (mortality) is expected during the construction works in the vicinity of rivers Vardar and Anska Reka. Negligible indirect impact (habitats loss) may occur. | No impact is expected. The species is semiaquatic. There are no data on the impact of vibrations on this species |
| Greek frog (Rana graeca) CH - Annex IV of the EU Habitats Directive | No measurable direct impact (mortality) is expected during the construction works in the vicinity of rivers Vardar and Anska Reka. Negligible indirect impact (habitats loss) may occur. | No impact is expected. The species is semiaquatic. There are no data on the impact of vibrations on this species. |
| Common kingfisher (Alcedo atthis) PBF (vulnerable species according to IUCN) | Negligible direct impact (disturbance) may be expected during the construction works in the vicinity of rivers Vardar and Anska Reka. | The risk of collisions is assessed as: no apparent threat to the bird population to regionally or locally high casualties, but with no significant impact on the overall species population. |
| European turtle dove (Streptopelia turtur) PBF (vulnerable species according to IUCN) | Negligible direct impact (disturbance) may be expected during the construction works in the whole area. | The risk of collisions is assessed as regionally or locally high casualties, but with no significant impact on the overall species population |

Table 8.39: Summary of impacts to Key Biodiversity Features

- It is concluded that the Project construction and operation will have no measurable impact on the Key Biodiversity Features (Critical Habitat – CH and Priority Biodiversity Features - PBF) i.e. no-net-biodiversity-loss is expected. The mitigation proposed in this assessment will secure no-net-biodiversity-loss and will (to a certain extent) be beneficial (net gain) for critical habitats.

### Mitigation

Primary mitigation measures are embedded within the Project design to date. Based on the principles of the mitigation hierarchy (by implementing the preventive approach of ‘mitigation through design’), the designing process to date has achieved to completely avoid protected/designated areas. This was done by integrating the impact avoidance strategy into the previous project stage – Project options identification and analysis, and selection of the preferred option for further development which resulted in siting the Project away from the protected/designated areas situated in the wider Project region.

The proposed mitigation measures in the construction and operation phases are designed for all of the biodiversity components including Key Biodiversity Features.

#### Design-based Mitigation

To eliminate or mitigate the key potential operational risk to avian fauna – collision risk, primary mitigation would need to be incorporated during the advanced Project design stages (Preliminary Design and Detailed Design) at the sensitive sites – installation of bird (flight) diverters to the earth wire of the transmission line at the crossing over the Vardar River, in order to avoid collisions. The proposed design of the flight diverters for the purposes of the Project is taken from the available latest studies concerning the efficacy of different types of flight diverters. It was concluded that the flapper design gives the best results (Figure below). This type of flight diverter reduces avian mortality rate for a 70.2%. The flapper consists of polypropylene blades with three sides with reflective stickers. Flappers are 21 cm long, apart from the chain, which is 9.5 cm long, and each side of the blade is approximately 12 cm wide. They hang from a cable by staples and can rotate.

Installation of these bird (flight) diverters to the earth wire of the transmission line at the crossing over the river Vardar is foreseen as a design-based mitigation measure. The diverters should be placed at a distance of 5 metres (from 22.481350E / 41.291137N to 22.479220E / 41.289716N in total length of 250 metres i.e. approximately 50 diverters).

Figure 8.3: Design with measures of “flapper flight” diverter installed on overhead wire

Throughout the upcoming Project reference development stages (Preliminary Design and Detailed Design) in line with the applicable legal requirements and technical standards, MEPSO will maintain the design principle for the insulator chains for the typical 110 kV and 400 kV OHL towers to ensure that the bird electrocution hazard is prevented, which comply with the international energy standards. These insulators would be of suspended design at the suspension towers. Suspended insulators are considered as safe provided the distance between the crossarm (perching site) to the energised conductor is at least 600 mm. Strain insulators (at the angle towers) are considered as safe provided their length is at least 700 mm. MEPSO design practice uses the following insulators:

For 110 kV lines: Type Glass Cap U 160 BS, insulator chain with a length of 1800 mm

For 400 kV lines: Type Glass cap U 120, insulator chain with a length in a range from 3400 mm to 3700 mm.

No pin-insulators (upright insulators) are used in the Macedonian high-voltage transmission grid, therefore no electrocution risk to birds associated with this type of insulators will occur.

#### Construction

- The potential impacts would be mitigated by undertaking of construction works in accordance with a CESMP which will include, at minimum:

Measures of good construction practice (e.g. avoid sensitive habitats (e.g. alluvial terrains, riparian areas), avoid destruction of natural habitats, avoid temporal occupation and destruction of adjacent land; sound storage of hazardous substances, provide fire-protection measures and equipment / vehicle, provide spill-kits in construction and transport vehicles, sound material and waste management practices, etc.). These measures are particularly important for the riparian habitats along the Vardar River and Anska Reka. These no-go zones within the study area are depicted below.

- Figure 8.4: No-go areas in the Project area (rivers and riparian habitats), at the crossing of the Vardar River and Anska Reka (largely channelled)

Temporary land-take (including new access roads, storage area(s), etc.) would include adequate areas of land set away from sensitive biodiversity areas.

Establish sound waste management and actions to ensure contaminated material is identified, isolated and removed to appropriate treatment sites or landfill to avoid any impacts on the biodiversity.

Design and implement adequate management plans and actions to monitor their implementation during the construction.

Involve biodiversity specialist during the construction period as part of the Contractor(s) EHS team in order to supervise to construction works, avoid unnecessary tree removal, prepare plan for removal of invasive species, record nesting sites and other sensitive biodiversity components, etc.

Introduce seasonal limitation of construction works if necessary at some of the identified sensitive sites during the nesting period (April-May) which coincides with the majority of nesting species in the area, including the Turtle-dove (PBF). This measure will ensure no-net-loss of these bird species.

Eradication of invasive species in the habitat 92A0 Salix alba and Populus alba galleries in the patches presented on the Figure below - the two patches have an an area of 2.72 ha and 0.85 ha. Monitoring of the effectiveness of eradication of invasive species in the riparian woodlands along river Vardar should also be implemented. This may be considered as an offset measure for biodiversity which will have positive effect on native plant and animal species.

- Figure 8.5: Riparian Willow and Poplar belts along the Vardar River, at the river crossing section with the Project

#### Operation

Principle measures of good operational and maintenance practice to mitigate operational impacts from the Project to the habitats include:

Implement an integrated vegetation management approach through the selective removal of tall growing tree species. The riparian belt along the Vardar River should not be modified in any way.

The stretch of the Vardar River at the crossing with the transmission line is also used for fishing at the moment. Reducing and modifying human access points to decrease the likelihood that human activities will disturb birds where they congregate near power lines can reduce collisions caused by frightening and flushing birds into the power lines (APLIC 2012). Prohibition of fishing in a stretch of 250 m on both side of river Vardar will benefit biodiversity (habitats and species including the Kingfisher Alcedo atthis). This measure will cause certain (small) net gain for Kingfisher, as well (no disturbance, compared to the existing situation).

A post construction monitoring programme to assess eventual bird mortality due to collision is to be designed and implemented along the OHL alignments and especially at the Vardar River crossing section during first three years of the Project implementation.

### Residual Impacts

No residual impacts have been identified except for the possible collision risk for birds. So far, there are no data about the morality of birds from collision with transmission lines in Macedonia. Therefore a post construction monitoring programme to assess eventual bird mortality is proposed. In summary, this residual impact along the OHL corridors as a whole is assessed as of negligible significance.

## Waste

Waste is defined "any substance or object which the holder discards or intends or is required to discard."

### Construction and Dismantling Waste

During the construction of the Project facilities (substation and overhead line(s)), the main source of waste will be the preparation works and construction activities themselves, and waste generated by the workforce (Table below). In addition, waste from dismantling of two towers and specific electrical waste from dismantling of the obsolete equipment (conductors, insulators, earth wire) of the existing line between substations in Valandovo and ‘EVP’ Miletkovo will be generated.

| Project activity | Waste generation |
| --- | --- |
| Site preparation / earthworks / site remediation | - Surplus excavated materials - Stripped topsoil and subsoil - Organic waste (vegetation, etc.) |
| Construction | - Waste from dismantling of two towers and electrical equipment (existing line from SS Valandovo to ‘EVP’ SS Miletkovo) (Table below) - Packaging from materials delivered to construction site - Excess and broken / damaged construction materials - Waste oils from construction vehicles - Construction worker wastes |

Table 8.40: Project activities and construction waste generation

An initial estimate of the waste materials which will be generated as a result of the demolition / dismantling works is given in the following Table. Upon removal, many of these elements would be suitable for recycling.

| Transmission line to be dismantled | Waste element / material | Estimated amount of waste fraction |
| --- | --- | --- |
| Existing 2x110 kV OHL Valandovo – ‘EVP’ SS Miletkovo Towers and foundations to be dismantled: - Angle towers: 1 - Suspension towers: 1 - Total: 2 | Tower – steelwork | 7.44 tonnes |
|  | Foundations – reinforced concrete | 16.7 m3 |
|  | Conductor (ACSR 2x2x150/25 mm2) | 16.9 tonnes |
|  | Protective wire (ACSR 95/55 mm2) | 4.7 tonnes |
|  | Insulator strings | 120 strings |
|  | Porcelain insulators | 1,080 pieces |

Table 8.41: Estimated waste quantities from demolition and dismantling works

Taking into consideration the fact that most of the total volume of construction activities will be of a prefabricated type, the amount of construction waste will not be significant. The fractions of waste that will be created as a result of construction activities are in relation to the types of materials and equipment to be used during the performance of the various construction stages (earth and concrete works, electro-mechanical works, installation works, etc.).

Technical maintenance of construction machinery and other vehicles will not be conducted within the construction zones. For these reasons, creation of waste, characteristic for this type of activity (used tires, batteries, oils, etc. from vehicles) is not expected.

Fuel storage facilities will not be necessary and therefore will not be provided within any construction areas.

Solid and sanitary wastes will be produced by the workers during their stay on construction sites. The solid waste is commercial waste and according to its composition is similar to the waste from the households.

Wood and vegetation clearance at the construction sites will generate wood and other organic wastes. These wastes will normally be composed of branches, tops of trees and small dead trees unacceptable for timber processing. They will be retained and redistributed on the site which will allow production of nutrient capital and facilitate natural regeneration. Depending on the site conditions this waste may serve for matting purposes for access roads which will provide protection to the ground.

The Table below gives an indicative overview of the expected types of waste during the construction of the Project, systematized according to the classification in the European Waste Catalogue (EWC).

| Group 02 – Wastes from agriculture, horticulture, aquaculture, forestry, hunting and fishing, food preparation and processing |  |
| --- | --- |
| 02 01 07 | Waste from forestry |
| group 15 – Packaging waste |  |
| 15 01 | Packaging waste, paper / cardboard, plastics, wood, metal, composite packaging, glass… |
| group 16 – Waste not otherwise specified in the EU Catalogue |  |
| 16 02 | Wastes from electrical and electronic equipment (discarded equipment) |
| group 17 – Construction and demolition waste |  |
| 17 04 | Waste from metals |
| 17 05 04 | Waste from land excavation |
| 17 06 04 | Isolation materials (that don’t contain asbestos or dangerous substances) |
| 17 09 04 | Other construction waste (mixed waste) |
| group 20 – Municipal waste (+ similar waste from the industry), including fractions of selected waste |  |
| 20 03 01 | Mixed municipal waste |
| 20 03 07 | Bulky waste |

Table 8.42: Expected waste types during construction classified according to the European Waste Catalogue

### Operational Waste

During its operation, the Project will create waste that will result from the activities of MEPSO regarding the routine maintenance and control of the infrastructure.

Common types of waste that will be created in the operational phase of the Project include waste from forestry due to maintenance of the safety corridors along the transmission lines and electrical waste (consumables, spare parts and obsolete equipment), as well as packaging waste and waste from use of tower coating – paint.

The Tables below give an indicative overview of the expected types of waste during the operation, systematized according to the classification in the European Waste Catalogue.

| Group 02 – Wastes from agriculture, horticulture, aquaculture, forestry, hunting and fishing, food preparation and processing |  |
| --- | --- |
| 02 01 07 | Waste from forestry |
| Group 08 – Waste from use of coatings (paints, varnishes, etc.) |  |
| 08 01 | Wastes from use and removal of paint and varnish |
| group 15 – Packaging waste |  |
| 15 01 | Packaging waste, paper / cardboard, plastics, wood, metal, composite packaging, glass... |
| group 16 – Waste not otherwise specified in the EU Catalogue |  |
| 16 02 | Wastes from electrical and electronic equipment (discarded equipment) |

Table 8.43: Expected waste types during operation classified according to the European Waste Catalogue

### Mitigation

#### Construction

The Contractor, once appointed, will be responsible for identifying, collecting, segregating, transporting, disposing and treating all non-hazardous and hazardous waste produced during the construction phase. A Waste Management Plan would be developed and implemented as part of the Project’s CESMP to ensure all waste is properly managed.

This plan would detail all site-specific measures to be implemented during the works to identify, collect, transport and treat all waste produced. The Plan must be in line with the relevant Macedonian regulations and adapted to the level of danger for human health or the natural environment, based on the following principles:

- Sound procedures how each type of waste will be managed.

- Firm requirements to use licensed and authorized companies to remove waste and dispose of it properly.

- Waste would be minimized wherever practicable by reusing, including the surplus excavated material, and recycling any materials, including the equipment and material from dismantling works.

- All wastes would be identified, classified, quantified and, where practicable, appropriately segregated.

- All waste materials removed from construction sites would be in accordance with relevant national waste and environmental regulations.

- Waste would be transferred using registered waste transporters to a licensed waste disposal site or waste processing installation.

#### Operation

Waste generation is expected to be very small during operation of the Project. These wastes would be managed by MEPSO using the procedures established in their Integrated Management System which, inter alia, includes a certified environmental management system.

### Residual Impact

Provided that the mitigation set out in the Waste Management Plan during the construction is implemented the waste generated during Project’s construction would not be permanent or residual.

# Social Impacts and Mitigation

## Information Disclosure and Stakeholder Engagement

The purpose of stakeholder engagement, including disclosure arrangements, is to enable stakeholders to engage with the decision-making process of the Project, express their views and influence mitigation and technical solutions. In addition, the aim of the stakeholder engagement is to build a trusting relationship with the affected communities and other interested stakeholders based on a transparent and timely supply of information and open dialogue.

Although it is not expected any significant issues to occur with this Project, it is necessary to perform relevant information disclosure and stakeholder engagement activities, so to keep all relevant stakeholders update on project activities, at any stage.

Ignored and partially consulted stakeholders might pose the biggest obstacle for complete realization of the planned Project activities. During the construction, the result of insufficient stakeholder engagement activities can cause delays in the Project realization if the local population, or other key stakeholder, remain out of the stakeholder engagement process and demand introduction of changes into the further (more advanced) Project phases (e.g. detailed design, construction). These demands usually are very costly due to failure to deliver Project as planned, introduction of new unplanned mitigation measures and changes in the Project design that require additional financing.

A Stakeholder Engagement Plan (SEP) for the Project was developed and is to be fully implemented by MEPSO. The SEP is prepared in compliance with the EBRD PR10 regarding stakeholder engagement and relevant national legislation and be operational during the whole life-cycle of the Project. Thе SEP will be updated as necessary. A Grievance Mechanism is part of the SEP, so that stakeholders and the public can raise any concerns, provide feedback and comments about the Project.

## Beneficial Social Impacts

Beneficial Impacts

- Employment Opportunities during Construction

During the construction, the Project will generate temporary employment opportunities, whether skilled, semi-skilled or as unskilled jobs. One of the key social positive impacts would be the provision of an income source for workers and their families contributing to their wellbeing and enhancing their quality of life.

- Local Economy and Supply Chain Opportunities

The Project construction would provide opportunities for companies at the national, and possibly regional, level to supply goods and services. Local purchases of goods and services directly by the Project and workers during construction would foster the local economy.

- Improvement of the National Power System

The Project is part of a wider strategic programme being implemented over a number of years period by MEPSO to strengthen the power transmission grid in Macedonia, in order to connect existing and planned power projects - principally the growth of renewable energy sources, to improve electricity trade opportunities and to meet increased power demands. More specifically, the Project will:

  - Increase security of supply, and

  - Improve reliability of the existing network in the southeast region of the country by increasing transfer capacity

  - Secure and reliable integration of planned RES in the southeast region of the country, which consequently contribute towards reduction in CO2 emissions.

  - Increased efficiency and capacity of the transmission grid with smart grid solutions (Dynamic Line Rate (DLR) & asset management).

## Labour and Working Conditions

Labour and working conditions are a cross-disciplinary area concerned with protecting the safety, health and welfare of people engaged in work or employment.

Construction activities pose potential risks to the wellbeing of construction workers, if not managed properly. There is the risk of adverse occupational health and safety (OHS) impacts related to personal accident or injury on any construction site of the Project, including exposure to physical hazards from use of heavy equipment, machinery and cranes; exposure to electrical hazards from the use of tools and machinery; trip and fall hazards, including working on height; exposure to construction noise; falling objects.

The key OHS hazards specific to construction of transmission projects primarily include:

- Working at height: Workers may be exposed to occupational hazards when working at elevation during construction of the towers and the conductor stringing operations.

- Electrocution: Workers may be exposed to occupational hazards from contact with live transmission line during commissioning works when the line is being electrified and tested.

OHS risks during operation are similar to those in the construction phase, limited to the operational and maintenance activities for the transmission line, which will be occasional and/or involve a limited number of workers. The most significant risk would be related to the possible electrocution from the energised OHL conductors.

Working conditions and workers accommodation facilities will be set in compliance with relevant Macedonian labour legislation, which is aligned with the ILO and EU standards. Principle mitigation measures during the construction of the Project would include creation of a number of thematic plans as part of the Project’s CESMP for overall social management, such are the following (at a minimum):

- Occupational Health and Safety Plan

- Grievance Mechanism for Workers

- Emergency Preparedness and Response Plan

These documents would set out the mitigation requirements and would contain measures to ensure compliance of the Project construction with the relevant standards and legislation in the labour and working conditions domain.

The occupational health and safety performance during operation of the Project will comply with the requirements of Macedonian legislation and the Integrated Management System (IMS) of MEPSO.

## Community Health and Safety

### Construction Traffic

#### Potential Impacts

Construction works, heavy machinery and large transport vehicles and increased intensity and volume of the traffic will affect the normal road traffic regime in the Project area. It is expected that the principle means of transport proposed to service project construction will be by road due to the fairly developed road network in the Project area, and the flexibility required in delivering machinery and materials to locations across the corridor.

Based on information available from other transmission developments of similar size, the Table below presents information on the assumed types of light and heavy vehicles which will be used to satisfy construction transportation requirements.

| Light vehicles | Heavy vehicles |
| --- | --- |
| Cars | Truck for ready mix concrete |
| Vans | Trucks |
| Light tractors | Cranes |
| 4-wheel drive (4WD) vehicles | Heavy tractors |
|  | Trucks with drums for conductors |

Table 9.1: Assumed construction traffic inventory

No other potential means of transport (i.e. helicopters or waterborne transport) are assumed for construction purposes of the Project.

It is clear that construction traffic will increase traffic flows on some roads, particularly the local road network and on unclassified roads, where traffic levels are typically low. These effects may be predicted during the busiest phases of Project construction primarily on narrow rural roads which currently carry low flows of traffic and which are often unsuitable for large numbers large vehicles. Conflicts with the construction vehicles listed above would occur more often during main agricultural seasons when local traffic is more intensive and at the start and end of the school day, particularly on those roads where there is limited space for large vehicles to pass oncoming traffic.

The effects of construction traffic on such roads will cause increases over baseline traffic flows leading to increased potential for incidents and accidents involving pedestrians, other vehicles, and the potential for damage to the local roads, decreasing their safety. However these effects will be short term, limited to the duration of the works in each location, and will be controlled through traffic management measures where appropriate. An exception is the construction at the substation site which is expected to last around two years, where there will be increased traffic movements (both on-site and off-site), particularly by heavy vehicles. Therefore the magnitude of the effects on the current traffic in the Project region would be very low to low along the OHL corridor and low to medium around the SS site, and the significance of the impact is assessed as of minor significance at some locations (e.g. around the substation site).

#### Mitigation

In order to minimise impacts on residential areas from traffic during the construction works, a set of mitigation measures needs to be proposed and detailed Traffic Management Plan to be developed as a part of the Project’s CESMP.

- The potential impacts from the construction traffic would be mitigated by undertaking of construction works and associated transport in accordance with a CESMP which will include a Traffic Management Plan, which will (i) define the characteristics of the construction fleet of vehicles and site machinery, (ii) describe the expected Project’s traffic (frequency of trips, working hours, convoys) and (iii) detail all site-specific measures that would be implemented during the construction period to minimise the nuisances to neighbourhoods generated by its fleet and to reduce the risk of accidents. In addition, this plan will set out how transport movements will be managed on the local network, routes for larger vehicles, and details and timings of any necessary road closures.

- This plan would include measures of GIP that are typically adopted on construction projects, which are designed to prevent the occurrence of significant impacts and will include (in minimum) the following requirements for the Contractor:

- To identify potential requirements for necessary improvements to the public road system which would be required to allow for movement of heavy vehicles between the main road system and the construction sites.

- To develop a procedure to avoid obstruction of local traffic due to the construction traffic, including the cases of accident or heavy vehicle breakdown.

- To consult with traffic authorities before construction in any location to determine the need for public notice, warning signs and flags, visibility mirrors and other measures.

- To determine the number and positioning of flagmen.

- To develop specific routes for traffic if needed to avoid schools, community facilities or other sensitive areas. In addition, specific traffic safety measures are defined, implemented and documented in sensitive areas (e.g. close to schools).

- To ensure that no traffic is allowed within the identified legally protected cultural heritage sites in proximity to the Project (see Section 7.4, Table 7.13) or in their vicinity.To ensure that all drivers have the appropriate permits for driving vehicles.

- To conduct road-safety training for all drivers and equipment operators, including rules to avoid and control the risk of drink-driving. To minimize use of off-road areas and maximize use of existing roads and tracks.

- To determine strict speed limits for all different locations and conditions.

- To mark the routes acceptable for vehicles and equipment in off-road areas (to minimize disturbance to off-road areas).

- To undertake regular inspections to ensure roads are clear from mud and other debris.

- To prohibit transport people, live animals, equipment or products other than those required for the construction purposes and the management of construction sites.

An important measure will be the implementation of information programme to introduce the local population the construction activities, with particular accent on the traffic on the unclassified roads to the locations of the Project. The local population will be informed in a timely manner for all potential necessary changes in the regime of the traffic. In consultation with MEPSO, the Contractor will be requested to disseminate construction traffic movement information to the public, particularly in advance of the busiest phases of activity or in advance of movements of special loads such as substation transformers.

#### Residual Impacts

With the mitigation measures in place and provided that the mitigation set out in the Traffic Management Plan is implemented, it is anticipated that effects associated with the construction traffic would not be permanent or residual.

### Public Exposure to Electro-Magnetic Radiation

#### Introduction

Once operational, the transmission line(s) and substation elements will be source of non-ionizing radiation - electro-magnetic radiation - electric field, which depends on the voltage of the OHL equipment, and remains more or less constant as long as the line is under operation, and magnetic field, which depends on the electrical current (the load) carried by the OHL equipment and varies according to the demand for power at any given time. Electric fields are measured in volts per metre (V/m) or kilovolts per metre (kV/m). Magnetic fields are measured in microteslas (µT) or nanoteslas (nT).

#### Public Exposure Limit Standards

- Macedonian National Standards

There is no legislation in Macedonia related to the non-ionizing radiation which refers to the exposure limits of the electro-magnetic fields (EMF).

- International Standards / Good International Practice

In 1998, the International Commission on Non-Ionizing Radiation Protection (ICNIRP) issued recommendations for low-frequency fields exposure limits, listed in the "ICNIRP Guidelines for Limiting Exposure to Time-Varying Electric, Magnetic, and Electromagnetic Fields (up to 300 GHz)". ICNIRP recommendations are applicable both to the long-term exposure of the general public and the short-term exposure at the industrial sites. The exposure limits established in these guidelines are presented in the Table below.

| Exposure of public |  | Occupational exposure |  |
| --- | --- | --- | --- |
| Electric field | Magnetic field | Electric field | Magnetic field |
| 5 kV/m | 100 µT | 10 kV/m | 500 µT |

Table 9.2: Limit values for exposure to electric and magnetic fields (ICNIPR, 1998)

In 2010, the ICNIRP issued a new guideline – “ICNIRP Guidelines for Limiting Exposure to Time-Varying Electric and Magnetic Fields (from 1 to 100 KHz)”. The reference exposure levels of these guidelines are given in the Table below.

| Exposure of public |  | Occupational exposure |  |
| --- | --- | --- | --- |
| Electric field | Magnetic field | Electric field | Magnetic field |
| 5 kV/m | 200 µT | 10 kV/m | 1000 µT |

Table 9.3: Limit values for exposure to electric and magnetic fields (ICNIPR, 2010)

- Summary

In absence of national legally determined standards, the EMF public exposure levels from the Project need to be in compliance with exposure limits for general public as determined in the relevant international standards as recommended by the International Commission on Non-Ionizing Radiation Protection.

#### Expected Level of Electro-Magnetic Fields

- Operational 110 kV overhead line

According to the available information from similar projects, provided that the minimum OHL conductor vertical clearance is e provided and due to the rapid attenuation of the EMF intensity over distance from the transmission equipment, the exposure to EMF is likely to be experienced directly under the transmission line and at approx. 5 metres from the line the level of the EM radiation will be well below the public exposure limit value (Figure below).

Figure 9.1: Typical diagrams of calculated values of electric and magnetic fields for an operational 110 kV transmission line at middle of the span

Note:

(1) These calculations have been performed by using software package PLS-CADD for the following configuration:

- Basic span: 300 m; Tower type: angle tower UZ 30-60 (considered as most unfavourable geometry of cross-arms in regard to EMF exposure risk; Tower height: 25 m; Vertical clearance: 6 m; Reference height for calculation: 1.8 m

(2) Results: Max EF: 2.135 kV/m at offset of 4.0 m from the OHL axes at the mid-span; Max MF: 18.77 µT at offset of 3.0 m from OHL axes ate the mid-span.

As there would be no development of any kind, including construction of residential or other properties (houses and facilities) in the safety zone along the line(s) (a 20 metres wide RoW) and due to the fact that the lines do not pass through or near residential zones, there can be no exceedance of the long-term public exposure limits to electric field and magnetic induction and no significant direct impact to sensitive receptors during the operational phase of the transmission lines.

- Operational 400/110 kV substation

For substations, the highest fields found round the perimeter are normally those produced by the overhead lines entering or leaving the substation. The fields produced by the equipment within the substation are generally rather smaller.

Past research and measurements of the EMF associated with similar substations as the proposed new 400/110 kV substation have shown that on height between 1.5 and 2 metres from the ground on critical locations in the substation (such as switch gear), the highest values of the electric field is around 10 kV/m. Hence, these values attenuate intensively with distance from the electrical equipment and on the edge of the equipment bays they are below 5 kV/m and on the substation perimeter the fall to value between 1 to 2 kV/m, which is below limit values for exposure.

The magnetic field generated in a substation attenuates much intensively than the electric field and on the substation perimeter they values are close to zero.

A safety zone in range of minimum 5 metres around the substation perimeter will be established thus ensuring that EMF values in public accessible areas are well below the limit values. Therefore, and due to the fact that no residential or other properties are located in proximity to the substation location, the risk to human health from the electro-magnetic radiation during the operational phase of the new substation is considered as negligible.

#### Potential Impacts

In terms of the potential impacts on human health from an operating transmission line or substation equipment, based on the above presented fields magnitudes, the intensity of an electric field is considered as more dominant parameter than the intensity of a magnetic field.

A person standing in the electric field beneath or close to an operational transmission line or substation elements will have an alternating surface charge induced on his or her body and an associated alternating current induced within the body. Over the past 20 years, it has been suggested that exposure to power-frequency magnetic or electric fields of the magnitude encountered in the environment could be linked with various health problems, ranging from headaches to Alzheimer's disease. The most persistent of these suggestions relates to childhood cancers.

A number of epidemiological studies have suggested an association between the incidence of childhood cancers and the proximity of homes to power transmission wires. Other studies, notably the world’s largest ever study of its type, conducted in the Great Britain during the 1990s, have failed to confirm such associations, but the statistical association remains. However, no causal link has been established between cancer or any other disease and EMF and indeed there is no established mechanism by which these fields could cause or promote the disease.

#### Mitigation

The Project to date has been inherently designed to avoid the public exposure to electric and magnetic fields from its future use and would be further designed to mitigate the public exposure to EM radiation. Potential impacts on human health as a result of the EMF would be mitigated through the further design and operation of the Project, at a minimum:

- Incorporation of respective design parameters for the minimum conductor vertical clearance into the Project design.

- Establish safety corridor along the path of the transmission line according with the requirements of the relevant Macedonian legislation. As there would be no development within the safety corridor, exceedance of the long-term public exposure limits to electric field and magnetic induction and significant direct environmental impact to sensitive receptors during the operational phase of the Project is unlikely.

EMF will have no effect on agricultural workers who will not be exposed for long periods every day, or on domestic animals that graze under or near the transmission line(s). Therefore, no restriction of agricultural activities below or in vicinity to the Project would need to be imposed.

#### Residual Impacts

Provided that the mitigation measures are incorporated in the further Project design and implemented throughout the operational phase of the Project, no likely significant residual effects around the public exposure to electric and magnetic radiation from the Project are anticipated.

### Community Risks

- Disturbance from Project activities

- The main disruption factors on local population during construction work would be temporary. It concerns noise, dust, exhaust emissions from vehicles or machinery and vibration from Project activities and machinery to nearby residents that are in close proximity to the construction sites. These emissions, which have potential to affect human health will be rather quite limited for each potential receptor, as planned works at each affected site would be small scale and short-term. Exhaust emissions from vehicles or machinery would be negligible and there is no risk to influence surrounding community members. The sensitivity of the receptors (health of local communities) is considered high. However, it is a short-term and localised impact that only concerns specific sites and therefore the impact significance is considered as minor.

- Risk of accidents at construction sites

Necessary equipment for the construction will be stored in construction compounds and/or working areas, places that could be dangerous for the surrounding communities. There is a risk that residents in the immediate vicinity of the construction sites could get injured in contact with heavy equipment. In addition, any exposed excavation could also lead to falls and injuries if not fenced off. Even if the likelihood of such accidents is low, the consequences could be of high magnitude and important, potentially leading to injuries or lethal accidents. The significance of such impacts could, therefore, be considered to be major.

Mitigation measures on accidents on construction sites must include preparation and complete implementation of Community Health and Safety Management Plan (CHSMP) that will include measures not only applicable into the construction, but in operational phase of the project, as well. The CHSMP must involve strong educational dimension that will be implemented to the residents of local settlements bordering the project footprint or at a distance of 500 m from the OHL alignment. Additionally, an Emergency Preparedness and Response Plan should be prepared and it should cover the construction phase. Provisions of this plan should also be incorporated into the general policy of the company, and OHL operator, who shall carry maintenance works on the OHL and associated facility.

- Propagation of communicable disease due to introduced workforce

- Workers would be employed during the construction phase of the Project. Small part of the workforce is expected to come from outside the Project area - if they cannot be recruited at the local level. Provision of accommodation for these workers with operating rules that allow for interaction between workers and local people may increase the incidence of communicable diseases - including HIV, COVID-19, etc.

The workers will only stay a few days on each tower construction site. As the number of workers employed by the Project on each construction site along the OHL corridors would be relatively small at one time, the risk of communicable diseases transmission from the workforce to the local population is negligible. Therefore, the impact significance is considered minor and the potential public health impacts from communicable diseases are, at this point considered to be a minor factor affecting the implementation of the Project. An exception is the substation site where significant number of workers would be employed and construction will last around two years and, therefore, potential impact is considered as of moderate significance.

Potential impacts on human health (workers and local population) would be mitigated with appropriate and regular monitoring of workers’ health and introduction of preventive measures that could disable further spread of potential diseases. Regular health checks of the workers would need to be implemented in order to identify early sources of potential diseases, if such occurs during construction. Education of workforce on potential threat of infectious diseases and methods for prevention of such threats is of great importance and should be part of mitigation measures in the construction phase prior commencement of civil works.

- Gender Based Violence and Harassment

Gender Based Violence and Harassment may also occur during planning, implementing and operational phase of the Project. Any discrimination against female workers and members of local community must be prohibited. Female workers often get less remuneration compared to their male counterparts even for the same workload. Female workers are sometimes harassed in their workplace and become victims of inappropriate and indecent comments and actions towards them. Therefore, mitigation measures must include preparation of Policy and Procedures that will be adopted by MEPSO in their capacity as a Project developer, as well as by their contractors and their subcontractors, and which will serve as a tool for elimination of gender-based violence and harassment, not only at the workplace, but also in interaction with the local community.

- Disturbance from Project operation and maintenance activities

During operation, noise in the form of buzzing or humming would be emitted from the conductors of the energised transmission line (see Section 8.3). This operational (corona) noise reaches its maximum during periods of precipitation, including rain, sleet, snow or hail, or as the result of fog. The sound of rain typically masks the increase in noise produced by the transmission lines, but during other forms of precipitation and fog, the corona noise can be troubling to nearby residents. The corona noise produced by high voltage transmission lines carries no known direct health risk. As there would be no properties in the safety corridor of the transmission lines, no significant health risk to sensitive receptors is expected.

Noise, dust, exhaust emissions from vehicles or machinery and vibration would only occur at operation time during maintenance activities. These emissions would be of very low magnitude, since they would be very limited as planned works at each affected site would be small scale, punctual and short-term. The significance of this impact is therefore considered to be negligible.

## Land Use Change

Both public and privately owned land will be affected by the implementation of the Project activities. Certain area of land would be permanently occupied for construction and operation of the substation and the respective transmission lines, mainly land needed for the SS elements, new OHL towers and access roads, where the necessary roads do not exist.

The new substation Miletkovo is expected to occupy around 6 ha of land. The amount of land required for construction of the new OHL towers which will imply change of current land use forms is not available at the present stage of the Project development, since the total number of the new towers is not yet determined. Land requirement (footprint) for the 400 kV tower is approx. up to 250 m2 (two towers of this type are foreseen for the Project), while for 110 kV towers is up to 150 m2 (see Section 2.4).

An overview of typical land use effects from the Project is provided in the Table below.

| Project component | Description | Land use changes |
| --- | --- | --- |
| Access roads / tracks | Construction will require temporary tracks (in place during construction works) and permanent tracks, involving new and upgraded aggregate tracks, linking public roads to construction sites. | Temporary as well as permanent occupation of corridors of land for new tracks. Note: Locations of new access tracks would be identified in more advanced development phase of the Project, prior to construction. |
| Substation | Construction and operation of the substation will require land of an area of approx. 6 ha. | Permanent occupation of land for substation. |
| OHL Towers | Foundations for new OHL towers involve excavation and concrete bases to support the four legs of the tower structures. The area at the tower bases varies according to tower type. | Temporary occupation of land during construction - tower construction / stringing. Permanent occupation of areas of land for each new tower foundation. |
| Construction camps and other facilities such as temporary compounds, materials storage and waste management areas | Construction camps would be established to provide material storage, maintenance and office accommodation at the SS site and at various strategic locations along the OHL corridors. | Temporary occupation of land for construction purposes. To minimise the impact magnitude, it can be required that construction camps and associated facilities are formed in existing industrial or commercial sites/locations, wherever possible, Note: Sites for construction camps and other facilities would be identified in more advanced development phase of the Project, prior to construction. |
| Right of Way | As required by the relevant Macedonian legislation, approx. 20 m wide RoW (protection zone or safety corridor) will be established along the new 110 kV lines, once operational. Note: RoW along the existing 110 kV line from SS Valandovo to ‘EVP’ SS Miletkovo, which is subject to reconstruction, already exists. | Within the RoW, in order to ensure the safe operation of the lines and for the safety of people, particular land use limitations will be imposed. No development (houses, buildings and facilities, and other structures) will be allowed within the RoW in compliance with the conditions and technical norms stipulated in the relevant Macedonian legislation. |

Table 9.4: An overview of land use effects from the Project

The key residual - long term, direct land use effect of the Project (permanent land-take and land conversion) is limited to the substation site and immediate areas underneath the OHL towers. Based on information available in relevant literature as well as in studies of transmission developments of similar type and size, these areas represent less than 1% of the total surface area of the study area (infrastructure corridor). This impact is considered as of very low to low magnitude and, therefore, of negligible significance.

## Land Acquisition

The Project activities will permanently occupy insignificant and small amount of agricultural land, barely used. Some of the land will only be temporarily occupied during construction, to enable access to areas where the Project will be built. Therefore, the Project will require temporary and permanent acquisition of land, which may involve particular economic effect on people (loss of assets) as a result of project-related land acquisition and/or restrictions on land use. No physical displacement of people (relocation or loss of shelter) is expected due to the fact that the routing exercise of the OHL corridor achieved to avoid residential and commercial properties to a safe distance from the line.

All land acquisition, either permanent or temporary will be done in compliance with the relevant national legislation and EBRD PR5 requirements. If land acquisition causes economic displacement of people, appropriate measures to assist with restoration of livelihoods and standards of living will be included in the respective land acquisition and resettlement documents, which are to be prepared once the detailed Project design is verified and detailed official data on affected land property and its value is available.

Land Acquisition and Resettlement Framework (LARF) for the land to be acquired (temporary or permanently) and livelihood to be affected is prepared, and it should further be developed into the Land Acquisition and Resettlement Plan (LARP), once the final Project footprint is defined. The scope and level of detail of the plan will be proportionate to the nature and scale of the project, its potential displacement impacts and the level of stakeholder interest. Affected people shall be consulted during the further planning stage of the Project, and prior to finalization of the Project design, as part of resettlement procedure.

## Cultural Heritage

The key potential impact during the construction of the Project is related to the risk of partial or total removal or destruction of unknown heritage assets (undiscovered archaeological sites) due to ground removal, which implies the need for setting mitigation approach.

During the construction works, as part of the Project’s CESMP, a protocol (“chance-find” procedure) is to be developed and implemented. This protocol would be in compliance with the national legislation on the protection of cultural heritage. Workers need to be trained in the use of this procedure.

In addition, the Project’s Traffic Management Plan (see Section 9.4.1) will develop specific routes for traffic to ensure that no construction traffic is allowed within the identified legally protected cultural heritage sites in proximity to the Project (see Section 7.4, Table 7.25) or in their vicinity.

## Gender Based Violence and Harassment

Gender Based Violence and Harassment may also occur during implementing and operational phase of the Project. Any discrimination against female workers and members of local community must be prohibited. Female workers often get less remuneration compared to their male counterparts even for the same workload. Female workers are sometimes harassed in their workplace and become victims of inappropriate and indecent comments and actions towards them. Therefore, mitigation measures must include preparation of Policy and Procedures, in compliance with EBRD guide, that will be adopted by MEPSO in their capacity as a Project developer, as well as by their contractors and their subcontractors, and which will serve as a tool for elimination of gender-based violence and harassment, not only at the workplace, but also in interaction with the local community. Grievence form will be present on site and any GBVH event occurring as a result of the project activities can be lodged to MEPSO. A flyer, that will contain potential prevention measures and post-festum actions to be undertaken by the local population if GBVH occurs as a result to the Project activities, will be created and distributed by the Contractor(s) among the affected settlements. If any GBVH event occurs at the workplace, the existing grievance mechanism for workers can be used. MEPSO will be required to organize training on GBVH for its workers, as well as for all engaged workers on this project by the Contractor(s) and its subcontractors.

# Cumulative Effects

Cumulative impacts refer to the accumulation of human-induced changes on valued environmental and social components (VECs) over time and across space in an additive or interactive manner. Therefore, cumulative impacts are combined changes to the environment caused by two or more projects that are close to the same location or area, and which types of construction or operational impacts have similar nature and potential for interaction. Cumulative effects occur because a series of projects of the same type are being developed or from the combined effects over a given resource of a mix of different types of projects.

In relation to the Project and in regard to the wider development scheme as a whole, cumulative effects may occur during the construction of the both components in the wider Project area (as most likely the construction of the both will be realized simultaneously, in parallel) in a form of typical impacts associated with construction works (air pollution, nuisance due to construction noise, traffic disturbance, waste generation, etc.). Therefore, coordinated E&S management and cooperation between contractors of the both components throughout the construction period will be needed in order to optimize the mitigation strategy, with emphasis to the affected area on territory of the Valandovo municipality where these components overlap. This may include preparation of joint management plans for the aspects relevant for the potential cumulative impacts (e.g. Waste Management Plan, Traffic Management Plan, etc.).

In addition, cumulative effects may occur as a result of interaction with other projects of similar type and size in the surrounding. During the time this assessment was carried out, no such current or future projects were registered in the close proximity or in the area that is to be directly affected during the construction of the Project. Therefore, no cumulative effects due to interaction with other projects are expected to occur during construction. However, if future developments with a potential for cumulative effect occur in the study area, coordinated E&S management and cooperation between contractors of the developments throughout the construction period will be needed in order to optimize the mitigation strategy, including preparation of joint management plans for the aspects relevant for the potential cumulative impacts, such as construction waste management, traffic management, construction noise, etc.).

During the operational phase, specific cumulative visual effects may arise where it is possible to see more than one development of a similar type and size on the skyline. In general, such developments in a case of a new transmission development project would be other high voltage overhead lines or wind farms. During the time this assessment was carried out, there were no other transmission developments nor wind farm development applications in the Project area. Therefore no potential for additional effect arising from cumulative interaction with similar developments is likely.

# Emergency Response Planning

## Potential Emergency Situations

Typical potential risks associated with the Project during the construction and operational phases are:

- Natural hazard, including extreme weather event - flood, storm, ice or geological hazard - earthquake, landslide, soil erosion, etc.

- Fire, whether natural or caused by construction activity (e.g. clearing and cutting of vegetation, sparks from construction equipment, improper management of flammable matter (solvent, fuel, etc.), negligence and non-compliance with prohibitions and warnings (careless actions of workers at work sites, such as throwing of burning cigarette, etc.)).

- Risk of traffic accident. Trucks and heavy machinery will be used during the construction. During their movement on public and access roads the following events may occur: collision with vehicles, assets or animals of local population; collision with members of the local population; collision with other project machinery or collision with the members of the project workforce.

- Risk of hazardous substances spill causing water or soil pollution. Hazardous materials include any controlled or potentially hazardous substances used on the construction site. These materials may cause environmental damage, fires, explosions, or health problems.

- Injury of workers, associated with: incidents with heavy machinery / vehicle used for the Project construction; operations at height; collapse of structures or scaffoldings; electrocution near electrical equipment; pollution with used chemicals; exposure to dust, noise and vibration from excavation, drilling, transport; electrocution when working near energised transmission line and substation equipment.

## Emergency Management

### Construction

An outline of the emergency management procedures will need to be provided prior to the construction commencement for the range of identified emergency situations, where there is potential for hazards to create an emergency situation during the construction of the Project. This should include an overview of the objectives and management principles to be adopted for the preparation of a detailed Emergency Preparedness and Response Plan (EPRP) (including emergency response and recovery, and clean-up procedures) in consultation with the relevant emergency response authorities and services.

Indicatively, the content of the EPRP will, inter alia, address the following main emergency response areas:

- Emergency risk assessment, identification and classification.

- Emergency prevention and mitigation measures.

- Roles and responsibilities of the personnel during emergency situations.

- Emergency response planning and procedures.

- Emergency reporting.

- Testing and reviewing emergency preparedness.

- Training aspects.

### Operation

During operation, the Project will comply with the emergency management requirements and standards of MEPSO as set out in their IMS and the accompanied operational procedures which, inter alia, include occupational health and safety aspects as well as emergency planning based on respective emergency risk assessment.

# Environmental and Social Management

## Introduction

A Project's Environmental and Social Management Plan (ESMP), as a standalone document and associated to this E&S Assessment Report, consisting of a set of mitigation and monitoring measures, criteria for their successful implementation and institutional measures to be taken during the Project implementation to eliminate adverse environmental and social impacts, offset them, or reduce them to acceptable levels, has been developed. It has been prepared based on the findings of this E&S appraisal to ensure that the Project is executed in compliance with applicable Macedonian laws and regulations and EBRD environmental and social requirements.

The ESMP is a key document that lists the environmental and social requirements, including health and safety risks, and details the operational procedures necessary for managing the significant issues connected to the Project activities.

The ESMP will be implemented during the pre-construction, construction and operation / maintenance of the Project. As such it can be used as a standalone document during the different phases of the Project by the key Project stakeholders: MEPSO in its capacity as Project Developer / Operator and by the Contractor(s), as well as by the governmental authorities and other competent / responsible parties.

MEPSO will appoint a Project Implementation Unit, responsible for Project implementation.

This chapter outlines the key objectives and basic principles of the ESMP, as well as its structure and content.

## Objectives of Environmental and Social Management

The key objectives of the ESMP, including the Monitoring Plan, are:

- To ensure project components are conducted in compliance with the national laws and regulations as well as the requirements of the Lender (EBRD).

- To measure the success of proposed mitigation measures in minimising and/or reducing potential environmental, health, safety and social impacts.

- To control the changes to baseline environmental, health, safety and social conditions during pre-construction, construction and operation activities.

- To facilitate a continual review of activities based on performance data and consultation feedback.

- To implement corrective actions or new adaptive management programs, as required.

## Principles of Environmental and Social Management

The E&S Management of the Project comprises a set of measures or specifications that have been originated following the outcomes of the Project’s E&S appraisal but also measures that are considered to reflect GIP.

MEPSO takes overall responsibility for the implementation of environmental and social mitigation and compensation measures of the Project. Effective implementation of these specifications before and during the construction phase will be supervised by a Consultant who is to be appointed by MEPSO. MEPSO will be responsible and take ownership of the measures relevant to the operation and maintenance phase of the Project.

### Pre-construction Phase

Each requirement resulting from the process of obtaining a specific Project-related decision (approval, permit, consent) from the national and/or local statutory stakeholders / competent bodies (municipalities, ministries, agencies, etc.) and/or the Lender (EBRD) during the pre-construction stage will be included in the final documentation for construction.

### Construction Phase

In principle, the implementation of the key E&S mitigation measures relating to the construction phase would be delegated to the Contractor(s). This delegation will be ruled by the ESMP that will form part of tender documents / procurement process and the Contractor’s contract.

- The Contractor(s) will develop their own Construction Environmental and Social Management Plan (CESMP) which will be aligned with this E&S Assessment Report and the associated ESMP. The CESMP will include associated management plans (sub-plans) or procedures to address E&S issues during the construction period. MEPSO in their capacity as the Project Developer (or a Consultant who is to be appointed by MEPSO) will review and approve these documents.

It will be the task of the appointed Contractor(s) to further detail the issues addressed in the ESMP, depending on the progress of project planning, up until and during construction (e.g. establishment of construction zones, temporary facilities for work force, details for storing construction and other materials, traffic and transport aspects, environmental protection and waste management issues, labour issues, occupational and community health and safety, emergency preparedness, etc.).

### Operational Phase

The operation phase will start with the full commissioning of the Project. At that stage, all works will have been taken over from the Contractor by MEPSO who will implement most E&S management measures to ensure compliance with the Project’s mitigation strategy.

## Organisation of Environmental and Social Management

The core (indicative) structure and organization of the Project’s environmental and social management is presented in the Figure below.

The source documents include:

- Environmental and social policies and standards of the Lender (EBRD);

- Macedonian legal requirements;

- Respective technical documentation – upcoming Preliminary / Detailed designs - to be prepared to meet Macedonian regulations.

- E&S Assessment Report (this document), prepared to meet international E&S standards and Macedonian regulations.

The output documents are:

- The Contractor CESMP – to be prepared by the Contractor(s) to achieve the E&S performance objectives during Project’s construction;

- The Environmental and Social Management System (ESMS) of MEPSO, required to implement and monitor the management actions described in this E&S assessment;

- Detailed E&S management plans or procedures required to address the mitigation and compensation measures identified through the E&S assessment; and

- Various documents that will be produced and disclosed during the course of the Project’s implementation to inform on the Project’s construction and operation activities and the results of the environmental and social monitoring activities.

## Contractor Construction Environmental and Social Management Plan

The Contractor(s) are expected to have their own ESMS, but the Project would require the Contractor(s) to develop a Project-specific Contractor’s CESMP. This CESMP would take precedence over the Contractor’s ESMS and would include the following key elements:

- Planning aspects (E&S organisation; E&S overview of construction sites; E&S procedures and specific management plans);

- Submission and approval aspects (i.e. procedure for submission and approval of the CESMP by the Project Developer)

- The key appointed ESHS personnel and their powers and responsibilities (e.g. EHS Manager, OHS Officer, Community Liaison Officer, etc. with appropriate expertise and qualifications);

- Scheduled inspection of construction works;

- Reporting aspects (i.e., system to facilitate reporting and data analysis);

- Training requirements

- Workers’ Code of Conduct

## Project Developer / Operator Environmental and Social Management System

MEPSO as the Project Developer / Operator would need to establish and maintain an overarching ESMS for the Project, including, at a minimum:

- Environmental and Social Policy, summarising the commitments made to manage the E&S risks in terms of environmental protection, labour and working conditions and health and safety.

- A documented set of internal procedures for implementation of the Project and the ESMP, including but not limited to, the following topics:

  - Mobilisation of the appointed Project Developer personnel;

  - Allocation of the key roles and responsibilities within the appointed Project Developer personnel;

  - Coordination and clear division of responsibilities among the appointed Project Developer personnel for review of CESMP documents and procedures, and monitoring of their implementation;

  - Progress reporting, record keeping, databases.

Figure 12.1: Core structure and organization of the Project’s Environmental and Social Management

# Conclusion

The findings of this environmental and social assessment indicate that the Project objective of identifying technically feasible and economically viable solutions which on balance causes the least disturbance to the environment and to the people who live and work in its surrounding has been met.

Provided that the proposed mitigation strategy is implemented, the construction and operation of the Project is considered as justified because:

- The environmental and social aspects related to key phases of the life cycle of the Project are identified and taken into account.

- The assessment of the environmental and social impacts is based on best available information.

- The identified likely impacts can be prevented, reduced or compensated and, therefore, the Project is not a threat for adverse or irreversible damage to the natural and social environment in the project area.

- The Project will create employment opportunities as well as opportunities to the local economy and supply chain.

- The Project will strengthen the power transmission system in Macedonia thus contributing to the overall economic development and social welfare in the wider region.

- The Project will not cause significant impacts on the environmental media (air, water and soil) and will not generate excessive waste.

- The Project will not cause significant adverse impacts on biodiversity and ecological integrity of the area as well on the valued landscapes, nor will compromise the conservation goals of the concerned protected areas.

- The Project will imply only very limited long-term residual land acquisition.

- The Project will not cause significant health and safety risks or disturbance to the neighbouring communities.

- The Project will not imply impacts to known cultural heritage in the area.

The environmental and social aspects associated with the Project are identified and addressed in this E&S Assessment Report according to the requirements of the relevant Macedonian regulation, the EBRD standards and best international practices.

# References and Literature

Project Reports to date:

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Inception Report, November 2020

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Technical Options Analyses - Interim Report 1, March 2021

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Technical Options Analyses - Interim Report 2, July 2021

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, October 2021

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Stakeholder Engagement Plan, March 2022

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022

MEPSO’s Reports and Energy Sector Reports

- Energy development Strategy in Macedonia, December 2019

- GRID CODE – Rules for Electrical Transmission System Operation; MEPSO; 2021

- Annual Report for 2020; MEPSO, February 2021 (available in Macedonian)

- 2nd ENTSO-E Guideline for CBA of Grid Development Projects; Final Approved by EC; ENTSO-E; March 2018

- Ten-Year Network Development Plan (TYNDP) 201 [Online] http://tyndp.entsoe.eu/tyndp2018/; ENTSO-E; 2018

- Ten-Year Network Development Plan (TYNDP) 2020; ENTSO-E

- Strategy for Energy Development the Republic of Macedonia until 2040, 2019

E&S related Reports / Literature

- EBRD Environmental and Social Policy, April 2019

- State Statistical Office Publications: www.stat.gov.mk

- Annual Report for Environmental Data for 2020; Ministry of Environment and Physical Planning, 2021

- Macedonian Strategy for Nature Protection Melovski et al., 2019

- Extremely Low Frequency Fields; World Health Organization (WHO), 2007

- Environmental Noise Guidelines for the European Region, WHO, 2018

- Koco Dimce (1996). ‘Archaeological Map of the Republic of Macedonia’ II. Skopje: Macedonian Academy of Sciences and Arts

Climate Change and Climate Resilience

- MACEDONIAN THIRD BIENNIAL UPDATE REPORT ON CLIMATE CHANGE, August 2021; Ministry of Environment and Physical Planning

- The Impact of Climate Change on Electricity Demand (www.adamproject.eu); European Commission, 2011

- Managing the Risks of Extreme Events and Disasters to Advance Climate Change Adaptation; Intergovernmental Panel on Climate Change (IPCC), 2012.

- Climate risk and adaptation in the electric power sector; Asian Development Bank, 2012

- Guidance on Integrating Climate Change and Biodiversity into Environmental Impact Assessment; European Union 2013

- Making the energy sector more resilient to climate change; IEA Environment and Climate Change Unit Directorate of Sustainable Energy Policy and Technologies, 2015

- Statistics: CO2 EMISSIONS FROM FUEL COMBUSTION Highlights (2019 edition); OECD / International Energy Agency, 2019

- Contribution of SEE SEP programme to EU Progress Reports 2016: South East Europe Energy Watchdog Report 2016; SEE Change Net, 2016; Supported by EU

- Key Technical Challenges for the Electric Power Industry and Climate Change, IEEE Trans. Energy Convers. 25 (2010) 465-473.; L.M. Beard, J.B. Cardell, I. Dobson, F. Galvan, D. Hawkins, W. Jewell, et al.

- Influence of Extreme Weather and Climate Change on the Resilience of Power Systems: Impact and Possible Mitigation Strategies; Mathaios Panteli and Pierluigi Mancarella, School of Electrical and Electronic Engineering, University of Manchester, UK

# Annexes

Annex 1: Project Map

Annex 2: Project Options and Alternatives with High-level Environmental Constraints

Annex 3: Key Social Sensitivities associated with the Project

Annex 4: Geological Map

Annex 5: Summary of Stakeholder Engagement Activities to date

Annex 6: Names of those Responsible for Preparing the Environmental and Social Assessment

## Annex 1: Project Map

(given under separate cover)

## Annex 2: Project Options and Alternatives with High-level Environmental Constraints

(given under separate cover)

## Annex 3: Key Social Sensitivities associated with the Project

(given under separate cover)

## Annex 4: Geological Map

(given under separate cover)

## Annex 5: Summary of Stakeholder Engagement Activities to date

(given under separate cover)

## Annex 6: Names of those Responsible for Preparing the Environmental and Social Assessment

| Responsible expert for preparing the Environment and Social Assessment: |  |
| --- | --- |
| Name and surname: | Konstantin Siderovski, MSc |
| Position: | Lead Project E&S Expert |
|  | e-mail: k.siderovski@gmail.com |

| Team of experts for preparation of the Environment and Social Assessment: |  |
| --- | --- |
| Expert | Position / Project component |
| Boris Stipcarov, MSc | Lead Social and Resettlement Expert |
| Prof. Slavcho Hristovski, PhD | Expert on Nature, Biodiversity and Landscape |
| Mitko Dimov, MSc | Geological and Water Environment |
| Vasko Avukatov | Expert on Geographic Information System |

| Team of technical experts for preparation of the Environment and Social Assessment: |  |
| --- | --- |
| Expert | Position |
| Rubin Atanasoski | Transmission Construction Engineer |
| Marija Petroska Pashoska | Substation Engineer |
| Aleksandar Dimitrovski | Overhead Line Engineer |

As noted, the wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia comprises of two components:

- Component 1 (Sub-project 1): Design, construction and operation of a new 400/110 kV substation Miletkovo with connection to the existing 400 kV and 110 kV transmission network (subject to this E&S Assessment), and

- Component 2 (Sub-project 2): Reconstruction of the existing 110 kV overhead line Valandovo – Strumica 2 – Strumica 1 (subject to separate E&S Assessment).

The EBRD Environmental and Social Policy (2019)

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Law on Construction (Official Gazette of RM no. 130/09 and its amendments) and associated by-laws

“Концептуално решение”

EVP – Electric Traction Plant (in Macedonian ‘Електровлечно построение’). It is an electrical substation that converts the power to an appropriate voltage, current type and frequency to supply railway system(s) with traction current.

Depending on their position in the transmission line, the types of towers could be:

- Suspension towers,

- Angle (tension) towers, used where the line changes direction or for special loading cases along the line,

- Terminal towers, used when the line is connected to a substation.

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MEPSO Grid Code (2021) [Ref.9]

According to the applicable regulation, the minimum vertical clearance for an operational transmission line in regard vegetation, trees, etc. is set to 3.0 metres.

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

For more details see:

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, October 2021 [Ref.4]

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.7]

MEPSO Grid Code (2019) [Ref.7]

The site proposed for protection - Demir Kapija Gorge (Demirkapiska Klisura) geographically includes the existing Monuments of Nature Demir Kapija and Iberliska Reka, as well as several other sites recognised for future protection: Klisurska Reka, Bela Voda cave, Goren Zmejovec cave, Krastovec, Shtuder and Mala Javorica.

WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Stakeholder Engagement Plan, March 2022 [Ref.5]

Projects are classified as Category A when the project receiving EBRD funding could result in potentially significant adverse future environmental and/or social impacts which, at the time of screening, cannot readily be identified or assessed. [Source: The EBRD Environmental and Social Policy (2019)]

The new 400 kV OHL, considered as Category A project according to the EBRD ESP (2019) - Appendix 2: ‘Category A Projects’ (item 24 - Construction of high voltage overhead electrical power lines), is very short (approx. 500 metres) and no major environmental and social sensitivities will occur. Therefore, Category A criteria according to EBRD ESP is not triggered.

Projects are classified as Category B when the project receiving EBRD funding could result in future environmental impacts which are less adverse than those of Category A projects. These impacts are typically site-specific, and/or readily identified and addressed through effective mitigation measures and therefore no formalised and participatory ESIA is required.

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

IEC 61467:2008 - Insulators for overhead lines - Insulator strings and sets for lines with a nominal voltage greater than 1000 V as well as (1) IEC 60433:2021 - insulators for overhead lines with a nominal voltage above 1000 V - Ceramic insulators for ac systems - Characteristics of insulator units of the long rod type and (2) IEC 60305:2021 - Insulators for overhead lines with a nominal voltage above 1 000 V – Ceramic or glass insulator units for a.c. systems – Characteristics of insulator units of the cap and pin type.

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

MEPSO has an IMS, incorporating quality, environment and health & safety, certified under respective international standards - ISO 9001 (Quality Management System), ISO 14001 (Environmental Management System) and OHSAS 18001 (Occupational Health and Safety Management System), as well as ISO 50001 (Energy Management System). Note: some of these certificates require renewal.

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

EVP – Electric Traction Plant (in Macedonian ‘Електровлечно построение’). It is a electrical substation that converts the power to an appropriate voltage, current type and frequency to supply railway system(s) with traction current.

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MKS EN 50341 - Overhead electrical lines exceeding AC 1 kV

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MEPSO Grid Code (2019) [Ref.7]

According to the applicable regulation, the minimum vertical clearance for an operational transmission line in regard vegetation, trees, etc. is set to 3.0 metres.

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

Aluminium-conductor steel-reinforced (ACSR) conductor

All aluminium alloy conductor (AAAC)

These are:

- the extension of the existing 110 kV OHL SS Valandovo – SS ‘EVP’ Miletkovo to the new 400/110 kV SS Miletkovo, and

- the new 2x110 kV OHL 400/110 kV SS Miletkovo - SS ‘EVP’ Miletkovo

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

EBRD/IFC Workers’ Accommodation: Processes and Standards’ A guidance note by IFC and the EBRD, August 2009 https://www.ebrd.com/downloads/about/sustainability/Workers_accomodation.pdf

International Finance Corporation (IFC) – Environmental, Health and Safety Guidelines for Electric Power Transmission and Distribution, April 2007 (http://www.ifc.org/ehsguidelines)

As noted, the wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia comprises of two components:

- Component 1 (Sub-project 1): Design, construction and operation of a new 400/110 kV substation Miletkovo with connection to the existing 400 kV and 110 kV transmission network (subject to this E&S Assessment), and

- Component 2 (Sub-project 2): Reconstruction of the existing 110 kV overhead line Valandovo – Strumica 2 – Strumica 1 (subject to separate E&S Assessment).

Environmental and Social Policy, EBRD, April 2019 [Ref.15]

For more details see:

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, October 2021 [Ref.4]

- WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.7]

The site proposed for protection - Demir Kapija Gorge (Demirkapiska Klisura) geographically includes the existing Monuments of Nature Demir Kapija and Iberliska Reka, as well as several other sites recognised for future protection: Klisurska Reka, Bela Voda cave, Goren Zmejovec cave, Krastovec, Shtuder and Mala Javorica.

Capital expenditure (CAPEX). This indicator reports the capital expenditure of a project, which includes elements such as the cost of obtaining permits, conducting studies, obtaining rights-of-way, ground, preparatory work, designing, dismantling, equipment purchase and installation.

Operational expenditure (OPEX). These expenses are based on project operating and maintenance costs.

Socio-economic welfare (SEW) is characterized by the ability of a power system to reduce congestion and thus provide an adequate Change of Evacuation Capacity (GTC) so that electricity markets can trade power in an economically efficient manner. The reduction of congestions is an indicator of social and economic welfare assuming equitable distribution of benefits under the goal of the European Union to develop an integrated market (perfect market assumption). [Ref.7]

WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, September 2021 [Ref.4]

For more details see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Stakeholder Engagement Plan, March 2022 [Ref.5]

Council Directive on the assessment of the effects of certain public and private projects on the environment (Council Directive on the assessment of the effects of certain public and private projects on the environment)

In Macedonian: ‘Елаборат за заштита на животната средина’.

Section 17 of the national EIA Decree’s Annex I: ‘Overhead transmission lines of 110 kV voltage or higher, and longer than 15 km’.

‘Notification of intent to implement a project’. The scope of this document is legally determined by the ‘Rulebook on the information contained in the notification of intent to undertake a project and the procedure for establishing the need for environmental impact assessment of a project’ (2006).

For more details, see: WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; ESIA Scoping Report, January 2022 [Ref.6]

Directive 2014/52/EU of the European Parliament and of the Council of 16 April 2014 on the assessment of the effects of certain public and private projects on the environment, Official Journal of the European Union

https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:32009L0147

https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:31992L0043

https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=celex%3A32018L0851

https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:32012L0019

https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:32000L0060

Law on Construction (Official Gazette of RM no. 130/09 and its amendments) and associated by-laws

“Концептуално решение”

WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Detailed Technical Assessment of Preferred Option, January 2022 [Ref.7]

Filipovski, G., Rizovski, R., & Ristevski, P. (1996). Characteristics of climate-vegetative-soil zones in the Republic of Macedonia. (Macedonian: Карактеристики на климатско-вегетацископочвените зони (региони) во Република Македонија. МАНУ); Macedonian academy of science and art, Skopje.

FOLU sector – Forestry and Other Land Uses

World Bank (2021) Macedonia Climate Change Projections (https://climateknowledgeportal.worldbank.org/country/north-macedonia/climate-data-projections)

The Shared Socioeconomic Pathways (SSP1 to SSP5) describe a range of plausible trends in the evolution of society over the 21st century. Each pathway is an internally consistent, plausible and integrated description of a socio-economic future, but these socio-economic futures do not account for the effects of climate change, and no new climate policies are assumed. Broadly, the five SSPs represent ‘sustainability’ (SSP1), a ‘middle of the road’ path (SSP2), ‘regional 20 rivalry’ (SSP3), ‘inequality’ (SSP4), and ‘fossil fuel intensive’ development (SSP5). Source: IPCC, 2021: Climate Change 2021: The Physical Science Basis. Contribution of Working Group I to the Sixth Assessment Report of the Intergovernmental Panel on Climate Change (https://www.ipcc.ch/report/ar6/wg1/downloads/report/IPCC_AR6_WGI_Full_Report.pdf)

SSP5-8.5 is the highest CO2 emission scenario, corresponding to the RCP8.5 - formerly used Representative Concentration Pathway (RCP) or ‘high emissions’ scenario. RCP8.5 is the highest RCP reaching a radiative forcing of 8.5 W/m2 by the end of the century.

Source: IPCC, 2021: Climate Change 2021: The Physical Science Basis. Contribution of Working Group I to the Sixth Assessment Report of the Intergovernmental Panel on Climate Change (https://www.ipcc.ch/report/ar6/wg1/downloads/report/IPCC_AR6_WGI_Full_Report.pdf)

Source: https://climateknowledgeportal.worldbank.org/country/north-macedonia/vulnerability

Source: https://climateknowledgeportal.worldbank.org/country/north-macedonia/vulnerability

VFSP - Vardar Field Sampling Point

Stafilov, T., & Levkov, Z. (2017). Summary of Vardar River Basin Field Survey. European Agency for Reconstruction and Ministry of Environment & Physical Planning of the Republic of Macedonia, Skopje, Macedonia

Macedonian Information Center for Environment (2022). Annual report for the processed data on the quality of the environment for 2021. Ministry  of Envronment and Physical Planning, Skopje,144 pp.

These are: City of Skopje (fourteen stations), Bitola (eight stations), Kumanovo (ten stations) and Kicevo (seven stations).

Rulebook on environmental noise level limit values (Official Gazette of RM no. 147/08)

The CORINE Land Cover (CLC) inventory was initiated in 1985 (reference year 1990) to standardize data collection on land in Europe to support environmental policy development.

https://emerald.eea.europa.eu/

https://www.ramsar.org/

https://www.plantlife.org.uk/international/important-plant-areas-international

http://datazone.birdlife.org/site/mapsearch

van Swaay, C. A., & Warren, M. S. (2006). Prime butterfly areas of Europe: an initial selection of priority sitesfor conservation. Journal of Insect Conservation, 10(1), 5-11.

Melovski, L., Velevski, M., Matevski, V., Avukatov, V., & Sarov, A. (2012). Using important plant areas and important bird areas to identify Key Biodiversity Areas in the Republic of Macedonia. Journal of Threatened Taxa, 2766-2778.

European Nature Information System (https://eunis.eea.europa.eu/habitats-code-browser.jsp)

Council Directive 92/43/EEC of 21 May 1992 on the conservation of natural habitats and of wild fauna and flora (https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=celex%3A31992L0043)

https://www.moepp.gov.mk/wp-content/uploads/2014/09/Listi%20za%20utvrduvanje%20na%20strogo%20 zastiteni%20i%20zastiteni%20divi%20vidovi.pdf

The Macedonian Ecological Society (MES) is a civil society organization actively working in the areas of ecology and environmental protection.https://mes.org.mk/; email: contact@mes.org.mk

https://www.eea.europa.eu/data-and-maps/figures/migration-routes-for-selected-bird-species

Guidance Note: EBRD Performance Requirement 6. Biodiversity Conservation and Sustainable Management of Living Natural Resources. https://www.ebrd.com/environment/pdf-guidance-note-ebrd-performance-requirement-6.pdf

Distribution maps for species of amphibians and reptiles are taken from the national red list assessment (http://redlist.moepp.gov.mk/).

Distribution maps are taken from the following sources: lowland riparian vegetation from the Report: Mapping of ecosystems and assessment of their condition (Nature Conservation Programme in North Macedonia); bird species from The European Breeding Bird Atlas – EBBA2 (https://ebba2.info/maps/).

Velevski, M., Hallmann, B., Grubač, B., Lisičanec, T., Stoynov, E., Lisičanec, E., … & Stumberger, B. (2010). Important bird areas in Macedonia: Sites of global and European importance. Acrocephalus, 31(147), 181-282.

Guidance Note 6: Biodiversity Conservation and Sustainable Management of Living Natural Resources (v. January 1, 2020)

Nature Conservation Programme in North Macedonia – phase 2

National Institution Institute for Protection of Cultural Monuments anд Museum - Strumica (‘НУ Завод за заштита на спомениците на културата и Музеј - Струмица’) and National Museum of Gevgelija (Национален музеј Гевгелија)

http://kultura.gov.mk/wp-content/uploads/2020/10/ NACIONALEN_REGISTAR_NA_OBJEKTI_KOI_SE_ZASTITENO_KULT_NASLEDSTVO_31122012-3-1.doc

https://www.wcrp-climate.org/wgcm-cmip/wgcm-cmip6

https://www.ipcc.ch/assessment-report/ar6/

) Source: IPCC Fifth Assessment Report (AR5)

) For more details see: Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

) For more details see: Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

The Beaufort wind scale is a standard scale, running from force 0 for calm to force 12 for hurricane and above for description of wind speed. Each value represents a specific range and classification of wind speeds with accompanying descriptions of the effects on surface features. It was originally developed as a system for estimating wind strengths without the use of instruments.

Transient outage: forced outage where the affected item is automatically restored to service within a specified time interval (Source: International Electrotechnical Commision (IEC), Electortechnical Vocabulary Ref.191-24-05))

For more details see: Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

For details see: IEEE Guide for Direct Lightning Stroke Shielding of Substations; Institute of Electrical and Electronics Engineers(IEEE) - Substations Committee of the IEEE Power Engineering Society, 1996 (ieeexplore.ieee.org)

DIRECTIVE 2000/14/EC OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL of 8 May 2000 on the approximation of the laws of the Member States relating to the noise emission in the environment by equipment for use outdoors

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MEPSO Grid Code (2019) [Ref.7]

Rulebook on the types of specific noise sources as well as the requirements to be met by installations, equipment, installations and devices used outdoors for noise emission and noise protection standards (Official Gazette of RM no. 142/13)

DIRECTIVE 2000/14/EC OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL of 8 May 2000 on the approximation of the laws of the Member States relating to the noise emission in the environment by equipment for use outdoors

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MEPSO Grid Code (2019) [Ref.7]

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MEPSO’s Grid Code (2019) [Ref.7]

The approach to the assessment has considered the broadly related effects of the Project on the geological environment, which for the context of this assessement includes: (1) geology and soils and (2) geotechnical and soil stability effects.

European Standards: EN 858-1:2002 and EN 858-2:2003 for the design, use, selection, installation, operation and maintenance of prefabricated oil separators

Rulebook on the conditions, manner and emission limit values for the discharge of waste water after their treatment, the manner of their calculation, taking into account the special requirements for protection of the protection zones (Official Gazette of RM no. 81/11), prescribing the limit values for discharge of wastewater in natural recipient, after their treatment in a wastewater treatment facility / plant.

Council Directives 92/43/EEC on the conservation of natural habitats and of wild fauna and flora

Council Directive 79/409/EEC on the conservation of wild birds

The Convention on the Conservation of European Wildlife and Natural Habitats – Bern Convention

At the present phase of the Project development it is impossible to calculate exact surfaces of the land that will be taken for the construction purposes. However, based on the technical requiremenst and the present technical assessment of the Projetc, it is approximated that the substation will cover 6 ha and footprint of the towers will be about 1500 m2 (cca 10 tower with average footprint of 150 m2).

Protecting birds from power lines focusing on countries of Danube/Carpathian region

Avian Power Line Interaction Committee (APLIC). 2012. Reducing Avian Collisions with Power Lines: The State

of the Art in 2012. Edison Electric Institute and APLIC. Washington, D.C. (www.aplic.org)

https://op.europa.eu/en/publication-detail/-/publication/82e2011b-be3e-11e9-9d01-01aa75ed71a1

European Commission, Directorate-General for Environment, Guidance on energy transmission infrastructure and EU nature legislation, Publications Office, 2019, https://data.europa.eu/doi/10.2779/827210

Raptor Protection of Slovakia (2019). Protecting birds from power lines focusing on countries of Danube/Carpathian region

WB21-MKD-ENE-03 North Macedonia, Strengthening the Transmission Network in the Southeast Region of North Macedonia - Component 1; Selection of the preferred Option, October 2021

Ferrer, M., Morandini, V., Baumbusch, R., Muriel, R., De Lucas, M. and Calabuig, C., 2020. Efficacy of different types of “bird flight diverter” in reducing bird mortality due to collision with transmission power lines. Global Ecology and Conservation, 23, p.e01130.

Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019)

MEPSO Grid Code (2021) [Ref.9]

IEC 61467:2008 - Insulators for overhead lines - Insulator strings and sets for lines with a nominal voltage greater than 1000 V as well as (1) IEC 60433:2021 - insulators for overhead lines with a nominal voltage above 1000 V - Ceramic insulators for ac systems - Characteristics of insulator units of the long rod type and (2) IEC 60305:2021 - Insulators for overhead lines with a nominal voltage above 1 000 V – Ceramic or glass insulator units for a.c. systems – Characteristics of insulator units of the cap and pin type.

Refer to: Protecting Birds from Powerlines; NABU – German Society for Nature Conservation, BirdLife in Germany, 2005; Convention on the Conservation of European Wildlife and Habitats (Bern Convention), Council of Europe

European Commission, Directorate-General for Environment, Guidance on energy transmission infrastructure and EU nature legislation, Publications Office, 2019, https://data.europa.eu/doi/10.2779/827210

Refer to: Avian Power Line Interaction Committee (APLIC). 2012. Reducing Avian Collisions with Power Lines: The State of the Art in 2012. Edison Electric Institute and APLIC. Washington, D.C. (www.aplic.org)

Directive of the EU on Waste - Waste Framework Directive (2008/98/EC)

MEPSO has an IMS, incorporating quality, environment and health & safety, certified under respective international standards - ISO 9001 (Quality Management System), ISO 14001 (Environmental Management System) and OHSAS 18001 (Occupational Health and Safety Management System), as well as ISO 27001 (Information Security Management) and ISO 50001 (Energy Management System). Note: some of these certificates require renewal.

MEPSO has an IMS, incorporating quality, environment and health & safety, certified under respective international standards - ISO 9001 (Quality Management System), ISO 14001 (Environmental Management System) and OHSAS 18001 (Occupational Health and Safety Management System), as well as ISO 50001 (Energy Management System). Note: some of these certificates require renewal.

The energised transmission equipment is a low-friquency source of EMF

This document could be found at www.icnirp.org

This document could be found at www.icnirp.org

According to the relevant Macedonian regulation (Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019), the minimum vertical clearance for 110 kV transmission line above the ground is 6.0 metres in areas accessible for vehicles/people (considered as zones of increased sensitivity).

The relevant Macedonian legislation (Rulebook for Construction of Overhead Lines with rated Voltage from 1 kV to 400 kV (Official Gazette of RM no.25, from 1.2.2019) requires establishment of a safety zone or RoW along the path of a transmission line (see Section 2.4.2.3). For lines of 110 kV voltage level, according to the MEPSO’s Grid Code, a 20 metres wide safety corridor (zone) along the path of the line is to be established (or 10 metres from the axis of an operational overhead line).

World Health Organization, 1998; Electromagnetic fields and public health: extremely low frequency (ELF) Fact Sheet. Available online at: http://www.who.int/mediacentre/factsheets/fs205/en.

“Land acquisition” refers to all methods of obtaining land for project purposes, which may include outright purchase, expropriation of land and assets and acquisition of temporary or permanent access rights, such as easements, rights of way; establishment of restrictions of access to protected and other areas. (Source: EBRD Environmental and Social Policy, 2019; Performance Requirement 5 - Land Acquisition, Restrictions on Land Use and Involuntary)

Law on Expropriation (Official Gazette of the RM no. 95/12 and its amendments)

Law on Protection of Cultural Heritage (Official Gazette of RM no. 20/04 and its amendments)

Definition of VECs according to the IFC Good Practice Handbook ‘Cumulative Impact Assessment and Management: Guidance for the Private Sector in Emerging Markets’ 2013: ‘VECs are environmental and social attributes that are considered to be important in assessing risks; they may be:

- physical features, habitats, wildlife populations (e.g., biodiversity),

- ecosystem services,

- natural processes (e.g., water and nutrient cycles, microclimate),

- social conditions (e.g., health, economics), or

- cultural aspects (e.g., traditional spiritual ceremonies)’.

For example, when several hydroelectric projects are constructed or planned on the same river or within the same watershed, when multiple oil and gas projects or mines are developed in close proximity, or when a number of wind farms are constructed or planned within the same flyway or region.

For example, the development of a mine site, access roads, transmission lines, and other adjacent land uses.

The wider development scheme for strengthening the transmission network in the Southeast Region of North Macedonia comprises of two components:

- Component 1 (Sub-project 1): Design, construction and operation of a new 400/110 kV substation Miletkovo with connection to the existing 400 kV and 110 kV transmission network (subject to separate E&S Assessment), and

- Component 2 (Sub-project 2): Reconstruction of the existing 110 kV overhead line Valandovo – Strumica 2 – Strumica 1 (subject to this E&S Assessment).

MEPSO has an IMS, incorporating quality, environment and health & safety, certified under respective international standards - ISO 9001 (Quality Management System), ISO 14001 (Environmental Management System) and OHSAS 18001 (Occupational Health and Safety Management System), as well as ISO 50001 (Energy Management System). Note: some of these certificates require renewal.